Notice of Variances and Waivers

DEPARTMENT OF HEALTH

Division of Environmental Health

RULE NO.:	RULE TITLE:

64E-9.004	Operational Requirements

NOTICE IS HEREBY GIVEN that on May 30, 2014, the Department of Health, received a petition for variance from WET Engineering representing U.S Float Tanks, Norfolk, Virginia. Specifically, the petitioner seeks a variance from the following Sections of 64E-9, Florida Administrative Code: 9.004(1)(d)2., (5), and (15); 9.006(1)(a), (1)(d), (2)(a)1., (2)(e)1., (2)(e)2., and (2)(f); 9.007(1), (3)(b)5., (5)(a), (10)(e), (11), (14), (16), (16)(d)2., (16)(d)4., and (16)(f); and 9.008(7), which require public swimming pools to: maintain a disinfectant residual, operate a recirculation system when in use, have minimum lighting for indoors, have a water line tile marker, be equipped with access by ladder or stairs, have a clear wet deck width and slope, have an opening on equipment enclosure, have minimal equipment area lighting, have a urinal in unisex restroom, have treatment equipment that meets national standard NSF50, have a tile line of 6" width, have filters that meet NSF50 , have a collector tank and gravity drainage, have auto water makeup, have bypass and valving on heater, have auto feeders for treatment chemicals, have NSF50 certification on ozone and validation of UV system, and a pool rules sign.

A copy of the Petition for Variance or Waiver may be obtained by contacting: Agency Clerk, Department of Health, Office of General Counsel, 4052 Bald Cypress Way, Bin#A02, Tallahassee, Florida 32399-1703.