## 62-304.805 Charlotte Harbor Basin TMDLs.

(1) Coral Creek – East Branch. The TMDLs to address the low DO condition for Coral Creek – East Branch are 0.74 mg/L TN, 0.044 mg/L TP, and 2.0 mg/L five-day BOD, and are allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES MS4 Permitting Program to address anthropogenic sources in the basin such that in-stream concentrations meet the DO criteria, based on the measured concentrations from the January 2007 to December 2007 period, will require a 31% reduction of TN, a 36% reduction of TP, and a 33% reduction of BOD at sources contributing to exceedances of the criteria; and

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the DO criteria which, based on the measured concentrations from the January 2007 to December 2007 period, will require a 31% reduction of TN, a 36% reduction of TP, and a 33% reduction of BOD at sources contributing to exceedances of the criteria.

(2) Gottfried Creek. The bacteriological TMDL for Gottfried Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES MS4 Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2005 to 2008 period, will require a 74% reduction of sources contributing to exceedances of the criteria; and

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2005 to 2008 period, will require a 74% reduction of sources contributing to exceedances of the criteria.

(3) North Prong of Alligator Creek. The bacteriological TMDL for the North Prong of Alligator Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES MS4 Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2005 and 2007 period, will require a 72% reduction of sources contributing to exceedances of the criteria; and

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2005 and 2007 period, will require a 72% reduction of sources contributing to exceedances of the criteria.

(4) Sanibel Slough West. The nutrient TMDL for Sanibel Slough West is a three-year average of annual loads of 1,903 kilograms per year (kg/year) TN and 241 kg/year TP, which are intended to achieve an AGM chlorophyll a concentration of 11 µg/L not to be exceed more than once in any consecutive three-year period, and is allocated as follows:

(a) The WLA for wastewater point sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES MS4 Permitting Program is a 26% reduction of TN and a 34% reduction of TP from the 2007-2013 period; and

(c) The LA for nonpoint sources is a 26% reduction of TN and a 34% reduction of TP based on average loads from the 2007-2013 period.

(5) Sanibel Slough East. The nutrient TMDL for Sanibel Slough East is a three-year average of annual loads of 1,091 kg/year TN and 123 kg/year TP, which are intended to achieve an AGM chlorophyll a concentration of 21 µg/L not to be exceed more than once in any consecutive three-year period, and is allocated as follows:

(a) The WLA for wastewater point sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES MS4 Permitting Program is a 54% reduction of TN and a 74% reduction of TP based on average loads from the 2007-2013 period; and

(c) The LA for nonpoint sources is a 54% reduction of TN and a 74% reduction of TP based on average loads from the 2007-2013 period.

Rulemaking Authority 403.061, 403.067 FS. Law Implemented 403.061, 403.062, 403.067 FS. History–New 10-15-09, Amended 8-26-10, 10-18-17, 5-9-21.