64E-5.633 Brachytherapy Sources Inventory.

(1) Each time brachytherapy sources are returned to an area of storage from an area of use, the licensee shall immediately count or otherwise verify the number returned to ensure that all sources taken from the storage area have been returned.

(2) A licensee shall make a record of the use of brachytherapy sources which includes:

(a) The names of the individuals permitted to handle the sources;

(b) The number and activity of sources removed from storage, the room number of use and patient’s name, the time and date they were removed from storage, the number and activity of sources in storage after the removal, and the initials of the individual who removed the sources from storage; and

(c) The number and activity of sources returned to storage, the room number of use and patient’s name, the time and date they were returned to storage, the number and activity of sources in storage after the return, and the initials of the individual who returned the sources to storage.

(3) Immediately after implanting sources in a patient and immediately after removal of sources from a patient, the licensee shall make a radiation survey of the patient and the area of use to confirm that no sources have been misplaced. The licensee shall make a record of each survey.

(4) A licensee shall maintain the records required in subsections 64E-5.633(2) and (3), F.A.C., for 3 years.

Specific Authority 404.022, 404.051, 404.061, 404.071, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (5), (6), (8), (9), (10), (11), 404.061(2), (3), 404.071(1), 404.081, 404.141 FS. History–New 8-25-91, Formerly 10D-91.748.