# CHAPTER 69A-53

# UNIFORM FIRE SAFETY STANDARDS FOR HOSPITALS AND NURSING HOMES

# 69A-53.001	Title

# 69A-53.002	Purpose

# 69A-53.003	Scope

# 69A-53.004	Standards of the National Fire Protection Association Adopted

# 69A-53.005	Purpose and Scope (Repealed)

# 69A-53.0051	Definitions (Repealed)

# 69A-53.0052	Fire Sprinkler Requirements for Nursing Homes (Repealed)

# 69A-53.0053	State Fire Marshal Nursing Home Fire Protection Loan Guarantee Program: Application Procedures (Repealed)

# 69A-53.0054	State Fire Marshal Nursing Home Fire Protection Loan Guarantee Program: Eligibility and Coordination of

# Construction with Loan Requirements (Repealed)

## 69A-53.001 Title.

These rules comprising rule chapter 69A-53, F.A.C., shall be known as the “Uniform Fire Safety Standards for Hospitals and Nursing Homes.”

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.206 FS. History–New 10-8-90, Formerly 4A-53.001.

## 69A-53.002 Purpose.

(1) The purpose of this rule chapter is to establish uniform requirements to provide a reasonable degree of safety from fire in buildings, structures or premises used as hospitals and nursing homes.

(2) These rules try to avoid requirements which might result in unreasonable hardships, or unnecessary inconveniences or interference with the normal use and occupancy of hospitals and nursing homes, but at the same time insist upon compliance with uniform standards for fire safety consistent with the public interest, even though a financial hardship may result in some individual cases.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.206 FS. History–New 10-8-90, Formerly 4A-53.002.

## 69A-53.003 Scope.

(1) These rules are concerned with life safety during fires and similar emergencies. They address particular matters such as devices, systems installations, protection, and occupancy of buildings to try to minimize danger to life from fire, smoke, fumes or panic before buildings, structures or premises are vacated.

(2) These rules apply to both new and existing hospitals and nursing homes.

Rulemaking Authority 633.104, 633.206(1)(b) FS. Law Implemented 633.104(1), 633.206 FS. History–New 10-8-90, Amended 7-11-01, Formerly 4A-53.003.

## 69A-53.004 Standards of the National Fire Protection Association Adopted.

The standards of the National Fire Protection Association for life safety from fire, as provided in NFPA 101, Life Safety Code, as adopted in rule 69A-3.012, F.A.C., and incorporated herein by reference shall be the Uniform Fire Safety Standards for Hospitals and Nursing Homes.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.206 FS. History–New 10-8-90, Formerly 4A-53.004.

## 69A-53.005 Purpose and Scope.

Rulemaking Authority 633.104(1), 633.206(1) FS. Law Implemented 633.206(4) FS. History–New 2-18-07, Repealed 2-5-15.

## 69A-53.0051 Definitions.

Rulemaking Authority 633.104(1), 633.206(1) FS. Law Implemented 633.206(4) FS. History–New 2-18-07, Repealed 2-5-15.

## 69A-53.0052 Fire Sprinkler Requirements for Nursing Homes.

Rulemaking Authority 633.104(1), 633.206(1), 633.0245(11) FS. Law Implemented 633.206(4) FS. History–New 2-18-07, Amended 7-15-09, Repealed 2-5-15.

## 69A-53.0053 State Fire Marshal Nursing Home Fire Protection Loan Guarantee Program: Application Procedures.

Rulemaking Authority 633.104(1), 633.206(1) FS. Law Implemented 633.206(4) FS. History–New 2-18-07, Amended 7-15-09, Repealed 2-5-15.

#### 69A-53.0054 State Fire Marshal Nursing Home Fire Protection Loan Guarantee Program: Eligibility and Coordination of Construction with Loan Requirements.

Rulemaking Authority 633.104(1), 633.206(1) FS. Law Implemented 633.206(4) FS. History–New 2-18-07, Repealed 2-5-15.