## 11D-8.004 Department Inspection and Registration of Breath Test Instruments.

(1) The Department shall register and inspect a breath test instrument prior to such instrument being initially placed into evidentiary use by an agency. The inspection validates the instrument’s approval for evidentiary use, and the registration denotes an instrument approved pursuant to these rules and shall reflect the registration date, the owner of the instrument, the instrument serial number, the manufacturer, and the model designation.

(2) Registered breath test instruments shall be inspected by the Department at least once each calendar year, and must be accessible to the Department for inspection. Any evidentiary breath test instrument returned from an authorized repair facility shall be inspected by the Department prior to being placed in evidentiary use. The inspection validates the instrument’s approval for evidentiary use.

(3) Department inspections shall be conducted in accordance with Department Inspection Procedures FDLE/ATP Form 35 – Rev. August 2005 for the Intoxilyzer 5000 Series, or Department Inspection Procedures – Intoxilyzer 8000 FDLE/ATP Form 36 – Rev. August 2005 for the Intoxilyzer 8000; and the results reported on FDLE/ATP Form 26 – Department Inspection Report – Rev. March 2004 for the Intoxilyzer 5000 Series, or FDLE/ATP Form 41 – Department Inspection Report – Intoxilyzer 8000 – Rev. August 2005 for the Intoxilyzer 8000.

(4) Department Inspectors shall be employed by the Department to register evidentiary breath test instruments, to conduct inspections and maintenance of breath test instruments and related equipment and facilities, to conduct and monitor training classes, and to otherwise ensure compliance with Chapter 11D-8, F.A.C.

Rulemaking Authority 316.1932(1)(a)2., (f)1., 322.63(3)(a), 327.352(1)(b)3. FS. Law Implemented 316.1932(1)(b)2., 316.1934(3), 322.63(3)(b), 327.352(1)(e), 327.354(3) FS. History–New 10-31-93, Amended 1-1-97, 7-29-01, 11-5-02, 12-9-04, 3-27-06.