## 11D-8.006 Agency Inspection of Breath Test Instruments.

(1) Evidentiary breath test instruments shall be inspected by an agency inspector at least once each calendar month. The agency inspection shall be conducted in accordance with Agency Inspection Procedures FDLE/ATP Form 16 – Rev. March 2004 for the Intoxilyzer 5000 Series, or Agency Inspection Procedures – Intoxilyzer 8000 FDLE/ATP Form 39 – Rev. August 2005 for the Intoxilyzer 8000; and the results reported on FDLE/ATP Form 24 – Agency Inspection Report – Rev. March 2001 for the Intoxilyzer 5000 Series, or FDLE/ATP Form 40 – Agency Inspection Report – Intoxilyzer 8000 – March 2004 for the Intoxilyzer 8000.

(2) Whenever an agency relocates an Intoxilyzer 5000 evidentiary breath test instrument for use at another facility, an agency inspection shall be conducted prior to the instrument’s removal, and another inspection shall be conducted prior to the instrument’s use for evidentiary breath testing at the new facility. A mobile testing unit is considered an agency facility.

(3) Whenever an instrument is taken out of evidentiary use, the agency shall conduct an agency inspection. The agency shall also conduct an agency inspection prior to returning an instrument to evidentiary use.

Rulemaking Authority 316.1932(1)(a)2., (f)1., 322.63(3)(a), 327.352(1)(b)3. FS. Law Implemented 316.1932(1)(b)2., 316.1934(3), 322.63(3)(b), 327.352(1)(e), 327.354(3) FS. History–New 10-31-93, Amended 1-1-97, 7-29-01, 11-5-02, 12-9-04, 3-27-06.