69A-58.008 Standards and Requirements for Existing Buildings; Additions to Rule Chapter 69A-60, the Florida Fire Prevention Code.

(1) Consistent with Section 1013.12, F.S., and this rule chapter, educational facilities are subject to rule chapter 69A-60, F.A.C., the Florida Fire Prevention Code, which incorporates rule chapter 69A-58, F.A.C., by reference.

(2) Fire department access roads. Paved fire department access roads shall not completely encircle an educational plant or portions thereof.

Rulemaking Authority 633.104(1), (7), 1013.12(1) FS. Law Implemented 633.104(7), 633.206, 633.208, 1013.12, 1013.371, 1013.38 FS. History–New 2-18-03, Formerly 4A-58.008, Amended 11-26-06, 4-12-15.