40B-2.101 Content of Application.

(1) Permit application shall be signed and dated by the applicant or his duly authorized agent and shall be filed with the District on approved forms which shall contain information as specified in Section 373.229, Florida Statutes, and,

(a) The maximum amount of water which can be withdrawn during a single day and the average amounts to be withdrawn or diverted during any given day. Seasonal uses should be similarly noted with the length of seasonal duration.

(b) The method of the withdrawal or diversion including the size of drop or intake pipe, pump size and horsepower, description of wells, and pumping equipment where appropriate. If the withdrawal is through wells, pumping test results and well construction information may be required.

(c) The location, volume, and quality of discharges. In the case of a permitted discharge, a copy of the permit shall be attached to the application.

(d) A description of the land owned, leased, or otherwise controlled by the applicant which is continuous to the withdrawal site(s), together with an accurate sketch to scale showing the boundaries of such property and the location of the point(s) of withdrawal or diversion. Also the locations and descriptions of any other existing wells or other withdrawal or diversionary facilities on the property.

(e) For individual water use permits, the application shall include the appropriate supplemental withdrawal site description form(s) as outlined in Rule 40B-2.901, F.A.C., of this chapter.

(f) If the intended use is for irrigation, describe the acreage to be irrigated, the method of irrigation to be employed, and the crops to be irrigated.

(g) An applicant for a water use permit for a nonexisting use who proposes the transport of water across District boundaries or across basin boundaries within the District shall submit such reports, plans, or data which comply with the conditions of subsection 40B-2.301(2), F.A.C.

(2) Existing users making application for general permits will be required to supply only that information on a permit application as is currently available from private or public records or is personally known to the applicant at the time of application.

(3) Within 30 days after receipt of an application, the District shall notify the applicant if the application is incomplete or if additional information is required. If additional information is not supplied within 90 days after such notice, the application will be denied without prejudice for lack of completeness. An extension of time may be granted by the District upon a showing by the applicant that additional time is required. The District shall notify the applicant of the date on which the application is declared complete if such date is other than the date the original application was received.

Specific Authority 373.044, 373.113, 373.171 FS. Law Implemented 120.60, 373.103, 373.219, 373.223, 373.229 FS. History–New 10-1-82.