40B-4.2040 Minimum Operation and Maintenance Standards.

(1) All surfacewater management systems permitted by the district shall be operated and maintained in accordance with the designs, plans, calculations, and other specifications that are submitted with an application, approved by the district, and incorporated by reference into any permit issued.

(2) Surfacewater management systems shall be kept free of debris, trash, garbage, oils and greases, and other refuse through regular inspection and maintenance by the permittee.

(3) Oil and grease separators, skimmers, or collection devices shall be inspected and maintained on a regular basis by the permittee to insure that they are working properly and do not allow the discharge of oils or greases. Oils and greases or other materials removed from such a device during routine maintenance shall be disposed of by lawful means.

(4) The system shall be regularly inspected and maintained by the permittee to insure that all erosion is controlled and soil is stabilized to prevent sediment discharge to waters in the state.

(5) All structures within the system shall be regularly inspected and maintained by the permittee to insure that they remain in an operable condition, free of obstruction and sediment, and, where appropriate, secure from vandalism or unauthorized operation.

(6) Swales, ditches, canals, and other similar works shall be inspected and maintained on a regular basis by the permittee to insure that they do not become clogged or choked with vegetative or aquatic growth to such an extent as to render them inoperable.

Specific Authority 373.044, 373.113 FS. Law Implemented 373.016, 373.042, 373.084, 373.085, 373.086, 373.117, 373.409, 373.416, 373.426 FS. History–New 2-1-89, Amended 9-13-04.