40D-2.321 Duration of Permits.

(1) The District shall determine the duration of a Water Use Permit based on the degree and likelihood of potential adverse impacts to the water resource or existing users.

(2) The duration of a water use permit shall not exceed six years when:

(a) The permit is for a new use greater than or equal to 500,000 gpd;

(b) The District determines there is a potential for significant adverse impacts and further evaluation is needed to develop an effective mitigation plan; or

(c) The permit is for a renewal to significantly increase quantities.

(3) The duration of a water use permit shall not exceed 10 years when:

(a) The permit is for a new use less than 500,000 gpd;

(b) The permit is for a renewal with an effective mitigation plan to address potential adverse impacts; or

(c) The permit is for a renewal with no significant modification.

(4) If the District determines that a permit term longer than 10 years is appropriate based on facts presented by an Applicant, the District shall issue a permit for a period up to 50 years in accordance with Section 373.236, F.S.

(5) Permits with annual average daily withdrawals of less than 500,000 gpd shall be eligible for extension of the expiration date in accordance with procedures set forth in Section 1.9 of the District’s “Basis of Review for Water Use Permit Applications” as described in Rule 40D-2.091, F.A.C.

(6) The duration of a Standby Alternative Source Permit, shall be 20 years, except that when all or part is permanently reactivated, the portions reactivated shall have a duration in accordance with subsections 40D-2.321(2), (3) and (4), F.A.C., above.

Specific Authority 373.044, 373.103, 373.113, 373.171 FS. Law Implemented 373.103, 373.171, 373.236 FS. History–Readopted 10-5-74, Amended 12-31-74, 10-24-76, 1-6-82, 3-11-82, Formerly 16J-2.13, Amended 10-1-89, 7-28-98, 1-1-03.