40D-2.331 Modification of Permits.

(1) A permittee may seek modification of any of the terms and conditions of an unexpired permit. A request for modification shall be reviewed in accordance with the rules in effect at the time the modification is filed.

(2) Modifications may be requested by:

(a) Formal application, or

(b) Letter, provided a Modification Short Form is submitted and the annual average withdrawal will not increase by more than 100,000 gpd or more than 10% of the total quantity, the use of the water will not change, the modification does not cause the total annual average quantity to equal or exceed 500,000 gpd, and the proposed changes would not cause impacts beyond those considered in the initial permit.

(3) The Governing Board shall order the modification of any permit if it is shown that the use or disposition of water is detrimental to other water users or to the water resources or no longer meets the conditions for issuance identified in Rule 40D-2.301, F.A.C.

Specific Authority 373.044, 373.113, 373.149, 373.171, 373.216, 373.249 FS. Law Implemented 373.171, 373.239 FS. History–Readopted 10-5-74, Formerly 16J-2.14(1), Amended 10-1-89, 2-10-93, 7-29-93.