## 59A-9.022 Physical Plant Requirements for Abortion Clinics When Providing Second Trimester Abortions.

The following are minimum standards of construction and specified minimum essential physical plant requirements which must be met when providing second trimester abortions. These requirements shall apply to all new abortion clinic construction and shall apply to any abortion clinics receiving an initial license after the effective date of these rules when the abortion clinic provides second trimester abortions. Any abortion clinic which provides second trimester abortions and is in operation at the time of adoption of this rule shall be given one year within which to comply with the physical plant requirements.

(1) Consultation room(s) with adequate private space specifically designated for interviewing, counseling, and medical evaluations;

(2) Dressing rooms designated for staff and patients;

(3) Handwashing station(s) equipped with a mixing valve and wrist blades and located in each patient exam/procedure room or area;

(4) Private procedure room(s) with adequate light and ventilation for abortion procedures;

(5) Post procedure recovery room(s) equipped to meet the patient’s needs;

(6) Emergency exits wide enough to accommodate a standard stretcher or gurney;

(7) Cleaning and sterilizing area(s) adequate for the cleaning and sterilizing of instruments;

(8) Adequate and secure storage area(s) for the storage of medical records and necessary equipment and supplies; and,

(9) If not otherwise required by the Florida Building Code, at least one general use toilet room equipped with a hand washing station.

Rulemaking Authority 390.012(1) FS. Law Implemented 390.012(3)(a), 390.013 FS. History–New 9-25-06.