60D-7.005 Minimum Basic Codes.

The following Codes are adopted as the minimum Codes for the areas or counties specified:

(1) Building Codes:

(a) Standard Building Codes, 1994 Edition including the engineering design criteria contained in Section 1606, Florida Statutes, excluding Chapter 11, Florida Statutes, “Accessibility for People with Physical Disabilities” and Appendix E, “Energy Conservation” for all counties except Dade and Broward.

(b) South Florida Building Code, 1994 Edition for Broward and Dade Counties.

(2) Energy Conservation Code: The provisions of the following Codes, Rules and Standards shall apply on a statewide basis.

(a) Section 255.251, Florida Statutes, “Florida Energy Conservation in Buildings Act of 1974.”

(b) Chapter 60D-4, F.A.C., Rules for Construction and Leasing of State Buildings to Insure Energy Conservation, May 26, 1976.

(3) Electrical Code:

(a) National Electric Code, 1993 Edition (NFPA 70, 1993).

(b) Other electrical standards listed in Section 553.19, Florida Statutes.

The electrical codes and standards indicated shall apply on a statewide basis.

(4) Mechanical Code:

(a) Standard Mechanical Code, 1994 Edition for all counties except Broward and Dade.

(b) South Florida Building Code, 1994 Edition for Broward County.

(c) South Florida Building Code, 1994 Edition for Dade County.

(5) Gas Code (statewide):

(a) Standard Gas Code, 1994 Edition.

(b) Section 553.851, Florida Statutes, Protection of Underground Gas Pipelines.

(6) Plumbing Code (statewide): Standard Plumbing Code, 1994 Edition.

(7) Accessibility by Handicapped Persons Code (statewide):

(a) Part V, Chapter 553, Florida Statutes, Accessibility by Handicapped Persons.

(b) Section 316.1955, Florida Statutes, Parking Spaces Provided by Governmental Agencies for Certain Disabled Persons.

(c) Section 399.035, Florida Statutes, Elevator Accessibility Requirements for the Physically Handicapped.

(8) Glass Code: Part III, Chapter 553, Florida Statutes, Glass (statewide).

(9) Liquefied Petroleum Gas Code: Chapter 527, Florida Statutes, Sale of Liquefied Petroleum Gas (statewide).

(10) Elevator Code: Department of Business Regulation Rules, Chapter 7C-5, F.A.C., Florida Elevator Safety Code (statewide).

(11) Flood Plain Management Code: Section 255.25(6), Florida Statutes (statewide).

(12) Water Resources Code: Chapter 373, Florida Statutes, as applicable (statewide).

(13) Coastal Construction Code: Chapter 161, Florida Statutes, Part III, Coastal Zone Protection.

Specific Authority 553.73(1), (2) FS. Law Implemented 553.73 FS. History–New 9-7-81, Amended 7-10-85, Formerly 13D-17.05, Amended 10-31-90, Formerly 13D-17.005, Amended 5-12-96.