61G15-34.008 Design of Mechanical Machines and Motion Systems.

(1) Mechanical Machines and Motion Systems include any and all mechanical systems, devices, machines and equipment used by the public for conveyance, amusement, transportation, or facilitation of any process. These systems would include elevators, escalators, moveable walkways, amusement park rides, etc. Items to be included in the design of these systems include Building Code and permitting requirements, electrical requirements, hydraulic requirements, gear and drive sizes and materials, instrumentation and controls, handicap requirements, structural requirements, operating dynamics requirements.

(2) Mechanical documents applicable to mechanical machines and motion systems shall at a minimum include the following:

(a) Equipment schedule for each piece of mechanical equipment including material type and characteristics, systems weight loading requirements and electrical and hydraulic requirements.

(b) Floor plans, site plans, and building and system elevations.

(c) System diagrams and schematics with appropriate system sizing information.

(d) System layout and design requirements.

(e) Specific system design requirements to allow for independent project review.

(f) List of NFPA, ASHRAE, ASME, ANSI or other applicable design codes, standards, and requirements.

(g) Instrumentation and Control Diagrams and sequence of operation.

(h) Required fire protection systems and devices.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 11-16-94.