62-601.100 Scope, Intent, Purpose, and Applicability.

(1) Section 403.051(2)(a), Florida Statutes, as amended, part of the Florida Air and Water Pollution Control Act, requires that any Department operating standards, criteria, and requirements for wastewater facilities be developed as a rule. This rule is promulgated to implement the provisions and requirements of the Act concerning domestic wastewater treatment plant monitoring.

(2) The purpose of Chapter 62-601, F.A.C., is to ensure that owners and operators of domestic wastewater treatment facilities maintain accurate records and submit reports required by this chapter in a timely, accurate, cost-effective and uniform manner.

(3) Standards and requirements in this chapter shall apply only to domestic wastewater treatment, reuse, and disposal facilities (including residuals management facilities). The standards and requirements are not applicable to facilities described in subsections 62-600.120(1) and (2), F.A.C.

(a) Standards and requirements shall apply to all new facilities and modifications or expansions of existing facilities that submit complete permit applications to the Department after July 1, 1991.

(b) Standards and requirements shall apply to all existing facilities that submit complete applications for permit renewal after July 1, 1991.

(4) Domestic wastewater facilities that submit complete permit applications on or before July 1, 1991 may:

(a) Continue to comply with the rule requirements that were in effect at the time the permit was issued and with the conditions of the existing construction or operation permit until the expiration of such permit, or

(b) Opt to comply with the requirements of this revised chapter.

Specific Authority 403.051, 403.061, 403.088 FS. Law Implemented 403.051, 403.061(13), 403.088 FS. History–New 1-1-75, Amended 6-10-76, Formerly 17-19.01, 17-19.001, Amended 1-30-91, Formerly 17-601.100, Amended 12-24-96.