62-625.110 Applicability.

(1) This chapter applies:

(a) To the discharge of pollutants from nondomestic sources covered by pretreatment standards which are discharged into, transported by truck or rail, or otherwise introduced into WWFs as defined in subsection 62-625.200(24), F.A.C.;

(b) To public utilities which receive wastewater from sources subject to pretreatment standards and that discharge to surface waters of the State, or public utilities required to implement a pretreatment program in accordance with Chapter 62-610, F.A.C.; and

(c) To any new or existing source subject to pretreatment standards.

(2) This chapter shall not be implemented until the date this Department receives authorization from the United States Environmental Protection Agency (EPA) to administer the NPDES program.

(3) This chapter does not apply to industrial wastewater facilities that accept wastewater from another facility for co-treatment, reuse or disposal, unless such facility discharges to a public utility.

Specific Authority 403.061(7), (31), 403.0885 FS. Law Implemented 403.0885, 403.08851 FS. History–New 11-29-94.