62-761.200 Definitions.

The following words, phrases or terms used in this chapter, unless the context indicates otherwise, shall have the following meaning:

(1) “Ammonia” includes organic amines and inorganic compounds that are liquids at standard temperature and pressure that, when discharged, release free amonia (NH3), or ammonium ion (NH4+).

(2) “AST” means an aboveground storage tank.

(3) “Bulk product piping” means on-site integral piping with an internal diameter greater than three inches that is utilized for transporting regulated substances.

(4) “Cathodic protection” means a method of preventing corrosion of a metal surface by making that surface the cathode of an electrochemical cell through the use of devices such as galvanic anodes or impressed current.

(5) “Cathodic Protection Tester” means a person who can demonstrate an understanding of the principles and measurements of all common types of cathodic protection systems as applied to buried or submerged metal piping and tank systems. At a minimum, such persons shall have education and experience in soil resistivity, stray current, structure-to-soil potential, and component electrical isolation measurements of buried metal piping and tank systems.

(6) “Certified Contractor” means a Pollutant Storage System Contractor certified by the Department of Business and Professional Regulation in accordance with Chapter 489, F.S. Except for the exemptions specified in Chapter 489, F.S., Certified Contractors are not required for activities that do not involve excavating or disturbing the backfill around UST systems. Certified Contractors are the only contractors authorized to perform the following activities for underground pollutant storage tank systems:

(a) Installation of:

1. USTs or integral piping, excluding drop tubes;

2. Overfill protection and spill containment;

3. Secondary containment;

4. Internal release detection devices;

5. Cathodic protection systems; and

6. Dispenser liners when the integral piping is connected or disconnected during the installation of secondary containment.

(b) Removal of tanks or integral piping; and

(c) Internal lining of tanks.

(7) “Chlorine” includes organic and inorganic compounds that are liquids at standard temperature and pressure that, when discharged, may release free chlorine (Cl2) or chlorides (Cl-).

(8) “Compatible” means the ability of two or more substances to maintain their respective physical and chemical properties upon contact with one another for the design life of the storage tank system under conditions likely to be encountered in the storage tank system.

(9) “Contamination” or “contaminated” means the presence of regulated substances in surface water, groundwater, soil, sediment, or upon the land, in quantities that result in exceedances of applicable cleanup target levels in Chapter 62-770, F.A.C., where petroleum or petroleum products are present, or water quality standards in Chapter 62-3, 62-302, 62-520, or 62-550, F.A.C.

(10) “Corrosion Professional” means a person who, by reason of knowledge of the physical sciences and the principles of engineering and mathematics acquired by a professional education and related practical experience, is qualified to engage in the practice of corrosion control on buried or submerged metal components of a storage tank system. Corrosion Professionals shall be accredited or certified by NACE International, or be a professional engineer registered in the State of Florida.

(11) “County” means a locally administered program under contract with the Department to perform compliance verification activities at facilities with storage tank systems.

(12) “Discharge” includes, but is not limited to, any spilling, leaking, seeping, pouring, misapplying, emitting, emptying, or dumping of any regulated substance which occurs and which affects lands and the surface and ground waters of the state.

(13) “Discovery” means:

(a) Either actual knowledge or knowledge of facts that could reasonably lead to actual knowledge of the existence of an incident, discharge, or an unmaintained storage tank system; or

(b) Discovery as specified in the Petroleum Contamination Site Cleanup Criteria subsection 62-770.200(10), F.A.C.

(14) “Dispenser” means a dispensing system that is used to transfer vehicular fuel from a fixed point to a vehicle.

(15) “Dispenser liner” means a liner installed as secondary containment beneath a dispenser to prevent discharges of regulated substances.

(16) “Dispensing system” means equipment that is used to transfer regulated substances from integral piping through a rigid or flexible hose or pipe to another point of use outside of the storage tank system.

(17) “Double-walled” means a storage tank that has an outer tank wall, or integral piping that has an outer wall that provides secondary containment of the primary tank or piping.

(18) “Empty” means all regulated substances have been removed so that no more than one inch in depth or 0.3 percent by weight of total system capacity of regulated substances remains in the storage tank system.

(19) “Existing contamination” means:

(a) The presence of free product or sheen on the groundwater;

(b) The presence of vapor levels in monitoring wells measured in accordance with DEP’s “Guidelines for Vapor Monitoring” or by a Flame Ionization Detector or an equivalent instrument in excess of:

1. 500 parts per million total petroleum hydrocarbons for storage tank systems containing gasoline or equivalent petroleum products; or

2. 50 parts per million total petroleum hydrocarbons for storage tank systems containing kerosene, diesel or other equivalent petroleum products;

(c) Results of analytical tests on a groundwater sample that:

1. Exceed the cleanup target levels for petroleum products’ contaminants of concern specified in Table I of Chapter 62-777, F.A.C.; or

2. Indicate the presence of a hazardous substance that is not described in subparagraph 62-761.200(19)(c)1., F.A.C., above; or

3. Indicate the presence of a regulated substance that is not described in subparagraph 62-761.200(19)(c)1., F.A.C., above; or

(d) After July 13, 1998, results of analytical tests on a soil sample that:

1. Exceed the lower of direct exposure residental and leachability based on groundwater criteria cleanup target levels for petroleum products’ contaminants of concern specified in Table II of Chapter 62-777, F.A.C.; or

2. Indicate the presence of a hazardous substance that is not described in subparagraph 62-761.200(19)(d)1., F.A.C., above; or

3. Indicate the presence of a regulated substance that is not described in subparagraph 62-761.200(19)(d)1., F.A.C., above.

(20) “Facility” means a nonresidential location containing, or that contained, any stationary tank or tanks containing, or that contained regulated substances, and that have, or had, individual capacities greater than 110 gallons for UST systems.

(21) “Free product” means a regulated substance in excess of 0.01 foot in thickness, measured at its thickest point, floating on water, surface water or groundwater.

(22) “Hazardous substances” means those substances defined as hazardous substances in the Comprehensive Environmental Response, Compensation and Liability Act of 1980, Pub. L. No. 96-510, 94 stat. 2767, as amended by the Superfund Amendments and Reauthorization Act of 1986.

(23) “Heating oil” means any petroleum based fuel used in the operation of heating equipment, boilers, or furnaces.

(24) “High viscosity” means a pollutant with a viscosity of 30 centistokes (cSt) and higher at 40 degrees Centigrade.

(25) “Hydraulic lift tank” means a tank that holds hydraulic fluid for a closed-loop mechanical system used to operate lifts, elevators, and other similar devices.

(26) “Hydrostatic test” means a test for a storage tank or storage tank system component that is performed in accordance with this Chapter using equilibrium and the pressure of liquids to test the integrity of the tank or system component.

(27) “Impervious” means:

(a) A synthetic material or another material approved in accordance with subsection 62-761.850(2), F.A.C., that is compatible with the stored regulated substance, and has a permeability rate to the regulated substance stored of 1 × 10-7 cm/sec or less; or

(b) For concrete structures, a material that:

1. Meets the design and construction standards of ACI 350R-89 and ACI 224R-89; or

2. Is applied to the concrete in accordance with NACE International Standard RP0892-92.

(28) “In contact with the soil” means integral piping connected to USTs, or any portion of a tank, that:

(a) Physically touches the soil; or

(b) Is not in direct contact with the soil, and is separated from the soil only by a casing, wrapping, or other material that is not impervious.

(c) Those portions of integral piping that are elevated and that are not in direct contact with the soil are excluded from this definition.

(29) “Incident” is a condition or situation indicating that a discharge may have occurred from a storage tank system.

(30) “In-service” means a storage tank system that is being actively maintained and operated in accordance with this Chapter. Non-compliance with any specific rule within this Chapter does not exclude the system from being considered “in-service.” Subject to the above, a storage tank system is also considered to be in-service if it:

(a) Contains regulated substances or has regulated substances regularly added to or withdrawn from the system;

(b) Is emptied solely for the purpose of cleaning, routine maintenance, or a change in product, for a time period not exceeding 45 days; or

(c) Contains non-regulated substances and is still maintained in an in-service status at the request of the owner or operator.

(31) “Integral piping” means on-site piping, originating or terminating at the regulated storage tank or tanks, that conveys regulated substances. Vapor recovery lines and vent lines are not considered integral piping. Integral piping includes all valves, elbows, joints, flanges, pumps, and flexible connectors, up to the:

(a) Union of the piping with the dispensing system;

(b) Fill cap or fill valve;

(c) Forwarding pump used for transferring regulated substances to a flow-through process tank or an industrial production or manufacturing point of use; or

(d) First flange or connection within the loading rack containment area.

(32) “Internal lining” means a material that is applied internally on USTs to protect the tank from internal corrosion.

(33) “Interstitial monitoring” is a release detection method that is used to determine the presence of regulated substances or water between the primary and secondary containment. Interstitial monitoring can be performed within:

(a) A closed interstitial space between two steel or impervious barriers that are sealed, not open to the atmosphere, and designed to be tested for a breach of integrity of the interstitial space; or

(b) An open interstitial space between two steel or impervious barriers that are open to the atmosphere, and not designed to be tested for a breach of integrity of the interstitial space.

(34) “Liner” means an impervious material that meets the performance standards of paragraph 62-761.500(1)(d), F.A.C., that is used externally as a method of secondary containment.

(35) “Maintenance” means the normal operational upkeep to prevent a storage tank system from releasing regulated substances.

(36) “Nationally Recognized Laboratory” means an organization that can perform quantitative and qualitative tests on storage tank system equipment, evaluate the test data and equipment performance, and make determinations of the equipment’s capability of meeting the technical standards of this Chapter. A Nationally Recognized Laboratory shall have at least five years of professional storage tank system equipment testing experience. Nationally Recognized Laboratories include organizations such as Underwriter’s Laboratories, Carnegie Mellon Research Institute, Midwest Research Institute, Ken Wilcox Associates, Factory Mutual, and American Board of Engineering and Technology (ABET) Accredited Universities.

(37) “On-site” means on the same or geographically contiguous property as the facility regulated under this Chapter, that is under the same ownership or control, and which may be divided by a public or private right-of-way or an easement.

(38) “Operational life” refers to the period from the start of installation of the storage tank system to the completion of the closure of the storage tank system in accordance with subsection 62-761.800(2), F.A.C.

(39) “Operator” means any person operating a facility, whether by lease, contract, or other form of agreement.

(40) “Out-of-service” means a storage tank system that:

(a) Is designated as an out-of-service system by owner or operator notification to the Department on Form 62-761.900(2);

(b) Is empty as defined in subsection 62-761.200(18), F.A.C.; and

(c) Does not have regulated substances transferred into or withdrawn from the tank as specified in subsection 62-761.800(1), F.A.C., for a maximum time of:

1. Two years of being taken out-of-service for USTs; or

2. Ten years of being taken out-of-service for storage tank systems with secondary containment.

(41) “Overfill” is a release or discharge that occurs when a tank is filled beyond its capacity.

(42) “Owner” means any person as defined in Section 376.301(23), F.S., owning a facility.

(43) “Pesticides” means all preparations, products, and substances included in the Department of Agriculture and Consumer Services’ Rule 5E-2.002, F.A.C.

(44) “Petroleum” includes:

(a) Oil, including crude petroleum oil and other hydrocarbons, regardless of gravity, which are produced at the well in liquid form by ordinary methods and which are not the result of condensation of gas after it leaves the reservoir; and

(b) All natural gas, including casinghead gas, and all other hydrocarbons not defined as oil in paragraph 62-761.200(44)(a), F.A.C.

(45) “Petroleum product” means any liquid fuel commodity made from petroleum.

(a) Forms of fuel considered to be petroleum products include all fuels known or sold as:

1. Diesel fuel;

2. Kerosene;

3. Gasoline; and

4. Fuels containing mixtures of gasoline and other products.

(b) Forms of fuel excluded from this definition are:

1. Liquefied petroleum gas;

2. American Society for Testing and Materials (ASTM) grades no. 5 and no. 6 residual oils;

3. Bunker C residual oils;

4. Intermediate fuel oils used for marine bunkering with a viscosity of 30 and higher;

5. Asphalt oils; and

6. Petrochemical feedstocks.

(46) “Pipe” or “piping” means any hollow cylindrical or tubular conveyance through which regulated substances flow.

(47) “Piping sump” or “Submersible turbine pump sump” means a liner installed as secondary containment or a monitoring port at the top of a tank or at the lowest point in the integral piping to detect releases.

(48) “Pollutants” includes any “product” as defined in Section 377.19(11), F.S., pesticides, ammonia, chlorine, and derivatives thereof, excluding liquefied petroleum gas.

(49) “Pressure test” means a test to determine the integrity of integral piping performed in accordance with subparagraph 62-761.640(5)(a)1., F.A.C.

(50) “Pressurized piping” means piping through which regulated substances flow due to a pump that is not located at the dispensing system.

(51) “Product” as defined in Section 377.19(11), F.S., means any commodity made from oil or gas and includes refined crude oil, crude tops, topped crude, processed crude petroleum, residue from crude petroleum, cracking stock, uncracked fuel oil, fuel oil, treated crude oil, residuum, gas oil, casinghead gasoline, natural gas gasoline, naphtha, distillate, condensate, gasoline, used oil, kerosene, benzene, wash oil, blended gasoline, lubricating oil, blends or mixtures of oil with one or more liquid products or byproducts derived from oil or gas, and blends or mixtures of two or more liquid products or byproducts derived from oil or gas, whether hereinabove enumerated or not.

(52) “Registered Precision Tank Tester” means a contractor that performs tightness tests on USTs, and small diameter piping connected to USTs, that is registered by the Department of Business and Professional Regulation pursuant to Chapter 489, F.S.

(53) “Regulated substance” means a liquid at standard conditions of temperature and pressure (60 degrees Fahrenheit and 14.7 pounds per square inch absolute), that is a pollutant or a hazardous substance, or any mixture of the two, when stored in a UST.

(54) “Release” means:

(a) A discharge; or

(b) A loss of regulated substances from a storage tank system into the system’s secondary containment.

(55) “Release detection” means a method of:

(a) Determining whether a discharge of regulated substances has occurred; or

(b) Detecting the presence of regulated substances within a storage tank system’s secondary containment.

(56) “Release detection response level” is the point of measurement, calculation, observation, or level that is established for each individual release detection device or method at which an investigation must be initiated to determine if an incident, release, or discharge has occurred.

(57) “Repair” means to restore or replace any defective or damaged parts of a storage tank system. Replacement of a non-defective part is not a repair.

(58) “Residential storage tank system” means a storage tank system that is located on property used primarily for dwelling purposes, and the storage and use of regulated substances in the tank is for residential purposes.

(59) “Secondary containment” means a release detection and prevention system that meets the performance standards of paragraph 62-761.500(1)(d), F.A.C., and includes dispenser liners, piping sumps, double-walled tanks and piping systems, or single-walled tanks or piping systems that are contained within a liner or an impervious containment area.

(60) “Sheen” means a regulated substance less than or equal to 0.01 foot in thickness, measured at its thickest point, or visibly observed, floating on surface water, groundwater, or within secondary containment.

(61) “Significant loss or gain” means the sum of losses and gains of a regulated substance over a 30 day or monthly period that exceeds:

(a) For tanks with capacities between 111 and 2,000 gallons with an individual flow-through less than 5,000 gallons during the previous 30 days:

1. One percent of the tank capacity; or

2. One percent of the total weekly output; or

3. Fifty gallons, whichever is greatest; or

(b) For tanks with capacities greater than 2000 gallons, or tanks with an individual flow-through exceeding 5,000 gallons during the previous 30 days:

1. One percent of the tank capacity; or

2. One percent of the amount of product dispensed during the previous 30 days, plus 130 gallons, whichever is greatest.

(62) “Small diameter piping” means integral piping with an internal diameter of three inches or less that is utilized for transporting regulated substances.

(63) “Storage tank system” means a tank used to contain regulated substances, its integral piping, and all its components, including dispensing systems, spill containment devices, overfill protection devices, secondary containment systems, and any associated release detection equipment.

(64) “Suction piping” means piping through which regulated substances flow due to a pump located at the dispensing system.

(65) “Tank” means an enclosed stationary container or structure that is designed or used to store regulated substances, and the volume of which, including the volume of underground piping, is ten percent or more buried beneath the surface of the ground.

(66) “Tightness test” means a test for an underground storage tank or its small diameter piping that is performed in accordance with subparagraphs 62-761.640(3)(f)1. and (4)(b), F.A.C., by a precision tank tester registered with the Department of Business and Professional Regulation under Chapter 489, F.S.

(67) “UST” means an underground storage tank.

(68) “UST Category-A system” means a system containing pollutants that was installed on or before June 30, 1992, or a system containing hazardous substances that was installed before January 1, 1991.

(69) “UST Category-B system” means a system containing pollutants that was installed after June 30, 1992, or a system containing hazardous substances that was installed on or after January 1, 1991, and before July 13, 1998.

(70) “UST Category-C system” means a system that was installed on or after July 13, 1998. USTs that are removed and relocated on or after July 13, 1998 are considered Category-C systems.

(71) “Unmaintained” means:

(a) A storage tank system that was not closed in accordance with Department rules; or

(b) An out-of-service storage tank system that is not returned to in-service status within:

1. Two years of its being out-of-service for USTs; or

2. Ten years of its being out-of-service for storage tank systems with secondary containment.

(72) “Upgrade” means the addition or retrofit of cathodic protection, internal lining, spill prevention, overfill protection, or secondary containment, to a storage tank system, or the installation of single wall corrosion resistant storage tanks, to improve the ability of the storage tank system to prevent discharges of regulated substances.

(73) “Vehicular fuel” means a petroleum product used to fuel motor vehicles, including aircraft, watercraft, and vehicles used on and off roads and rails.

Specific Authority 376.303 FS. Law Implemented 376.303 FS. History–New 12-10-90, Amended 5-4-92, 3-8-94, Formerly 17-761.200, Amended 9-30-96, 7-13-98, 6-21-04.