Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Trachte Building Systems on February 22, 2021. The following is a summary of the agency's disposition of the petition: Petitioner requested an answer to the following question, based upon the project described within its petition: If our doors, which are made with 26 gauge material, pass the requirements of TAS 201-94, TAS 202-94, and TAS 203-94, would we still be required to meet the 24 gauge material thickness requirement? On April 13, 2021, the Commission provided the following answer: yes. Pursuant to section 2217.1, Florida Building Code, Building, 7th Edition (2020), in addition to passing the requirements of TAS 201-94, TAS 202-94 and TAS 203-94, the product in question must also comply with the 24 gauge material thickness requirement of section 2222.4.3, Florida Building Code, Building, 7th Edition (2020).

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.