64E-5.318 Use of Process or Other Engineering Controls.

The licensee shall use to the extent practicable process or other engineering controls such as containment or ventilation to control the concentrations of radioactive material in air. When it is not practicable to apply process or other engineering controls, the licensee shall, consistent with maintaining the total effective dose equivalent ALARA, increase monitoring and limit intakes by one or more of the following means:

(1) Control of access;

(2) Limitation of exposure time;

(3) Use of respiratory protection equipment; or

(4) Other controls.

Specific Authority 404.051 FS. Law Implemented 404.022, 404.051(1), (4) FS. History–New 1-1-94, Amended 5-15-96, Formerly 10D-91.450.