64E-5.608 Supervision.

(1) A licensee who permits the receipt, possession, use, or transfer of radioactive material by an individual under the supervision of an authorized user as allowed by Rule 64E-5.601, F.A.C., shall:

(a) Instruct the supervised individual in the principles of radiation safety appropriate to that individual’s use of radioactive material and in the licensee’s written quality management program;

(b) Review the supervised individual’s use of radioactive material, provide reinstruction as needed and review records kept to reflect this use;

(c) Require the authorized user to be immediately available to communicate with the supervised individual;

(d) Require the authorized user to be able to be physically present and available to the supervised individual within 1 hour; and

(e) Require that only those individuals specifically designated by the authorized user be permitted to administer radionuclides or radiation to patients.

(2) A licensee shall require the supervised individual receiving, possessing, using or transferring radioactive material specified in Rule 64E-5.601, F.A.C., to:

(a) Follow the instructions of the supervising authorized user;

(b) Follow the written radiation and quality management procedures established by the licensee; and

(c) Comply with these regulations and the license conditions regarding the use of radioactive material.

Specific Authority 404.022, 404.051, 404.061, 404.071, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (5), (6), (8), (9), (10), (11), 404.061(2), (3), 404.071(1), 404.081, 404.141 FS. History–New 8-25-91, Amended 1-1-94, Formerly 10D-91.714.