64E-8.013 Cross-Connection Control.

(1) Cross-connections as defined in subsection 64E-8.001(5), F.A.C., are prohibited.

(2) Any cross-connection involving a limited use, multi-family, or private water system shall be corrected using the methods established within “Recommended Practice for Backflow Prevention and Cross-Connection Control”, American Water Works Association Manual M14, Second Edition, 1990, American Water Works Association, 6666 West Quincy Avenue, hereby incorporated by reference.

Specific Authority 381.0011(4), (13), 381.006, 381.0062(1), (3)(a), 403.862(1)(f) FS. Law Implemented 381.0012, 381.006(1), (2), 381.0061, 381.0062(1)-(3), 381.0067, 403.862(1)(f) FS. History–New 1-26-98, Amended 11-13-00.