## 69A-21.115 “Appropriate Training” for Servicing Fire Extinguishers and Preengineered Systems Defined; Limitations; Restrictions.

“Appropriate training” as used in section 633.304(1), F.S., for the purpose of servicing fire extinguishers and preengineered systems means:

(1) Any training specific to the servicing of the fire extinguisher or preengineered system provided by the manufacturer of the fire extinguisher or preengineered system; or

(2) Any training which provides proficiency in the servicing of a fire extinguisher and a preengineered system in accordance with the manufacturer’s maintenance procedures and specifications and with the applicable National Fire Protection Association standards, as required by section 633.306(2), F.S.; provided that the training of any person for servicing of fire extinguishers and preengineered systems, and any servicing of such equipment and systems, must comply fully with sections 633.306(1)(b), (c), and (d), F.S., and the applicable requirements of rule chapter 69A-21, F.A.C.

Rulemaking Authority 633.104 FS. Law Implemented 633.304, 633.306 FS.  History–New 3-7-04.