Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO.:	RULE TITLE:

62-610.469	Application/Distribution Systems and Cross-Connection Control

62-610.650	Description of System

62-610.660	Cross-Connection Control and Protection of the Reclaimed Water Supply

The Department of Environmental Protection hereby gives notice:

That on April 11, 2024, the Department issued a final order granting City of Auburndale’s petition for a variance. The petition was received on September 12, 2023. Notice of receipt of this petition was published in the Florida Administrative Register on September 20, 2023. The Petition requested a variance from paragraphs 62-610.469(7)(g), 62-610.650(3) and 62-610.660(3)(a), F.A.C., which prohibits the return of reclaimed water to the reclaimed water distribution system after the reclaimed water has been delivered to a user. No public comment was received. The Order, OGC file number 23-1455 and DEP file number FL0021466-027-DW1P/NR, granted the petition because the Petitioner demonstrated substantial economic hardship and proposed an alternative means of achieving the purpose of the underlying statutes implemented by the rule.

A copy of the Order or additional information may be obtained by contacting:

Karla Lopez, 13051 Telecom Pkwy N, Temple Terrace, Florida 33637, (813) 470-5936, or Karla.A.Lopez@FloridaDEP.gov.