Notice of Variances and Waivers

DEPARTMENT OF HEALTH
Division of Environmental Health

RULE NO: RULE TITLE
64E-16.004: Storage and Containment

NOTICE IS HEREBY GIVEN THAT on April 9, 2007, the Department of Health received a Petition for Temporary Emergency Variance from subparagraph 64E-16.004(2)(d), (3), Florida Administrative Code, from John D. Fairley on behalf of Sure-Way Systems, Inc. That rule requires reusable sharps containers to be emptied directly into a treatment cart or directly into a treatment unit. The Petitioner requests a Temporary Emergency Variance from the rule to allow the Petitioner to empty reusable sharps containers via a fully automated mechanized tipper directly into 96 gallon UNDOT approved biomedical waste containers for transport offsite to a permitted biomedical waste treatment facility. At the treatment facility, the 96-gallon containers will be emptied via an automated hands-free tipper directly into a treatment cart and its contents will be treated in accordance with Chapter 64E-16, Florida Administrative Code.

Comments on this Petition should be filed with: Agency Clerk, Department of Health, Office of the General Counsel, 4052 Bald Cypress Way, Bin A02, Tallahassee, Florida 32399, within 5 days of publication of this notice.

A copy of the petition may be obtained from: Gina Vallone-Hood, Bureau of Community Environmental Health, 4052 Bald Cypress Way, Bin A08, Tallahassee, Florida 32399 or by calling (850)245-4273. A copy of the Petition for Variance or Waiver may be obtained by contacting Gina Vallone at (850)245-4277.