Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT the Department of Community Affairs, Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Paul B. Dickson, CBO on behalf of the City of Cape Coral on September 6, 2006. The following is a summary of the agency’s disposition of the petition:

It was assigned the number DCA06-DEC-218. The Commission determined that although the land “footprint” of one of the anchor stores is under separate ownership from the rest of the Coral Walk Shopping Center, the shopping center is a single building for the purposes of measuring fire separation distance and application of the unlimited building area exception, pursuant to sections 507.2 and 702, Florida Building Code, Building Volume (2004 as amended 12/05).

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Paula P. Ford, Commission Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.