Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

RULE NO: RULE TITLE
61C-1.004: General Sanitation and Safety Requirements

NOTICE IS HEREBY GIVEN THAT on January 10, 2008, the Florida Department of Business and Professional Regulation, Division of Hotels and Restaurants has issued an order.

NOTICE WAS HEREBY GIVEN THAT on December 19, 2007, for a Routine Variance for paragraph 61C-1.004(1)(d), Florida Administrative Code, from Bob’s Train located in Sarasota. The above referenced Florida Administrative Code specifically addresses the proper disposal of sewage. The Petitioner is requesting to have the waste tanks pumped-out opposed to having permanent sewage connections.

This variance request was approved and is contingent upon the Petitioner using a sufficiently sized potable water tank and utilizing a wastewater holding tank that is at least 15% larger than the potable water holding tank. Water and wastewater holding tanks are to be emptied as often as needed to prevent a sanitary nuisance. Petitioner must have an approved supply of potable water with written documentation provided. All waste disposals shall be adhered to as specified in applicable state and federal laws. The variance request from the Petitioner indicated that permanent connections for potable and wastewater service were to come in the future. The Petitioner is to notify the Division in writing within 30 days of the permanent connections being installed and the variance will become null and void. This variance is not transferable under any conditions. Any violation of the variance is the equivalent of a violation of the rule and may result in a rescission of the variance, and subject the Petitioner to disciplinary sanctions as enumerated in Section 509.261, Florida Statutes.

A copy of the Order may be obtained by contacting: Xenia.Bailey@dbpr.state.fl.us.