61C-5.009 Venting of Hoistways, Minimum Requirements.

Hoistways of elevators serving more than three stories shall be provided with means for venting smoke and hot gases to the outer air in case of fire. Hoistway vents shall conform to Chapter 30, Section 3004, of the Florida Building Code, as incorporated by reference.

Specific Authority 399.10 FS. Law Implemented 399.02 FS. History–New 7-12-83, Formerly 7C-5.09, Amended 11-1-87, 10-31-88, Formerly 7C-5.009, Amended 2-2-94, 4-2-08.