## 64E-8.013 Cross-Connection Control.

(1) Cross-connections as defined in subsection 64E-8.001(4), F.A.C., are prohibited.

(2) Any cross-connection involving a Limited Use Public, Multi-family, or Private Water System shall be corrected using the methods established in the “Recommended Practice for Backflow Prevention and Cross-Connection Control,” American Water Works Association Manual M14, Third Edition, 2004, available from the American Water Works Association at 6666 West Quincy Avenue, Denver, CO 80235.

Rulemaking Authority 381.006, 403.862(1)(f) FS. Law Implemented 381.006(1), 381.0062, 403.862(1)(f) FS. History–New 1-26-98, Amended 11-13-00, 5-4-08.