# CHAPTER 14-46

# UTILITIES INSTALLATION OR ADJUSTMENT

# 14-46.001	Utilities Installation or Adjustment

# 14-46.0011	Utilities Liaison (Repealed)

# 14-46.002	Responsibility for the Cost of Railroad/Highway Crossings (Repealed)

# 14-46.003	Highway/Railroad At-Grade Intersections – Authorization for Opening and Closing (Repealed)

# 14-46.004	Regulation of Train Speed (Repealed)

# 14-46.005	Wireless Facilities

## 14-46.001 Utilities Installation or Adjustment.

(1) Purpose. This rule is established to regulate the location and manner for installation and adjustment of utility facilities on any Florida Department of Transportation (FDOT) right-of-way, in the interest of safety and the protection, utilization, and future development of such rights of way, with due consideration given to public service afforded by adequate and economical utility installations, and to provide procedures for the issuance of permits.

(2) Permits.

FDOT will issue permits for the construction, alteration, operation, relocation, removal, and maintenance of utilities upon the right of way in conformity with the FDOT Utility Accommodation Manual (UAM), 2017 edition incorporated by reference at https://www.flrules.org/Gateway/reference.asp?No=Ref-08495. Copies of the UAM are available from the FDOT Maps and Publications Office at 605 Suwannee Street, MS 12, Tallahassee, Florida 32399-0450, or the FDOT Utility website: www.fdot.gov/programmanagement/utilities/. The following documents are hereby incorporated by reference and made a part of this rule:

(a)	The Utility Permit, Rev. 12/14/16, is incorporated herein by reference at https://www.flrules.org/Gateway/reference.asp?No=Ref-07737, and available from www.fdot.gov/programmanagement/utilities;

(b)	Utility Work Schedule, Rev. 12/14/16, incorporated herein by reference at https://www.flrules.org/Gateway/reference.asp?No=Ref-07738, and available from www.fdot.gov/programmanagement/utilities;

(c)	Utility Work Estimate, Effective 12/14/16, incorporated herein by reference at https://www.flrules.org/Gateway/reference.asp?No=Ref-07739, and available from www.fdot.gov/programmanagement/utilities;

(d) American Petroleum (API) Standard 1104 – Welding of Pipelines and Related Facilities, 20th Edition, October 2005, available at www.techstreet.com/api/products/1237425. Posting of this manual for public inspection would violate federal copyright law. A copy is available for public inspection during regular business hours at the Florida Department of Transportation, Program Management Office, 605 Suwannee Street, Tallahassee, Florida.

(e) Grades and Standards for Nursery Plants, Florida Department of Agriculture and Consumer Services, Division of Plant Industry, 2015, incorporated herein at https://www.flrules.org/Gateway/reference.asp?No=Ref-06046, and available from www.fdot.gov/programmanagement/utilities.

(f) FDOT 2016 Design Standards, Indexes 546, 600, 601, 602, 603, 604, 605, 611, 612, 613, 615, 616, and 660, incorporated herein at https://www.flrules.org/Gateway/reference.asp?No=Ref-06045, and 2016 Design Standard Index 625, incorporated herein at https://www.flrules.org/Gateway/reference.asp?No=Ref-07740, and available from www.fdot.gov/programmanagement/utilities.

(g) FDOT South Florida Rail Corridor Clearance Policy, Topic No. 000-725-003-j, effective 9/20/2007, incorporated herein at https://www.flrules.org/Gateway/reference.asp?No=Ref-06031, and available from www.fdot.gov/programmanagement/utilities.

(h) American Society for Testing and Materials (ASTM) D1586-11 Standard Test Method for Standard Penetration Test (SPT) and Split-Barrel Sampling of Soils (2011) available at astm.org/standards/D1586.htm. Posting of this manual for public inspection would violate federal copyright law. A copy is available for public inspection during regular business hours at the Florida Department of Transportation, Program Management Office, 605 Suwannee Street, Tallahassee, Florida.

(i) American National Standards for Tree Care Operations – Tree, Shrub, and Other Woody Plant Management – Standard Practices (Pruning), ANSI A300 (Part 1) – 2008 Pruning, available at www.tcia.org. Posting of this manual for public inspection would violate federal copyright law. A copy is available for public inspection during regular business hours at the Florida Department of Transportation, Program Management Office, 605 Suwannee Street, Tallahassee, Florida.

(j) 49 C.F.R. Part 192, Rev. 10/1/11, incorporated herein at https://www.flrules.org/Gateway/reference.asp?No=Ref-07741, and 49 CFR Part 195, Rev, 10/1/11 incorporated herein at https://www.flrules.org/Gateway/reference.asp?No=Ref-07742, and available from www.fdot.gov/programmanagement/utilities.

Rulemaking Authority 334.044(2), 337.401, 337.405 FS. Law Implemented 337.401, 337.402, 337.403, 337.405 FS. History–New 5-13-70, Amended 8-10-78, 7-22-82, Formerly 14-46.01, Amended 7-5-90, 6-8-93, 10-15-96, 8-30-99, 11-10-05, 1-24-08, 1-30-11, 7-30-17.

## 14-46.0011 Utilities Liaison.

Rulemaking Authority 334.044(2) FS. Law Implemented 337.401, 337.402, 337.403, 337.404 FS. History–New 7-5-90, Amended 6-8-93, Repealed 8-30-99.

## 14-46.002 Responsibility for the Cost of Railroad/Highway Crossings.

Rulemaking Authority 334.044(2) FS. Law Implemented 335.141(3), 339.05 FS. History–New 2-3-71, Amended 5-27-72, 8-20-78, 7-22-82, Formerly 14-46.02, Repealed 5-8-03.

## 14-46.003 Highway/Railroad At-Grade Intersections – Authorization for Opening and Closing.

Rulemaking Authority 120.53(1)(a), (b), (2)(a), 334.044(2) FS. Law Implemented 335.141 FS. History–New 12-10-77, Amended 1-25-79, 7-22-82, Formerly 14-46.03, Amended 12-18-88, Repealed 5-8-03.

## 14-46.004 Regulation of Train Speed.

Rulemaking Authority 334.044(2) FS. Law Implemented 335.141(3) FS. History–New 11-3-83, Formerly 14-46.04, Amended 12-18-88, Repealed 5-20-97.

## 14-46.005 Wireless Facilities

(1) Purpose. This rule is established to provide requirements for the installation, operation, maintenance, relocation, and adjustment of Small Wireless Equipment and Small Wireless Structures within the Florida Department of Transportation’s (FDOT) rights-of-way in a manner that protects the safety of the travelling public, provides for the effective and orderly management of the right-of-way, and is consistent with the FDOT’s contractual obligations under any leases entered into pursuant to Section 337.251, F.S.

(2) Application. This rule applies to all new Wireless Equipment and structures intended to support the installation of Wireless Equipment, including utility permit applications pending on the date this rule becomes effective. Existing Wireless Equipment and structures to which Wireless Equipment is attached do not require new utility permits provided that they were installed in accordance with all applicable laws, regulations, and leases in effect at the time of installation.

(3) Terms and Acronyms. All terms in this rule shall have the same meaning as those in Section 334.03, F.S. Additionally, the following terms are defined:

(a) Collocate: to attach, install, or mount Small Wireless Equipment on, under, or within an existing structure.

(b) Wireless Equipment: equipment at a fixed location which enables wireless communications between user equipment and a communications network, including radio transceivers, antennas, wires, coaxial or fiber optic cable or other cables, and equipment associated with wireless communications. The term includes Small Wireless Equipment. The term does not include any structure or pole on which the equipment is attached, physical lines for backhaul facilities, physical lines between wireless structures, or technology installed as part of or in support of electric distribution pursuant to and consistent with UAM Section 2.3.1(8).

(c) Small Wireless Equipment: Wireless Equipment that meets all the following conditions:

1. Each enclosed antenna is located inside an enclosure of no more than six (6) cubic feet in volume or, in the case of antennas that have exposed elements, each antenna and all its exposed elements can fit within an enclosure of no more than six (6) cubic feet in volume.

2. All other associated wireless equipment is cumulatively no more than twenty-eight (28) cubic feet in volume. The following types of associated ancillary equipment are not included in the calculation of equipment volume:

a. Electric meters,

b. Concealment elements,

c. Telecommunications demarcation boxes,

d. Ground-based enclosures,

e. Grounding equipment,

f. Power transfer switches,

g. Cutoff switches,

h. Vertical cable runs for power and other services, and

i. Small Wireless Structures.

3. Does not extend more than 10% above or more than ten feet above the structure to which it is attached, whichever is greater.

(d) Small Wireless Structure: an existing, proposed, or new pole, cable strung between structures, or other structure that has or is intended to have Small Wireless Equipment attached to it and such structure is not taller than 50 feet above ground level.

(e) UAM: Utility Accommodation Manual, as incorporated in Rule 14-46.001, F.A.C.

(f) UAO: The Utility Agency/Owner of Small Wireless Equipment, a Small Wireless Structure, or both.

(4) Utility Permits. No Wireless Equipment or structures intended to support the installation of Wireless Equipment, other than Small Wireless Equipment and Small Wireless Structures, may be installed, replaced, or erected in the FDOT rights-of-way pursuant to utility permit. Small Wireless Equipment may be collocated on existing structures in the FDOT rights-of-way pursuant to utility permit. Utility permit applications for Small Wireless Structures must include Small Wireless Equipment. This provision shall not preclude the right of a Department lessee to install, locate, or maintain other wireless equipment in accordance with the terms of their lease with the Department.

(a) The UAO shall obtain a utility permit pursuant to the UAM prior to installing Small Wireless Equipment in FDOT’s right-of-way. The UAO shall comply with this rule and the UAM. To the extent the UAM and this rule conflict, this rule shall control; however, if the conflict is one in which this rule is silent and the UAM addresses the specific circumstance at issue, the UAM shall control.

(b) An existing structure that is already authorized to be within FDOT’s right-of-way may be used to collocate Small Wireless Equipment provided it meets the requirements of this rule and the UAM. If the existing structure is owned by a third party, the UAO must obtain the owner’s consent for attachment prior to applying for a permit.

(5) Placement Limitations. The UAO shall not install or maintain any Small Wireless Equipment pursuant to a utility permit that interferes with the function of, replaces, or is intended to replace any FDOT structure, transportation facility, or equipment, including Wireless Equipment.

(6) Signal Interference. The UAO shall comply with all applicable Federal Communication Commission regulations relating to signal interference. If, at any time, including after installation of the Small Wireless Equipment, the UAO’s Small Wireless Equipment interferes with any existing, proposed, or new FDOT Wireless Equipment, the UAO shall immediately eliminate the interference. If the UAO’s Small Wireless Equipment interferes with any previously permitted Wireless Equipment in FDOT’s rights-of-way, the UAO shall immediately eliminate the interference.

(7) Utility Permit Application Package. Application for a wireless utility permit shall be made through the online One-Stop Permitting website available at: https://osp.fdot.gov. In addition to the submittals required by the UAM, the UAO shall include the following:

(a) If the Small Wireless Equipment is collocated on a structure owned by a third-party, documentation from both the UAO and the third-party certifying that the UAO is authorized to collocate its Small Wireless Equipment on the third-party’s structure. Such documentation from the third-party may include the first and last page of an agreement between the UAO and the third-party, a statement in writing signed by an authorized representative of the third-party, or an e-mail from an authorized representative of the third-party. The documentation may address more than one structure owned by the third-party to which the UAO is authorized to collocate Small Wireless Equipment;

(b) Plan view drawings (preferably to scale) showing the location of the proposed Small Wireless Equipment and structure to which it is attached, including the power source; and

(c) Documentation stating the operational frequency band of the proposed Small Wireless Equipment.

Rulemaking Authority 334.044(2), 337.401(1) FS. Law Implemented 337.251, 337.401, 337.402, 337.403, 339.041, 365.172(13)(f) FS. History–New 2-21-22.