- CHAPTER 25-30

- WATER AND WASTEWATER UTILITY RULES

- 25-30.010	Rules for General Application

- 25-30.011	Application and Scope

- 25-30.020	Fees Required to be Paid by Water and Wastewater Utilities

- 25-30.025	Official Date of Filing

- 25-30.029	Legal Description of Service Area

- 25-30.030	Notice of Application and of Customer Meeting

- 25-30.031	Written Objection

- 25-30.032	Combined Applications

- 25-30.033	Application for Original Certificate of Authorization and Initial Rates and Charges

- 25-30.034	Application for Original Certificate of Authorization for Existing Utility Currently Charging for Service

- 25-30.035	Application for Original Certificate of Authorization Following Rescission of Jurisdiction by a County

- 25-30.036	Application for Amendment to Certificate of Authorization to Extend or Delete Service Area

- 25-30.037	Application for Authority to Transfer

- 25-30.0371	Acquisition Adjustments

- 25-30.038	Application for Transfer to a Governmental Authority

- 25-30.039	Notice of Name Change

- 25-30.050	Municipal or County Franchise Fee

- 25-30.055	Systems with a Capacity or Proposed Capacity to Serve 100 or Fewer Persons

- 25-30.090	Abandonments

- 25-30.091	Petition to Revoke Water Certificate of Authorization

- 25-30.110	Records and Reports; Annual Reports

- 25-30.115	Uniform System of Accounts for Water and Wastewater Utilities

- 25-30.116	Allowance for Funds Used During Construction

- 25-30.117	Accounting for Pension Costs

- 25-30.120	Regulatory Assessment Fees; Water and Wastewater Utilities

- 25-30.125	System Maps and Records

- 25-30.130	Record of Complaints

- 25-30.135	Tariffs, Rules and Miscellaneous Requirements

- 25-30.140	Depreciation

- 25-30.145	Audit Access to Records

- 25-30.210	Definitions

- 25-30.225	Plant and Facilities

- 25-30.230	Service Facilities

- 25-30.231	Extent of System Which Utility Shall Maintain

- 25-30.235	Safety

- 25-30.240	Change in Character of Service

- 25-30.245	Accidents

- 25-30.250	Continuity of Service

- 25-30.251	Record and Report of Interruptions

- 25-30.255	Measurement of Service for Water Utilities

- 25-30.260	Meter Installation

- 25-30.261	Meter Readings

- 25-30.262	Meter Accuracy Requirements

- 25-30.263	Meter Test Methods

- 25-30.264	Meter Testing Equipment

- 25-30.265	Periodic Meter Tests

- 25-30.266	Meter Test by Request

- 25-30.267	Record of Meter Tests

- 25-30.310	Initiation of Service

- 25-30.311	Customer Deposits

- 25-30.315	Temporary Service

- 25-30.320	Refusal or Discontinuance of Service

- 25-30.325	Termination of Service by Customer

- 25-30.330	Information to Customers

- 25-30.335	Customer Billing

- 25-30.340	Adjustment of Bills for Meter Error

- 25-30.345	Customer Service Charges

- 25-30.350	Underbillings and Overbillings for Water and Wastewater Service

- 25-30.351	Unauthorized Use

- 25-30.355	Complaints

- 25-30.360	Refunds

- 25-30.410	Definitions

- 25-30.415	Return on Common Equity

- 25-30.420	Establishment of Price Index, Adjustment of Rates; Requirement of Bond; Filings After Adjustment; Notice to

- Customers

- 25-30.425	Pass Through Rate Adjustment

- 25-30.430	Test Year Approval

- 25-30.431	Used and Useful Consideration

- 25-30.432	Wastewater Treatment Plant Used and Useful Calculations

- 25-30.4325	Water Treatment and Storage Used and Useful Calculations

- 25-30.433	Rate Case Proceedings

- 25-30.434	Application for Allowance for Funds Prudently Invested (AFPI) Charges

- 25-30.4345	Notice of Requests for New or Revised Service Availability Charges or Policies and Notice of Requests for

- Allowance for Funds Prudently Invested (AFPI) Charges

- 25-30.436	General Information and Instructions Required of Class A and B Water and Wastewater Utilities in an Application for

- Rate Increase

- 25-30.437	Financial, Rate and Engineering Information Required of Class A and B Water and Wastewater Utilities in an

- Application for Rate Increase

- 25-30.438	Information Required in Application for Rate Increase From Utilities with Related Parties

- 25-30.4385	Additional Rate Information Required in Application for Rate Increase

- 25-30.440	Additional Engineering Information Required of Class A and B Water and Wastewater Utilities in an Application for

- Rate Increase

- 25-30.4415	Additional Information Required in Application for Rate Increase by Utilities Seeking to Recover the Cost of

- Investment in the Public Interest

- 25-30.442	Duplicate Information

- 25-30.443	Minimum Filing Requirements for Class C Water and Wastewater Utilities

- 25-30.444	Utility Reserve Fund

- 20-30.4445	Notice of Application for Utility Reserve Fund

- 25-30.445	General Information and Instructions Required of Water and Wastewater Utilities in an Application for a Limited

- Proceeding

- 25-30.446	Notice of and Public Information for Application for Limited Proceeding Rate Increase

- 25-30.450	Burden of Proof and Audit Provisions

- 25-30.455	Staff Assistance in Rate Cases

- 25-30.456	Staff Assistance in Alternative Rate Setting

- 25-30.457	Limited Alternative Rate Increase

- 25-30.458	Notice of and Public Information for Application for Limited Alternative Rate Increase

- 25-30.460	Application for Miscellaneous Service Charges

- 25-30.465	Private Fire Protection Rates

- 25-30.4705	Calculation of Rate Reduction After Rate Case Expense is Amortized

- 25-30.475	Effective Date of Approved Tariffs

- 25-30.510	Applicability

- 25-30.515	Definitions

- 25-30.520	Responsibility of Utility to Provide Service

- 25-30.525	Application for Extension of Service

- 25-30.530	Response to Applications for Extension of Service Within a Utility’s Certificated Territory, Cost Estimates

- 25-30.540	Agreements for Service, Performance Under Agreements

- 25-30.545	Construction

- 25-30.550	Filing of Agreements; Approval of Contracts

- 25-30.555	Guaranteed Revenue Agreements

- 25-30.560	Disputes

- 25-30.565	Application for Approval of New or Revised Service Availability Policy or Charges

- 25-30.570	Imputation of Contributions-in-Aid-of-Construction

- 25-30.580	Guidelines for Designing Service Availability Policy

- 25-30.585	Developer Service Availability Charges

- 25-30.010 Rules for General Application.

The rules hereinafter set forth are for general application and are subject to such changes and modifications, permitted by law, as the Commission from time to time may determine advisable. The rules are supplementary to the Water and Wastewater System Regulatory Law, chapter 367, F.S.

Rulemaking Authority 367.121 FS. Law Implemented 367.121 FS. History–New 2-3-70, Amended 9-12-74, Formerly 25-10.01, 25-10.001, Amended 1-31-00.

- 25-30.011 Application and Scope.

(1) These rules and regulations shall, as appropriate, apply to all water systems and/or wastewater systems which are now, or may hereafter be, subject to the jurisdiction of the Florida Public Service Commission. They are intended to define and promote good utility practices, adequate and efficient service to the public at reasonable cost, and to establish the rights and responsibilities of both the utility and the customer.

(2) No deviation from these rules shall be permitted unless authorized in writing by the Commission.

(3) It is not intended that any rule or regulation contained herein shall supersede or conflict with an applicable regulation of the Department of Health (DH) or the Department of Environmental Protection (DEP). Compliance by a utility with the regulations of the DH or DEP on a particular subject matter shall constitute compliance with such of these rules as relate to the same subject matter except as otherwise ordered by the Commission.

(4) The adoption of these rules shall not in any way relieve any utility from any of its duties under the laws of this state.

Rulemaking Authority 367.121 FS. Law Implemented 367.121(1) FS. History–New 9-12-74, Formerly 25-10.14, 25-10.014, Amended 11-10-86, 1-31-00.

- 25-30.020 Fees Required to be Paid by Water and Wastewater Utilities.

(1) When a utility files any application for a certificate of authorization pursuant to sections 367.045, 367.071 and 367.171, F.S., or files any request for a rate change pursuant to sections 367.081, 367.0814 and 367.0822, F.S. (except an index or pass-through), or files for authorization to collect or change service availability charges pursuant to section 367.101, F.S., the utility shall remit a fee to the Commission’s Division of Administrative and Information Technology Services. A separate fee shall apply for water service and wastewater service. A separate fee shall also apply for each section listed above. For purposes of this rule, capacity is determined by combining the capacities of all systems included in the application. For purposes of this rule, an equivalent residential connection (ERC) is 350 gallons per day (gpd) for water service and 280 gallons per day (gpd) for wastewater service.

(2) The amount of the fee to be filed pursuant to subsection (1) of this rule shall be as follows:

(a) For an original certificate application filed pursuant to section 367.045, F.S., the amount of the fee shall be as follows:

1. For utilities with the existing or proposed capacity to serve up to 500 ERCs, $750;

2. For utilities with the existing or proposed capacity to serve from 501 to 2,000 ERCs, $1,500;

3. For utilities with the existing or proposed capacity to serve from 2,001 to 4,000 ERCs, $2,250;

4. For utilities with the existing or proposed capacity to serve more than 4,000 ERCs, $3,000.

(b) For an application for extension or deletion of territory filed pursuant to section 367.045, F.S., the amount of the fee shall be as follows:

1. For applications in which the area to be extended or deleted has the proposed capacity to serve up to 100 ERCs, $100;

2. For applications in which the area to be extended or deleted has the proposed capacity to serve from 101 to 200 ERCs, $200;

3. For applications in which the area to be extended or deleted has the proposed capacity to serve from 201 to 500 ERCs, $500;

4. For applications in which the area to be extended or deleted has the proposed capacity to serve from 501 to 2,000 ERCs, $1,000;

5. For applications in which the area to be extended or deleted has the proposed capacity to serve from 2,001 to 4,000 ERCs, $1,750;

6. For applications in which the area to be extended or deleted has the proposed capacity to serve more than 4,000 ERCs, $2,250.

(c) For an application for transfer or change in majority organizational control filed pursuant to section 367.071, F.S., the amount of the fee shall be as follows:

1. For applications in which the utility to be transferred has the capacity to serve up to 500 ERCs, $750;

2. For applications in which the utility to be transferred has the capacity to serve from 501 to 2,000 ERCs, $1500;

3. For applications in which the utility to be transferred has the capacity to serve from 2,001 to 4,000 ERCs, $2,250;

4. For applications in which the utility to be transferred has the capacity to serve more than 4,000 ERCs, $3,000.

(d) For an application for a grandfather certificate filed pursuant to section 367.171, F.S., the amount of the fee shall be as follows:

1. For applications in which the utility has the capacity to serve up to 100 ERCs, $100;

2. For applications in which the utility has the capacity to serve from 101 to 200 ERCs, $200;

3. For applications in which the utility has the capacity to serve from 201 to 500 ERCs, $500;

4. For applications in which the utility has the capacity to serve from 501 to 2,000 ERCs, $1,000;

5. For applications in which the utility has the capacity to serve from 2,001 to 4,000 ERCs, $1,750;

6. For applications in which the utility has the capacity to serve more than 4,000 ERCs, $2,250.

(c) For file and suspend rate cases filed pursuant to section 367.081, F.S., the amount of the fee shall be as follows:

1. For utilities with the existing capacity to serve up to 500 ERCs, $1,000;

2. For utilities with the existing capacity to serve from 501 to 2,000 ERCs, $2,000;

3. For utilities with the existing capacity to serve from 2,001 to 4,000 ERCs, $3,500;

4. For utilities with the existing capacity to serve more than 4,000 ERCs, $4,500.

(f) For staff-assisted rate cases filed pursuant to section 367.0814, F.S., the amount of the fee shall be as follows:

1. For utilities with the existing capacity to serve up to 100 ERCs, $200;

2. For utilities with the existing capacity to serve from 101 to 200 ERCs, $500;

3. For utilities with the existing capacity to serve more than 200 ERCs, $1,000.

(g) For an application for a limited proceeding pursuant to section 367.0822, F.S., the amount of the fee shall be as follows:

1. For utilities with the existing capacity to serve up to 100 ERCs, $100;

2. For utilities with the existing capacity to serve from 101 to 200 ERCs, $200;

3. For utilities with the existing capacity to serve from 201 to 500 ERCs, $500;

4. For utilities with the existing capacity to serve from 501 to 2,000 ERCs, $1,000;

5. For utilities with the existing capacity to serve from 2,001 to 4,000 ERCs, $1,750;

6. For utilities with the existing capacity to serve more than 4,000 ERCs, $2,250.

(h) For an application for approval of charges or conditions for service availability filed pursuant to section 367.101, F.S., the amount of the fee shall be as follows:

1. For utilities with existing and proposed capacity to serve up to 100 ERCs, $100;

2. For utilities with existing and proposed capacity to serve from 101 to 200 ERCs, $200;

3. For utilities with existing and proposed capacity to serve from 201 to 500 ERCs, $500;

4. For utilities with existing and proposed capacity to serve from 501 to 2,000 ERCs, $1,000;

5. For utilities with existing and proposed capacity to serve from 2,001 to 4,000 ERCs, $1,750;

6. For utilities with existing and proposed capacity to serve more than 4,000 ERCs, $2,250.

Rulemaking Authority 350.127(2), 367.121(1) FS. Law Implemented 367.045(1)(d), (2)(c), 367.071(3), 367.081(5), 367.0814(2), 367.0822(2), 367.101(2), 367.145, 367.171(2)(b) FS. History–New 10-29-80, Formerly 25-10.11, 25-10.011, Amended 11-10-86, 11-30-93.

- 25-30.025 Official Date of Filing.

(1) The “official date of filing” is the date on which the Deputy Executive Director, Technical determines the utility has filed completed sets of the minimum filing requirements (MFRs), including testimony that may be required by subsection 25-30.436(2), F.A.C., and payment of the appropriate filing fee to the Office of the Commission Clerk.

(2) The Director of the Deputy Executive Director, Technical shall determine the official date of filing for any utility’s application and advise the applicant. The Commission shall resolve any dispute regarding the official date of filing.

Rulemaking Authority 367.121(1) FS. Law Implemented 367.083 FS. History–New 3-26-81, Formerly 25-10.12, 25-10.012, Amended 11-10-86, 11-30-93.

- 25-30.029 Legal Description of Service Area.

(1) The utility shall provide a legal description of the service area to be served, extended, deleted, or transferred in the following applications:

(a) An original certificate of authorization and initial rates and charges as provided in rule 25-30.033, F.A.C.;

(b) An original certificate of authorization for an existing utility currently charging for service provided in rule 25-30.034, F.A.C.;

(c) An original certificate of authorization following rescission of jurisdiction by a county as provided in rule 25-30.035, F.A.C.;

(d) An extension of service area as provided in subsection 25-30.036(2) or (3), F.A.C.;

(c) A deletion of service area as provided in subsection 25-30.036(4), F.A.C.;

(f) A transfer of a regulated utility to another regulated utility as provided in subsection 25-30.037(2), F.A.C.;

(g) A transfer of an exempt entity to a regulated utility or transfer of a utility in a nonjurisdictional county to a regulated utility as provided in subsection 25-30.037(3), F.A.C.;

(h) A transfer of majority organizational control of a regulated utility as provided in subsection 25-30.037(4), F.A.C.;

(i) A transfer of a regulated utility to an exempt entity other than a governmental authority as provided in subsection 25-30.037(5), F.A.C.; or

(j) A partial transfer of a regulated utility to a governmental authority as provided in subparagraph 25-30.038(2)(h)2., F.A.C.

(2) The legal description of the service area to be served, extended, deleted or transferred shall identify:

(a) A reference to township(s), range(s), land section(s), and county(s); and,

(b) A complete and accurate description of the service area to be served, added, deleted, or transferred. The description may reference interstates, state roads, local streets, and major bodies of water, but shall not rely on references to government lots, recorded plats or lots, tracts, or other recorded instruments. The description shall be provided in one of the following formats:

1. Sections. If the service area includes complete sections, the description shall only include the township, range, and section reference. If the service area includes partial sections, the description shall identify the subsections to be included or excluded.

2. Metes and bounds. The description shall identify a point of beginning which is referenced from either a section corner or a subsection corner, such as a quarter corner. The perimeter shall be described by traversing the service area boundary and closing at the point of beginning. The description shall identify all bearings and distances necessary to provide continuous description.

Rulemaking Authority 350.127(2), 367.045, 367.121(1) FS. Law Implemented 367.045, 367.071 FS. History‒New 1-4-16.

- 25-30.030 Notice of Application and of Customer Meeting.

(1) A utility shall provide notice of its application in the manner and to the entities described in this rule when it applies for any of the following:

(a) An original certificate of authorization and initial rates and charges as provided in rule 25-30.033, F.A.C.;

(b) An original certificate of authorization for existing utility currently charging for service as provided in rule 25-30.034, F.A.C.;

(c) An extension of service area as provided in subsection 25-30.036(2) or (3), F.A.C.;

(d) A deletion of service area as provided in subsection 25-30.036(4), F.A.C.;

(e) A transfer of a regulated utility to another regulated utility as provided in subsection 25-30.037(2), F.A.C.;

(f) A transfer of an exempt entity to a regulated utility or transfer of a utility in a nonjurisdictional county to a regulated utility as provided in subsection 25-30.037(3), F.A.C.;

(g) A transfer of majority organizational control of a regulated utility as provided in subsection 25-30.037(4), F.A.C.; or

(h) A transfer of a regulated utility to an exempt entity other than a governmental authority as provided in subsection 25-30.037(5), F.A.C.

(2) After filing an application as described in subsection (1), above, and before providing notice in accordance with this section, a utility shall obtain from the Commission staff a list of the names and addresses of the governing body of the county(ies) or municipality(ies) affected, the appropriate regional planning council, the Office of Public Counsel, the Commission’s Office of Commission Clerk, the appropriate regional office of the Department of Environmental Protection, the appropriate water management district, and privately-owned water and wastewater utilities that hold a certificate granted by the Commission and that are located within the county in which the utility or the territory proposed to be served is located. If any portion of the proposed territory is within one mile of a county boundary, the list shall include the names and addresses of the privately-owned utilities located in the bordering county and holding a certificate granted by the Commission.

(3) The notice shall be titled, as applicable:

(a) Notice of Application for Original Certificate of Authorization and Initial Rates and Charges for Water, Wastewater, or Water and Wastewater Service;

(b) Notice of Application for Original Certificate of Authorization for Existing Utility Currently Charging for Water, Wastewater, or Water and Wastewater Service;

(c) Notice of Application for Amendment to Certificate of Authorization To Extend Service Area;

(d) Notice of Application for Amendment to Certificate of Authorization To Delete Service Area;

(e) Notice of Application for Authority to Transfer Water, Wastewater, or Water and Wastewater Certificate(s) of Authorization to Another Regulated Utility;

(f) Notice of Application for Authority to Transfer an Exempt Entity to a Regulated Utility or Transfer of a Utility in a Non-jurisdictional County To a Regulated Utility That Results in a System Whose Service Transverses County Boundaries;

(g) Notice of Application for Authority to Transfer Majority Organizational Control of a Regulated Utility; or

(h) Notice of Application for Authority to Transfer a Regulated Utility to an Exempt Entity Other than a Governmental Authority.

(4) The Notice of Application shall be provided to the Office of Commission Clerk, for Commission staff approval prior to distribution and shall state the following:

(a) The date the notice is given;

(b) The name, address, telephone number, and, if available, email address, and fax number of the applicant;

(c) The common name of developments served by the utility;

(d) The application docket number and title, if available;

(e) The common reference of street names bordering the area served by the utility, if applicable;

(f) A description of the service area proposed to be served, extended, deleted, or transferred as provided by rule 25-30.029, F.A.C. An abbreviated description using section, township, and range of the subject service area may be provided so long as the notice contains a disclosure that the legal description has been simplified and that a complete legal description can be obtained from the applicant;

(g) If applicable, the notice shall include a statement that the utility is not requesting any changes to its rates, classifications, charges, rules, and regulations in the application; and,

(h) A statement that any objections to the application must be filed with the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, no later than 30 days after the last date that the notice was mailed or published.

(5) The utility shall provide notice of the service area proposed to be served, extended, deleted, or transferred as follows:

(a) By regular mail to the governmental entities and utilities identified on the list described in subsection (2), above;

(b) By regular mail or personal service to each customer and owner of property located within the existing service area and the service area to be served, extended, deleted or transferred; and,

(c) By publication in a newspaper of general circulation in the proposed service area. If the utility service area crosses county lines, notice shall be published in a newspaper of general circulation in each county.

(6) All applications requiring noticing shall be deemed deficient until affidavits of noticing required by sections 367.045(1)(e) and (2)(f), F.S., along with a copy of the notice, are filed with the Office of Commission Clerk. The affidavits shall attest that the notices were given as prescribed in paragraphs (5)(a), (b), and (c), above. The applicant shall obtain the affidavit of notice publication, pursuant to paragraph (5)(c), above, from the newspaper(s).

(7) No less than 14 days and no more than 30 days prior to the date of a customer meeting conducted by the Commission staff, the utility shall provide written notice of the date, time, location, and purpose of the customer meeting to all customers within the affected service areas. The notice shall be approved by the Commission staff prior to distribution. The notice shall be mailed to the out-of-town address of all customers who have provided the utility with an out-of-town address.

(8) This rule does not apply to applications for certificates following rescission of jurisdiction by counties filed under section 367.171, F.S.; transfers to governmental authorities filed under section 367.071, F.S.; or abandonments filed under section 367.165, F.S.

Rulemaking Authority 350.127(2), 367.045(2), 367.121(1) FS. Law Implemented 367.031, 367.045, 367.071 FS. History–New 4-5-81, Formerly 25-10.061, 25-10.0061, Amended 11-10-86, 1-27-91, 11-30-93, 1-4-16.

- 25-30.031 Written Objection.

(1) A written objection to a Notice of Application is timely if it is filed within 30 days after the last day that the Notice is mailed or published by the applicant, whichever is later.

(2) A written objection must state the grounds for the objection with particularity.

Rulemaking Authority 350.127(2), 367.121(1) FS. Law Implemented 367.045 FS. History–New 11-10-86, Amended 1-27-91.

- 25-30.032 Combined Applications.

A utility may file a combined application for multiple certificate actions for both water and wastewater systems; however, the utility shall remit a separate application fee for each action and system. The Commission will treat a combined application as if a separate application had been filed for each action and system.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.031, 367.045, 367.071 FS. History–New 1-27-91, Amended 11-30-93, 5-29-08, 1-4-16.

- 25-30.033 Application for Original Certificate of Authorization and Initial Rates and Charges.

(1) Each applicant for an original certificate of authorization and initial rates and charges shall file with the Commission Clerk the information set forth in paragraphs (a) through (q). Form PSC 1001 (12/15), entitled “Application for Original Certificate of Authorization for a Proposed or Existing System Requesting Initial Rates and Charges,” which is incorporated by reference in this rule and is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-06237, is an example application that may be completed by the applicant and filed with the Office of Commission Clerk to comply with this subsection. This form is also available on the Commission’s Web site, www.floridapsc.com.

(a) A filing fee pursuant to paragraph 25-30.020(2)(a), F.A.C.;

(b) Proof of noticing pursuant to rule 25-30.030, F.A.C.;

(c) The utility’s name, address, telephone number, Federal Employer Identification Number, authorized representative, and, if available, email address and fax number;

(d) The nature of the utility’s business organization, i.e., corporation, limited liability company, partnership, limited partnership, sole proprietorship, or association. The applicant must provide documentation from the Florida Department of State, Division of Corporations, showing:

1. The utility’s business name and registration/document number for the business, unless operating as a sole proprietor, and,

2. The utility’s fictitious name and registration number for the fictitious name, if operating under a fictitious name;

(e) The name(s), address(es), and percentage of ownership of each entity or person that owns or will own more than 5 percent interest in the utility;

(f) The election the business has made under the Internal Revenue Code for taxation purposes;

(g) A statement indicating whether the application is for water, wastewater, or both. If the applicant is applying for water or wastewater only, the statement shall include how the other service is provided;

(h) To demonstrate the necessary financial ability of the applicant to provide service to the proposed service area, the applicant shall provide:

1. A detailed financial statement (balance sheet and income statement), audited if available, of the financial condition of the applicant, which shows all assets and liabilities of every kind and character. The financial statements shall be for the preceding calendar or fiscal year. The financial statement shall be prepared in accordance with rule 25-30.115, F.A.C. If available, a statement of the sources and uses of funds shall also be provided; and,

2. A list of all entities, including affiliates, upon which the applicant is relying to provide funding to the utility and an explanation of the manner and amount of such funding. The list need not include any person or entity holding less than 5 percent ownership interest in the utility. The applicant shall provide copies of any financial agreements between the listed entities and the utility and proof of the listed entities’ ability to provide funding, such as financial statements;

(i) To demonstrate the technical ability of the applicant to provide service, the applicant shall provide:

1. A statement of the applicant’s experience in the water or wastewater industry;

2. A copy of all current permits from the Department of Environmental Protection (DEP) and the water management district;

3. A copy of the most recent DEP and/or county health department sanitary survey, compliance inspection report, and secondary standards drinking water report; and,

4. A copy of all correspondence with the DEP, county health department, and water management district, including consent orders and warning letters, and the utility’s responses to the same, for the past five years;

(j) To describe the proposed service area, the applicant shall provide:

1. A legal description of the proposed service area in the format described in rule 25-30.029, F.A.C.;

2. A detailed system map showing the existing and proposed lines and treatment facilities, with the territory proposed to be served plotted thereon, consistent with the legal description provided in subparagraph (j)1., above. The map shall be of sufficient scale and detail to enable correlation with the description of the territory proposed to be served; and,

3. An official county tax assessment map, or other map showing township, range, and section with a scale such as 1'' = 200' or 1'' = 400', with the proposed territory plotted thereon, consistent with the legal description provided in subparagraph (j)1., above;

(k) To demonstrate the need for service in the proposed area, the applicant shall provide:

1. The number of customers currently being served and proposed to be served, by customer class and meter size, including a description of the types of customers currently being served and anticipated to be served, i.e., single family homes, mobile homes, duplexes, golf course clubhouse, or commercial. If the development will be in phases, this information shall be separated by phase;

2. A copy of all requests for service from property owners or developers in areas not currently served;

3. The current land use designation of the proposed service territory as described in the local comprehensive plan at the time the application is filed. If the proposed development will require a revision to the comprehensive plan, describe the steps taken and to be taken to facilitate those changes, including changes needed to address the proposed need for service; and,

4. Any known land use restrictions, such as environmental restrictions imposed by governmental authorities;

(l) The date applicant began or plans to begin serving customers. If already serving customers, a description of when and under what circumstances the applicant began serving;

(m) Documentation of the utility’s right to access and continued use of the land upon which the utility treatment facilities are or will be located. Documentation of continued use shall be in the form of a recorded warranty deed, recorded quit claim deed accompanied by title insurance, recorded lease such as a 99-year lease, or recorded easement. The applicant may submit an unrecorded copy of the instrument granting the utility’s right to access and continued use of the land upon which the utility treatment facilities are or will be located, provided the applicant files a recorded copy within the time required in the order granting the certificate;

(n) A description of the separate capacities of the existing and proposed lines and treatment facilities in terms of equivalent residential connections (ERCs) and gallons per day estimated demand per ERC for water and wastewater and the basis for such estimate. If the development will be in phases, this information shall be separated by phase;

(o) A description of the type of water treatment, wastewater treatment, and method of effluent disposal;

(p) To support the proposed rates and charges, the applicant shall provide:

1. The existing and projected cost of the system(s) and associated depreciation by year until design capacity is reached using the National Association of Regulatory Utility Commissioners (NARUC) 1996 Uniform System of Accounts (USOA), which is incorporated by reference in rule 25-30.115, F.A.C. The applicant shall identify the year that 80 percent of design capacity is anticipated. If the utility will be built in phases, this shall apply only to the first phase;

2. The existing and projected annual contributions-in-aid-of-construction (CIAC) and associated amortization by year including a description of assumptions regarding customer growth projections using the same projections used in subparagraph (1)(k)1., above, for the proposed service area. The projected CIAC shall identify cash and property contributions and amortization at 100 percent of design capacity and identify the year when 80 percent of design capacity is anticipated. The projected CIAC shall be consistent with the service availability policy and charges in the proposed tariff provided in paragraph (q), below, the schedule provided in subparagraph (1)(p)6., below, and the CIAC guidelines in rule 25-30.580, F.A.C. If the utility will be built in phases, this shall apply only to the first phase;

3. A schedule showing the projected capital structure including the methods of financing the construction and operation of the utility until the utility reaches 80 percent of the design capacity of the system. If the utility will be built in phases, this shall apply only to the first phase;

4. The current annual operating expenses and the projected annual operating expenses at 80 percent of design capacity using the NARUC USOA. If the utility will be built in phases, this shall apply only to the first phase;

5. A schedule showing how the proposed rates were developed;

6. A schedule showing how the proposed service availability policy and charges were developed, including meter installation, main extension, and plant capacity charges, and proposed donated property; and,

7. A schedule showing how the customer deposits and miscellaneous service charges were developed, including initial connection, normal reconnection, violation reconnection, and premises visit fees, consistent with rules 25-30.311 and 25-30.460, F.A.C.; and,

(q) A tariff containing all rates, classifications, charges, rules, and regulations which shall be consistent with Chapter 25-9, F.A.C. Form PSC 1010 (12/15), entitled “Water Tariff,” which is incorporated by reference in this rule and is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-06247 and Form PSC 1011 (12/15), entitled “Wastewater Tariff,” which is incorporated by reference in this rule and is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-06248, are example tariffs that may be completed by the applicant and included in the application. These forms may also be obtained from the Commission’s website, www.floridapsc.com.

(2) The base facility and usage rate structure (as defined in subsection 25-30.437(6), F.A.C.) shall be utilized for metered service, unless an alternative rate structure is supported by the applicant and authorized by the Commission.

(3) A return on common equity shall be established using the current equity leverage formula established by order of this Commission pursuant to section 367.081(4), F.S., unless there is competent substantial evidence supporting the use of a different return on common equity.

(4) Utilities obtaining original certificates of authorization pursuant to this rule are authorized to accrue allowance for funds used during construction (AFUDC) for projects found eligible pursuant to subsection 25-30.116(1), F.A.C.

(a) The applicable AFUDC rate shall be determined as the utility’s projected weighted cost of capital as demonstrated in its application for original certificate and initial rates and charges.

(b) A discounted monthly AFUDC rate calculated in accordance with subsection 25-30.116(3), F.A.C., shall be used to insure that the annual AFUDC charged does not exceed authorized levels.

(c) The date the utility shall begin to charge the AFUDC rate shall be the date the certificate of authorization is issued to the utility so that such rate can apply to the initial construction of the utility facilities.

Rulemaking Authority 350.127(2), 367.045(1), 367.121, 367.1213 FS. Law Implemented 367.031, 367.045, 367.1213 FS. History–New 1-27-91, Amended 11-30-93, 1-4-16.

- 25-30.034 Application for Original Certificate of Authorization for Existing Utility Currently Charging for Service.

(1) Each applicant for an original certificate of authorization for an existing utility currently charging for service, other than an application filed under section 367.171, F.S., shall file with the Commission Clerk the information set forth in paragraphs (a) through (o) and, if applicable, paragraphs (2)(a) through (c). Form PSC 1002 (12/15), entitled “Application for Original Certificate of Authorization for Existing Utility Currently Charging for Service,” which is incorporated by reference in this rule and is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-06238, is an example application that may be completed by the applicant and filed with the Office of Commission Clerk to comply with this subsection. This form is also available on the Commission’s website, www.floridapsc.com.

(a) A filing fee pursuant to paragraph 25-30.020(2)(a), F.A.C.;

(b) Proof of noticing pursuant to rule 25-30.030, F.A.C.;

(c) The utility’s name, address, telephone number, Federal Employer Identification Number, authorized representative, and if available, email address and fax number;

(d) The nature of the utility’s business organization, i.e., corporation, limited liability company, partnership, limited partnership, sole proprietorship, association. The applicant must provide documentation from the Florida Department of State, Division of Corporations, showing:

1. The utility’s business name and registration/document number for the business, unless operating as a sole proprietor; and,

2. The utility’s fictitious name and registration number for the fictitious name, if operating under a fictitious name;

(e) The name(s), address(es), and percentage of ownership of each entity or person which owns or will own more than a 5 percent interest in the utility;

(f) A statement indicating whether the application is for water, wastewater, or both. If the applicant is applying for water or wastewater only, the statement shall include how the other service is provided;

(g) A description of the types of customers served, i.e., single family homes, mobile homes, duplexes, golf course clubhouse, or commercial;

(h) A schedule showing the number of customers currently served, by class and meter size, as well as the number of customers projected to be served when the requested service territory is fully developed;

(i) To demonstrate that the applicant has the necessary financial ability to continue to provide service to the proposed service area, the applicant shall provide:

1. A detailed financial statement (balance sheet and income statement), audited if available, of the financial condition of the applicant, which shows all assets and liabilities of every kind and character. The financial statements shall be for the preceding calendar or fiscal year. The financial statement shall be prepared in accordance with rule 25-30.115, F.A.C. If available, a statement of the sources and uses of funds shall also be provided;

2. A list of all entities, including affiliates, upon which the applicant is relying to provide funding to the utility and an explanation of the manner and amount of such funding. The list need not include any person or entity holding less than 5 percent ownership interest in the utility. The applicant shall provide copies of any financial agreements between the listed entities and the utility and proof of the listed entities’ ability to provide funding, such as financial statements;

(j) To demonstrate the technical ability of the applicant to provide service, the applicant shall provide the following:

1. A statement of the applicant’s experience in the water and wastewater industry;

2. A copy of all current permits from the Department of Environmental Protection (DEP) and the water management district;

3. A copy of the most recent DEP and/or county health department sanitary survey, compliance inspection report, and secondary standards drinking water report; and,

4. A copy of all correspondence with the DEP, county health department, and water management district, including consent orders and warning letters, and the utility’s responses to the same, for the past five years;

(k) To describe the proposed service area, the applicant shall provide:

1. A legal description of the proposed service area in the format prescribed in rule 25-30.029, F.A.C.;

2. A detailed system map showing existing and proposed lines and treatment facilities with the territory proposed to be served plotted thereon, consistent with the legal description provided in subparagraph (1)(k)1., above. Any territory not served at the time of the application shall be specifically identified on the system map. The map shall be of sufficient scale and detail to enable correlation with the description of the territory proposed to be served; and,

3. An official county tax assessment map or other map showing township, range, and section with a scale such as 1'' = 200' or 1'' = 400', with the proposed territory plotted thereon, consistent with the legal description provided in subparagraph (k)1., above;

(l) A statement explaining when and under what circumstances the applicant began providing service prior to obtaining a certificate of authorization;

(m) Documentation of the utility’s right to access and continued term use of the land upon which the utility treatment facilities are located. Documentation of continued use shall be in the form of a recorded warranty deed, recorded quit claim deed accompanied by title insurance, recorded lease such as a 99-year lease, or recorded easement. The applicant may submit an unrecorded copy of the instrument granting the utility’s right to access and continued use of the land upon which the utility treatment facilities are or will be located, provided the applicant files a recorded copy within the time required in the order granting the certificate;

(n) Documentation specifying on what date and under what authority the current rates and charges were established; and,

(o) A tariff containing all rates, classifications, charges, rules, and regulations, which shall be consistent with chapter 25-9, F.A.C. Form PSC 1010 (12/15), entitled “Water Tariff” and Form PSC 1011 (12/15), entitled “Wastewater Tariff,” which are incorporated by reference in rule 25-30.033, F.A.C., are example tariffs that may be completed by the applicant and included in the application. These forms may also be obtained from the Commission’s website, www.floridapsc.com.

(2) If the applicant is requesting any territory not served at the time of application, provide the following:

(a) To demonstrate the need for service in the proposed area, the applicant shall provide the following:

1. The number of customers proposed to be served, by customer class and meter size, including a description of the types of customers anticipated to be served, i.e., single family homes, mobile homes, duplexes, golf course clubhouse, or commercial. If the development will be in phases, this information shall be separated by phase; and,

2. A copy of all requests for service from property owners or developers in areas not currently served;

(b) The current land use designation of the proposed service territory as described in the local comprehensive plan at the time the application is filed. If the proposed development will require a revision to the comprehensive plan, describe the steps taken and to be taken to facilitate those changes, including changes needed to address the proposed need for service described in paragraph (2)(a), above; and,

(c) Any known land use restrictions, such as environmental restrictions imposed by governmental authorities.

Rulemaking Authority 350.127(2), 367.045, 367.121(1), 367.1213 FS. Law Implemented 367.045, 367.1213 FS. History–New 1-27-91, Amended 11-30-93, 1-4-16.

- 25-30.035 Application for Original Certificate of Authorization Following Rescission of Jurisdiction by a County.

(1) Each applicant for an original certificate of authorization following rescission of jurisdiction by a county under the provisions of section 367.171, F.S., (commonly known as the grandfather provision), shall file with the Commission Clerk one original of the information set forth in subsections (2) through (16), below. Form PSC 1003 (12/15), entitled “Application for Original Certificate of Authorization Following Rescission of Jurisdiction by a County (Grandfather Certificate),” which is incorporated by reference in this rule and is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-06240, is an example application that may be completed by the applicant and filed with the Office of Commission Clerk to comply with this subsection. This form may also be obtained from the Commission’s website, www.floridapsc.com;

(2) A filing fee pursuant to paragraph 25-30.020(2)(d), F.A.C.;

(3) The utility’s name, address, telephone number, Federal Employer Identification Number, authorized representative, and, if available, email address and fax number;

(4) The nature of the utility’s business organization, i.e., corporation, limited liability company, partnership, limited partnership, sole proprietorship, or association. The applicant must provide documentation from the Florida Department of State, Division of Corporations, showing:

(a) The utility’s business name and registration/document number for the business, unless operating as a sole proprietor; and,

(b) The utility’s fictitious name and registration number for the fictitious name, if operating under a fictitious name;

(5) The name(s), address(es), and percentage of ownership of each entity or person which owns or will own more than a 5 percent interest in the utility;

(6) A statement indicating whether the application is for water, wastewater, or both. If the applicant is applying for water or wastewater only, the statement shall include how the other service is provided;

(7) The date the utility was established;

(8) A description of the types of customers served, i.e., single family homes, mobile homes, duplexes, golf course clubhouse, or commercial;

(9) A schedule showing the number of customers currently served, by class and meter size, as well as the number of customers projected to be served when the requested service territory is fully developed;

(10) A legal description of the proposed service area in the format prescribed in rule 25-30.029, F.A.C. The utility must provide documentation of the territory the utility was serving, or was authorized to serve, from the county which had jurisdiction over the utility on the day chapter 367, F.S., became applicable to the utility;

(11) Documentation of the utility’s right to access and continued use of the land upon which the utility treatment facilities are located. Documentation of continued use shall be in the form of a recorded warranty deed, recorded quit claim deed accompanied by title insurance, recorded lease such as a 99-year lease, or recorded easement. The applicant may submit an unrecorded copy of the instrument granting the utility’s right to access and continued use of the land upon which the utility treatment facilities are or will be located, provided the applicant files a recorded copy within the time required in the order granting the certificate;

(12) Documentation, or if no documentation exists, a statement, specifying on what date and under what authority the current rates and charges were established;

(13) A tariff containing all rates, classifications, charges, rules, and regulations, which shall be consistent with chapter 25-9, F.A.C. Form PSC 1010 (12/15), entitled “Water Tariff” and Form PSC 1011 (12/15), entitled “Wastewater Tariff,” which are incorporated by reference in rule 25-30.033, F.A.C., are example tariffs that may be completed by the applicant and included in the application. These forms may also be obtained from the Commission’s website, www.floridapsc.com;

(14) A detailed system map showing the existing and proposed lines and treatment facilities, with the territory proposed to be served plotted thereon, consistent with the legal description provided in subsection (10), above. Any territory not served at the time of the application shall be specifically identified. The map shall be of sufficient scale and detail to enable correlation with the description of the territory to be served;

(15) An official county tax assessment map, or other map showing township, range, and section with a scale such as 1'' = 200' or 1'' = 400', with the proposed territory plotted thereon, consistent with the legal description provided in subsection (10), above; and,

(16) A copy of all current permits issued by the Department of Environmental Protection and water management district.

Rulemaking Authority 350.127(2), 367.121, 367.1213 FS. Law Implemented 367.1213, 367.171 FS. History–New 7-21-65, Amended 1-7-69, 2-3-70, 3-6-71, 9-12-74, 3-26-81, Formerly 25-10.02, 25-10.002, Amended 11-10-86, 1-27-91, 11-30-93, 1-4-16.

- 25-30.036 Application for Amendment to Certificate of Authorization to Extend or Delete Service Area.

(1) This rule applies to any certificated water or wastewater utility that proposes to extend its service territory into an area in which there is no existing water or wastewater system or proposes to delete a portion of its service territory. Form PSC 1004 (12/15) entitled “Application for Amendment of Certificate (Extension, Quick Take Extension, or Deletion),” which is incorporated by reference in this rule and is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-06241, is an example application that may be completed by the applicant and filed with the Office of Commission Clerk to comply with subsection (2), (3), or (4), below. This form may also be obtained from the Commission’s website, www.floridapsc.com.

(2) Each utility proposing to extend its service area (except applications filed pursuant to subsection (3), below), shall file with the Commission Clerk one original of the information set forth in paragraphs (a) through (q).

(a) A filing fee pursuant to paragraph 25-30.020(2)(b), F.A.C.;

(b) Proof of Noticing pursuant to rule 25-30.030, F.A.C.;

(c) The utility’s certificated name, address, telephone number, Federal Employer Identification Number, authorized representative, and, if available, email address and fax number;

(d) To demonstrate the need for service in the proposed area, the applicant must provide:

1. The number of customers currently being served and proposed to be served, by customer class and meter size, including a description of the types of customers anticipated to be served, i.e., single family homes, mobile homes, duplexes, golf course clubhouse, or commercial;

2. A copy of all requests for service from property owners or developers in areas not currently served;

3. The current land use designation of the proposed service territory as described in the local comprehensive plan at the time the application is filed. If the proposed development will require a revision to the comprehensive plan, describe the steps taken and to be taken to facilitate those changes, including changes needed to address the proposed need for service; and,

4. Any known land use restrictions, such as environmental restrictions imposed by governmental authorities;

(e) If the utility is planning to build a new water or wastewater treatment plant to serve the proposed territory, provide documentation of the utility’s right to access and continued use of the land upon which the new utility treatment facilities that will serve the proposed territory will be located. Documentation of continued use shall be in the form of a recorded warranty deed, recorded quit claim deed accompanied by title insurance, recorded lease such as a 99-year lease, or recorded easement. The applicant may submit an unrecorded copy of the instrument granting the utility’s right to access and continued use of the land upon which the utility treatment facilities are or will be located, provided that the applicant files a recorded copy within the time required in the order granting the amendment to the certificate of authorization;

(f) A legal description of the territory proposed to be served, in the format prescribed in rule 25-30.029, F.A.C. In addition, if the extension of territory is adjacent to existing territory, provide a legal description of the resulting territory including both existing and expanded portions in the format prescribed in rule 25-30.029, F.A.C.;

(g) A detailed system map showing the proposed lines and treatment facilities, with the territory proposed to be served plotted thereon, consistent with the legal description provided in paragraph (2)(f), above. If the territory to be served is adjacent to the utility’s existing territory, provide a complete map showing both existing and expanded territories. The map shall be of sufficient scale and detail to enable correlation with the description of the territory;

(h) An official county tax assessment map or other map showing township, range, and section, with a scale such as 1'' = 200' or 1'' = 400', with the proposed territory plotted thereon, consistent with the legal description provided in paragraph (2)(f), above;

(i) A statement describing the capacity of the existing lines, the capacity of the existing treatment facilities, and the design capacity of the proposed extension;

(j) A copy of all current permits issued by the Department of Environmental Protection and by the water management district;

(k) A copy of the most recent DEP and/or county health department sanitary survey, compliance inspection report, and secondary standards drinking water report;

(l) A copy of all correspondence with the DEP, county health department and water management district, including consent orders and warning letters, and the utility’s response to the same, for the past five years;

(m) A detailed statement regarding the proposed method of financing the construction and the projected impact on the utility’s capital structure;

(n) A statement regarding the projected impact of the extension on the utility’s monthly rates and service availability charges;

(o) All tariff pages that reflect the additional proposed service area, which shall be consistent with chapter 25-9, F.A.C. Form PSC 1010 (12/15), entitled “Water Tariff” and Form PSC 1011 (12/15), entitled “Wastewater Tariff,” which are incorporated by reference in rule 25-30.033, F.A.C., are example tariffs that may be completed by the applicant and included in the application. These forms may also be obtained from the Commission’s website, www.floridapsc.com;

(p) The number of the most recent order of the Commission establishing or changing the applicant’s rates and charges; and,

(q) An affidavit that the utility has tariffs and annual reports on file with the Commission.

(3) A request for service territory extension and amendment of an existing certificate (commonly known as a “quick take” amendment) shall be considered approved under the following conditions if no protest is timely filed to the notice of application:

(a) The utility has provided a written statement that the proposed new territory includes a maximum of 25 equivalent residential connections within such territory at the time the territory is at buildout. In addition, the statement must include a description of the types of customers anticipated to be served by the extension, i.e., single family homes, mobile homes, duplexes, golf course clubhouse, or commercial;

(b) The utility has provided a written statement that, upon investigation;

1. There is no other utility in the area of the proposed territory that is willing and capable of providing reasonably adequate service to the new territory; and,

2. The person(s) or business(es) requesting water or wastewater service have demonstrated to the utility that service is necessary because (1) a private well has been contaminated or gone dry, (2) a septic tank has failed, or (3) service is otherwise not available; and,

(c) The utility has filed an application which meets the requirements of paragraphs (2)(a), (b), (c), (e), (f), (h), (j), (o), (p) and (q), above.

(4) Each utility proposing to delete a portion of its service area shall file with the Commission Clerk one original of the information set forth in paragraphs (4)(a) through (k), below:

(a) A filing fee pursuant to paragraph 25-30.020(2)(b), F.A.C.;

(b) Proof of noticing pursuant to rule 25-30.030, F.A.C.;

(c) The utility’s name, address, telephone number, authorized representative, and, if available, email address and fax number. The utility’s name should reflect the business and/or fictitious name(s) registered with the Department of State’s Division of Corporations;

(d) A statement specifying the reasons for the proposed deletion of territory;

(e) A legal description of the territory proposed to be deleted and a legal description of the remaining territory in the format prescribed in rule 25-30.029, F.A.C.;

(f) A detailed system map with the territory proposed to be deleted and retained plotted thereon, consistent with the legal description provided in paragraph (e), above. The map shall show existing lines and treatment facilities in the area retained and shall be of sufficient scale and detail to enable correlation with the description of the territory;

(g) An official county tax assessment map or other map, showing township, range, and section with a scale such as 1'' = 200' or 1'' = 400', with the territory proposed to be deleted plotted thereon, consistent with the legal description provided in paragraph (e), above;

(h) The number of current active connections within the territory to be deleted, as well as the number of connections retained. For each active connection in the area to be deleted, if any, the statement must detail the effect of the proposed deletion on the ability of those customers to receive water and wastewater services, including alternative source(s) of service;

(i) All tariff pages that reflect the revised service area, which shall be consistent with chapter 25-9, F.A.C. Form PSC 1010 (12/15), entitled “Water Tariff,” and Form PSC 1011 (12/15), entitled “Wastewater Tariff,” which are incorporated by reference in rule 25-30.033, F.A.C., are example tariffs that may be completed by the applicant and included in the application. These forms may also be obtained from the Commission’s website, www.floridapsc.com;

(j) The number of the most recent order of the Commission establishing or changing the applicant’s rates and charges; and,

(k) An affidavit that the utility has tariffs and annual reports on file with the Commission.

Rulemaking Authority 350.127(2), 367.045, 367.121, 367.1213 FS. Law Implemented 367.045, 367.1213 FS. History–New 1-27-91, Amended 11-30-93, 1-4-16.

- 25-30.037 Application for Authority to Transfer.

(1) This rule applies to any application for the transfer of an existing water or wastewater utility, regardless of whether service is currently being provided. The application for transfer may result in the transfer or cancellation of the seller’s existing certificate, amendment of the buyer’s existing certificate or granting of an original certificate to the buyer, or a transfer of majority organizational control of the utility.

(a) If a transfer occurs prior to Commission approval, the utility shall submit an application for authority to transfer no later than 90 days after the sale closing date.

(b) When a utility applies for any of the following transfer authorizations by the Commission, it shall provide its application as prescribed in the appropriate subsection below:

1. A transfer of a regulated utility to another regulated utility shall be pursuant to subsection (2), below;

2. A transfer of an exempt entity to a regulated utility shall be pursuant to subsection (3), below;

3. A transfer of a utility in a nonjurisdictional county to a regulated utility that results in a system whose service transverses county boundaries shall be pursuant to subsection (3), below;

4. A change of majority organizational control of a regulated utility shall be pursuant to subsection (4), below; or

5. A transfer of a regulated utility to an exempt entity other than a governmental authority shall be pursuant to subsection (5), below.

(c) Form PSC 1005 (12/15), entitled “Application for Transfer of Certificates or Facilities from a Regulated Utility to Another Regulated Utility,” which is incorporated by reference in this rule and which is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-06242, Form PSC 1006 (12/15), entitled “Application for Transfer of an Exempt Entity to a Regulated Utility or Transfer of a Utility in a Non-jurisdictional County to a Regulated Utility That Results in a System Whose Service Transverses County Boundaries,” which is incorporated by reference in this rule and which is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-06243, Form PSC 1007 (12/15), entitled “Application for a Transfer of Majority Organizational Control of a Regulated Utility,” which is incorporated by reference in this rule and which is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-06244, and Form PSC 1008 (12/15), entitled “Application for Transfer of Facilities from a Regulated Utility to an Exempt Entity Other Than a Governmental Authority,” which is incorporated by reference in this rule and which is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-06245, are example applications that may be completed by the applicant and filed with the Office of Commission Clerk to comply with subsection (2), (3), (4), or (5), below, respectively. These forms may also be obtained from the Commission’s website, www.floridapsc.com.

(2) Transfer of a regulated utility to another regulated utility. Each applicant for transfer of certificate of authorization, facilities or any portion thereof from a regulated utility to another regulated utility shall file with the Commission Clerk the information set forth in paragraphs (a) through (v), below.

(a) A filing fee pursuant to paragraph 25-30.020(2)(c), F.A.C.;

(b) Proof of noticing pursuant to rule 25-30.030, F.A.C.;

(c) The certificated name, address, telephone number, certificate number(s), authorized representative, and, if available, email address and fax number of the utility/seller;

(d) The complete name, address, telephone number, Federal Employer Identification Number, authorized representative and, if available, email address and fax number of the buyer(s) and the new name of the utility if the buyer plans to operate under a different name;

(e) The name, address, telephone number, and if available, email address and fax number of the person in possession of the books and records when the application is filed;

(f) The nature of the buyer’s business organization, i.e., corporation, limited liability company, partnership, limited partnership, sole proprietorship, or association. The buyer must provide documentation from the Florida Department of State, Division of Corporations, showing:

1. The utility’s/buyer’s business name and registration/document number for the business, unless operating as a sole proprietor, and,

2. The utility’s/buyer’s fictitious name and registration number for the fictitious name, if operating under a fictitious name;

(g) The name(s), address(es) and percentage of ownership of each entity or person that owns or will own more than a 5 percent interest in the utility;

(h) The date and state of incorporation or organization of the buyer;

(i) A copy of the contract for sale and all auxiliary or supplemental agreements. If the sale, assignment, or transfer occurs prior to Commission approval, the contract shall include a provision stating that the contract is contingent upon Commission approval;

(j) The buyer must provide the following documentation of the terms of the transfer:

1. The date the closing occurred or will occur;

2. The purchase price and terms of payment;

3. A list of and the dollar amount of the assets purchased and liabilities assumed or not assumed, including those of nonregulated operations or entities;

4. A description of all consideration between the parties, including promised salaries, retainer fees, stock, stock options, and assumption of obligations;

5. Provisions for the disposition, where applicable, of customer deposits and interest thereon, guaranteed revenue contracts, developer agreements, customer advances, debt of the utility, and leases;

6. A statement that the buyer will fulfill the commitments, obligations and representations of the seller with regard to utility matters;

7. A statement that the buyer has or will obtain the books and records of the seller, including all supporting documentation for rate base additions since the last time rate base was established for the utility;

8. A statement that the utility’s books and records will be maintained using the 1996 National Association of Regulatory Utilities Commissioners (NARUC) Uniform System of Accounts (USOA), incorporated by reference in rule 25-30.115, F.A.C.; and,

9. A statement that the utility’s books and records will be maintained at the utility’s office(s) within Florida, or that the utility will comply with the requirements of paragraphs 25-30.110(1)(b) and (c), F.A.C., regarding maintenance of utility records at another location or out-of-state. If the records will be maintained at the utility’s office(s), the statement should include the location where the utility intends to maintain the books and records;

(k) A statement explaining why the transfer is in the public interest;

(l) To demonstrate the financial ability of the buyer to maintain and operate the acquired utility, the buyer shall provide:

1. A detailed financial statement (balance sheet and income statement), audited if available, of the financial condition of the applicant, that shows all assets and liabilities of every kind and character. The financial statements shall be for the preceding calendar or fiscal year. The financial statement shall be prepared in accordance with rule 25-30.115, F.A.C.  If available, a statement of the sources and uses of funds shall also be provided; and,

2. A list of all entities, including affiliates, upon which the buyer is relying to provide funding to the utility and an explanation of the manner and amount of such funding. The list need not include any person or entity holding less than 5 percent ownership interest in the utility. The applicant shall provide copies of any financial agreements between the listed entities and the utility and proof of the listed entities’ ability to provide funding, such as financial statements;

(m) To demonstrate the technical ability of the buyer to provide service, the buyer shall provide:

1. An explanation of the buyer’s experience in the water or wastewater industry; and,

2. The buyer’s plans for ensuring continued operation of the utility, such as retaining the existing plant operator(s) and office personnel, or contracting with outside entities;

(n) A legal description of the proposed service area in the format prescribed in rule 25-30.029, F.A.C.;

(o) The proposed net book value of the system as of the date of the proposed transfer, and a statement setting out the reasons for the inclusion of an acquisition adjustment, if one is requested. If rate base has been established by this Commission, provide the docket and the order number. In addition, provide a schedule of all subsequent changes to rate base;

(p) A statement from the buyer that it has obtained or will obtain copies of all of the federal income tax returns of the seller from the date the utility was first established or the rate base was last established by the Commission, whichever is later. If the tax returns have not been obtained, provide a description of the steps taken to obtain the tax returns;

(q) A statement from the buyer that after reasonable investigation, the system being acquired appears to be in satisfactory condition and in compliance with all applicable standards set by the Department of Environmental Protection (DEP) or, if the system is in need of repair or improvement, has any outstanding Notice of Violation of any standard set by the DEP or any outstanding consent orders with the DEP, the buyer shall provide a description of the repairs or improvements that have been identified, the governmental authority that required the repairs or improvements, if applicable, the approximate cost to complete the repairs or improvements, and any agreements between the seller and buyer regarding who will be responsible for any identified repairs or improvements;

(r) The applicant shall provide the following documents:

1. A copy of the utility’s current permits from the DEP and the water management district;

2. A copy of the most recent DEP and/or county health department sanitary survey, compliance inspection report, and secondary standards drinking water report;

3. A copy of all of the utility’s correspondence with the DEP, county health department, and water management district, including consent orders and warning letters, and the utility’s responses to the same, for the past five years; and,

4. A copy of all customer complaints that the utility has received regarding DEP secondary water quality standards during the past five years;

(s) Documentation of the utility’s right to access and continued use of the land upon which the utility treatment facilities are located. Documentation of continued use shall be in the form of a recorded warranty deed, recorded quit claim deed accompanied by title insurance, recorded lease such as a 99-year lease, or recorded easement. The applicant may submit an unrecorded copy of the instrument granting the utility’s right to access and continued use of the land upon which the utility treatment facilities are or will be located, provided that the applicant files a recorded copy within the time required in the order granting the transfer;

(t) A statement regarding the disposition of outstanding regulatory assessment fees, fines, or refunds owed and which entity will be responsible for paying regulatory assessment fees and filing the annual report for the year of the transfer and subsequent years;

(u) Tariff sheets reflecting any changes resulting from the transfer. Form PSC 1010 (12/15), entitled “Water Tariff” and Form PSC 1011 (12/15), entitled “Wastewater Tariff,” which are incorporated by reference in rule 25-30.033, F.A.C., are example tariffs that may be completed by the applicant and included in the application. These forms are also available on the Commission’s website, www.floridapsc.com; and,

(v) If the buyer owns other water or wastewater utilities that are regulated by the Commission, provide a schedule reflecting any economies of scale that are anticipated to be achieved within the next three years and the effect on rates for existing customers served by both the utility being purchased and the buyer’s other utilities.

(3) Transfer of an exempt entity to a regulated utility, or transfer of a utility in a nonjurisdictional county to a regulated utility that results in a system whose service transverses county boundaries. Each applicant shall file with the Commission the information set forth in paragraphs (a) through (f), below.

(a) A combined filing fee pursuant to paragraphs 25-30.020(2)(b) and (c), F.A.C.;

(b) Proof of noticing pursuant to rule 25-30.030, F.A.C.;

(c) The requirements of paragraphs (2)(c), (d), (e), (f), (g), (h), (i), (j), (k), (l), (m), (n), (o), (p), (q), (r), (s), (t), (u), and (v), above;

(d) The requirements of paragraphs 25-30.036(2)(h) and (i), F.A.C.;

(e) An explanation of when and under what authority the current rates and charges of the exempt entity or utility in a nonjurisdictional county were established, if applicable; and,

(f) An explanation of how the seller is either exempt pursuant to section 367.022, F.S., or is a utility in a nonjurisdictional county.

(4) A transfer of majority organizational control of a regulated utility. Each applicant for a transfer of majority organizational control shall file with the Commission the information set forth in paragraphs (a) through (d), below.

(a) A filing fee pursuant to paragraph 25-30.020(2)(c), F.A.C.;

(b) Proof of noticing pursuant to rule 25-30.030, F.A.C.;

(c) The requirements of paragraphs (2)(c), (d), (f), (i), (j), (k), (l), (m), (q), (t) and (u), above; and,

(d) A description of the ownership transfer, including the date the transfer occurred or will occur and a description of the resulting ownership interests in the utility.

(5) A transfer of a regulated utility to an exempt entity other than a governmental authority. Each applicant for a transfer of ownership of a regulated utility to an exempt entity other than a governmental authority shall file with the Commission Clerk the information set forth in paragraphs (a) through (e), below.

(a) A filing fee pursuant to paragraph 25-30.020(2)(c), F.A.C.;

(b) Proof of noticing pursuant to rule 25-30.030, F.A.C.;

(c) The requirements of paragraphs (2)(c), (d), (k), (l), (m), and (r), above;

(d) Documentation of the following terms of the transfer:

1. A copy of the contract for sale and all auxiliary or supplemental agreements. If the sale, assignment, or transfer occurs prior to Commission approval, the contract shall include a provision stating that the contract is contingent upon Commission approval;

2. The closing date;

3. A statement regarding the disposition of customer deposits and interest thereon; and,

4. A statement regarding the disposition of any outstanding regulatory assessment fees, fines, refunds, or annual reports; and,

(e) An explanation of how the buyer is exempt pursuant to section 367.022, F.S.

Rulemaking Authority 367.121, 367.1213, 350.127(2) FS. Law Implemented 367.071, 367.1213 FS. History–New 1-27-91, Amended 11-30-93, 1-4-16.

- 25-30.0371 Acquisition Adjustments.

(1) Definition. For the purpose of this rule, an acquisition adjustment is defined as the difference between the purchase price of utility system assets to an acquiring utility and the net book value of the utility assets. A positive acquisition adjustment exists when the purchase price is greater than the net book value. A negative acquisition adjustment exists when the purchase price is less than the net book value.

(2) Positive Acquisition Adjustments. A positive acquisition adjustment shall not be included in rate base absent proof of extraordinary circumstances. Any entity that believes a full or partial positive acquisition adjustment should be made has the burden to prove the existence of extraordinary circumstances. In determining whether extraordinary circumstances have been demonstrated, the Commission shall consider evidence provided to the Commission such as anticipated improvements in quality of service, anticipated improvements in compliance with regulatory mandates, anticipated rate reductions or rate stability over a long-term period, anticipated cost efficiencies, and whether the purchase was made as part of an arms-length transaction. Amortization of a positive acquisition adjustment shall be pursuant to paragraph (4)(a), below.

(3) Negative Acquisition Adjustments. If the purchase price is greater than 80 percent of net book value, a negative acquisition adjustment will not be included in rate base. When the purchase price is equal to or less than 80 percent of net book value, a negative acquisition adjustment shall be included in rate base and will be equal to 80 percent of net book value less the purchase price. Amortization of a negative acquisition adjustment shall be pursuant to subparagraph (4)(b)1. or (4)(b)2., below.

(4) Amortization Period.

(a) In setting the amortization period for a Commission approved positive acquisition adjustment pursuant to subsection (2), above, the Commission shall consider evidence such as the composite remaining life of the assets purchased and the condition of the assets purchased. Amortization of the acquisition adjustment shall begin on the date of issuance of the order approving the transfer of assets.

(b) The appropriate period over which to amortize a Commission approved negative acquisition adjustment pursuant to subsection (3), above, shall be determined as follows:

1. If the purchase price is greater than 50 percent of net book value, the negative acquisition adjustment shall be amortized over a 7-year period from the date of issuance of the order approving the transfer of assets. In this case, the negative acquisition adjustment shall not be recorded on the books for ratemaking purposes or used for any earnings review unless the purchaser files for a rate increase pursuant to section 367.081(2), 367.0814, 367.0817 or 367.0822, F.S., that will be effective during the amortization period.

2. If the purchase price is 50 percent of net book value or less, the negative acquisition adjustment shall be amortized from the date of issuance of the order approving the transfer of assets as follows:

a. 50 percent of the negative acquisition adjustment shall be amortized over a 7-year period; and,

b. 50 percent of the negative acquisition adjustment shall be amortized over the remaining life of the assets.

(5) Subsequent Modification. Any full or partial positive acquisition adjustment, once made by the Commission pursuant to subsection (2), above, may be subsequently modified if the extraordinary circumstances do not materialize or subsequently are eliminated or changed within 5 years of the date of issuance of the order approving the transfer of assets.

Rulemaking Authority 350.127(2), 367.121(1)(f) FS. Law Implemented 367.071(5), 367.081(2)(a), 367.121(1)(a), (b) FS. History–New 8-4-02, Amended 11-22-10.

- 25-30.038 Application for Transfer to a Governmental Authority.

(1) This rule applies to an application to transfer a regulated utility to a governmental authority pursuant to Section 367.071(4)(a), F.S.

(2) Each applicant for acknowledgement of the transfer of facilities, or any portion thereof, from a regulated utility to a governmental authority shall file the information set forth in paragraphs (a) through (h), below, with the Office of Commission Clerk. Form PSC 1009 (12/15) entitled “Application for Transfer to a Governmental Authority,” which is incorporated by reference in this rule and is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-06246, is an example application that may be completed by the applicant and filed with the Office of Commission Clerk to comply with this subsection. This form may also be obtained from the Commission’s website, www.floridapsc.com.

(a) The certificated name, address, telephone number, certificate number(s), authorized representative, and, if available, email address and fax number of the utility;

(b) The name, address, and telephone number, and authorized representative, and, if available, email address and fax number of the governmental authority;

(c) The date on which the governmental authority assumed ownership or proposes to assume ownership, operation, management, or control of the utility;

(d) A copy of the contract or other document transferring the utility system to the governmental authority;

(e) A statement that the governmental authority obtained from the utility or Commission the most recent available annual report;

(f) A statement describing the disposition of customer deposits and interest thereon;

(g) A statement regarding the disposition of any outstanding regulatory assessment fees, fines or refunds owed; and,

(h) If a utility is transferring only a portion of its facilities to a governmental authority, it must provide the following additional information:

1. A list of any utility assets not transferred to the governmental authority, if such remaining assets constitute a system providing or proposing to provide water or wastewater service to the public for compensation;

2. A legal description of the territory not transferred to the governmental authority in the format prescribed in rule 25-30.029, F.A.C.;

3. An official county tax assessment map or other map showing township, range, and section with a scale such as 1'' = 200' or 1'' = 400', with the remaining territory plotted thereon, consistent with the legal description provided in paragraph (2)(h)2., above; and,

4. Tariff sheets reflecting the remaining territory. Form PSC 1010 (12/15), entitled “Water Tariff” and Form PSC 1011 (12/15), entitled “Wastewater Tariff,” which are incorporated by reference in rule 25-30.033, F.A.C., are example tariffs that may be completed by the applicant and included in the application. These forms may also be obtained from the Commission’s website, www.floridapsc.com.

Rulemaking Authority 367.045, 367.121, 350.127(2) FS. Law Implemented 367.045, 367.071 FS. History–New 1-4-16.

- 25-30.039 Notice for Name Change.

(1) This rule shall apply to a certificated utility that changes its name only, with no change in the ownership or control of the utility or its assets.

(2) Before notifying its customers of a utility name change, the utility shall provide Commission staff with the following:

(a) The utility’s certificated name, address, telephone number, certificate number(s), authorized representative, and, if available, email address and fax number;

(b) The change in name and documentation from the Florida Department of State, Division of Corporations, showing:

1. The utility’s business name and registration/document number for the business, unless operating as a sole proprietor; and,

2. The utility’s fictitious name and registration number for the fictitious name, if operating under a fictitious name;

(c) The effective date of the name change;

(d) A statement that the ownership and control of the utility and its assets will not change under the new name;

(e) A draft notice to be sent to the customers of the utility informing them of the change in utility name; and,

(f) A tariff reflecting the name change, including all standard forms. Form PSC 1010 (12/15), entitled “Water Tariff,” and Form PSC 1011 (12/15), entitled “Wastewater Tariff,” which are incorporated by reference in rule 25-30.033, F.A.C., are example tariffs that may be completed by the applicant and included in the application. These forms may also be obtained from the Commission’s website, www.floridapsc.com.

(3) After the Commission staff approves the customer notice, the utility shall send the approved customer notice to all existing customers with the next regular billing, advising them of the name change. The utility shall file with the Commission Clerk a statement verifying the date that the notice was actually sent to the customers.

Rulemaking Authority 350.127(2), 367.121, 367.1214 FS. Law Implemented 367.121, 367.1214 FS. History–New 11-30-93, Amended 1-4-16.

- 25-30.050 Municipal or County Franchise Fee.

(1) When a municipality charges a utility any franchise fee, the utility may collect that fee only from its customers receiving service within that municipality. When a county charges a utility any franchise fee, the utility may collect that fee only from its customers receiving service within that county.

(2) A utility may not incorporate any franchise fee into its other rates for service.

(3) This rule shall not be construed as granting a municipality or county the authority to charge a franchise fee. This subsection only specifies the method of collection of a franchise fee, if a municipality or county, having authority to do so, charges a franchise fee.

Rulemaking Authority 367.121 FS. Law Implemented 367.091(3), 367.121 FS. History–New 2-3-70, Amended 9-12-74, 11-21-82, Formerly 25-10.03, 25-10.003.

- 25-30.055 Systems with a Capacity or Proposed Capacity to Serve 100 or Fewer Persons.

(1) A water or wastewater system is exempt under section 367.022(6), F.S., if its current or proposed water or wastewater treatment facilities and distribution or collection system have and will have a capacity, excluding fire flow capacity, of no greater than 10,000 gallons per day or if the entire system is designed to serve no greater than 40 equivalent residential connections (ERCs). For purposes of this rule only, one ERC equals 250 gallons per day.

(a) Unless the Commission determines that valid local statistical data should be used, ERCs for residential use are as follows:

| Single family detached dwellings | 1 ERC per unit |
| --- | --- |
| Multiple family dwellings | .8 ERC per unit |
| Mobile homes | .8 ERC per unit |

(b) ERCs for nonresidential use shall be based on meter size and type as follows:

1. For Water Systems

| Meter Size | Meter Type | ERCs |
| --- | --- | --- |
| 5/8'' | Displacement | 1.0 |
| 3/4'' | Displacement | 1.5 |
| 1'' | Displacement | 2.5 |
| 11/2'' | Displacement or Turbine | 5.0 |
| 2'' | Displacement, Compound or Turbine | 8.0 |
| 3'' | Displacement | 15.0 |
| 3'' | Compound | 16.0 |
| 3'' | Turbine | 17.5 |
| 4v | Displacement or Compound | 25.0 |
| 4'' | Turbine | 30.0 |
| 6'' | Displacement or Compound | 50.0 |
| 6v | Turbine | 62.5 |
| 8'' | Compound | 80.0 |
| 8'' | Turbine | 90.0 |
| 10'' | Compound | 115.0 |
| 10'' | Turbine | 145.0 |
| 12'' | Turbine | 215.0 |

2. For Wastewater Systems

| Meter Size | Meter Type | ERCs |
| --- | --- | --- |
| 5/8'' | Displacement | 1.0 |
| 3/4'' | Displacement | 1.5 |
| 1'' | Displacement | 2.5 |
| 11/2'' | Displacement or Turbine | 5.0 |
| 2'' | Displacement, Compound or Turbine | 8.0 |
| 3'' | Displacement | 15.0 |
| 3'' | Compound | 16.0 |
| 3'' | Turbine | 17.5 |
| 4'' | Displacement or Compound | 25.0 |
| 4'' | Turbine | 30.0 |
| 6'' | Displacement or Compound | 50.0 |
| 6'' | Turbine | 62.5 |
| 8'' | Compound | 80.0 |
| 8'' | Turbine | 90.0 |
| 10'' | Compound | 115.0 |
| 10'' | Turbine | 145.0 |
| 12'' | Turbine | 215.0 |

(c) Where undeveloped land is adjacent to a system or proposed system the Commission may, where appropriate, estimate ERCs for service to future development on the adjacent undeveloped land. Unless the Commission determines that valid local statistical data should be used, ERCs for residential acreage should be estimated as follows:

| Residential Use | ERCs/Acre |
| --- | --- |
| Mobile home | 4.8 |
| Detached single family | 4.0 |

Estimates for other types of residential acreage and for commercial and industrial uses shall be made on a case by case basis.

Rulemaking Authority 350.127(2), 367.121(1)(f) FS. Law Implemented 367.022(6) FS. History–New 1-5-84, Formerly 25-10.10, 25-10.010, Amended 11-10-86.

- 25-30.090 Abandonments.

(1) This rule applies to any person, lessee, trustee, or receiver owning, operating, managing, or controlling a utility which intends to abandon the utility. The provisions of this rule are intended to prevent service interruptions to the utility customers.

(2) The notice of abandonment to be issued by the utility to the Commission and the county’s administrator, pursuant to section 367.165, F.S., shall identify the following:

(a) The utility’s name and address;

(b) The person to contact regarding this notice, including that person’s address, telephone number, and, if available, email address and fax number;

(c) The date of the notice;

(d) The date the utility will be abandoned;

(e) Whether the water system, wastewater system, or both are to be abandoned;

(f) A statement of the reason the utility will be abandoned;

(g) A statement of the status of the utility with the Department of Environmental Protection regarding outstanding citations or violations; and,

(h) The location of the utility’s books and records.

(3) Within 10 days of appointment of a receiver by the circuit court, the receiver shall provide the Commission with a copy of the order of appointment and shall request from the Commission a copy of the utility’s tariff and most recent annual report.

(4) Within 90 days of appointment, a receiver who is not a governmental authority shall file the utility’s water and/or wastewater tariff that is revised to show the name, address and telephone number of the receiver and identifies the receiver as the issuing officer. This revision shall not affect the certificated name of the utility. Form PSC 1010 (12/15), entitled “Water Tariff” and Form PSC 1011 (12/15), entitled “Wastewater Tariff,” which are incorporated by reference in rule 25-30.033, F.A.C., are example tariffs that may be completed by the applicant and included in the application. These forms may also be obtained from the Commission’s website, www.floridapsc.com.

(5) The receiver shall fulfill the utility’s obligations pursuant to chapter 367, F.S., and chapter 25-30, F.A.C., during the pendency of the receivership. However, a receiver shall not be held responsible by the Commission for failure to provide safe, efficient and sufficient service where such failure is substantially caused by actions or omissions pre-dating appointment of the receiver, unless the receiver is given reasonable opportunity to rectify such failure.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.121, 367.165 FS. History–New 11-30-93, Amended 1-4-16.

- 25-30.091 Petition to Revoke Water Certificate of Authorization.

(1) Purpose. The purpose of this rule is to establish a process by which customers of investor-owned drinking water utilities may petition the Commission to revoke a utility’s certificate of authorization pursuant to section 367.072, F.S.

(2) Pursuant to section 367.0812(3), F.S., customers may not petition the Commission to revoke a utility’s water certificate of authorization if the utility is the subject of a proceeding under chapter 367, F.S. For the purposes of this rule, a proceeding under chapter 367, F.S., means any rate proceeding in which quality of water service is addressed, such as a general rate proceeding under section 367.081, F.S., a staff assisted rate proceeding under section 367.0814, F.S., or a limited proceeding under section 367.0822, F.S. A general rate proceeding under chapter 367, F.S., is initiated upon the utility’s filing of a request for approval of a test year pursuant to rule 25-30.430, F.A.C. Other rate proceedings under chapter 367, F.S., are initiated upon the utility’s filing of an application for rate relief.

(3) Letter of Intent. Utility customers who intend to petition the Commission for revocation of their utility’s certificate of authorization pursuant to section 367.072, F.S., shall notify the Commission in writing of their intent to file a petition for revocation of certificate. In the letter of intent, the customers shall advise the Commission of the name and address of their water utility. The letter of intent shall be filed with the Office of Commission Clerk.

(4) Within 10 days after receipt of the letter of intent, the Commission staff will notify the utility of the customers’ intent to file a petition for revocation of its certificate of authorization.

(5) In the notification letter to the utility, the Commission staff will request that the utility certify, within 30 days after receipt of the notification letter, the number of water customers the utility serves by counting its service connections, and provide staff with a list of its customers’ names and addresses.

(6) If the utility fails to certify the number of customers it serves by the date requested in the notification letter, Commission staff will utilize the number of customers reported by the utility in its most recent annual report on file with the Commission to evaluate the sufficiency of the petition pursuant to section 367.072(1)(b), F.S.

(7) Upon receipt of the utility’s response to the Commission staff’s request to certify the number of customers the utility serves, or, if the utility fails to respond to the Commission staff’s request to certify the number of customers the utility serves, upon the expiration of 30 days from the utility’s receipt of the Commission staff’s request, the Commission staff will send the following materials to customers who file a letter of intent pursuant to subsection (3) of this rule:

(a) “Instructions for Petitioning for Revocation of Water Certificate,” (EFF. 12/14), which are incorporated herein by reference and are available at http://www.flrules.org/Gateway/reference.asp?No=Ref-04971;

(b) Form PSC 1000 (12/14), entitled “Florida Public Service Commission: Petition to Revoke the Certificate of Authorization of [Utility Name],” which petition form the customers must copy and use for the collection of signatures to be submitted to the Commission. A sample of Form PSC 1000 (12/14) is incorporated herein by reference for informational purposes only, and is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-04972. The sample petition form incorporated herein must not be used for the collection of signatures;

(c) A copy of section 367.072, F.S.;

(d) A copy of this rule; and,

(e) A copy of the state primary and secondary drinking water standards, as contained in rule 62-550.828, F.A.C.

(8) For a petition for revocation to be deemed sufficient, the following criteria must be met:

(a) Each petition form must include the printed name, signature, service address, and telephone number of the customer-signatory;

(b) Each petition form must state with specificity each issue that the customer-signatory has with the quality of water service provided, each time the issue was reported to the utility, and how long the issue has existed; and

(c) Petition forms must be completed by at least 65 percent of the utility’s customers, as that term is defined in section 367.072, F.S.

(9) The customers must file the completed petition forms with the Office of Commission Clerk within 90 days after receipt of the staff’s instructions.

(10) Within 10 days after receipt of the petition, the staff will provide notice to the customers who filed the letter of intent or their designated representative by letter as to whether the petition is sufficient for the Commission to act, and will provide a copy of the notice to the utility. If the petition is deficient, the notice will specify what additional information is required.

(11) If the notice identifies deficiencies in the petition, the customers must file a corrected petition with the Office of Commission Clerk curing the noticed deficiencies within 30 days after receipt of the notice, and must provide a copy of the cured petition to the utility. The staff will notify the customers who file a corrected petition or their designated representative by letter as to whether the corrected petition has cured the deficiencies specified in the notice provided under subsection (10), and will provide a copy of the letter to the utility. If the customers fail to timely cure the noticed deficiencies, the petition will be dismissed pursuant to section 367.072(1)(b), F.S.

(12) The utility may file a response to a sufficiently filed petition with the Office of Commission Clerk within 14 days from the staff letter notifying the customers that the petition is sufficient for the Commission to act.

(13) The staff will file a recommendation for the Commission to determine at a scheduled agenda conference whether the issues identified in a sufficiently filed petition support a reasonable likelihood that the utility is failing to provide quality water services.

(14) If the Commission determines that the issues identified in the petition do not support a reasonable likelihood that the utility is failing to provide quality water services, the Commission’s order dismissing the petition will be issued as a proposed agency action. The notice of proposed agency action will give substantially affected persons an opportunity to request a section 120.569 or 120.57, F.S., hearing on the matter within 21 days after issuance of the notice, pursuant to rule 25-22.029, F.A.C.

(15) If the Commission determines that the issues identified in the petition support a reasonable likelihood that the utility is failing to provide quality water services, the Commission will order the utility to show cause as to why its water certificate of authorization should not be revoked, and will set the matter for hearing pursuant to sections 120.569, 120.57, 120.60(5), and 367.072(5), F.S. The utility’s response to the show cause order shall use the criteria set forth in sections 367.072(3)(a) and (b), F.S., in addressing the issues identified within the petition.

Rulemaking Authority 350.127(2), 367.072, 367.0812 FS. Law Implemented 367.072, 367.0812 FS. History–New 2-10-15.

- 25-30.110 Records and Reports; Annual Reports.

(1) Records.

(a) Each utility shall preserve its records in accordance with the “Regulations to Govern the Preservation of Records of Electric, Gas and Water Utilities” as issued by the National Association of Regulatory Utility Commissions, as revised May 1985.

1. Those utilities that choose to convert documents from their original media form shall retain the original source documents as required by paragraph 25-30.110(1)(a), F.A.C., for a minimum of three years, or for any lesser period of time specified for that type of record in the “Regulations to Govern the Preservation of Records of Electric, Gas and Water Utilities,” after the date the document was created or received by the utility. This paragraph does not require the utility to create paper copies of documents where the utility would not otherwise do so in the ordinary course of its business. The Commission may waive the requirement that documents be retained in their original form upon a showing by a utility that it employs a storage and retrieval system that consistently produces clear, readable copies that are substantially equivalent to the originals, and clearly reproduces handwritten notations on documents.

2. The utility shall maintain written procedures governing the conversion of source documents to a storage and retrieval system, which procedures ensure the authenticity of documents and the completeness of records. Records maintained in the storage and retrieval system must be easy to search and easy to read.

(b) Unless otherwise authorized by the Commission, each utility shall maintain its records at the office or offices of the utility within this state and shall keep those records open for inspection during business hours by Commission staff.

(c) Any utility that keeps its records outside the state shall reimburse the Commission for the reasonable travel expense incurred by each Commission representative during any review of the out-of-state records of the utility or its affiliates. Reasonable travel expenses are those travel expenses that are equivalent to travel expenses paid by the Commission in the ordinary course of its business.

1. The utility shall remit reimbursement for out-of-state travel expenses within 30 days from the date the Commission mails the invoice.

2. The reimbursement requirement in paragraph (1)(c) shall be waived:

a. For any utility that makes its out-of-state records available at the utility’s office located in Florida or at another mutually agreed upon location in Florida within 10 working days from the Commission’s initial request. If 10 working days is not reasonable because of the complexity and nature of the issues involved or the volume and type of material requested, the Commission may establish a different time frame for the utility to bring records into the state. For individual data requests made during an audit, the response time frame established in rule 25-30.145, F.A.C., shall control; or

b. For a utility whose records are located within 50 miles of the Florida state line.

(2) In General. Each utility shall furnish to the Commission at such time and in such forms as the Commission may require, the results of any required tests and summaries of any required records. The utility shall also furnish the Commission with any information concerning the utility’s facilities or operation that the Commission may request and require for determining rates or judging the practices of the utility. All such data, unless otherwise specified, shall be consistent with and reconcilable with the utility’s annual report to the Commission.

(3) Annual Reports: Filing Extensions. Each utility shall file with the Commission annual reports on forms prescribed by the Commission. The obligation to file an annual report for any year shall apply to any utility which is subject to this Commission’s jurisdiction as of December 31 of that year, whether or not the utility has actually applied for or been issued a certificate.

(a) The Commission shall, by January 15 of each year, send one blank copy of the appropriate annual report form to each utility company. The failure of a utility to receive a report form shall not excuse the utility from its obligation to timely file the annual report. An original and two copies of the annual reports shall be filed with the Commission on or before March 31 for the preceding year ending December 31. Annual reports are considered filed on the day they are postmarked or received and logged in by the Commission’s Division of Accounting and Finance in Tallahassee.

(b) An annual report is considered on file if it is properly addressed, with sufficient postage, and postmarked no later than the due date. If an annual report is sent by registered mail, the date of the registration is the postmark date. The registration is evidence that the annual report was delivered. If an annual report is sent by certified mail and the receipt is postmarked by a postal employee, the date on the receipt is the postmark date. The postmarked certified mail receipt is evidence that the return was delivered.

(c) A utility may file a written request for an extension of time with the Division of Accounting and Finance no later than March 31. One extension of 30 days will be automatically granted upon request. A request for a longer extension must be accompanied by a statement of good cause and shall specify the date by which the report will be filed.

(4) Annual Reports; Contents. The appropriate annual report form required from each utility shall be determined by using the same three classes of utilities used by the National Association of Regulatory Utility Commissioners for publishing its system of accounts: Class A (those having annual water or wastewater operating revenues of $1,000,000 or more); Class B (those having annual water or wastewater revenues of $200,000 or more but less than $1,000,000); Class C (annual water or wastewater revenues of less than $200,000). The class to which a utility belongs shall be determined by using the higher of the average of its annual water or wastewater operating revenues for each of the last three preceding years.

(a) Class A and B utilities shall file the annual report on Commission Form PSC/AFD 3-W (12/99), entitled “Water and/or Wastewater Utilities (Gross Revenues of $200,000 and more),” which is incorporated by reference into this rule.

(b) Class C utilities shall file the annual report on Commission Form PSC/AFD 6-W (12/99), entitled “Water and/or Wastewater Utilities (Gross Revenues of less than $200,000 each),” which in incorporated by reference into this rule.

(c) The foregoing forms can be obtained from the Commission’s Division of Accounting and Finance.

(5) Certification of Annual Reports. As part of the annual report, each utility shall certify the following in writing by the utility’s chief executive officer and chief financial officer:

(a) Whether the utility is in substantial compliance with the Uniform System of Accounts as prescribed by rule 25-30.115, F.A.C.;

(b) Whether the utility is in substantial compliance with all applicable rules and orders of the Florida Public Service Commission;

(c) Whether there have been any written communications from regulatory agencies concerning noncompliance with, or deficiencies in, financial reporting practices that could have a material effect on the financial statements;

(d) Whether the financial statements and related schedules fairly present the financial condition and results of operations for the period presented and whether other information and statements presented as to the business affairs of the respondent are true, correct, and complete for the period which they represent.

(6) Annual Reports, Penalty for Noncompliance. A penalty shall be assessed against any utility that fails to file an annual report or an extension in the following manner:

(a) Failure to file an annual report or an extension on or before March 31;

(b) Failure to file a complete annual report;

(c) Failure to file an original and two copies of the annual report.

Any utility that fails to comply with this rule shall be subject to the penalties imposed herein unless the utility demonstrates good cause for the noncompliance. The Commission may, in its discretion, impose penalties for noncompliance that are greater or lesser than provided herein; such as in cases involving a flagrant disregard for the requirements of this rule or repeated violations of this rule. No final determination of noncompliance or assessment of penalty shall be made by the Commission except after notice and an opportunity to be heard, as provided by applicable law.

(d) Any utility which fails to pay a penalty within 30 days after its assessment by the Commission shall be subject to interest applied to the penalty up to and including the date of payment of the penalty. Such interest shall be compounded monthly, based on the 30 day commercial paper rate for high grade, unsecured notes sold through dealers by major corporations in multiples of $1,000 as regularly published in the Wall Street Journal.

(7) Delinquent Reports.

(a) Any utility that fails to file its annual report or extension on or before March 31, or within the time specified by any extension approved in writing by the Division of Accounting and Finance, shall be subject to a penalty. The penalty shall be based on the number of calendar days elapsed from March 31, or from an approved extended filing date, until the date of filing. The date of filing shall be included in the days elapsed.

(b) The penalty for delinquent reports shall accrue based on the utility’s classification established under subsection (4), in the following manner for each day the report is delinquent:

1. $25 per day for Class A utilities;

2. $13.50 per day for Class B utilities; and,

3. $3.00 per day for Class C utilities.

(8) Incomplete Reports.

(a) The Commission’s Division of Accounting and Finance shall provide written notification to a utility if its report does not contain information required by subsection (4) of this rule. The utility shall file the missing information no later than 30 days after the date on the face of the notification. If the utility fails to file the information within that period, the report will be deemed delinquent and the utility shall be subject to a penalty as provided under paragraphs (7)(a) and (b), except that the penalty shall be based on the number of days elapsed from the date the information is due to the date it is actually filed. The date of filing shall be included in the elapsed days.

(b) A report is incomplete if any of the schedules required by the following forms of this rule are not completed:

1. Form PSC/AFD 3-W (Rev. 12/99) for Class A and B utilities;

2. Form PSC/AFD 6-W (Rev. 12/99) for Class C utilities.

(c) An incomplete report will remain incomplete until the missing information is filed with the Division of Accounting and Finance on the appropriate Commission form.

(9) Incorrect Filing. If a utility files an incorrect annual report it shall be considered delinquent and subject to a penalty on the same basis as a utility that fails to timely file an annual report. The classification determining the applicable penalty, as prescribed by paragraphs (7)(a) and (b), shall be determined by the latest annual revenue figures available for the utility. The failure of a utility to receive a report form for the correct class of utility shall not excuse the utility from its obligation to timely file the annual report for the correct class of utility.

(10) Insufficient Copies. A utility that fails to file one original and two copies of its annual report shall be subject to a penalty of one dollar per page per missing copy. The Commission will provide the utility with written notice that insufficient copies were received. A penalty may be avoided if, within 20 days after the date of the notice, the utility files the missing copies or requests that the Commission copy its report for it and remits the appropriate fee for the copying.

(11) Other Penalties. The penalties that may be assessed against a utility for failure to file an annual report in compliance with the foregoing shall be separate and distinct from penalties that may be imposed for other violations of the requirements of the Commission.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.121(1)(c), (g), (i), (k), 367.156(1), 367.161 FS. History–New 9-12-74, Amended 1-18-83, 2-25-85, 10-27-85, Formerly 25-10.25, 25-10.025, Amended 11-10-86, 12-22-86, 3-11-91, 11-13-95, 5-1-96, 12-14-99

- 25-30.115 Uniform System of Accounts for Water and Wastewater Utilities.

Water and wastewater utilities shall, effective January 1, 1998, maintain their accounts and records in conformity with the 1996 NARUC Uniform Systems of Accounts adopted by the National Association of Regulatory Utility Commissioners, which is incorporated by reference in this rule. All inquiries related to the interpretation of these uniform systems of accounts shall be submitted to the Commission’s Division of Accounting and Finance in writing. Note: The National Association of Regulatory Utility Commissioners published separate uniform systems of accounts for three classes of water and wastewater utilities: Class A (defined as those having annual water or wastewater operating revenues of $1,000,000 or more); Class B (defined as those having annual water or wastewater operating revenues of $200,000 or more but less than $1,000,000); Class C (defined as those having annual water or wastewater revenues of less than $200,000). Copies of these systems of accounts may be purchased from the office of said Association, Publications, National Association of Regulatory Utility Commissioners, 1101 Vermont Avenue, N.W., Suite 200, Washington, D.C. 20005, at (202)898-2200, or at http://www.naruc.org/about.cfm?c=staff.

Rulemaking Authority 367.121(1)(b), (f) FS. Law Implemented 367.121(1)(b) FS. History–New 2-3-70, Amended 9-12-74, 1-2-79, 8-21-79, 9-25-85, Formerly 25-10.04, 25-10.004, Amended 8-17-96.

- 25-30.116 Allowance for Funds Used During Construction.

(1) Construction work in progress (CWIP) that is not included in rate base may accrue allowance for funds used during construction (AFUDC), under the following conditions:

(a) Eligible projects. The following projects may be included in CWIP and accrue AFUDC:

1. Projects that involve gross additions to plant in excess of $5,000; and,

2. Are expected to be completed in excess of sixty days after commencement of construction; or

3. Were originally expected to be completed in sixty days or less but are not ready for service after sixty days.

(b) Ineligible projects. The following projects may be included in CWIP, but may not accrue AFUDC:

1. Projects, or portions thereof, that do not exceed the level of CWIP included in rate base in the company’s last rate case.

2. Projects where gross additions to plant are less than $5,000.

3. Projects expected to be completed in less than sixty days after commencement of construction.

4. Property that has been classified as Property Held for Future Use.

(c) Unless otherwise authorized by the Commission, the following projects may not be included in CWIP nor accrue AFUDC:

1. Projects that are reimbursable by another party.

2. Projects that have been cancelled.

3. Purchases of assets which are ready for service when acquired.

4. Portions of projects providing service during the construction period.

(d) Other conditions. Accrual of AFUDC is subject to the following conditions:

1. Accrual of AFUDC is not to be reversed when a project originally expected to be completed in excess of sixty days is completed in sixty days or less;

2. AFUDC may not be accrued retroactively if a project expected to be completed in sixty days or less is subsequently suspended for six months, or is not ready for service after sixty days;

3. When a project is completed and ready for service, it shall be immediately transferred to the appropriate plant account(s) or Account 106, Completed Construction Not Classified, and may no longer accrue AFUDC;

4. Where a work order covers the construction of more than one property unit, the AFUDC accrual shall cease on the costs related to each unit when that unit reaches an in-service status;

5. When the construction activities for an ongoing project are expected to be suspended for a period exceeding six (6) months, the utility shall notify the Commission of the suspension and the reason(s) for the suspension, and shall submit a proposed accounting treatment for the suspended project; and,

6. When the construction activities for a suspended project are resumed, the previously accumulated costs of the project may not accrue AFUDC if such costs have been included in rate base for ratemaking purposes. However, the accrual of AFUDC may be resumed when the previously accumulated costs are no longer included in rate base for ratemaking purposes.

(e) Subaccounts. Account 105, Construction Work in Progress, shall be subdivided so as to segregate the cost of construction projects that are eligible for AFUDC from the cost of construction projects that are ineligible for AFUDC.

(2) The applicable AFUDC rate shall be determined as follows:

(a) The most recent 12-month average embedded cost of capital, except as noted below, shall be derived using all sources of capital and adjusted using adjustments consistent with those used by the Commission in the Company’s last rate case.

(b) The cost rates for the components in the capital structure shall be the midpoint of the last allowed return on common equity, the most recent 12-month average cost of short term debt and customer deposits and a zero cost rate for deferred taxes and all investment tax credits. The cost of long term debt and preferred stock shall be based on end of period cost. The annual percentage rate shall be calculated to two decimal places.

(c) A company that has not had its equity return set in a rate case shall calculate its return on common equity by applying the most recent water and wastewater equity leverage formula.

(d) The treatment by the Commission of all investment tax credits at a zero cost rate shall be contingent upon a ruling from the Internal Revenue Service that such treatment will not, for companies elected to be treated under Section 46(f)(2) of the Internal Revenue Code, result in the forfeiture of the tax credits. Pending receipt of such a ruling, each utility shall continue to use the weighted overall cost of capital calculated in a manner consistent with the final IRS Regulation Section 1.46-6 published May 22, 1986, as the cost of the utility’s 4% and 10% investment tax credits.

(e) Any such ruling request must be submitted to the Commission by December 15, 1987. The AFUDC cost rate for the investment tax credit for any company which fails to submit its own letter ruling request to the IRS shall be governed by the first letter ruling issued by the IRS in response to a request submitted pursuant to paragraph (2)(d) of this rule.

(3) Discounted monthly AFUDC rate. A discounted monthly AFUDC rate, calculated to six decimal places, shall be employed to insure that the annual AFUDC charged does not exceed authorized levels.

(a) The formula used to discount the annual AFUDC rate to reflect monthly compounding is as follows:

M = [(1 + A/100)1/12 – 1] x 100

Where:

M = discounted monthly AFUDC rate

A = annual AFUDC rate

(b) The monthly AFUDC rate, carried out to six decimal places, shall be applied to the average monthly balance of eligible CWIP that is not included in rate base.

(4) The following schedules shall be filed with each petition for a change in AFUDC rate:

(a) Schedule A. A schedule showing the capital structure, cost rates and weighted average cost of capital that are the basis for the AFUDC rate in subsection (2).

(b) Schedule B. A schedule showing capital structure adjustments including the unadjusted capital structure, reconciling adjustments and adjusted capital structure that are the basis for the AFUDC rate in subsection (2).

(c) Schedule C. A schedule showing the calculation of the monthly AFUDC rate using the methodology set out in this rule.

(5) No utility may charge or change its AFUDC rate without prior Commission approval. The new AFUDC rate shall be effective the month following the end of the 12-month period used to establish that rate and may not be retroactively applied to a previous fiscal year unless authorized by the Commission.

(6) Each utility charging AFUDC shall include with its Annual Report to the Commission Schedules A and B identified in subsection (4) of this rule, as well as disclosure of the AFUDC rate it is currently charging.

(7) The Commission may, on its own motion, initiate a proceeding to revise a utility’s AFUDC rate.

(8) Paragraphs (a) and (b) of subsection (1) shall not be effective for any utility until it implements final rates in a general rate case initiated after the effective date of this rule. The foregoing notwithstanding, those provisions will become effective for all utilities no later than January 1, 1989.

Rulemaking Authority 350.127(2), 367.121(1)(f) FS. Law Implemented 350.115, 367.081(2), 367.121(1)(b) FS. History–New 8-11-86, Formerly 25-30.121, Amended 11-13-86, 12-7-87.

- 25-30.117 Accounting for Pension Costs.

Any utility that has an established defined benefit pension plan as defined by the Financial Accounting Standard’s Board in the Statement of Financial Accounting Standards No. 87, Employers’ Accounting for Pensions (SFAS 87), dated December, 1985, shall account for these costs pursuant to SFAS 87 as it applies to business enterprises in general.

Rulemaking Authority 367.121 FS. Law Implemented 367.121 FS. History–New 11-30-93.

- 25-30.120 Regulatory Assessment Fees; Water and Wastewater Utilities.

(1) As applicable and as provided in section 350.113, F.S., each utility shall remit a fee based upon its gross operating revenue. This fee shall be referred to as a regulatory assessment fee. Each utility shall pay a regulatory assessment fee in the amount of 0.045 of its gross revenues derived from intrastate business. The gross revenues reported for regulatory assessment fee purposes must agree with the amount reported as operating revenue on Schedule F-3 of the Operating Statement in the company’s Annual Report, filed in accordance with rule 25-30.110, F.A.C. A minimum annual regulatory assessment fee of $25 shall be imposed if there are no revenues or if revenues are insufficient to generate a minimum annual fee.

(2) The obligation to remit the regulatory assessment fees for any year shall apply to any utility that is subject to this Commission’s jurisdiction on or before December 31 of that year or for any part of that year.

(a) For large utilities with annual revenues of $200,000 or more based on the most recent prior calendar year, regulatory assessment fees shall be filed with the Commission on or before July 30 for the preceding period or any part of the period from January 1 until June 30, and on January 30 for the preceding period or any part of the period from July 1 until December 31. Commission Form PSC/AFD 010-WL (02/05) entitled “Large Water Utility Regulatory Assessment Fee Return” is available at: http://www.flrules.org/Gateway/reference.asp?No=Ref-02618 and Commission Form PSC/AFD 017-WL (02/05) entitled “Large Wastewater Utility Regulatory Assessment Fee Return” is available at: http://www.flrules.org/Gateway/reference.asp?No=Ref-02619. These forms are incorporated into this rule by reference and may also be obtained from the Division of Administrative and Information Technology Services. The failure of a utility to receive a return form shall not excuse the utility from its obligation to timely remit the regulatory assessment fees.

(b) For small utilities with annual revenues of less than $200,000 based on the most recent prior calendar year, regulatory assessment fees shall be filed with the Commission on or before March 31 for the preceding year ended December 31. Commission Form PSC/AFD 010-WS (02/05) entitled “Small Water Utility Regulatory Assessment Fee Return” is available at: http://www.flrules.org/Gateway/reference.asp?No=Ref-02616 and Commission Form PSC/AFD 017-WS (02/05) entitled “Small Wastewater Utility Regulatory Assessment Fee Return” is available at: http://www.flrules.org/Gateway/reference.asp?No=Ref-02617. These forms are incorporated into this rule by reference and may also be obtained from the Commission’s Division of Administrative and Information Technology Services. The failure of a utility to receive a return form shall not excuse the utility from its obligation to timely remit the regulatory assessment fees.

(c) For the purpose of this rule, a utility operating both a water system and a wastewater system shall consider each system separately in determining the revenue threshold for filing regulatory assessment fees on either an annual or semi-annual basis.

(d) Regulatory assessment fees are considered paid on the date they are postmarked by the United States Postal Service or received and logged in by the Commission’s Division of Administrative and Information Technology Services in Tallahassee. Fees are considered timely paid if properly addressed, with sufficient postage and postmarked no later than the due date.

(3) If the due date falls on a Saturday, Sunday, or a legal holiday, the due date is extended to the next business day. If the fees are sent by registered mail, the date of the registration is the United States Postal Service’s postmark date. If the fees are sent by certified mail and the receipt is postmarked by a postal employee, the date on the receipt is the United States Postal Service’s postmark date. The postmarked certified mail receipt is evidence that the fees were delivered.

(4) Each utility shall have up to and including the due date in which to:

(a) Remit the total amount of its fee; or

(b) Remit an amount which the utility estimates is its full fee.

(5) Any utility that purchases water or wastewater treatment from another utility regulated by the Florida Public Service Commission is allowed to deduct the annual expense for purchased water or wastewater treatment from its gross operating revenues before calculating the amount of the regulatory assessment fees due.

(6) A utility may request either a 15-day or a 30-day extension of its due date for payment of regulatory assessment fees or for filing its return form by submitting to the Division of Administrative and Information Technology Services Commission Form PSC/AIT 124 (12/11) entitled “Regulatory Assessment Fee Extension Request,” which is incorporated into this rule by reference and is available at: http://www.flrules.org/Gateway/reference.asp?No=Ref-02622. This form may also be obtained from the Commission’s Division of Administrative and Information Technology Services.

(a) The request for extension must be received by the Division of Administrative and Information Technology Services at least two weeks before the due date.

(b) The request for extension will not be granted if the utility has any unpaid regulatory assessment fees, penalties, or interest due from a prior period.

(c) Where a utility receives either a 15-day extension or a 30-day extension of its due date pursuant to this rule, the utility shall remit a charge as set out in section 350.113(5), F.S., in addition to the regulatory assessment fee.

(7) The delinquency of any amount due to the Commission from the utility pursuant to the provisions of section 350.113, F.S., and this rule, begins with the first calendar day after any date established as the due date either by operation of this rule or by an extension pursuant to this rule.

(a) Pursuant to section 350.113, F.S., a penalty shall be assessed against any utility that fails to pay its regulatory assessment fee by March 31, in the following manner:

1. Five percent of the fee if the failure is for not more than 30 days, with an additional five percent for each additional 30 days or fraction thereof during the time in which the failure continues, not to exceed a total penalty of 25 percent.

2. The amount of interest to be charged is one percent for each thirty days or fraction thereof, not to exceed a total of 12 percent per annum.

(b) In addition to the penalties and interest otherwise provided, the Commission may impose an additional penalty upon a utility for failure to pay regulatory assessment fees in a timely manner in accordance with section 367.161, F.S.

(8) Any utility that requests and receives an extension of not more than 30 days or remits, by the due date, an estimated fee payment of at least 90 percent of the actual fee due shall not be charged interest or penalty on the balance due if paid within the extension period.

Rulemaking Authority 350.127(2), 367.121(1) FS. Law Implemented 350.113, 367.145, 367.161 FS. History–New 5-18-83, Formerly 25-10.24, Amended 10-19-86, Formerly 25-10.024, Amended 11-10-86, 2-8-90, 7-7-96, 2-3-05, 5-7-13.

- 25-30.125 System Maps and Records.

Each utility shall maintain on file at its principal office located within the State suitable maps, drawings and/or records of its system and facilities to show size, location, character, date of installation and installed cost of major items of plant and extension of facilities.

Rulemaking Authority 367.121 FS. Law Implemented 367.121 FS. History–New 9-12-74, Formerly 25-10.27, 25-10.027.

- 25-30.130 Record of Complaints.

(1) Each utility shall maintain a record of all complaints received. Each record shall show the name and address of the complainant; the nature of the complaint; the date received; the result of any investigation; the disposition of the complaint; and the date of disposition. The word “complaint” as used in this rule is defined in subsection 25-30.355(2), F.A.C.

(2) Notwithstanding the requirements of paragraph 25-30.110(1)(a), F.A.C., utilities shall maintain a record of each complaint for a minimum of five years from the date of receipt and shall provide a copy of records of complaints to the Commission upon Commission staff’s request. Documentation relating to customer complaints processed under rule 25-22.032, F.A.C., shall be retained as set forth in paragraph 25-22.032(10)(a), F.A.C.

Rulemaking Authority 350.127(2), 367.0812(5), 367.121(1) FS. Law Implemented 367.0821(1), 367.111, 367.121(1) FS. History–New 9-12-74, Formerly 25-10.30, 25-10.030, Amended 11-10-86, 6-21-18.

- 25-30.135 Tariffs, Rules and Miscellaneous Requirements.

(1) Each utility shall adopt and file tariffs in accordance with chapter 25-9, F.A.C.

(2) No utility may modify or revise its rules or regulations or its schedules of rates and charges until the utility files and receives approval from the Commission for any such modification or revision.

(3) Each utility shall maintain for customer inspection upon request during regular business hours at its main in-state business office, a current copy of chapters 25-9, 25-22 and 25-30, F.A.C., a current copy of chapter 367, F.S., and a copy of the utility’s current tariffs, and current developer agreements. The Commission shall provide current copies of the above rules and statute to each utility.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.121 FS. History–New 9-12-74, Formerly 25-10.41, 25-10.041, Amended 11-10-86, 11-30-93.

- 25-30.140 Depreciation.

(1) For the purpose of the rule, the following definitions apply:

(a) Account – Water and wastewater plant accounts are defined in the NARUC Uniform System of Accounts adopted by rule 25-30.115, F.A.C.

(b) Amortization – The gradual extinguishment of an amount in an account by distributing such amount over a fixed period.

(c) Asset – Any owned physical object (tangible) or right (intangible) having economic value to its owner.

(d) Average Remaining Life – The future expected service in years of the surviving plant at a given age.

(e) Average Service Life – The period of service that can be reasonably expected from the plant type in question. It is measured by the period of time the subject plant and its associated investment is included on the company’s books as in service to the public. The average service life will typically be less than the potential physical life due to factors such as governmental requirements, growth or adverse operating conditions.

(f) Average Service Life Depreciation Rate - The depreciation rate based on the expected average service to be experienced by the investment or account in question.

A.S.L. Rate = 100% ‒ Average Net Salvage %

Average Service Life

(g) Capitalization – Measures of the propriety of capitalization versus expensing as follows:

1. The addition of any retirement unit; or

2. Any replacement with a retirement unit that materially enhances the value, use, life expectancy, strength or capacity of the asset prior to replacement shall be capitalized.

3. The cost of incidental repairs that neither materially add to the value of the property nor appreciably prolong its life and that were made to keep the property in an ordinary efficient operating condition shall be accounted for as a maintenance expense.

(h) Cost of removal – The cost of demolishing, dismantling, tearing down or otherwise removing utility plant, including the cost of transportation and handling incidental thereto.

(i) Continuing Property Record (CPR) – A perpetual collection of records required by the NARUC Uniform System of Accounts showing the detailed original costs, quantities, and locations of plant in service. Generally, a CPR should contain 1) an inventory of property record units which can be readily checked for proof of physical existence, 2) the association of costs with such property record units to ensure accurate accounting for retirements, and 3) the dates of installation and removal of plant to provide data for use in connection with depreciation studies.

(j) Depreciation – As applied to depreciable utility plant, the loss in service value not restored by current maintenance incurred in connection with the consumption or prospective retirement of utility plant in the course of service from causes that are known to be in current operation and against which the utility is not protected by insurance. Among the causes to be given consideration are wear and tear, decay, action of the elements, inadequacy, obsolescence, changes in the art, changes in demand and requirements of public authorities. The intent of depreciation per this rule is to provide for recovery of invested capital and to match this recovery as nearly as possible to the useful life of the depreciable investment.

(k) Depreciation Accounting – The process of charging the book cost of depreciable property, adjusted for net salvage, to operations over the associated useful life.

(l) Depreciation Expense – The periodic charge to expense to allocate the original cost of a depreciable group of assets over the life of those assets.

(m) Depreciable Group – A homogeneous grouping of assets expected to experience similar life and salvage patterns. Unless otherwise ordered by the Commission, depreciable groups are the accounts defined in the NARUC Uniform System of Accounts adopted by rule 25-30.115, F.A.C.

| Water | Wastewater |
| --- | --- |
| Source of Supply | Collection Plant |
| (Accounts 304 to 311 and 339) | (Accounts 354, 355 and 360 to 367) |
|  | Pumping Plant |
|  | (Accounts 354, 355, 370, 371) |
|  | Treatment & Disposal Plant |
| Water Treatment Plant |  |
| (Accounts 304, 310, 311, 320, and 339) | (Accounts 354 and 380 to 389) |
|  | Reclaimed Water Treatment Plant |
| Transmission & Distribution Plant | (Accounts 354, 355, 371, 374, 380, 381, 389) |
| (Accounts 304, 310, 311 and 330 to 339) General Plant | Reclaimed Water Distribution Plant (Accounts 354, 355, 366, 367, 371, 375, 389) |
| (Accounts 304 and 340 to 348) | General Plant |
|  | (Accounts 354 and 390 to 398) |

(n) Function – defined as follows:

(o) Group Depreciation – An accounting procedure under which depreciation charges are accrued on the basis of the original cost of all property included in each depreciable group. Under the group concept, no attempt is made to keep track of the accumulated provision for depreciation applicable to individual assets of property, in view of the many items making up a utility system. The group approach recognizes that some assets within the group may live longer or shorter than the average life of the group but the group is expected to live the average service life. Every item in the group is assumed to be fully depreciated at retirement.

(p) Mortality Data – See plant activity data.

(q) Net Salvage – The salvage value of property retired less the cost of removal. This is expressed as a percent of retirements in the depreciation rate formula.

(r) Original Cost – The cost of acquiring an asset and placing it into service for first utility use. This includes the direct costs of acquiring the asset and the cost of labor, materials, and associated costs of installation to prepare the asset for first utility use. The cost is used in the computation of depreciation expense. In the event that an asset is acquired that is already in public service, the original historic cost of the asset should be recorded in plant in service, and the historic accumulated depreciation should be charged to the accumulated depreciation account. In the event the historic cost of an asset that is already in utility service cannot be determined, an independent engineer’s evaluation based on an original cost study may be used.

(s) Plant Activity Data – Annual additions, retirements, adjustments or transfers, sales or purchases, and investment balances at end of year.

(t) Property Retired – As applied to utility plant, property that has been removed, sold, abandoned, destroyed or which has been withdrawn from service for any cause.

(u) Remaining Life Depreciation Rate – The depreciation rate based on the average remaining portion of the service life expected to be experienced by the investment or account in question and on the net unrecovered capital for that investment or account.

R.L. Rate = 100% ‒ Accumulated Reserve % ‒ Future Net Salvage %

Average Remaining Life

The average remaining life for an account or sub-account is a function of known planned retirement or of the average age of that account and its appropriate mortality table.

(v) Replacing or Replacement – The construction or installation of utility plant in place of property retired, together with the removal of the property retired.

(w) Reserve – The accumulated provision for depreciation. The accumulated depreciation reserve is the net of depreciation accruals (expenses) and retired investment with related gross salvage and cost of removal as well as any appropriate adjustments or transfers.

(x) Reserve Activity Data – Annual depreciation expense, retirements, transfers or adjustments, gross salvage realized, cost of removal, and end of year balance for the accumulated provision for depreciation.

(y) Retirement Units – Those items of utility plant which, when retired with or without replacement, are accounted for by crediting the book cost to the utility plant account in which it is included.

(z) Salvage Value – The amount received for property retired, less any expenses incurred in connection with the sale or in preparing the property for sale or, if retained, the amount at which the material recoverable is chargeable to materials and supplies or other appropriate account.

(aa) Straight-Line Method – A depreciation method by which the service value of a depreciable group is charged to depreciation expense (or a clearing account) and credited to the accumulated provision for depreciation account through equal annual charges over the service life of the group.

(bb) Unit Depreciation – An accounting procedure under which the original cost, depreciation expense, and accumulated provision for depreciation, and all associated activity are maintained for each individual asset. Service life and salvage parameters are estimated for each individual asset with a depreciation rate designed to recover each asset’s original cost over its related life. If the asset lives longer than its expected life, depreciation expense stops accruing when the asset is fully recovered. If the asset retires earlier than its expected service life, the associated unrecovered amount is immediately written-off as a loss.

(cc) Unrecovered Amount – Original cost less the accumulated provision for depreciation less expected net salvage.

(2) The average service life and salvage components for each class of utility are as follows:

(a) Water System Guideline Average Service Lives.

|  |  | Large | Small | Small |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Utility | Utility | Utility |  |
|  |  | (Class | (Class | Function | Net |
| Account | Description | A&B) | C) | Composite3 | Salvage %4 |
| 1. Intangible Plant |  |  |  |  |  |
| 351 | Organization | 40 | 40 |  |  |
| 352 | Franchise Cost | 405 | 405 |  |  |
| 2. Source of Supply |  |  |  | 28 |  |
| 304 | Structures & Improvements | 321 | 271 |  |  |
|  | Wood | 28 | 25 |  |  |
|  | Masonry | 30 | 27 |  |  |
|  | Reinforced Concrete | 40 | 37 |  |  |
|  | Steel Building | 40 | 35 |  |  |
|  | Tanks or Sheds | 25 | 20 |  |  |
|  | Fiberglass | 20 | 18 |  |  |
| 305 | Collecting and Impounding Resevoirs | 50 | 40 |  |  |
| 306 | Lake, River and Other Intakes | 40 | 40 |  |  |
| 307 | Wells and Springs |  |  |  |  |
|  | Drilled & Cased Well | 30 | 27 |  |  |
|  | (Floridan or Non-Corrosive) |  |  |  |  |
|  | Shallow Well (Sand Aquifer or Corrosive Water) | 20 | 18 |  |  |
| 308 | Infiltration Galleries |  |  |  |  |
|  | and Tunnels | 40 | N/A |  |  |
| 309 | Supply Mains | 35 | 32 |  |  |
| 310 | Power Generation Equipment | 20 | 17 |  |  |
| 311 | Pumping Equipment | 201 | 171 |  |  |
|  | Pumping Equipment Electric | 20 | 15 |  |  |
|  | Pumping Equipment Chemical | 8 | 6 |  |  |
| 339 | Other Miscellaneous Equipment | 18 | 15 |  |  |
| 3. Water Treatment Plant |  |  |  | 21 |  |
| 304 | Structures and Improvements (see “Source of Supply” for subcategory lives) | 321 | 271 |  |  |
| 310 | Power Generation Equipment | 20 | 17 |  |  |
| 311 | Pumping Equipment | 201 | 171 |  |  |
|  | Pumping Equipment-Electric | 20 | 15 |  |  |
|  | Pumping Equipment-Chemical | 8 | 6 |  |  |
| 320 | Water Treatment Equipment | 221 | 171 |  |  |
|  | Chlorination Equipment | 10 | 7 |  |  |
|  | Membrane Elements | 5 | 5 |  |  |
|  | Other Mechanical Equipment | 25 | 20 |  |  |
| 339 | Other Miscellaneous Equipment | 18 | 15 |  |  |
| 4.Transmission & Distribution Plant |  |  |  | 36 |  |
| 304 | Structures & |  |  |  |  |
|  | Improvements (See “Source of Supply” for subcategory lives) | 321 | 271 |  |  |
| 310 | Power Generation Equipment | 20 | 17 |  |  |
| 311 | Pumping Equipment | 201 | 171 |  |  |
|  | Pumping Equipment – Electric | 20 | 15 |  |  |
|  | Pumping Equipment – Chemical | 8 | 6 |  |  |
| 330 | Distribution |  |  |  |  |
|  | Reservoirs & Stand |  |  |  |  |
|  | Pipes | 371 | 331 |  |  |
|  | Steel Pneumatic Tank | 35 | 30 |  |  |
|  | Concrete Ground |  |  |  |  |
|  | Storage Reservoir | 40 | 37 |  |  |
| 331 | Transmission & Distribution Mains | 431 | 381 |  |  |
|  | Galvanized Steel pipe & Fittings | 35 | 33 |  |  |
|  | Black Steel Pipe | 20 | 18 |  |  |
|  | Plastic Pipe2 | 45 | 40 |  |  |
|  | Asbestos – Cement | 40 | 35 |  |  |
|  | Cast Iron or Ductile Iron | 40 | 35 |  |  |
|  | Valves & Valve Boxes | 25 | 20 |  |  |
|  | Fire Mains | 33 | 30 |  |  |
| 333 | Services2 | 40 | 35 |  |  |
| 334 | Meters and Meter Installations | 20 | 17 |  |  |
| 335 | Hydrants | 45 | 40 |  |  |
| 336 | Backflow Prevention Devices | 15 | 10 |  |  |
| 339 | Other Plant and Miscellaneous Equipment | 25 | 20 |  |  |
| 5. General Plant |  |  |  |  |  |
| 304 | Structures & Improvements | 401 | 351 |  |  |
|  | Wood Building | 35 | 30 |  |  |
|  | Masonry Building | 40 | 35 |  |  |
|  | Reinforced Concrete Building | 40 | 37 |  |  |
|  | Steel Building | 40 | 35 |  |  |
|  | Tanks or Sheds | 25 | 20 |  |  |
| 340 | Office Furniture & Equipment | 15 | 15 |  |  |
|  | Computers | 6 | 6 |  |  |
| 341 | Transportation Equipment | 6 | 6 |  | 10 |
| 342 | Stores Equipment | 18 | N/A | 14 (composite of 342-348) |  |
| 343 | Tools, Shop & Garage Equipment | 16 | 15 |  |  |
| 344 | Laboratory Equipment | 15 | N/A |  |  |
| 345 | Power Operated Equipment | 12 | 10 |  | 5 |
| 346 | Communication Equipment | 10 | N/A |  | 10 |
| 347 | Miscellaneous Equipment | 15 | N/A |  |  |
| 348 | Other Tangible Plant | 10 | 10 |  |  |

(b) Wastewater System Guideline Average Services Lives.

|  |  | Large | Small | Small |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Utility | Utility | Utility |  |
|  |  | (Class | (Class | Function | Net |
| Account | Description | A&B) | C) | Composite3 | Salvage %4 |
| 1. Intangible Plant |  |  |  |  |  |
| 351 | Organization | 40 | 40 |  |  |
| 352 | Franchise Cost | 405 | 405 |  |  |
| 2. Collection System |  |  |  | 35 |  |
| 354 | Structures & |  |  |  |  |
|  | Improvements Above |  |  |  |  |
|  | Grade | 321 | 271 |  |  |
|  | Wood | 28 | 25 |  |  |
|  | Masonry | 30 | 27 |  |  |
|  | Reinforced Concrete | 38 | 35 |  |  |
|  | Steel Below Grade | 25 | 22 |  |  |
|  | Concrete | 35 | 32 |  |  |
|  | Steel | 22 | 20 |  |  |
|  | Lift Stations | 25 | 22 |  |  |
| 355 | Power Generation Equipment | 20 | 17 |  |  |
| 360 | Collection Sewers-Force2 | 301 | 271 |  |  |
| 361 | Collection Sewers-Gravity2 | 45 | 40 |  |  |
|  | Manholes | 30 | 27 |  |  |
| 362 | Special Collecting | 40 | 37 |  |  |
|  | Structures |  |  |  |  |
| 363 | Services to Customers2 | 38 | 35 |  |  |
| 364 | Flow Measuring Devices | 5 | 5 |  |  |
| 365 | Flow Measuring Installations | 38 | 35 |  |  |
| 389 | Other Miscellaneous Equipment | 18 | 15 |  |  |
| 3. Pumping Plant |  |  |  | 18 |  |
| 354 | Structures & Improvements | 321 | 271 |  |  |
| 355 | Power Generating Equipment | 20 | 17 |  |  |
| 370 | Receiving Wells | 30 | 25 |  |  |
| 371 | Pumping Equipment | 18 | 15 |  |  |
|  | Pumping Equipment – Electric | 18 | 15 |  |  |
|  | Pumping Equipment – Chemical | 7 | 5 |  |  |
| 389 | Other Miscellaneous Equipment | 18 | 15 |  |  |
| 4. Treatment and Disposal Plant |  |  |  | 18 |  |
| 354 | Structures & |  |  |  |  |
|  | Improvements (see |  |  |  |  |
|  | “Collection System” |  |  |  |  |
|  | for subcategory lives) | 321 | 271 |  |  |
| 355 | Power Generating Equipment | 20 | 17 |  |  |
| 371 | Pumping Equipment | 181 | 151 |  |  |
|  | Pumping Equipment – Electric | 18 | 15 |  |  |
|  | Pumping Equipment – Chemical | 7 | 5 |  |  |
| 380 | Treatment & Disposal Equipment | 181 | 151 |  |  |
|  | Blowers, Motors, |  |  |  |  |
|  | Pumps Electric |  |  |  |  |
|  | Controls | 15 | 12 |  |  |
|  | Chlorination Equipment | 10 | 7 |  |  |
|  | Other Mechanical Equipment | 23 | 18 |  |  |
| 381 | Plant Sewers | 35 | 32 |  |  |
| 382 | Outfall Sewer Lines | 30 | 30 |  |  |
| 389 | Other Plant and Miscellaneous Equipment | 18 | 15 |  |  |
| 5. ReclaimedWater Treatment Plant |  |  |  | 21 |  |
| 354 | Structures & Improvements (see “Collection System” for subcategory lives) | 321 | 271 |  |  |
| 355 | Power Generating Equipment | 20 | 17 |  |  |
| 371 | Pumping Equipment | 181 | 151 |  |  |
|  | Pumping Equipment – Electric | 18 | 15 |  |  |
|  | Pumping Equipment – Chemical | 7 | 5 |  |  |
| 374 | Reuse Distribution |  |  |  |  |
|  | Reservoirs | 371 | 331 |  |  |
|  | Steel Pneumatic Tank | 35 | 30 |  |  |
|  | Concrete Ground Storage Reservoir | 40 | 37 |  |  |
| 380 | Treatment & Disposal Equipment | 181 | 151 |  |  |
|  | Blowers, Motors, Pumps, Electric Controls | 15 | 12 |  |  |
|  | Chlorination Equipment | 10 | 7 |  |  |
|  | Other Mechanical Equipment | 23 | 18 |  |  |
| 381 | Plant Sewers | 35 | 32 |  |  |
| 389 | Other Plant and Miscellaneous Equipment | 18 | 15 |  |  |
| 6. Reclaimed Water Distribution Plant |  |  |  | 36 |  |
| 354 | Structures & Improvements (see “Collection System” for subcategory lives) | 321 | 271 |  |  |
| 355 | Power Generating Equipment | 20 | 17 |  |  |
| 366 | Reuse Services | 40 | 35 |  |  |
| 367 | Reuse Meters and Meter Installation | 20 | 17 |  |  |
| 371 | Pumping Equipment | 181 | 151 |  |  |
|  | Pumping Equipment – Electric | 181 | 15 |  |  |
|  | Pumping Equipment – Chemical | 7 | 5 |  |  |
| 375 | Reuse Transmission & Distribution System | 431 | 381 |  |  |
|  | Plastic Pipe2 | 45 | 40 |  |  |
|  | Valves & Valve Boxes | 25 | 20 |  |  |
|  | Fire Mains | 33 | 30 |  |  |
| 389 | Other Plant and Miscellaneous Equipment | 18 | 15 |  |  |
| 7. General Plant |  |  |  |  |  |
| 354 | Structures & Improvements | 401 | 351 |  |  |
|  | Reinforced Concrete Building | 45 | 40 |  |  |
|  | Masonry Building | 40 | 35 |  |  |
|  | Wood Building | 35 | 30 |  |  |
|  | Steel Building | 40 | 35 |  |  |
|  | Tanks or Sheds | 25 | 20 |  |  |
| 390 | Office Furniture & Equipment | 15 | 15 |  |  |
|  | Computers | 6 | 6 |  |  |
| 391 | Transportation Equipment | 6 | 6 |  | 10 |
| 392 | Stores Equipment | 18 | N/A | 14 (composite |  |
|  |  |  |  | of 392-398) |  |
| 393 | Tools, Shop & Garage Equipment | 16 | 15 |  |  |
| 394 | Laboratory Equipment | 15 | N/A |  |  |
| 395 | Power Operated Equipment | 12 | 10 |  | 5 |
| 396 | Communication Equipment | 10 | N/A |  | 10 |
| 397 | Miscellaneous Equipment | 15 | N/A |  |  |
| 398 | Other Tangible Plant | 10 | 10 |  |  |

(c) For the purposes of paragraphs (2)(a) and (b), the following apply:

1. 1 Denotes composite life.

2. 2 Plastic pipe footnote – assumes use of AWWA standard pipe only. Assumes AWWA DR18 used for all mains of 6'' or more.

3. 3 To be used only when acceptable company plant balances are not available for developing composites using account lives.

4. 4 Net Salvage zero except as indicated.

5. 5 Franchise costs shall be amortized over a period of 40 years unless a specific time period is designated in the utility franchise agreement.

(3)(a) Average service life depreciation rates based on guideline lives and salvages shall be used in any Commission proceeding in which depreciation rates are addressed, except for those utilities using depreciation rates in accordance with the requirements listed in subsections (6) and (7) of this rule. A utility shall also implement the applicable guideline rates for any new plant to be placed in service.

(b) A utility may implement applicable guideline rates without specific approval by the Commission. Guideline rates, if implemented for any account, must be implemented for all accounts. If a utility implements applicable guideline rates outside of a rate proceeding, the utility shall provide written notification to the Director of Economics within 30 days of such implementation.

(c) If guideline depreciation rates have been implemented, the rates shall not be changed unless approved by the Commission.

(4)(a) All Class A and B utilities shall maintain depreciation rates and reserve activity data by account as prescribed by this Commission.

(b) All Class C utilities shall maintain depreciation rates and reserve activity data by total depreciable plant, function or account as prescribed by this Commission.

(5) Computation of depreciation expense. Regulatory book depreciation expense shall be computed on a monthly basis in conformity with group depreciation accounting procedures.

(6)(a) At the time a utility applies for a change in its revenue rates and charges, it may also petition for average service life depreciation rates different from those in the above schedule if it can justify the service lives that the utility is proposing in lieu of the guideline lives. That justification should be in the form of historic data, technical information or utility planning for the affected accounts or sub-accounts. Common causes of need for different depreciation rates include composition of account, adverse environmental conditions, high growth or regulatory changes.

(b) A utility filing for such a revision of depreciation rates shall submit six copies of the filing to the office of the Office of Commission Clerk.

(c) For each account or function of depreciable plant addressed in the filing, the following shall be included:

1. A comparison of current and proposed depreciation rates and service lives. The proposed effective date of the new rates shall be identified.

2. A comparison of depreciation expenses resulting from current rates with those produced by the proposed rates. Plant balances used in this calculation shall be those as of the effective date of the proposed rates.

3. A general narrative defining the service environment of the applicant utility and the factors (e.g., composition of account, growth, environmental conditions, regulatory changes) leading to the present application for a revision in rates in the affected accounts.

4. Any statistics, data, analyses or calculations used in the development of the proposed average service lives.

(7)(a) A Class A, B, or C utility may apply for guidelines for a proposal for implementation of remaining life depreciation rates if the utility has maintained both plant activity data by account and accumulated provision for depreciation (reserve) data by account, function or total depreciable plant generally in accord with the Uniform System of Accounts for either at least ten years or since the inception of the utility, whichever is less.

(b) To provide time for study development, any application for remaining life guidelines should be submitted at least six months before the filing for a test year in connection with a request for a revenue rate increase.

(8) Prior to the date of retirement of major installations, the Commission may approve capital recovery schedules to correct associated calculated deficiencies in recovery where a utility demonstrates that retirement of the installation or group of installations is prudent and the associated investment will not be recovered by the time of retirement through the normal depreciation process.

(9)(a) Beginning with the year ending December 31, 2003, all Class A and B utilities shall maintain separate sub-accounts for: (1) each type of Contributions-in-Aid-of-Construction (CIAC) charge collected including, but not limited to, plant capacity, meter installation, main extension or system capacity; (2) contributed plant; (3) contributed lines; and (4) other contributed plant not mentioned previously. Establishing balances for each new sub-account may require an allocation based upon historical balances. Each CIAC sub-account shall be amortized in the same manner that the related contributed plant is depreciated. Separate sub-accounts for accumulated amortization of CIAC shall be maintained to correspond to each sub-account for CIAC.

(b) Beginning with the year ending December 31, 2003, for Class C utilities, where adequate CIAC records are maintained in sub-accounts, by type of charge or contributed plant, CIAC amortization rates shall be applied separately to each sub-account. Where CIAC records are not kept by sub-account, a composite depreciation rate for total plant, excluding general plant, shall be applied to the entire CIAC account.

(c) Any composite rate used shall be recalculated each year based on the applicable plant balances and depreciation rates.

Rulemaking Authority 350.127(2), 367.121(1) FS. Law Implemented 350.115, 367.081(2), 367.121(1) FS. History–New 3-22-84, Formerly 25-10.32, 25-10.032, Amended 11-10-86, 5-8-88, 11-21-95, 12-4-03, 5-29-08.

- 25-30.145 Audit Access to Records.

This rule addresses the reasonable access to utility and affiliate records provided for in Section 367.156(1), F.S., for the purposes of management and financial audits.

(1) The audit scope, audit program and objectives, and audit requests are not constrained by relevancy standards narrower than those provided by Section 367.156(1), F.S.

(2) Reasonable access means that company responses to audit requests for access to records shall be fully provided within the time frame established by the auditor. In establishing a due date, the auditor shall consider the location of the records, the volume of information requested, the number of pending requests, the amount of independent analysis required, and reasonable time for the utility to review its response for possible claims of confidentiality or privilege.

(3) In those instances where the utility disagrees with the auditor’s assessment of a reasonable response time to the request, the utility shall first attempt to discuss the disagreement with the auditor and reach an acceptable revised date. If agreement cannot be reached, the utility shall discuss the issue with successive levels of supervisors at the Commission until an agreement is reached. If necessary, a final decision shall be made by the Prehearing Officer. If the audit is related to an undocketed case, the Chairman shall make the decision.

(4) The utility and its affiliates shall have the opportunity to safeguard their records by copying them or logging them out, provided, however, that safeguard measures shall not be used to prevent reasonable access by Commission auditors to utility or affiliate records.

(5) Reasonable access to records includes reasonable access to personnel to obtain testimonial evidence in response to inquiries or through interviews.

(6) Nothing in this rule shall preclude Commission auditors from making copies or taking notes. In the event these notes relate to documents for which the company has asserted confidential status, such notes shall also be given confidential status.

(7) Form PSC/APA 6 (2/95), entitled “Audit Document and Record Request/Notice of Intent” is incorporated by reference into this rule. This form is used by auditors when requests are formalized. This form documents audit requests, the due dates for responses, and all Notices of Intent to Seek Confidential Classification.

Rulemaking Authority 350.127(2), 367.121(1) FS. Law Implemented 350.117, 367.121, 367.156(1) FS. History–New 2-28-95.

- 25-30.210 Definitions.

For the purpose of this part, the following definitions apply:

(1) “Customer” shall mean any person, firm, association, corporation, governmental agency, or similar organization who has an agreement to receive service from the utility;

(2) “Main” shall mean a pipe, conduit or facility which conveys utility service to individual services or to other mains;

(3) “Meter” shall mean any device used to measure service rendered to a customer by a utility;

(4) “Service Pipe” shall mean the pipe between the utility’s mains and the point of delivery and shall include all of the pipe, fittings and valves necessary to make the connection excluding the meter.

(5) “Service Connection” shall mean the point of connection of the customer’s piping with the meter or service pipe owned by the utility.

(6) “Point of Delivery” shall mean where the service pipe is connected to the utility company’s main.

(7) “Point of Delivery” for water systems shall mean the outlet connection of the meter for metered service or the point at which the utility’s piping connects with the customer’s piping for non-metered service.

Rulemaking Authority 367.121 FS. Law Implemented 367.121 FS. History–New 9-12-74, Formerly 25-10.15, 25-10.015, Amended 11-10-86.

- 25-30.225 Plant and Facilities.

(1) Each utility shall design, construct, and install its plant in accordance with accepted engineering practices to ensure reasonably adequate and safe service to its customers.

(2) Each utility shall maintain and operate its plant and facilities by employing qualified operators in accordance with the rules of the Department of Environmental Protection.

(3) Each utility shall exercise due care to reduce the hazards to which employees, customers, and the public may be exposed by reason of the utility’s equipment or facilities.

(4) Each utility shall make reasonable effort to warn and protect the public from any danger which exists or arises on account of the utility’s equipment or facilities.

(5) Each water utility shall operate and maintain in safe, efficient, and proper condition, all of its facilities and equipment used to distribute, regulate, measure or deliver service up to and including the point of delivery into the piping owned by the customer.

(6) Each wastewater utility shall operate and maintain in safe, efficient, and proper condition, all of its facilities and equipment used to collect and regulate the flow of wastewater in the sewer mains. The wastewater utility may require that each customer be responsible for cleaning and maintaining sewer laterals to the point of delivery.

(7) Each utility which provides both water and wastewater service shall operate and maintain in safe, efficient, and proper condition, all of its facilities to the point of delivery.

(8) Each utility shall maintain on file at its principal office located within the state, suitable maps, drawings, and records of its system and facilities to show size, location, character, date of installation and installed cost of major items of plant and extension of facilities.

(9) Each utility shall inspect its plant and facilities in such a manner and with such frequency as may be necessary to ensure that the plant and facilities are maintained in proper condition for rendering safe and adequate service.

Rulemaking Authority 350.121(1)(f), 367.121(1) FS. Law Implemented 367.111, 367.121 FS. History–New 9-12-74, Amended 3-26-81, Formerly 25-10.42, 25-10.042, Amended 11-10-86.

- 25-30.230 Service Facilities.

(1) Each water utility shall provide a service pipe of suitable capacity from its main up to and including the customer’s service control valve and meter box for water service to the customer. Each water utility shall provide a service, control valve, and meter box. The utility may locate the service control valve and the meter box at or near the customer’s curb or property line.

(2) Each wastewater utility shall provide the service pipe to the service connection, and may locate the connection at or near the customer’s curb or property line.

(3) Each utility shall provide service facilities at its own expense unless the utility’s tariff provides otherwise.

(4) All service facilities remain the property of the utility.

Rulemaking Authority 367.121(1)(f) FS. Law Implemented 367.121 FS. History–New 9-12-74, Formerly 25-10.86, 25-10.086, Amended 11-10-86.

- 25-30.231 Extent of System Which Utility Shall Maintain.

Each utility, unless specifically relieved in any case by the Commission from such obligation, shall operate and maintain in safe, efficient and proper condition all of the facilities and equipment used in connection with the collection and regulation of flow of wastewater in the sewer mains and the distribution, regulation, measurement and delivery of water service to the customer up to and including the point of delivery into the piping owned by the customer. The utility may require that each customer shall be responsible for cleaning and maintaining sewer laterals to the service connection.

Rulemaking Authority 367.121(1)(f) FS. Law Implemented 367.111 FS. History–New 4-20-63, Amended 9-12-74, Formerly 25-10.109, Amended 11-10-86.

- 25-30.235 Safety.

Every public utility shall at all times use every reasonable effort properly to warn and protect the public from any danger, and shall exercise due care to reduce the hazards to which employees, customers, and the public may be subjected by reason of its equipment and facilities.

Rulemaking Authority 367.121 FS. Law Implemented 367.111 FS. History–New 9-12-74, Formerly 25-10.45, 25-10.045.

- 25-30.240 Change in Character of Service.

Any substantial change to be made by the utility in the conditions or character of service rendered which would impair the safe, efficient use of the equipment of customers shall not be made without the prior approval of the Commission and without adequate notice to the customers. Any such change shall be accompanied by a general inspection and adjustment of customer equipment that would be affected thereby to the extent necessary that such equipment may operate as efficiently and give as good service as was possible before the change. This shall be done promptly, without direct charge, and with a minimum of inconvenience to the customer.

Rulemaking Authority 367.121 FS. Law Implemented 367.111 FS. History–New 9-12-74, Formerly 25-10.44, 25-10.044.

- 25-30.245 Accidents.

(1) Each utility shall keep a record of any accident which endangers the public or the utility’s employees, or disrupts the utility’s service facilities in such a manner as could have caused substantial property damage, serious personal injury or death.

(2) Each utility shall furnish its accident reports to the Commission upon request of the Commission staff.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.111, 367.121 FS. History–New 9-12-74, Formerly 25-10.29, 25-10.029, Amended 11-10-86.

- 25-30.250 Continuity of Service.

(1) Each utility shall make all reasonable efforts to provide continuous service. Should interruption in service occur, however, each utility shall reestablish service with the shortest delay consistent with the safety of its customers and the general public.

(2) Each utility shall schedule any necessary interruptions in service at a time anticipated to cause the least inconvenience to its customers. Each utility shall notify its customers prior to scheduled interruptions.

(3) Where public fire protection is provided by the mains affected by the interruption, the utility shall notify the Fire Chief or any other public official responsible for fire protection, that an interruption has occurred or will occur. Additionally, the utility shall notify that person when service is or is anticipated to be restored.

(4) Where a customer’s water or wastewater service is interrupted and remains out of service in excess of forty-eight (48) hours after the customer has notified the utility of the interruption, the utility shall refund to that customer the pro-rata portion of the month’s charges for the period of days during which service was not provided. This paragraph applies only to utilities which have service tariffs that provide for charges on a non-metered rate. The utility may refund the amount owed as credit toward the customer’s subsequent bill for service.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.111 FS. History–New 9-12-74, Formerly 25-10.56, 25-10.056, Amended 11-10-86.

- 25-30.251 Record and Report of Interruptions.

(1) Each utility shall maintain a record of all interruptions in service which affect 10 percent (10%) or more of its customers. The record shall show the cause of the interruption, its date, time, duration, remedy, and steps taken to prevent recurrence.

(2) The utility shall notify the Commission of any interruptions in service which affect ten percent (10%) or more of its customers. Notification to the Commission shall be made within one work day of notification to the utility that such an interruption has occurred, and within one work week after service has been restored. The utility shall file a complete report of the record to the Commission regarding the interruption.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.121 FS. History–New 9-12-74, Formerly 25-10.28, 25-10.028, Amended 11-10-86.

- 25-30.255 Measurement of Service for Water Utilities.

(1) Except as provided in subsection (2) of this rule, each utility shall measure water sold upon the basis of metered volume sales unless the Commission approved flat rate service arrangements for that utility.

(2) A utility may provide flat rate on estimated service for:

(a) Temporary service where the utility can readily estimate water use.

(b) Public and private fire protection service.

(c) Water used for street sprinkling and sewer flushing when provided for by contract between the utility and the municipality or other local governmental authority.

(3) To measure service, each utility shall use meters which conform to the Standards for Cold Water Meters as adopted by the American Waterworks Association. Copies of these manuals and standards may be obtained from the American Waterworks Association, Publication Sales Department, 6666 West Quincy Avenue, Denver, Colorado 80235.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.111 FS. History–New 9-12-74, Formerly 25-10.87, 25-10.087, Amended 11-10-86.

- 25-30.260 Meter Installation.

(1) Generally, each utility shall locate meters at or near the customer’s curb or property line. When it is impractical to locate meters at or near the customer’s curb or property line, the utility may locate a meter in any other reasonably convenient or accessible place which affords protection against damage.

(2) When meters are grouped, the utility shall tag each meter to identify the customer whose services are measured by that meter.

(3) Each utility shall install an accessible service control valve on the inlet side of each meter.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.111, 367.121 FS. History–New 9-12-74, Formerly 25-10.88, 25-10.088, Amended 11-10-86.

- 25-30.261 Meter Readings.

(1) The utility shall read its service meters at regular intervals and, insofar as practicable within regularly scheduled work days, on the corresponding day of each meter reading period.

(2) The utility shall read the register of each meter in the same units that the utility uses for billing purposes, except that a water meter may register in gallons or in cubic feet.

(3) The service meters shall be marked to indicate the units measured by that meter.

(4) The meter shall be marked with any constant or multiplier that the utility uses to determine the amount of service used by a customer.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.111, 367.121 FS. History–New 9-12-74, Formerly 25-10.95, 25-10.095, Amended 11-10-86.

- 25-30.262 Meter Accuracy Requirements.

Each utility shall employ water meters which register within the accuracy limits set forth in this chart:

Accuracy limits in percentages

|  | Maximum | Intermediate | Minimum Rate |  |
| --- | --- | --- | --- | --- |
| Meter Type | Rate | Rate | New | Repaired |
| Displacement | 98.5-101.5 | 98.5-101.5 | 95-101.5 | 90-101.5 |
| Current | 97-102 | None | 95-102 | 90-102 |
| Compound* | 97-103 | 97-103 | 95-103 | 90-103 |

*The minimum required accuracy for compound meters at any rate within the “changeover” range of flows shall be 85%.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.121(1)(a), 367.122(1) FS. History–New 9-12-74, Formerly 25-10.92, 25-10.092, Amended 11-10-86.

- 25-30.263 Meter Test Methods.

(1) Each utility shall test its displacement type cold water meters on at least the three rates of flow set forth in the following chart:

| Meter | Normal Test |  |  |  |
| --- | --- | --- | --- | --- |
| Size | Flow Limits |  | Test Flow Gallons Per Minute |  |
| Inches | GPM | Minimum | Median | Maximum |
| 5/8 | 1-20 | 1/4 | 2 | 15 |
| 3/4 | 2-30 | 1/2 | 3 | 25 |
| 1 | 3-50 | 3/4 | 4 | 35 |
| 1 1/2 | 5-100 | 11/2 | 8 | 50 |
| 2 | 8-160 | 2 | 15 | 100 |
| 3 | 16-300 | 4 | 20 | 150 |
| 4 | 28-500 | 37 | 40 | 200 |
| 6 | 48-1000 | 12 | 60 | 500 |

(2) Each utility shall test its current, compound and fire-service type meters on at least three rates of flow: one at the minimum test flow and two or more within the normal test flow limits of the table set forth in subsection (1) of this rule, with the upper test flow to be at a rate as high as practicable.

(3) Each utility shall test its compound meters within the “changeover” range of flows to determine overall operational efficiency and accuracy of registration.

(4) A utility may test any displacement type meter after installation if the meter is three inches or larger. However, each utility shall test its current, compound and fire-service type meters in place to achieve maximum accuracy, and may install a test tee in the outlet piping to facilitate and reduce the cost of testing for meters which are three inches or larger.

(5) Each utility may affix a seal to each of its tested and adjusted meters. The utility may affix the seal in such manner that it would have to be broken before any adjustment to meter registration could be achieved.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.121(1)(a), 367.122 FS. History–New 9-12-74, Formerly 25-10.90, 25-10.090, Amended 11-10-86.

- 25-30.264 Meter Testing Equipment.

(1)(a) Each utility providing metered water service shall either provide the necessary standard facilities, instruments and other equipment for testing meters in compliance with rule 25-30.263, F.A.C., or enter into arrangements with other utilities or agencies for the testing of the utility’s meters.

(b) When the utility opts to arrange for its testing to be performed by another utility or agency, that utility shall notify the Commission.

(2)(a) Standard meters may be used by the utility for field tests of meter accuracy provided that they are tested and calibrated to permit the testing of meters within the limits of accuracy set out in rule 25-30.263, F.A.C.

(b) Testing and calibration of the standard meters shall be done either by the utility with its volumetric or weight standard equipment, or by an approved laboratory.

(c) Testing and calibration of the standard meters shall be done at least once every sixty (60) days while the standard meter is in use.

Rulemaking Authority 350.127(2), 367.121(1) FS. Law Implemented 367.121(1)(a), 367.122(1) FS. History–New 9-12-74, Formerly 25-10.89, 25-10.089, Amended 11-10-86.

- 25-30.265 Periodic Meter Tests.

Each utility shall inspect and test a representative sample of its meters in service at least once during the intervals set out in this rule.

| Size of Meter | Maximum Interval Between Tests |
| --- | --- |
| 5/8'' | 10 years |
| 3/4'' | 8 years |
| 1'' | 6 years |
| 1 1/2'' | 4 years |
| 2'' | 4 years |
| 3'' | 3 years |
| 4'' | 2 years |
| 6'' | 1 year |

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.121(1)(a), 367.122 FS. History–New 9-12-74, Formerly 25-10.93, 25-10.093, Amended 11-10-86.

- 25-30.266 Meter Test by Request.

(1)(a) Upon written request of any customer whose meter has not been tested within one-half the maximum interval provided in rule 25-30.265, F.A.C., the utility shall make a field test for accuracy of that customer’s meter.

(b) The utility may not charge for any field test performed pursuant to paragraph (a) of this subsection.

(2)(a) The utility may require a deposit to defray cost of any bench test requested by any customer. However, the deposit may not exceed the following schedule:

| Meter Size |  |
| --- | --- |
| (inches) | Fee |
| 5/8 and 3/4 | $20.00 |
| 1 and 1 1/2 | $25.00 |
| 2 and over | Actual Cost of Test |

(b) The utility may retain the deposit if the customer’s meter is found to register accurately or below accuracy.

(c) The utility shall refund the deposit if the customer’s meter is found to register in excess of prescribed accuracy limits.

(3) The Commission may provide a representative to observe or supervise any bench test upon written request from the customer or utility. The utility shall advise the customer of the customer’s right to witness the bench test.

(4) The utility shall provide the customer with a written report of the results of any test performed pursuant to this rule.

(5) A meter shall in no way be disturbed after the utility has received notice that application has been made for a test by the customer unless a representative of the Commission is present or unless authority to do so is first given in writing by the Commission or by the customer.

(6) At the request of the customer, the utility shall make arrangements for a meter test to be conducted by an independent meter testing facility of the customer’s choosing. The customer shall be responsible for negotiating and paying to the independent meter testing facility any fee charged for such a test. Such independent meter testing facilities shall, at minimum, conform to the requirements of the American Waterwork’s Association Water Meters Selection Installation Testing and Maintenance (AWWA-M6-1972). Where appropriate, the meter may be field tested. The customer shall be responsible for all the costs to the utility associated with a meter test by an independent meter testing facility. The utility shall provide a detailed estimate of such costs and may require payment of such costs prior to the actual meter test. If the meter is found to be running fast in excess of the limits established by these rules, such costs shall be refunded, but if within the allowable limit, the utility may retain the costs.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.121(1)(a), 367.122 FS. History–New 9-12-74, Amended 1-4-79, 10-11-83, Formerly 25-10.94, 25-10.094, Amended 11-10-86.

- 25-30.267 Record of Meter Tests.

(1) Each utility shall preserve the original records of all meter tests at least until same meter is performed or until the meter is retired by a later test.

(2) These records shall include:

(a) Sufficient information to identify the meter;

(b) The reason for the test;

(c) Date of test and reading of the meter;

(d) The computed accuracy before and after the repair; and,

(e) Any other data taken at the time of the test which would permit the convenient checking of the test results.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.121(1)(a), 367.122 FS. History–New 9-12-74, Formerly 25-10.91, 25-10.091, Amended 11-10-86.

- 25-30.310 Initiation of Service.

(1) A utility may require that application for service be made in writing and in accordance with the forms prescribed by the utility. However, the utility shall treat a completed application as notice that service is desired and as an expression of the applicant’s willingness to conform to the utility’s service rules and regulations which are in effect and on file with the Commission.

(2) Upon an applicant’s compliance with utility’s reasonable rules regarding service initiation, the utility shall initiate service without unreasonable delay. To ensure effectiveness of its rules regarding service and the initiation of service, a utility shall set out its rules or policies in its tariff, and those rules or policies shall have uniform application.

(3) In addition to the above, the utility shall provide each applicant for service with a copy of the brochure entitled “Your Water and Sewer Service” which is prepared by and available from the Florida Public Service Commission, Office of Consumer Assistance and Outreach, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0867.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.111, 367.121 FS. History–New 9-12-74, Formerly 25-10.71, 25-10.071, Amended 11-10-86.

- 25-30.311 Customer Deposits.

(1) Deposit required; establishment of credit. Each company’s tariff shall contain their specific criteria for determining the amount of initial deposit. Each utility may require an applicant for service to satisfactorily establish credit, but such establishment of credit shall not relieve the customer from complying with the utilities’ rules for prompt payment of bills. Credit will be deemed so established if:

(a) The applicant for service furnishes a satisfactory guarantor to secure payment of bills for the service requested. A satisfactory guarantor shall, at a minimum, be a customer of the utility with a satisfactory payment record. A guarantor’s liability shall be terminated when a residential customer whose payment of bills is secured by the guarantor meets the requirements of subsection (5) of this rule. Guarantors providing security for payment of residential customers’ bills shall only be liable for bills contracted at the service address contained in the contract of guaranty.

(b) The applicant pays a cash deposit.

(c) The applicant for service furnishes an irrevocable letter of credit from a bank or a surety bond.

(2) Receipt for deposit. A non-transferrable certificate of deposit shall be issued to each customer and means provided so that the customer may claim the deposit if the certificate is lost.

(3) Record of deposits. Each utility having on hand deposits from customers shall keep records to show:

(a) The name of each customer making the deposit;

(b) The premises occupied by the customer when the deposit was made;

(c) The date and amount of deposit; and

(d) A record of each transaction concerning such deposit.

(4) Interest on deposit.

(a) Each public utility which requires deposits to be made by its customers shall pay a minimum interest on such deposits of 2 percent per annum. The utility shall pay an interest rate of 3 percent per annum on deposits of nonresidential customers qualifying under subsection (5), below, when the utility elects not to refund such a deposit after 23 months. Such interest rates shall be applied within 45 days of the effective date of the rule.

(b) The deposit interest shall be simple interest in all cases and settlement shall be made annually, either in cash or by credit on the current bill. This does not prohibit any public utility paying a higher rate of interest than required by this rule. No customer depositor shall be entitled to receive interest on his deposit until and unless a customer relationship and the deposit have been in existence for a continuous period of six months, then he shall be entitled to receive interest from the day of the commencement of the customer relationship and the placement of deposit.

(5) Refund of deposits. After a customer has established a satisfactory payment record and has had continuous service for a period of 23 months, the utility shall refund the residential customer’s deposits and shall, at its option, either refund or pay the higher rate of interest specified above for nonresidential deposits, providing the customer has not, in the preceding 12 months, (a) made more than one late payment of a bill (after the expiration of 20 days from the date of mailing or delivery by the utility), (b) paid with check refused by a bank, (c) been disconnected for nonpayment, or at any time, (d) tampered with the meter, or (e) used service in a fraudulent or unauthorized manner. Nothing in this rule shall prohibit the company from refunding at any time a deposit with any accrued interest.

(6) Refund of deposit when service is discontinued. Upon termination of service, the deposit and accrued interest may be credited against the final account and the balance, if any, shall be returned promptly to the customer but in no event later than fifteen (15) days after service is discontinued.

(7) New or additional deposits. A utility may require, upon reasonable written notice of not less than 30 days, such request or notice being separate and apart from any bill for service, a new deposit, where previously waived or returned, or an additional deposit, in order to secure payment of current bills; provided, however, that the total amount of the required deposit should not exceed an amount equal to the average actual charge for water and/or wastewater service for two billing periods for the 12-month period immediately prior to the date of notice. In the event the customer has had service less than 12 months, then the utility shall base its new or additional deposit upon the average monthly billing available.

Rulemaking Authority 367.121, 350.127(2) FS. Law Implemented 367.081, 367.111, 367.121 FS. History–New 6-1-63, Amended 4-1-69, 9-12-74, 6-10-80, 1-31-84, Formerly 25-10.72, 25-10.072, Amended 10-13-88, 4-25-94, 7-26-12.

- 25-30.315 Temporary Service.

(1) Upon compliance with subsection (3) of this rule, a utility may require an applicant customer to pay all the anticipated costs of installing and removing facilities and materials for temporary service.

(2) When temporary service is terminated, the utility shall credit the customer with the reasonable salvage value of the service facilities and materials if the customer has made advance payment pursuant to subsection (1) of this rule.

(3) Each utility shall set out in its tariff a definition of and policy or rules regarding temporary service.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.111 367.121 FS. History–New 9-12-74, Formerly 25-10.85, 25-10.085, Amended 11-10-86.

- 25-30.320 Refusal or Discontinuance of Service.

(1) Until adequate facilities can be provided, a utility may refuse to serve an applicant if, in the best judgment of the utility, it does not have adequate facilities, or supply to render the service applied for, or if the service is of character that is likely to affect unfavorably service to other customers.

(2) As applicable, the utility may refuse or discontinue service under the following conditions provided that, unless otherwise stated, the customer shall be given written notice and allowed a reasonable time to comply with any rule or remedy any deficiency:

(a) For noncompliance with or violation of any state or municipal law or regulation governing such utility service.

(b) For failure or refusal of the customer to correct any deficiencies or defects in his piping or equipment which are reported to him by the utility.

(c) For the use of utility service for any other property or purpose than that described in the application.

(d) For failure or refusal to provide adequate space for the meter or service equipment of the utility.

(e) For failure or refusal to provide the utility with a deposit to insure payment of bills in accordance with the utility’s regulation.

(f) For neglect or refusal to provide reasonable access to the utility for the purpose of reading meters or inspection and maintenance of equipment owned by the utility.

(g) For nonpayment of bills, including nonpayment of municipal sewer service under circumstances specifically provided in section 159.18(2), F.S., or noncompliance with the utility’s rules and regulations in connection with the same or a different type or a different class of utility service furnished to the same customer at the same premises by the same or affiliated utility only after there has been a diligent attempt to have the customer comply, including at least 5 working days’ written notice to the customers. Such notice shall be separate and apart from any bill for service. For purposes of this subsection, “working day” means any day on which the utility’s office is open and the U.S. Mail is delivered. A utility shall not, however, refuse or discontinue service for nonpayment of a dishonored check service charge imposed by the utility.

(h) Without notice in the event of a condition known to the utility to be hazardous.

(i) Without notice in the event of tampering with regulators, valves, piping, meter or other facilities furnished and owned by the utility.

(j) Without notice in the event of unauthorized or fraudulent use of service. Whenever service is discontinued for fraudulent use of such service, the utility, before restoring service, may require the customer to make at his own expense all changes in piping or equipment necessary to eliminate illegal use and to pay an amount reasonably estimated as the deficiency in revenue resulting from such fraudulent use. Service shall not be discontinued if, prior to the arrival of the utility to discontinue service, the customer has:

1. Paid for all fraudulent use of service;

2. Demonstrated the fraudulent use has ceased;

3. Paid all other applicable fees and charges; and,

4. The service condition allowing fraudulent use of service has been corrected.

(3) Service shall be restored when cause for discontinuance has been satisfactorily adjusted.

(4) In case of refusal to establish service, or whenever service is discontinued, the utility shall notify the applicant or customer in writing of the reason for such refusal or discontinuance. In all instances involving refusal or discontinuance of service the utility shall advise in its notice that persons dissatisfied with the utility’s decision to refuse or discontinue service may register their complaint with the utility’s Customer Relations Personnel and to the Florida Public Service Commission at 1(800)342-3552, which is a toll free number.

(5) The following shall not constitute sufficient cause for refusal or discontinuance of service to an applicant or customer:

(a) Delinquency in payment for service by a previous occupant of the premises unless the current applicant or customer occupied the premises at the time the delinquency occurred and the previous customer continues to occupy the premises and such previous customer will receive benefit from such service.

(b) Failure to pay for appliances or equipment purchased from the utility.

(c) Failure to pay for a different class of service, except where two or more classes of service are rendered to the same customer at the same premises.

(d) Failure to pay the bill of another customer as guarantor thereof.

(e) Failure to pay a dishonored check service charge imposed by the utility.

(6) No utility shall discontinue service to any customer, between 12:00 noon on a Friday and 8:00 a.m. the following Monday or between 12:00 noon on the day preceding a public holiday and 8:00 a.m. the next working day; provided, however, that this prohibition shall not apply when:

(a) Discontinuance is requested by or agreed to by the customer; or

(b) A hazardous condition exists; or

(c) Meters or other utility-owned facilities have been tampered with; or

(d) Service is being obtained fraudulently or is being used for unlawful purposes.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.111, 367.121 FS. History–New 9-12-74, Amended 4-3-80, 10-25-84, Formerly 25-10.74, 25-10.074, Amended 11-10-86, 1-1-91, 1-7-93, 11-30-93, 10-28-98.

- 25-30.325 Termination of Service by Customer.

A utility may require a customer to give reasonable notice of his or her intention to discontinue service. Until the utility receives such notice, a customer may be held responsible for all service rendered.

Rulemaking Authority 367.121 FS. Law Implemented 367.111, 367.121 FS. History–New 9-12-74, Formerly 25-10.73, 25-10.073, Amended 11-10-86.

- 25-30.330 Information to Customers.

(1) Each utility shall provide its customers with the following information on at least an annual basis:

(a) Telephone numbers regular and after hours;

(b) Office address.

(2) Each utility shall provide its customers, upon request, with such other information and assistance as reasonably may be necessary to ensure that the customer receives safe, efficient service.

(3) Upon request of a customer, each utility shall provide information as to the method of reading meters and the computation of billing which results from reading meters.

(4) When a customer requests a bench test of his or her meter, the utility shall inform that customer of the provisions of rule 25-30.266, F.A.C., and shall advise that the customer may request the test be made or supervised by a Commission representative.

(5) Upon request of a customer, the utility is to provide a copy or explanation of the utility’s rates applicable to the customer’s classification for service and to assist the customer in obtaining the rate which is most advantageous for the customer’s service requirements.

Rulemaking Authority 367.121 FS. Law Implemented 367.121 FS. History–New 9-12-74, Formerly 25-10.69, 25-10.069, Amended 11-10-86.

- 25-30.335 Customer Billing.

(1) Except as provided in this rule, a utility shall render bills to customers at regular intervals, and each bill shall indicate: the billing period covered; the applicable rate schedule; beginning and ending meter reading; the amount of the bill; the delinquent date or the date after which the bill becomes past due; and any authorized late payment charge.

(2) When a utility is unable to obtain an actual meter read, estimated bills may be provided.

(a) If the utility estimates a bill, the bill statement shall prominently show the word “Estimated” on the face of the bill.

(b) The utility is obligated to timely correct any problems within the utility’s control causing the need to estimate bills. In no event shall a utility provide an estimated bill to any one customer more than four times in any 12-month period due to circumstances that are within the utility’s control and service obligations.

(c) Upon issuance of a second estimated bill in a 6 month period, the utility shall provide the customer with an explicit written explanation for the estimation, along with the utility contact information and the Commission toll-free complaint number, 1(800)342-3552.

(d) The utility shall maintain records, for a minimum of two years, detailing the number, frequency, and causes of estimated bills, which shall be made available upon request to the Commission or to any party to a rate proceeding for the utility.

(3) When service is rendered for less than 50 percent of the normal billing cycle, the utility shall prorate the base facility charges as though the normal billing cycle were 30 days, except that the utility may elect not to issue an initial bill for service if the service is rendered during a time period which is less than 50 percent of the normal billing cycle. Instead, the utility may elect to combine the amount owed for the service rendered during the initial time period with the amount owed for the next billing cycle, and issue a single bill for the combined time period. For service taken under flat rate schedules, 50 percent of the normal charges may be applied.

(4) A utility may not consider a customer delinquent in paying his or her bill until the 21st day after the utility has mailed or presented the bill for payment.

(5) Each utility shall establish each point of delivery as an independent customer and shall calculate the amount of the bill accordingly, except where physical conditions make it necessary to use additional meters or points of delivery for one class of service to a single customer on the same premises, or where such multiple meters or delivery points are used for the convenience of the utility.

(6) A utility may not incorporate municipal or county franchise fees into the amount indicated as the cost for service on the customer’s bill. Rather, the utility shall show any such franchise fee as a separate item.

(7) The utility shall maintain a record of each customer’s account for the most current 2 years so as to permit reproduction of the customer’s bills during the time that the utility provided service to that customer.

(8) If a utility utilizes the base facility and usage charge rate structure and does not have a Commission authorized vacation rate, the utility shall bill the customer the base facility charge regardless of whether there is any usage.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.091, 367.121 FS. History–New 9-14-74, Amended 6-21-79, Formerly 25-10.97, 25-10.097, Amended 11-10-86, 11-30-93, 6-17-13.

- 25-30.340 Adjustment of Bills for Meter Error.

(1) In meter tests made by the Commission or by the utility at the request of the customer (as provided in rule 25-30.266, F.A.C.) the accuracy of registration of the meter and its performance in service shall be judged by its averaged error. The average meter error shall be considered to be the algebraic average of the errors at the test rate flows set out in rule 25-30.263, F.A.C. Any adjustment of charges which is made in accordance with this rule shall be based on the average error thus derived.

(2) Fast meters. Whenever a meter tested is found to register fast in excess of the tolerance permitted under rule 25-30.262, F.A.C., the utility shall refund to the customer the amount billed in error for one half the period from the time the meter was the meter was last tested not to exceed twelve (12) months except that if it can be shown that the error was due to some cause, the date of which can be fixed, the overcharge shall be computed back to but not beyond such date, based upon available records. The refund shall not include any part of the minimum charge.

(3) Slow meters.

(a) Except as provided by this paragraph, a utility may backbill in the event that a meter is found to be slow, non-registering or partially registering. A utility may not backbill for any period greater than twelve (12) months from the date it notifies a customer that his or her meter is slow, non-registering or partially registering. If it can be ascertained that the meter was slow, non-registering or partially registering for less than twelve (12) months prior to notification, then the utility may backbill only for the lesser period of time. In any event, the customer may extend the payments of the backbill over the same amount of time for which the utility issued the backbill. Nothing in this subsection shall be construed to limit the application of subsection (5) of this rule.

(b) Whenever a meter tested is found to register slow in excess of the tolerance established under rule 25-30.262, F.A.C., the utility may bill the customer in accordance with this subsection. If the utility has required a deposit as permitted under rule 25-30.266, F.A.C., the customer may be billed only for that portion of the unbilled error which is in excess of the deposit retained by the utility.

(c) In the event of a non-registering or a partially registering meter, unless the provisions of subsection (4) of this rule apply, a customer may be billed on an estimated amount based on previous bills for similar usage.

(4) It shall be understood that when a meter is found to be in error in excess of the prescribed accuracy limits, fast or slow, the figure to be used for calculating the amount of refund or charge in subsection (2) or paragraph (3)(b), above, shall be that percentage of error as determined by the test.

(5) In the event of unauthorized use, the customer may be billed on a reasonable estimate of the service taken. The utility may assess a fee to defray the cost of restoring service provided such charge is specified in the tariff.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.111 FS. History–New 9-12-74, Amended 5-3-82, Formerly 25-10.98, 25-10.098, Amended 11-10-86.

- 25-30.345 Customer Service Charges.

(1) When a utility has disconnected service for proper cause as specified in rule 25-30.320, F.A.C., the utility may charge a reasonable fee to defray the cost of restoring service provided that the fee is specified in the utility’s tariff.

(2) When an applicant requests temporary service, the utility may charge a reasonable fee pursuant to rule 25-30.315, F.A.C., to defray the cost of installing and removing facilities and materials.

(3) A utility may have other customer service charges. These are specified in the utility’s tariff.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.111 FS. History–New 3-6-71, Amended 9-12-74, Formerly 25-10.99, 25-10.099, Amended 11-10-86.

- 25-30.350 Underbillings and Overbillings for Water and Wastewater Service.

(1) A utility may not backbill customers for any period greater than 12 months for any undercharge in billing which is the result of the utility’s mistake.

(a) The utility shall allow the customer to pay for the unbilled service over the same time period as the time period during which the underbilling occurred or some other mutually agreeable time period. The utility shall not recover in a ratemaking proceeding, any lost revenues which inure to the utility’s detriment on account of this provision.

(b) The revised bill shall be calculated on a monthly basis, assuming uniform consumption during the month(s) subject to underbilling, based on the individual customer’s average usage for the time period covered by the underbilling. The monthly bills shall be recalculated by applying the tariff rates in effect for that time period. The customer shall be responsible for the difference between the amount originally billed and the recalculated bill. All calculations used to arrive at the rebilled amount shall be made available to the customer upon the customer’s request.

(2) In the event of an overbilling, the utility shall refund the overcharge to the customer based on available records. If the commencement date of the overbillling cannot be determined, then an estimate of the overbilling shall be made based on the customer’s past consumption.

(3) In the event of an overbilling, the customer may elect to receive the refund as a one-time disbursement, if the refund is in excess of $20, or as a credit to future billings.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.091, 367.121 FS. History–New 11-10-86, Amended 6-17-13.

- 25-30.351 Unauthorized Use.

In the event of unauthorized or fraudulent use of service or meter tampering, the utility shall bill the customer on an estimate of the water and/or wastewater services used based on the customer’s past consumption.

Rulemaking Authority 350.127, 367.121 FS. Law Implemented 367.091, 367.121 FS. History–New 6-17-13.

- 25-30.355 Complaints.

(1) A utility shall give a customer verbal or written acknowledgement of the utility’s receipt of the customer’s complaint no later than three business days after it receives the complaint. The utility shall specify in its acknowledgement whether any additional action will be taken on the issue(s) raised by the customer. A utility shall investigate the complaint and give the customer a verbal or written response no later than 15 days after it receives the complaint.

(2) The word “complaint” as used in this rule means an objection made to the utility by a customer by telephone call, by email, by letter, or on the utility’s website form as to the utility’s charges, facilities or service that requires action by the utility.

(3) Each utility shall have a procedure for receiving and responding to emergency calls 24 hours a day. Examples of emergencies shall include reports of water or wastewater main breaks or conditions caused by utility-owned facilities where property damage or personal injury is reasonably foreseeable.

Rulemaking Authority 350.127(2), 367.0812(5), 367.121(1) FS. Law Implemented 367.0812(1), 367.111, 367.121(1) FS. History–New 9-12-74, Formerly 25-10.70, 25-10.070, Amended 11-10-86, 6-21-18.

- 25-30.360 Refunds.

(1) Applicability. With the exception of deposit refunds, all refunds ordered by the Commission shall be made in accordance with the provisions of this rule, unless otherwise ordered by the Commission.

(2) Timing of Refunds. Refunds must be made within 90 days of the Commission’s order unless a different time frame is prescribed by the Commission. A timely motion for reconsideration temporarily stays the refund, pending the final order on the motion for reconsideration. In the event of a stay pending reconsideration, the timing of the refund shall commence from the date of the order disposing of any motion for reconsideration. This rule does not authorize any motion for reconsideration not otherwise authorized by chapter 25-22, F.A.C.

(3) Basis of Refund. Where the refund is the result of a specific rate change, including interim rate increases, and the refund can be computed on a per customer basis, that will be the basis of the refund. However, where the refund is not related to specific rate changes, such as a refund for overearnings, the refund shall be made to customers of record as of a date specified by the Commission. In such case, refunds shall be made on the basis of usage. Per customer refund refers to a refund to every customer receiving service during the refund period. Customer of record refund refers to a refund to every customer receiving service as of a date specified by the Commission.

(4) Interest.

(a) In the case of refunds which the Commission orders to be made with interest, the average monthly interest rate until refund is posted to the customer’s account shall be based on the 30 day commercial paper rate for high grade, unsecured notes sold through dealers by major corporations in multiples of $1,000 as regularly published in the Wall Street Journal.

(b) This average monthly interest rate shall be calculated for each month of the refund period:

1. By adding the published interest rate in effect for the last business day of the month prior to each month the refund period and the published rate in effect for the last business day of each month of the refund period divided by 24 to obtain the average monthly interest rate;

2. The average monthly interest rate for the month prior to distribution shall be the same as the last calculated average monthly interest rate.

(c) The average monthly interest rate shall be applied to the sum of the previous month’s ending balance (including monthly interest accruals) and the current month’s ending balance divided by 2 to accomplish a compounding effect.

(d) Interest Multiplier. When the refund is computed for each customer, an interest multiplier may be applied against the amount of each customer’s refund in lieu of a monthly calculation of the interest for each customer. The interest multiplier shall be calculated by dividing the total amount refundable to all customers, including interest, by the total amount of the refund, excluding interest. For the purpose of calculating the interest multiplier, the utility may, upon approval by the Commission, estimate the monthly refundable amount.

(e) Commission staff shall provide applicable interest rate figures and assistance in calculations under this rule upon request of the affected utility.

(5) Method of Refund Distribution. For those customers still on the system, a credit shall be made on the bill. In the event the refund is for a greater amount than the bill, the remainder of the credit shall be carried forward until the refund is completed. If the customer so requests, a check for any negative balance must be sent to the customer within 10 days of the request. For customers entitled to a refund but no longer on the system, the company shall mail a refund check to the last known billing address except that no refund for less than $1.00 will be made to these customers.

(6) Security for Money Collected Subject to Refund. In the case of money being collected subject to refund, the money shall be secured by a bond unless the Commission specifically authorizes some other type of security such as placing the money in escrow, approving a corporate undertaking, or providing a letter of credit. The company shall provide a report by the 20th of each month indicating the monthly and total amount of money subject to refund as of the end of the preceding month. The report shall also indicate the status of whatever security is being used to guarantee repayment of the money.

(7) Refund Reports. During the processing of the refund, monthly reports on the status of the refund shall be made by the 20th of the following month. In addition, a preliminary report shall be made within 30 days after the date the refund is completed and again 90 days thereafter. A final report shall be made after all administrative aspects of the refund are completed. The above reports shall specify the following:

(a) The amount of money to be refunded and how that amount was computed;

(b) The amount of money actually refunded;

(c) The amount of any unclaimed refunds; and,

(d) The status of any unclaimed amounts.

(8) Any unclaimed refunds shall be treated as cash contributions-in-aid-of-construction.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.0814, 367.082(2) FS. History–New 8-18-83, Formerly 25-10.76, 25-10.076, Amended 11-30-93.

- 25-30.410 Definitions.

In this part, the following definitions shall apply:

(1) An applicant is a utility system, either water or wastewater, which seeks Commission approval for a rate increase for service to its customers.

(2) Customer classification refers to that service provided by the utility at rates which reflect a difference between types of customers, such as residential, industrial, wholesale, or general.

Rulemaking Authority 367.121 FS. Law Implemented 367.121 FS. History–New 11-10-86.

- 25-30.415 Return on Common Equity.

(1) The Commission will establish, at least once each year, a leverage scale or scales that reflect the range of returns on common equity as required by section 367.081(4)(f), F.S.

(2) In determining the range of returns on common equity, the Commission may consider generally accepted financial models.

Rulemaking Authority 367.121(1) FS. Law Implemented 367.081(4) FS. History–New 3-26-81, Formerly 25-10.186, Amended 11-10-86, 7-20-87.

- 25-30.420 Establishment of Price Index, Adjustment of Rates; Requirement of Bond; Filings After Adjustment; Notice to Customers.

(1) The Commission shall, on or before March 31 of each year, establish a price increase or decrease index as required by section 367.081(4)(a), F.S. The Office of Commission Clerk shall mail each regulated water and wastewater utility a copy of the proposed agency action order establishing the index for the year and a copy of the application. Form PSC/AFD 15 (4/99), entitled “Index Application”, is incorporated into this rule by reference and may be obtained from the Commission’s Division of Accounting and Finance. Applications for the newly established price index will be accepted from April 1 of the year the index is established through March 31 of the following year.

(a) The index shall be applied to all operation and maintenance expenses, except for amortization of rate case expense, costs subject to pass-through adjustments pursuant to section 367.081(4)(b), F.S., and adjustments or disallowances made in a utility’s most recent rate proceeding.

(b) In establishing the price index, the Commission will consider cost statistics compiled by government agencies or bodies, cost data supplied by utility companies or other interested parties, and applicable wage and price guidelines.

(2) Any utility seeking to increase or decrease its rates based upon the application of the index established pursuant to subsection (1) and as authorized by section 367.081(4)(a), F.S., shall file an original and five copies of a notice of intention and the materials listed in paragraphs (a) through (i) below with the Commission’s Division of Accounting and Finance at least 60 days prior to the effective date of the increase or decrease. The adjustment in rates shall take effect on the date specified in the notice of intention unless the Commission finds that the notice of intention or accompanying materials do not comply with the law, or the rules or orders of the Commission. The notice shall be accompanied by:

(a) Revised tariff sheets;

(b) A computation schedule showing the increase or decrease in annual revenue that will result when the index is applied;

(c) The affirmation required by section 367.081(4)(c), F.S.;

(d) A copy of the notice to customers required by subsection (6);

(e) The rate of return on equity that the utility is affirming it will not exceed pursuant to section 367.081(4)(c), F.S.;

(f) An annualized revenue figure for the test year used in the index calculation reflecting the rate change, along with an explanation of the calculation, if there has been any change in the utility’s rates during or subsequent to the test year;

(g) The utility’s Department of Environmental Protection Public Water System identification number and Wastewater Treatment Plant Operating Permit number.

(h) A statement that the utility does not have any active written complaints, corrective orders, consent orders, or outstanding citations with the Department of Environmental Protection (DEP) or the County Health Department(s) or that the utility does have active written complaints, corrective orders, consent orders, or outstanding citations with the DEP or the County Health Department(s).

(i) A copy of any active written complaints, corrective orders, consent orders, or outstanding citations with the Department of Environmental Protection (DEP) or the County Health Department(s).

(3) If the Commission, upon its own motion, implements an increase or decrease in the rates of a utility based upon the application of the index established pursuant to subsection (1) and as authorized by section 367.081(4)(a), F.S., the Commission will require a utility to file the information required in subsection (2).

(4) Upon a finding of good cause, the Commission may require that a rate increase pursuant to section 367.081(4)(a), F.S., be implemented under a bond or corporate undertaking in the same manner as interim rates. For purposes of this subsection, “good cause” shall include:

(a) Inadequate service by the utility;

(b) Inadequate record-keeping by the utility such that the Commission is unable to determine whether the utility is entitled to implement the rate increase or decrease under this rule.

(5) Prior to the time a customer begins consumption at the rates established by application of the index, the utility shall notify each customer of the increase or decrease authorized and explain the reasons therefore.

(6) No utility shall file a notice of intention pursuant to this rule unless the utility has on file with the Commission an annual report as required by subsection 25-30.110(3), F.A.C., for the test year specified in the order establishing the index for the year.

(7) No utility shall implement a rate increase pursuant to this rule within one year of the official date that it filed a rate proceeding, unless the rate proceeding has been completed or terminated.

Rulemaking Authority 350.127(2), 367.081(4)(a), 367.121(1)(c), (f) FS. Law Implemented 367.081(4), 367.121(1)(c), (g) FS. History–New 4-5-81, Amended 9-16-82, Formerly 25-10.185, Amended 11-10-86, 6-5-91, 4-18-99, 12-11-03.

- 25-30.425 Pass Through Rate Adjustment.

(1) This rule applies to any regulated water or wastewater utility that adjusts its rates pursuant to section 367.081(4)(b), F.S., to reflect an increase or decrease in the rates, fees, or costs for the following specified expenses:

(a) Water or wastewater utility service purchased from a governmental authority or other water or wastewater utility regulated by the Commission;

(b) Purchased electric power;

(c) Ad valorem taxes;

(d) National Pollutant Discharge Elimination System (NPDES) Permit Program fees charged by the Florida Department of Environmental Protection;

(e) Regulatory Assessment Fees imposed by the Commission;

(f) Water or wastewater quality testing required by the Department of Environmental Protection (DEP);

(g) Wastewater biosolids disposal fees;

(h) Tank inspection required by the DEP or a local governmental authority;

(i) Treatment plant operator and water distribution system operator license fees required by the DEP or a local governmental authority;

(j) Water or wastewater operating permit fees charged by the DEP or a local governmental authority; or

(k) Consumptive or water use permit fees charged by a water management district.

(2) Prior to an adjustment in rates pursuant to section 367.081(4)(b), F.S., the utility shall file its verified notice and supporting documents with the Commission’s Division of Accounting and Finance at least 45 days prior to the effective date of its pass through rate adjustment, or at least 60 days prior to the effective date of its combined or simultaneously filed price index and pass through rate adjustments if the utility requests an exception to the 45 day effective date, as referenced in paragraph (2)(h), to allow the price index and pass through rate adjustments to be implemented as one rate adjustment pursuant to section 367.081(4)(e), F.S. Each verified notice of a pass through rate adjustment shall include the following supporting documents. If the same information or supporting document is required for both the price index and pass through rate adjustments, such as revised tariff sheets, annualized revenue calculations, return on equity affirmations, and customer notices, the applicant may file a combined supporting document to be used for both applications:

(a) Revised tariff sheets reflecting the increased or decreased rates;

(b) A schedule showing the calculation of the proposed rates, including the following information. If the pass through rate adjustment is combined with a price index rate adjustment, a combined schedule that shows the calculation of both the price index and pass through rate adjustments may be provided:

1. The calculation of the recurring annual or amortized annual amount of the new expense or incremental change calculated as referenced in subsection (3);

2. The utility’s actual annual revenue or calculation of the annualized revenue for the most recent 12-month period, or 12-month test year if combined or simultaneously filed with a price index application. If there were any Commission-approved changes to the utility’s rates during the 12-month period or test year, the revenue should be annualized to reflect the revenue that would have resulted if the rate change had been in effect the entire 12 months. The annualized revenue calculation should reflect the annual number of bills broken down by customer class and meter size, and the annual gallons of water or wastewater service sold broken down by customer class. Annualized revenues should be calculated separately if the utility provides both water and wastewater service;

3. If the pass through of an increase or decrease in purchased water or wastewater utility service, purchased power, or wastewater biosolids disposal is applied only to the gallonage charge in the rate adjustment calculation, provide a schedule showing the gallons of water or wastewater service sold during each month of the most recent 12-month period or test year, broken down by customer class and meter size, if not shown in the revenue calculation previously provided in subparagraph (2)(b)2., above; and,

4. The calculation of the proposed rates that shows the current rates, dollar amount of the pass through increase or decrease, and proposed adjusted rates. The percentage increase or decrease resulting from the pass through adjustment for any specified expense may be applied to all rates equally or allocated between the base facility charge and gallonage charge based on the following guidelines:

(I) The percentage increase or decrease in purchased water or wastewater utility service, purchased power, or wastewater biosolids disposal may be applied solely to the gallonage charge;

(II) The percentage increase or decrease in ad valorem taxes may be applied solely to the base facility charge;

(III) The percentage increase or decrease in any specified expense that was adjusted using a specific allocation methodology in the utility’s last rate proceeding or in a prior pass through adjustment may be applied using that same methodology; and,

(IV) The percentage increase or decrease in any specified expense that reflects a single assessment to the water and wastewater systems combined may be allocated between the water and wastewater rates based on the equivalent residential connection ratio of water and wastewater customers;

(c) A copy of the current invoice, proof of payment, or other documentation that demonstrates that the specified expense has been adjusted or is a new requirement. If the specified expense is an existing expense that was not previously included in the utility’s rates, also provide a statement confirming that the specified expense has never been embedded in the utility’s rates;

(d) A copy of the invoice(s) or other documentation that supports the utility’s calculation of the recurring annual or amortized annual increase or decrease in the specified expense referenced in subparagraph (2)(b)1., as follows:

1. For a frequently recurring specified expense, such as purchased power, provide a copy of all invoices received for the most recent 12-month period or test year;

2. For a specified expense that occurs on an annual basis, such as ad valorem taxes, provide a copy of the invoice received for the prior year;

3. For a specified expense that occurs less than annually, such as NPDES permit program fees, provide a copy of the invoice received the last time the expense occurred, or

4. For the pass through of an incremental increase or decrease in regulatory assessment fees that were previously included in the utility’s rates by another governmental entity prior to the Commission’s regulation of the utility, provide documentation that shows the percentage or amount of regulatory assessment fees that were previously included in the utility’s rates, such as a copy of an order, ordinance, rate calculation, or other available information that can be used to determine and verify the percentage of regulatory assessment fees that were previously included in the utility’s rates.

(e) The utility’s DEP Public Water System identification number and Wastewater Treatment Plant Operating Permit number;

(f) The affirmation required by section 367.081(4)(c), F.S., including the rate of return on equity that the utility is affirming it will not exceed with this rate adjustment;

(g) A copy of the notice to customers required by subsection (6); and,

(h) If applicable, a statement that the utility requests an exception to the 45 day effective date provided by section 367.081(4)(b), F.S., to allow combined or simultaneously filed price index and pass through rate adjustments to be implemented together as one rate adjustment pursuant to section 367.081(4)(e), F.S., with an effective date 60 days after the official filing date of the utility’s notice of intention to increase rates through a price index rate adjustment filed pursuant to section 367.081(4)(a), F.S., and subsection 25-30.420(2), F.A.C.

(3) The recurring annual or amortized annual amount of the new expense or incremental change shall be calculated as follows:

(a) The change in a frequently recurring specified expense, such as purchased power, shall be calculated as an annual total, broken down by month for the most recent 12-month period or for the 12-month test year if combined or simultaneously filed with a price index rate adjustment. The calculation shall reflect the following information:

1. All charges or fees included in the total specified expense, such as the purchased water or wastewater base facility charge, gallonage charge, any applicable billing or service fees, and taxes, even if some of the rates or fees did not change;

2. The actual or annualized charges for the specified expense. If the rates or charges for the specified expense changed during the 12-month period or test year, the actual charges should be annualized to reflect the charges that would have resulted if the prior rates or charges had been in effect the entire 12 months;

3. The annualized charges that would have resulted if the new rates had been in effect the entire 12 months;

4. The difference between the charges at the prior and new rates; and,

5. If the utility’s most recent rate proceeding included adjustments for excessive unaccounted for water (EUW) or excessive inflow and infiltration (I&I), the calculation of an increase or decrease in purchased water or wastewater utility service or purchased electric power shall also include the same percentage EUW or I&I adjustments. If the utility has taken steps to reduce EUW or I&I since its most recent rate proceeding, the utility may, but is not required to, provide additional information to demonstrate that the EUW or I&I percentages have been reduced. Any proposed revision to the EUW or I&I percentages should be calculated as referenced in subsection (4).

(b) The change in a specified expense that occurs on an annual basis, such as ad valorem taxes, shall be calculated as an annual total based on a comparison of the prior expense and new expense. If applicable, the calculation of the increase or decrease in ad valorem taxes only shall include the following additional adjustments:

1. If any ad valorem tax bills reflect a single assessment for combined water and wastewater property, the calculation shall also include the utility’s calculation of the equivalent residential connection ratio of water and wastewater customers used to allocate the combined tax assessment between the utility’s water and wastewater rates; and,

2. If the utility’s last rate proceeding included adjustments for non-used and useful plant, the calculation shall also include an adjustment to remove the portion of the ad valorem taxes related to the water or wastewater plant that is not used and useful in providing utility service.

(c) The change in a specified expense that occurs less than annually, such as NPDES permit program fees, shall be calculated as an annual amortized amount based on a comparison of the prior and new expense. The expense shall be amortized as a non-recurring expense in accordance with subsection 25-30.433(8), F.A.C., and the calculation shall include an explanation if the expense is amortized for a period other than five years.

(4) The pass through of changes in purchased water or wastewater utility service or purchased electric power shall be adjusted for EUW or I&I consistent with adjustments approved by the Commission in the utility’s most recent rate proceeding, if applicable. If the utility has taken steps to reduce the EUW and I&I percentages since its most recent rate proceeding, the utility may, but is not required, to provide the following information to demonstrate that the EUW and I&I percentages have been reduced and that the previously approved EUW and I&I percentages should either be reduced or eliminated from the pass through rate adjustment calculation:

(a) A description of any steps taken by the utility to reduce the EUW or I&I since the utility’s last rate proceeding; and,

(b) A schedule showing the updated calculation of EUW or I&I broken down by month for the most recent 12-month period or test year including:

1. The gallons of water or wastewater treatment purchased from the governmental authority or regulated utility that has increased or decreased its rates. If wastewater treatment service is not based on a metered flow, describe how the wastewater flows are determined and include the number of units by which the service is measured;

2. If the utility purchases water or wastewater service from more than one governmental authority or regulated utility, include the gallons of water or wastewater treatment purchased from any other governmental authority or regulated utility not reflected in subparagraph (4)(b)1., above. If wastewater treatment service is not based on a metered flow, describe how the wastewater flows are determined and include the number of units by which the service is measured;

3. The gallons of water pumped or wastewater treated by the utility, if applicable;

4. The gallons of water or wastewater service sold by the utility;

5. The total unaccounted for water or inflow and infiltration; and,

6. A statement explaining the EUW or I&I if the total water available for sale or total wastewater treatment purchased is still in excess of 110 percent of the water or wastewater service sold.

(5) The amount administratively approved for a pass through rate adjustment shall not exceed the actual cost incurred. Foregone pass through decreases shall not be used to adjust a pass through increase below the actual cost incurred.

(6) The utility shall provide each customer with written notice of the administratively approved rate adjustment, including the effective date and an explanation of the reasons for the increase or decrease, prior to the time each customer will begin consumption at the adjusted rates. If the pass through rate adjustment is combined or simultaneously filed with a price index rate adjustment, the utility may provide the information for both rate adjustments in a combined customer notice.

Rulemaking Authority 350.127(2), 367.081, 367.121(1)(c), (f) FS. Law Implemented 367.081(4), 367.121(1)(c), (g) FS. History–New 6-10-75, Amended 4-5-79, 4-5-81, 10-21-82, Formerly 25-10.179, Amended 11-10-86, 6-5-91, 4-18-99, 2-19-17.

- 25-30.430 Test Year Approval.

(1) Prior to the filing of an application for a general rate increase, a utility shall submit to the Commission a written request for approval of a test year, supported by a statement of reasons and justifications showing that the requested test year is representative of utility operations. The Commission Chairman will then approve or disapprove the request within 30 days from the receipt of the request. In disapproving the requested test year, the Chairman may suggest another test year. Within 30 days of the Chairman’s approval or disapproval of a test year, upon request of any interested person the full Commission may review the Chairman’s test year decision.

(2) Each applicant for test year approval shall submit the following information in its written request to the Chairman:

(a) A statement explaining why the requested test year is representative of the utility’s current operations.

(b) A general statement of major plant expansions or changes in operational methods which:

1. Have occurred in the most recent 18 months or since the last test year, whichever is less;

2. Will occur during the requested test year.

(c) A general statement of all known estimated pro forma adjustments which will be made to the requested test year amounts.

(d) If a projected test year is requested, provide an explanation as to why the projected period is more representative of the utility’s operations than a historical period.

(3) Any requests for extensions of time to file the application shall be made to the Director, Division of Accounting and Finance. Upon good cause shown and if the extension will not cause the approved test year to be unrepresentative, the Director shall grant an extension in writing.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081 FS. History–New 6-10-75, Amended 6-13-79, 3-26-81, 9-27-83, Formerly 25-10.175, Amended 11-10-86, 6-25-90, 11-30-93.

- 25-30.431 Used and Useful Consideration.

(1) In determining whether property is needed to serve customers more than five full years after the end of the test period as provided by section 367.081(2)(a)2.c., F.S. (1999), the Commission shall consider the rate of growth in the number of equivalent residential connections (ERCs); the time needed to meet the guidelines of the Department of Environmental Protection (DEP) for planning, designing, and construction of plant expansion; and the technical and economic options available for sizing increments of plant expansion.

(2)(a) Property needed to serve customers after the end of the test year shall be calculated as follows:

EG x PT x U = PN

| where: |  |  |
| --- | --- | --- |
| EG | = | Equivalent Annual Growth in ERCs determined pursuant to paragraph (b) or (c), below, not to exceed 5 percent per year |
| PT | = | Post Test Year Period determined pursuant to section 367.081(2)(a)2.b. and c., F.S. (1999) |
| U | = | Unit of measurement utilized in the used and useful calculations for plant components |
| PN | = | Property needed expressed in the units of measurement utilized |

(b) The equivalent annual growth in ERCs (EG) is measured in terms of the projected annual growth and shall be calculated in Schedules F-9 and F-10 of Form PSC/AFD 19-W for Class A utilities and Form PSC/AFD 20-W for Class B utilities, incorporated by reference in rule 25-30.437, F.A.C.

(c) The utility shall also submit a linear regression analysis using average ERCs for the last 5 years. The utility may submit other information that will affect growth in ERCs.

(3) As part of its application filed pursuant to rule 25-30.437, F.A.C., the utility shall submit its most recent wastewater capacity analysis report, if any, filed with DEP.

Rulemaking Authority 367.121 FS. Law Implemented 367.081(2)(a)2.b., c. FS. History–New 12-14-99.

- 25-30.432 Wastewater Treatment Plant Used and Useful Calculations.

The flow data to be used in the numerator of the equation for calculating the used and useful percentage of a wastewater treatment plant shall be the same period or basis (such as annual average daily flow, three-month average daily flow, maximum month average daily flow) as the period or basis stated for the permitted capacity on the most recent operating permit issued by the Florida Department of Environmental Protection (DEP). The DEP permitted capacity shall be used in the denominator of the equation. In determining the used and useful amount, the Commission will also consider other factors such as the allowance for growth pursuant to section 367.081(2)(a)2., F.S., infiltration and inflow, the extent to which the area served by the plant is built out, whether the permitted capacity differs from the design capacity, whether there are differences between the actual capacities of the individual components of the wastewater treatment plant and the permitted capacity of the plant, and whether flows have decreased due to conservation or a reduction in the number of customers. This rule does not apply to reuse projects pursuant to section 367.0817(3), F.S., or investment for environmental compliance pursuant to section 367.081(2)(a)2.c., F.S.

Rulemaking Authority 350.127(2), 367.121(1)(f) FS. Law Implemented 367.081(2) FS. History–New 12-26-02.

- 25-30.4325 Water Treatment and Storage Used and Useful Calculations.

(1) Definitions.

(a) A water treatment system includes all facilities, such as wells and treatment facilities, excluding storage and high service pumping, necessary to pump and treat potable water.

(b) Storage facilities include ground or elevated storage tanks and high service pumps.

(c) Peak demand for a water treatment system includes the utility’s maximum hour or day demand, excluding excessive unaccounted for water, plus a growth allowance based on the requirements of rule 25-30.431, F.A.C., and, where fire flow is provided, a minimum of either the fire flow required by the local governmental authority or 2 hours at 500 gallons per minute.

(d) Peak demand for storage includes the utility’s maximum day demand, excluding excessive unaccounted for water, plus a growth allowance based on the requirements of rule 25-30.431, F.A.C., and, where provided, a minimum of either the fire flow required by the local governmental authority or 2 hours at 500 gallons per minute.

(e) Excessive unaccounted for water (EUW) is unaccounted for water in excess of 10 percent of the amount produced.

(2) The Commission’s used and useful evaluation of water treatment system and storage facilities will consider the prudence of the investment, economies of scale, and other relevant factors including whether flows have decreased due to conservation or to a reduction in the number of customers.

(3) Separate used and useful calculations shall be made for the water treatment system and storage facilities. An alternative calculation may also be provided, along with supporting documentation and justification, including service area restrictions, factors involving treatment capacity, well drawdown limitations, changes in flow due to conservation or to a reduction in the number of customers, and alternative peaking factors.

(4) A water treatment system is considered 100 percent used and useful if the service territory the system is designed to serve is built out and there is no apparent potential for expansion of the service territory or the system is served by a single well.

(5) The used and useful calculation of a water treatment system is made by dividing the peak demand by the firm reliable capacity of the water treatment system.

(6) The firm reliable capacity of a water treatment system is equivalent to the pumping capacity of the wells, excluding the largest well for those systems with more than one well.

(a) Firm reliable capacity is expressed in gallons per minute for systems with no storage capacity.

(b) Firm reliable capacity is expressed in gallons per day, based on 16 hours of pumping, for systems with storage capacity.

(7) Peak demand is based on a peak hour for a water treatment system with no storage capacity and a peak day for a water treatment system with storage capacity.

(a) Peak hour demand, expressed in gallons per minute, shall be calculated as follows:

1. The single maximum day (SMD) in the test year where there is no unusual occurrence on that day, such as a fire or line break, less excessive unaccounted for water, divided by 1440 minutes in a day, times 2 [((SMD-EUW)/1,440) x 2]; or

2. If the actual maximum day flow data is not available, 1.1 gallons per minute per equivalent residential connection (1.1 x ERC).

(b) Peak day demand, expressed in gallons per day, shall be calculated as follows:

1. The single maximum day in the test year where there is no unusual occurrence on that day, such as a fire or line break, less excessive unaccounted for water (SMD-EUW), or

2. If the actual maximum day flow data is not available, 787.5 gallons per day per equivalent residential connection (787.5 x ERC).

(8) The used and useful calculation of storage is made by dividing the peak demand by the usable storage of the storage tank. Usable storage capacity less than or equal to the peak day demand shall be considered 100 percent used and useful. A hydropneumatic tank is not considered usable storage.

(9) Usable storage determination shall be as follows:

(a) An elevated storage tank shall be considered 100 percent usable.

(b) A ground storage tank shall be considered 90 percent usable if the bottom of the tank is below the centerline of the pumping unit.

(c) A ground storage tank constructed with a bottom drain shall be considered 100 percent usable, unless there is a limiting factor, in which case the limiting factor will be taken into consideration.

(10) To determine whether an adjustment to plant and operating expenses for excessive unaccounted for water will be included in the used and useful calculation, the Commission will consider all relevant factors, including whether the reason for excessive unaccounted for water during the test period has been identified, whether a solution to correct the problem has been implemented, or whether a proposed solution is economically feasible.

Rulemaking Authority 350.127(2), 367.121(1)(f) FS. Law Implemented 367.081(2), (3) FS. History–New 6-8-08.

- 25-30.433 Rate Case Proceedings.

In a rate case proceeding, the following provisions shall apply.

(1) The Commission in every rate case shall make a determination of the quality of service provided by the utility by elvaluating the quality of utility’s product (water) and the utility’s attempt to address customer satisfaction (water and wastewater). In making this determination, the Commission shall consider:

(a) The most recent chemical analyses for each water system as described in rule 25-30.440(3), F.A.C.;

(b) Any Department of Environmental Protection (DEP) and county health department citations, violations and provisions of consent orders that relate to quality of service;

(c) Any DEP and county health department officials’ testimony concerning quality of service;

(d) Any testimony, complaints and comments of the utility’s customers and others with knowledge of the utility’s quality of service; and

(e) Any utility testimony and responses to the information provided in paragraphs (1)(a)-(d), above.

(2) In order to ensure safe, efficient, and sufficient service to utility customers, the Commission shall consider whether the infrastructure and operational conditions of the plant and facilities are in compliance with rule 25-30.225, F.A.C. In making this determination, the Commission shall consider:

(a) Any testimony of DEP and county health department officials;

(b) Inspections, including sanitary surveys for water systems and compliance evaluation inspections for wastewater systems; citations, violations and consent orders issued to the utility;

(c) Any testimony, complaints and comments of the utility’s customers and others with knowledge of the infrastructure and operational conditions of the utility’s plant and facilities; and,

(d) Any utility testimony and responses to the information provided in paragraphs (2)(a)-(c), above.

(3) Working capital for Class A utilities shall be calculated using the balance sheet approach. Working capital for Class B and C utilities shall be calculated using the formula method (one-eighth of operation and maintenance expenses).

(4) Used and useful debit deferred taxes shall be offset against used and useful credit deferred taxes in the capital structure. Any resulting net debit deferred taxes shall be included as a separate line item in the rate base calculation. Any resulting net credit deferred taxes shall be included in the capital structure calculation. No other deferred debits shall be considered in rate base when the formula method of working capital is used.

(5) The averaging method used by the Commission to calculate rate base and cost of capital shall be a 13-month average for Class A utilities and the simple beginning and end-of-year average for Class B and C utilities.

(6) Non-used and useful adjustments shall be applied to the applicable depreciation expense. Property tax expense on non-used and useful plant shall not be allowed.

(7) Charitable contributions shall not be recovered through rates.

(8) Income tax expense shall not be allowed for subchapter S corporations, partnerships or sole proprietorships.

(9) Non-recurring expenses shall be amortized over a 5-year period unless a shorter or longer period of time can be justified.

(10) The amortization period for forced abandonment or the prudent retirement, in accordance with the National Association of Regulatory Utility Commissioners Uniform System of Accounts, of plant assets prior to the end of their depreciable life shall be calculated by taking the ratio of the net loss (original cost less accumulated depreciation and contributions-in-aid-of-construction (CIAC) plus accumulated amortization of CIAC plus any costs incurred to remove the asset less any salvage value) to the sum of the annual depreciation expense, net of amortization of CIAC, plus an amount equal to the rate of return that would have been allowed on the net invested plant that would have been included in rate base before the abandonment or retirement. This formula shall be used unless the specific circumstances surrounding the abandonment or retirement demonstrate a more appropriate amortization period.

(11) A utility is required to have the right of access and continued use of the land upon which the utility treatment facilities are located. Documentation of continued use shall be in the form of a recorded warranty deed, recorded quit claim deed accompanied by title insurance, recorded lease such as a 99-year lease, or recorded easement.

(12) In establishing an authorized rate of return on common equity, a utility, in lieu of presenting evidence, may use the current leverage formula adopted by Commission order. The equity return established shall be based on the equity leverage order in effect at the time the Commission decides the case.

(13) Nonutility investment should be removed directly from equity when reconciling the capital structure to rate base unless the utility can show, through competent evidence, that to do otherwise would result in a more equitable determination of the cost of capital for regulatory purposes.

(14) Interest expense to be included in the calculation of income tax expense shall be the amount derived by multiplying the amount of the debt components of the reconciled capital structure times the average weighted cost of the respective debt components. Interest expense shall include an amount for the parent debt adjustment in those cases covered by rule 25-14.004, F.A.C. Interest shall also be imputed on deferred investment tax credits in those cases covered by 26 CFR Part 1, s. 1.46-6(b)(2)(i), (3) and (4)(ii) issued May 22, 1986 and effective for property constructed or acquired on or after August 15, 1971.

Rulemaking Authority 350.127(2), 367.0812(5), 367.0814, 367.121, 367.1213 FS. Law Implemented 367.081, 367.0812(1), 367.0814, 367.0822, 367.1213 FS. History–New 11-30-93, Amended 12-14-93, 7-11-18.

- 25-30.434 Application for Allowance for Funds Prudently Invested (AFPI) Charges.

(1) An Allowance for Funds Prudently Invested (AFPI) charge is a mechanism which allows a utility the opportunity to earn a fair rate of return on prudently constructed plant held for future use from the future customers to be served by that plant in the form of a charge paid by those customers.

(2) Each application for AFPI charges shall comply with the notice requirements specified in rule 25-30.4345, F.A.C.

(3) Each application for AFPI charges shall provide the following information. If any of the following items do not apply to the applicant, the applicant shall state the reason it does not apply.

(a) The applicant’s name and address.

(b) A statement describing how the noticing requirements have been complied with, including a copy of the actual notice(s).

(c) The numbers of all Commission order(s) that:

1. Previously established customer rates for the applicant either in a rate case or a reverse make-whole proceeding; and

2. Established AFPI charges for the applicant.

(d) The charge shall be calculated for one equivalent residential connection (ERC) on a monthly basis up to the time the utility reaches the designed capacity of the plant for which the charge applies. The charges shall cease when the plant has reached its designed capacity.

(e) A statement explaining the basis for the requested charges and conditions.

(f) The dollar amount of the non-used and useful plant and the accumulated depreciation, and the methodology used to determine these amounts. The net of these two amounts shall be considered the cost of qualifying assets. Separate balances for plant and for accumulated depreciation shall be reported for the water treatment plant, wastewater treatment plant, water transmission and distribution system and wastewater collection system.

(g) The plant capacity related to each of the systems in paragraph (f), above, and the methodology used to determine the amount.

(h) The number of future customers in number of ERCs related to the non-used and useful plant by system.

(i) The amount of depreciation expense and composite depreciation rate related to the non-used and useful plant by system.

(j) The overall rate of return requested for the AFPI charge and the workpapers supporting the calculation.

(k) The last authorized rate of return on equity and references to the docket number of the last rate case and the resulting order.

(l) The state and federal income tax rates requested for calculating the AFPI charge.

(m) All other costs such as non-used and useful property taxes and operation and maintenance expenses removed in the last rate case.

(n) The test year to be used in the calculation, the month that the utility expects the charge to go into effect and the number of years the utility expects to collect the charge. Provide a detailed explanation of why the number of years to collect the charge represents a reasonable and prudent management decision in the construction of plant.

(o) The workpapers and calculations used to develop the proposed AFPI charge. The utility may obtain a diskette that outlines the calculation and schedules to be used by calling or writing the Division of Accounting and Finance, (850)413-6410. The required schedules that shall be submitted are “AFPI Filing Schedules”, Commission Form PSC/AFD 26 (11/93), incorporated by reference into this rule, and are as follows:

Schedule 1 – List of Information Imputed Into Calculation

Schedule 2 – Calculation Of Carrying Costs Per ERC

Schedule 3 – Calculation Of Carrying Costs Per ERC Per Year

Schedule 4 – Calculation Of Carrying Costs Per ERC Per Month

The form may be obtained from the Commission’s Division of Accounting and Finance, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850.

(p) The revised or original tariff sheets necessary to incorporate the AFPI charge into the tariff.

(4) The beginning date for accruing the AFPI charge shall agree with the month following the end of the test year that was used to establish the amount of non-used and useful plant. If any connections have been made between the beginning date and the effective date of the charge, no AFPI will be collected from those connections.

(5) Unless the utility demonstrates that the 5-year period is inappropriate, it is prudent for a utility to have an investment in future use plant for a period of no longer than 5 years beyond the test year.

(6) For utilities that have non-used and useful plant to be held for periods longer than what is determined to be prudent, the AFPI charge will cease accruing charges and will remain constant after the accrual period, established by the Commission, has expired. The utility can continue to collect the constant charge until all ERCs projected in the calculation have been added.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.121 FS. History–New 11-30-93.

- 25-30.4345 Notice of Requests for New or Revised Service Availability Charges or Policies and Notice of Requests for Allowance for Funds Prudently Invested (AFPI) Charges.

(1) This rule applies to all requests for new or revised service availability charges or policies and to all requests for allowance for funds prudently invested (AFPI) charges made by water and wastewater utilities, including those requests made in conjunction with a request for a general rate increase.

(2) Upon filing an application for new or revised service availability charges or policies or an application for AFPI charges, the utility shall place a copy of the application at its official headquarters and at any business offices it has in the service areas included in the request. Such copies shall be available for public inspection during the utility’s regular business hours. If the utility does not have a business office in a service area included in the request, the utility shall place a copy of the application at the main county library, the local community center or other appropriate location which is within or most convenient to the service area and which is willing to accept and provide public access to said copies. The Commission may require that copies of the application be placed at other specified locations.

(3)(a) Upon filing an application for new or revised service availability charges or policies or an application for AFPI charges, the utility shall have published a notice of application in a newspaper of general circulation in the service areas included in the petition.

(b) Upon filing an application for new or revised service availability charges or policies or an application for AFPI charges, the utility shall mail or hand deliver a notice of application to all persons in the service areas included in the application who have filed a written request for service or who have been provided a written estimate for service within the 12 calendar months prior to the month the application is filed.

(c) The Commission may require such other notice as it finds reasonably necessary.

(d) The notice of petition shall include the following:

1. The date the notice was issued;

2. A statement that the utility has filed a petition for new or revised service availability charges or policies or AFPI charges with the Commission;

3. A statement that the requested service availability charge or AFPI charge is to pay for growth in the utility system and the requested charges are to be paid by new, not existing customers;

4. A statement of the locations where copies of the application are available for public inspection and the times during which inspection may be made;

5. A comparison of the present and proposed policy and charges;

6. The utility’s address, telephone number and business hours; and,

7. A statement that any comments concerning the policy or charges should be addressed to the Director of the Office of Commission Clerk at 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0870.

Rulemaking Authority 350.127(2), 367.121(1)(f) FS. Law Implemented 367.101, 367.111, 367.091 FS. History–New 5-27-93, Formerly 25-22.0408.

- 25-30.436 General Information and Instructions Required of Class A and B Water and Wastewater Utilities in an Application for Rate Increase.

(1) Each applicant for a rate increase shall provide the following general information to the Commission:

(a) The name of the applicant as it appears on the applicant’s certificate and the address of the applicant’s principal place of business.

(b) The type of business organization under which the applicant’s operations are conducted; if the applicant is a corporation, the date of incorporation; the names and addresses of all persons who own 5 percent or more of the applicant’s stock or the names and addresses of the owners of the business.

(c) The number of the Commission order, if any, which previously considered the applicant’s rates for the system(s) involved.

(d) The address within the service area where the application is available for customer inspection during the time the rate application is pending.

(e) Where the utility requests rates which generate less than a fair rate of return, it must provide a statement of assurance that its quality of service will not suffer.

(f) An affidavit signed by an officer of the utility that states that the utility will comply with rule 25-22.0407, F.A.C.

(g) A statement whether the applicant requests to have the case processed using the proposed agency action procedure outlined in section 367.081(8), F.S.

(2) The applicant’s petition for rate relief will not be deemed filed until the appropriate filing fee has been paid and all minimum filing requirements have been met, including filing of the applicant’s prepared direct testimony unless the applicant has filed its petition pursuant to section 367.081(8), F.S. At a minimum, the direct testimony shall explain why the rate increase is necessary and address those areas anticipated at the time of filing to be at issue.

(3) The applicant shall state any known deviation from the policies, procedures and guidelines prescribed by the Commission in relevant rules or in the company’s last rate case.

(4) In the rate case application:

(a) Each schedule shall be cross-referenced to identify related schedules as either supporting schedules or recap schedules.

(b) Each page of the filing shall be consecutively numbered on 8 1/2 x 11-inch paper.

(c) Except for handwritten official company records, all data in the petition, exhibits and minimum filing requirements shall be typed.

(d) Sixteen copies shall be filed with the Commission’s Office of Commission Clerk, except as specifically identified in paragraph (4)(h), below, or in rule 25-30.437, 25-30.4385 or 25-30.440, F.A.C.

(e) Whenever the applicant proposes any corrections, updates or other changes to the originally filed data, 20 copies shall be filed with the Office of Commission Clerk with copies also served on all parties of record at the same time.

(f) If the capital structure contains zero or negative equity, a return on equity shall be requested, which shall be the maximum of the return of the current equity leverage formula established by order of this Commission pursuant to section 367.081(4), F.S.

(g) The provisions of rule 25-30.433, F.A.C., shall be followed in preparing the utility’s application.

(h) Any system that has costs allocated or charged to it from a parent, affiliate or related party, in addition to those costs reported on Schedule B-12 of Commission Form PSC/AFD 19-W for a Class A utility, or PSC/AFD 20-W for a Class B utility, (incorporated by reference in rule 25-30.437, F.A.C.) shall file three copies of additional schedules that show the following information:

1. The total costs being allocated or charged prior to any allocation or charging as well as the name of the entity from which the costs are being allocated or charged and its relationship to the utility.

2. For costs allocated or charged to the utility in excess of one percent of test year revenues:

a. A detailed description and itemization; and,

b. The amount of each itemized cost.

3. The allocation or direct charging method used and the bases for using that method.

4. The workpapers used to develop the allocation method, including but not limited to the numerator and denominator of each allocation factor.

5. The workpapers used to develop, where applicable, the basis for the direct charging method.

6. An organizational chart of the relationship between the utility and its parent and affiliated companies and the relationship of any related parties.

7. A copy of any contracts or agreements between the utility and its parent or affiliated companies for services rendered between or among them.

(i) For any land recorded on the utility’s books since rate base was last established, the utility shall file copies of the documents that demonstrate that the utility owns the land upon which the utility treatment facilities are located, or that provides for the continued use of the land, such as a 99-year lease. The Commission may consider a written easement or other cost-effective alternative.

(5) Commission Designee. The Deputy Executive Director, Technical shall be the designee of the Commission for purposes of determining whether the applicant has met the minimum filing requirements imposed by this rule.

(6) Within 60 days after the issuance of a final order entered in response to an application for increased rates, or, if applicable, within 60 days after the issuance of an order entered in response to a motion for reconsideration of the final order, each utility shall submit a breakdown of actual rate case expense incurred, in total, in a manner consistent with Schedule No. B-10 (PSC/AFD Form 19-W or 20-W, whichever is applicable, as described in rule 25-30.437, F.A.C.). If the deadline prescribed above cannot be met, an extension shall be granted by the Director of the Division of Accounting and Finance for good cause shown.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.083, 367.121 FS. History–New 11-10-86, Amended 6-25-90, 11-30-93, 1-31-00.

- 25-30.437 Financial, Rate and Engineering Information Required of Class A and B Water and Wastewater Utilities in an Application for Rate Increase.

Each Class A or B utility applying for a rate increase shall provide the information required by Commission Form PSC/AFD 19-W (11/93), entitled “Class A Water and/or Wastewater Utilities Financial, Rate and Engineering Minimum Filing Requirements,” or PSC/AFD 20-W (11/93), entitled “Class B Water and/or Wastewater Utilities Financial, Rate and Engineering Minimum Filing Requirements”, whichever is applicable. These forms are incorporated into this rule by reference and may be obtained from the Director, Division of Accounting and Finance, Florida Public Service Commission, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850. In compiling the required schedules, additional instructions are set forth below:

(1) Each section of this form shall be indexed and tabbed, including a table of contents listing the page numbers of each schedule.

(2) If information requested in the form described above is not applicable to the applicant, so state and provide an explanation on the specific schedule.

(3) If a projected test year is used, provide a complete set of Commission Form PSC/AFD 19-W (for Class A utilities) or PSC/AFD 20-W (for Class B utilities) (as described above) which require a designation of historical or projected information. Such schedules shall be submitted for the historical base year, and any year subsequent to the base year and prior to the projected test year, in addition to the projected test year. If no designation is shown on a schedule, submit that schedule for the test year only. In lieu of providing separate pages for the above required schedules, the information required can be combined on the same page by adding additional columns. In the rate base schedules, Section A, the beginning and end of year balances shall be shown. For any intermediate period or year, only the year-end balance shall be shown. A schedule shall also be included which describes in detail all methods and bases of projection, explaining the justification for each method or basis employed. If an historical test year is used, Schedule E-13 is not required.

(4) Only two copies of Schedule E-14, entitled Billing Analysis Schedules, shall be filed with the application. Each copy shall be submitted in a separate binder from the other required information.

(5) If a petition for interim rates is filed, a utility shall demonstrate that it is earning outside the range of reasonableness on rate of return calculated in accordance with section 367.082(5), F.S. In doing such, the utility shall submit schedules of rate base, cost of capital and net operating income on an historical basis, with schedules of all adjustments thereto, consistent with Commission Form PSC/AFD 19-W (for a Class A utility) or PSC/AFD 20-W (for a Class B utility), (described above).

(6) In proposing rates, the utility shall use the base facility and usage charge rate structure, unless an alternative rate structure is adequately supported by the applicant. The base facility charge incorporates fixed expenses of the utility and is a flat monthly charge. This charge is applicable as long as a person is a customer of the utility, regardless of whether there is any usage. The usage charge incorporates variable utility expenses and is billed on a per 1,000 gallon or 100 cubic feet basis in addition to the base facility charge. The rates are first established with the 5/8'' x 3/4'' meter as the foundation. For meter sizes larger than 5/8'', the base facility charge shall be based on the usage characteristics.

Rulemaking Authority 367.121 FS. Law Implemented 367.081, 367.082 FS. History–New 6-10-75, Amended 10-16-77, 3-26-81, Formerly 25-10.176, Amended 11-10-86, 6-25-90, 11-30-93.

- 25-30.438 Information Required in Application for Rate Increase From Utilities with Related Parties.

If the system for which a rate increase is sought has a “related party” which is a land developing company, the applicant shall, for the system(s) concerned, submit copies of the developer’s offering statements as filed with the Division of Land Sales, Department of Business Regulation. “Related party” is defined by Financial Accounting Standards Board, FASB 57, App. B paragraph 24(f), March 1982. Developer’s offering statements submitted to the Commission in a prior docket may be eliminated from this filing by indicating the docket number the offering statement(s) were filed in. In addition, the applicant shall submit a statement relative to the amount of the land sales purchase price which is allocated for the cost of constructing the applicant’s facilities, the amount for connection collected from the purchasers or lots, or any water or wastewater service availability charges.

Rulemaking Authority 367.121 FS. Law Implemented 367.081 FS. History–New 11-10-86.

- 25-30.4385 Additional Rate Information Required in Application for Rate Increase.

The utility shall file an original and three copies of all revised tariff sheets for each service classification in which any change is proposed, except those tariff sheets in which the only change is to the service rates.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.121 FS. History–New 11-30-93.

- 25-30.440 Additional Engineering Information Required of Class A and B Water and Wastewater Utilities in an Application for Rate Increase.

Each applicant for a rate increase shall provide two copies of the following engineering information to the Commission, with the exception of subsection (1), of which only one copy is required.

(1) A detailed map showing:

(a) The location and size of the applicant’s distribution and collection lines as well as its plant sites; and,

(b) The location and respective classification of the applicant’s customers.

(2) A list of chemicals used for water and wastewater treatment, by type, showing the dollar amount and quantity purchased, the unit prices paid and the dosage rates utilized.

(3) The most recent chemical analyses for each water system conducted by a certified laboratory covering the inorganic, organic turbidity, microbiological, radionuclide, secondary and unregulated contaminants specified in chapter 62-550, F.A.C.

(4) All water and wastewater plant operating reports for the test year and the year preceding the test year.

(5) The most recent sanitary survey for each water plant and inspection report for each wastewater plant conducted by the health department or the Department of Environmental Protection (DEP).

(6) All health department and DEP construction and operating permits.

(7) Any Notices of Violation, Consent Orders, Letters of Notice, or Warning Notices from the health department or the DEP in the previous five years.

(8) A list of all field employees, their duties, responsibilities, and certificates held, and an explanation of each employees’ salary allocation method to the utility’s capital or expense accounts.

(9) A list, by serial number and description, of all vehicles owned or leased by the utility showing the original cost or annual lease expense, who the vehicle is assigned to, and the method of allocation to the utility.

(10) Provide a list, by customer, of all complaints received during the test year, with an explanation of how each complaint was resolved.

(11) Provide a copy of all customer complaints that the utility has received regarding DEP secondary water quality standards during the past five years.

Rulemaking Authority 350.127(2), 367.0812(5), 367.121 FS. Law Implemented 367.081, 367.0812 FS. History–New 11-10-86, Amended 6-25-90, 2-10-15.

- 25-30.4415 Additional Information Required in Application for Rate Increase by Utilities Seeking to Recover the Cost of Investment in the Public Interest.

If an applicant proposes to include in its plant investment the cost of investment made in the public interest pursuant to section 367.081(2), F.S., which investment was or will be required by agency rule, regulation, order or other regulatory directive, the applicant shall provide the following information to the Commission:

(1) A copy of the rule, regulation, order, or other regulatory directive that has required or will require the applicant to make the improvement or the investment for which the applicant seeks recovery.

(2) An estimate by a professional engineer, or other person knowledgeable in design and construction of water and wastewater plant, to establish the cost of the applicant’s investment and the period of time required for completion of construction.

(3) An analysis showing the portion of the proposed rate increase that relates to the financial support for the investment or improvement.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.121 FS. History–New 11-30-93.

- 25-30.442 Duplicate Information.

If the applicant believes the information required is currently on file with the Commission the applicant may request that it be exempted from filing the information. The request should be made to the Deputy Executive Director, Technical, with a copy filed directly with the Office of Commission Clerk, and should specify which particular information is already on file, in what document it is contained, and that it is still current, valid information.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.121 FS. History–New 11-10-86, Amended 6-25-90.

- 25-30.443 Minimum Filing Requirements for Class C Water and Wastewater Utilities.

(1) A Class C Utility seeking a rate increase shall submit an application which contains the information required by rules 25-30.436, 25-30.4385, 25-30.440, 25-30.4415 and 25-30.442, F.A.C.

(2) Each Class C Utility seeking a rate increase shall also provide the information required by Commission Form PSC/AFD 18 (6/90), entitled “Financial, Rate and Engineering Minimum Filing Requirements – Class C Utilities” which is incorporated into this rule by reference. The form may be obtained from the Director, Division of Accounting and Finance, Florida Public Service Commission, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850. In compiling the required schedules, additional instructions are set forth below:

(a) Each section of this form shall be indexed and tabbed, including a table of contents listing the page numbers of each schedule.

(b) If information requested in the form described above is not applicable to the applicant, so state and provide an explanation on the specific schedule.

(c) If a projected test year is used, provide a complete set of the Commission Form PSC/AFD 18 (6/90), entitled “Financial, Rate and Engineering Minimum Filing Requirements – Class C Utilities” (as described above) which require a designation of historical or projected information. Such schedules shall be submitted for the historical base year, and any projected year subsequent to the base year and prior to the projected test year, in addition to the projected year. If no designation is shown on a schedule, submit that schedule for the test year only. In lieu of providing separate pages for the above required schedules, the information required can be combined on the same page by adding columns. In the rate base schedules, Section A, the beginning and end-of-year balances shall be shown. For any intermediate period or year, only the year-end balance shall be shown. If a historical test year is used, Schedule E-5 will not be required. A schedule shall also be included which describes in detail all methods and bases of projection, explaining the justification for each method or basis employed.

(d) Only two copies of Schedule E-6, entitled Billing Analysis Schedules shall be filed with the application. Each copy shall be submitted in a separate binder from the other required information.

(e) In designing rates, the base facility and usage charge rate structure shall be utilized for metered service.

(3) Within 60 days after the issuance of a final order entered in response to an application for increased rates, or, if applicable, within 60 days after the issuance of an order entered in response to a motion for reconsideration of such final order, each utility shall submit a breakdown of actual rate case expense incurred, in total, in a manner consistent with Schedule No. B-10 (PSC/AFD Form 19-W, as described in rule 25-30.437, F.A.C.). If this deadline cannot be met, an extension shall be granted by the Director of the Division of Accounting and Finance for good cause shown.

(4) If a petition for interim rates is filed, a utility shall demonstrate that it is earning outside the range of reasonableness on rate of return calculated in accordance with section 367.082(5), F.S. To demonstrate this, the utility shall submit schedules of rate base, cost of capital and net operating income on an historical basis, with schedules of all adjustments thereto, consistent with Commission Form PSC/AFD 18 (6/90), described above.

(5) If a utility is requesting uniform rates for systems that are not already combined in a uniform rate, the information required by this rule must be submitted on a separate basis for each system that has not already been combined in a uniform rate. For those systems already combined in a uniform rate, the utility should submit the required information as a single system. At a minimum, the following schedules of Form PSC/AFD 18 (6/90), described above, shall be filed on a combined basis for all systems included in the filing: A-1, A-2, A-3, A-16, B-1, B-2, B-3, B-4, B-5, B-10, B-11, B-12, plus all “C”, “D” and “E” schedules (no “F” schedules are required).

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.082 FS. History–New 6-25-90, Amended 11-30-93.

- 25-30.444 Utility Reserve Fund.

(1) PROJECT ELIGIBILITY. The following considerations shall be applied in determining whether a future infrastructure repair or replacement project of existing distribution and collection infrastructure that is nearing the end of its useful life or is detrimental to water quality or reliability of service is eligible for advance funding through a utility reserve fund and whether a utility reserve fund is the most appropriate methodology to address the requested project.

(a) The following projects shall be eligible for a utility reserve fund:

1. Projects to repair or replace existing utility infrastructure that is nearing the end of its useful life or is detrimental to water quality or reliability of service that is recorded in the National Association of Regulatory Utility Commissioners’ Uniform System of Accounts (NARUC USOA) water utility plant account numbers 304, 305, 306, 307, 308, 309, 310, 311, 320, 330, 331, 333, 334, 335, 336, and 339, and wastewater utility plant account numbers 354, 355, 360, 361, 362, 363, 364, 365, 366, 367, 370, 371, 374, 375, 380, 381, 382, and 389,

2. Future expenditures related to land or land rights recorded in NARUC USOA water utility plant account number 303 or wastewater utility plant account number 353 if the expenditure is necessary to the successful completion of an eligible repair or replacement project,

3. Upgrades or enhancements of existing facilities if it can be demonstrated that the upgrade or enhancement is necessary to comply with federal, state, or local regulatory requirements, or provides a more cost-effective or more reliable alternative than an identical replacement, and that the upgrade or enhancement is not designed solely to address future customer growth,

4. Repair projects that may be expensed rather than capitalized, as prescribed by subparagraph 25-30.140(1)(g)3., F.A.C., if it can be demonstrated that the repair expense is not already reflected in the utility’s current rates as an annual or amortized annual expense, or that the annual repair and maintenance expense allowance reflected in the utility’s current rates is insufficient to cover the projected costs of the proposed repair project, or

5. If a project includes both the repair or replacement of existing infrastructure and the expansion or improvement of facilities to meet future customer growth, the portion of the project that is related to the repair and replacement of existing infrastructure is eligible if those costs can be identified and segregated from the portion of the project related to the expansion or improvements designed to meet future customer growth.

(b) The following projects shall not be eligible for a utility reserve fund:

1. Projects to repair or replace general plant that is not directly associated with the physical operation of the utility’s water or wastewater systems that are recorded in NARUC USOA water utility plant account numbers 340, 341, 342, 343, 344, 345, 346, 347, and 348, and wastewater utility plant account numbers 390, 391, 392, 393, 394, 395, 396, 397, and 398;

2. Expenditures related to NARUC USOA water utility plant accounts 301 and 302, and wastewater utility plant accounts 351 and 352, which cover organization and franchise related expenditures;

3. Expenditures related to land or land rights recorded in NARUC USOA water utility plant account number 303 or wastewater utility plant account number 353 if the expenditure is necessary solely to meet future customer growth; or

4. Capital improvement projects to expand existing facilities or construct new facilities solely to meet future customer growth.

(c) When evaluating whether the utility’s request to create a utility reserve fund is the most appropriate methodology to address the utility’s eligible future infrastructure repair and replacement projects, the following additional factors will be considered:

1. Whether the anticipated completion date of the project allows sufficient time to accumulate the funds necessary to fund the project;

2. Whether the anticipated completion date is within 24 months of the end of the historic test year used in a jointly filed rate application, if applicable, thereby making the project eligible for consideration as a pro forma project in the rate proceeding pursuant to section 367.081(2)(a)2., F.S.;

3. Whether the contributions-in-aid-of-construction that will result from the utility reserve fund will cause the utility to exceed the service availability policy guidelines provided in rule 25-30.580, F.A.C.;

4. Whether any of the eligible projects included in the utility reserve fund will result in the complete elimination of either the water or wastewater treatment process;

5. Whether it has been more than seven years since the utility’s last rate case, if the request is filed as a stand-alone application or in conjunction with a limited proceeding; or

6. Whether the total increase resulting from implementation of the utility reserve fund surcharge will exceed the utility’s annual revenues for the most recent 12-month period or test year by more than 30 percent.

(2) UTILITY RESERVE FUND FILING REQUIREMENTS. Each applicant that requests approval to create a utility reserve fund shall provide the following information to the Commission. The request may be filed as a stand-alone application or in conjunction with an application for rate increase filed pursuant to section 367.081(2)(a), 367.0814, or 367.0822, F.S. If the request is filed in conjunction with an application for rate increase that also requires the applicant’s general information, paragraphs (2)(a), (b), and (c), may be omitted from the utility reserve fund portion of the joint application. A utility that qualifies for staff assistance as provided by subsection 25-30.455(1), F.A.C., may also request assistance with the utility reserve fund process.

(a) The utility’s name as it appears on the utility’s certificate, address, telephone number, and, if available, email address and fax number.

(b) The name(s), address(es), and telephone number(s) of the person(s) that should be contacted regarding this application.

(c) The address within the service area where the application is available for customer inspection during the time the rate application is pending.

(d) A statement of the reason(s) why the utility is requesting approval of a utility reserve fund.

(e) A capital improvement plan that includes: a general description of the age and condition of the utility’s facilities; a description of all infrastructure repair or replacement projects that the utility anticipates will be necessary within the next five years, at a minimum, even if some projects will not be included in the utility reserve fund; and the following information for each infrastructure repair or replacement project that the utility requests be included in the utility reserve fund:

1. A description of each plant asset that will be repaired or replaced, including the NARUC USOA account number for each asset,

2. The date each asset was originally placed into service or an estimate of the age of the plant asset(s) as reflected in the utility’s depreciation records if the original service date is unknown,

3. A detailed description of the reason(s) each repair or replacement project is necessary to maintain or improve the quality or reliability of the water or wastewater service, including whether any asset will be replaced prior to the end of its average service life as provided by rule 25-30.140, F.A.C.,

4. If the repair or replacement project is required by a governmental or regulatory agency, include a copy of the rule, regulation, order, or other regulatory directive that requires the repair or replacement,

5. The projected cost to repair or replace each asset, and documentation that supports the utility’s calculation of the projected cost. The utility shall make all reasonable efforts to obtain at least three comparative cost estimates for each requested project. Acceptable forms of projected cost documentation are: an estimate by a professional engineer or other person knowledgeable in design and construction of water and wastewater plants; a bid from a vendor or service provider that includes a description of all work to be completed and an itemized list of all costs associated with the project; vendor information regarding the purchase price of plant components that will be purchased directly by the utility and labor estimates for work that will be performed on the project by a utility employee or contractual service provider, along with a statement that confirms that the employee’s or contractual service provider’s work on the project is not included in their normal duties; or other information that shows a detailed and verifiable estimate of the projected cost. If the utility is unable to obtain three cost estimates for each project, the utility shall provide a statement explaining what steps the utility took to obtain the estimates, why the utility was unable to obtain three estimates, and any responses received from any contractors solicited;

6. Detailed specifications for each asset that can be used to verify the projected repair or replacement cost, such as type, size, quantity, or quality of the materials used to complete the repair or replacement of the asset. If the type, size, quantity, or quality of the components used to make the repair or replacement will be materially different than the plant asset(s) being repaired or replaced, describe the specific differences and why the change is either necessary or provides a better resolution for the repair or replacement;

7. If the repair or replacement will change the design of the system, include a statement explaining how the design of the system will change and why the change is either necessary or will provide a better resolution for the repair or replacement;

8. A description of any alternatives to the proposed infrastructure repair or replacement project that the utility considered, such as new technologies or interconnection with another utility system, and why the proposed project was determined to be the most cost-effective option or will provide a better resolution for the repair or replacement;

9. If the infrastructure that is being replaced was subject to a non-used and useful adjustment in the utility’s last rate proceeding, include a statement explaining whether the utility considered reducing the size of the replacement infrastructure to better match the utility’s capacity needs and the results of that analysis;

10. A description of any expense increases or decreases that the utility anticipates will occur following completion of the infrastructure repair or replacement project; and,

11. The projected timeline and anticipated completion date for the repair or replacement project, including a detailed description of any target dates and significant milestones if the project will be completed in multiple phases. If the repair or replacement project is required by a governmental or regulatory agency, include any specific deadlines that have been imposed by that agency, and describe any penalties that will be incurred by the utility if the deadlines are not met.

(f) A description of any other funding sources that may be used for the project, including a breakdown of the estimated project costs that will be funded with the utility reserve fund, utility investment, and each available external funding source, such as a bank loan, government loan, or government grant, as applicable.

(g) A schedule showing the calculation of the annualized revenues for the most recent 12-month period using the rates in effect at the time the utility files its application for approval to create a utility reserve fund, broken down by customer class and meter size. This schedule may be omitted from the utility reserve fund portion of the application if filed in conjunction with an application for a rate proceeding that also requires an annualized revenue calculation.

(h) A schedule showing the calculation of the proposed utility reserve fund surcharge based on the number of bills by customer class and meter size for the most recent 12-month period, or test year if filed in conjunction with an application for a rate proceeding.

(i) Revised tariff sheets incorporating the utility reserve fund surcharge into the tariff. The utility shall show the utility reserve fund surcharge as a separate charge in its tariff and on its customer bills.

(j) A statement indicating whether the applicant will secure the utility reserve fund through an interest-bearing escrow account or an irrevocable letter of credit. If the utility’s request to create a utility reserve account is approved by the Commission, the utility will be required to provide documentation showing that the escrow account has been established or the irrevocable letter of credit has been obtained prior to implementation of the utility reserve fund surcharge.

(k) A description of the procedures that the utility will implement to segregate the monies collected from the utility reserve fund surcharge on the utility’s books and records. Separate accounting records must be maintained to record all transactions associated with the collection, deposit, and use of monies designated for the utility reserve fund. A separate bank account may be used to segregate the utility reserve fund monies that are secured through an irrevocable letter of credit but is not required.

(l) A statement signed by an officer of the utility that the utility will comply with the noticing requirements in rule 25-30.4445, F.A.C., if the request is filed as a stand-alone application, rule 25-22.0407, F.A.C., if the request is filed in conjunction with an application for a rate increase filed pursuant to section 367.081(2)(a) or 367.0814, F.S., or rule 25-30.446, F.A.C., if the request if filed in conjunction with a limited proceeding filed pursuant to section 367.0822, F.S.

(m) An Asset Management Plan prepared by the Florida Rural Water Association may be provided in lieu of a capital improvement plan in paragraph (2)(e).

(3) Reporting Requirements. Any utility that receives approval from or is required by the Commission to create a utility reserve fund must keep an accurate and detailed account of all monies and report to the Commission all monies it receives from the utility reserve fund surcharge. The reporting requirement shall begin when the utility’s reserve fund surcharge tariff becomes effective. The utility must file periodic reports as follows:

(a) The utility shall file a report with the Commission Clerk’s office no later than the 20th of every month indicating the monthly and total amount of money deposited into, and monthly and total amount of disbursements made from the utility reserve fund as of the end of the preceding month. If the utility bills its customers less frequently than once a month, this reporting requirement may be modified to match the utility’s normal billing frequency. A copy of a bank statement that separately identifies the utility reserve fund deposits and disbursements may serve as the monthly report.

(b) At least once every six months, the utility shall also report the status of all eligible projects included in the utility reserve fund for which work was performed during the last six months including the actual start date, the estimated or actual completion date, the costs incurred during the last six months, and the total cost for any projects completed during the last six months.

(c) The reports shall continue as long as the utility reserve fund is in effect and until all funds have been disbursed either to pay for completed eligible projects or as refunds to customers.

(d) A request for disbursement from the utility reserve fund escrow account or authorization to use funds secured by an irrevocable letter of credit may be filed in conjunction with the utility’s monthly or quarterly reports.

(e) The utility shall also separately identify the utility reserve fund in its annual report filed with the Commission each year pursuant to rule 25-30.110, F.A.C.

(f) The utility shall file an updated capital improvement plan with the Commission at least once every three years for as long as the utility reserve fund remains active.

(4) DISBURSEMENT OF FUNDS. A utility requesting disbursement of funds from an escrow account or authorization to use funds secured by an irrevocable letter of credit shall file the following information and supporting documentation:

(a) A statement explaining why the disbursement is needed, including a description of the completed project, or if a partial disbursement of funds is necessary prior to completion of the full project, a description of the completed phase of the project, purchase of materials, payments to contractors or vendors, or construction draws, as applicable;

(b) The date the project or phase of the project was completed and the replacement asset(s) was placed in service, as applicable;

(c) Documentation supporting the amount of the requested disbursement. Acceptable forms of documentation are: invoices, receipts, contractor application and request for payment forms, loan documents, documents showing proof of payment, and other information that shows detailed and verifiable project costs and payments;

(d) Documentation showing that the completed work was inspected or approved by the governmental or regulatory authority that required the repair or replacement project, if applicable; and,

(e) Other documentation that demonstrates the project was completed, such as photographs of the completed work, may be submitted but is not required.

(f) A utility may request the disbursement of funds from a utility reserve fund to assist with making an emergency repair or replacement of existing distribution and collection infrastructure that is nearing the end of its useful life or is detrimental to water quality or reliability of service that is critical to the operation of the utility facilities and resulted from events that were out of the utility’s control, such as weather related damage, accidents, or defective parts. The utility’s request for an emergency disbursement must include the following information:

1. The information required in paragraphs (4)(a) through (e), above;

2. A description of any future funding sources that may be available to assist the utility with the emergency repair or replacement costs, such as government assistance for weather damage, insurance benefits, or manufacturer warranties for defective parts;

3. A statement explaining how the utility will reimburse the utility reserve fund for the emergency disbursement through future funding sources, such as, government assistance, insurance benefits, manufacturer warranties, bank loans, or utility investment. If no funding sources will be available for reimbursement of the utility reserve fund, the utility shall either provide a statement describing how the utility reserve fund project(s) or timeline may be modified to address the project funding needs without modifying the amount of the utility reserve fund surcharge, or provide the information required in subsection (5), below, to request a modification of the utility reserve fund surcharge.

(5) UTILITY RESERVE FUND MODIFICATIONS. A utility that must undertake a project that was not anticipated when the utility reserve fund was created or that must make significant modifications to a previously approved project may request a modification of the utility reserve fund at any time following creation of the fund or in the utility’s next rate proceeding by filing the following information:

(a) A statement describing why the new project or modification of a previously approved project is necessary, and whether the utility is requesting a change in the utility reserve fund surcharge or only acknowledgement of the project modifications. If the new project or project modification is required by a governmental or regulatory agency, include a copy of the rule, regulation, order, or other regulatory directive that requires the new project or project modification; and,

(b) The information required in paragraph (2)(e) or (m), and paragraphs (f), (g), (h), and (i), if the utility is requesting a change in the utility reserve fund surcharge. Also, if the utility reserve fund is secured through an irrevocable letter of credit, the utility shall provide an updated irrevocable letter of credit prior to implementation of the utility reserve fund surcharge increase.

(6) FINAL DISPOSITION OF UTILITY RESERVE FUND.

(a) The utility reserve fund surcharge shall be discontinued after all approved eligible projects(s) have been completed, sufficient funds have been collected in the utility reserve fund to cover the cost of the approved eligible project(s), and the final disbursement has been made from the utility reserve fund. During the utility’s next rate proceeding, the utility’s rate base, capital structure, operating expenses, and rates shall be adjusted as needed to reflect the completed projects. The amount of the new plant assets that are funded through a utility reserve fund shall be offset with an equal addition to contributions-in-aid-of-construction.

(b) Any monies that remain in the utility reserve fund following the last disbursement for the completed eligible project(s) shall be refunded to the customers with interest in accordance with rule 25-30.360, F.A.C.

(c) All monies collected and held in the utility reserve fund should remain with the utility regardless of any changes in utility ownership. If a utility’s ownership changes through a transfer or abandonment, the Commission shall determine whether the utility reserve fund should be continued as follows:

1. In the event that the utility’s ownership changes through a transfer as provided in rule 25-30.037, F.A.C., the transfer agreement shall include provisions that state: that the utility reserve fund shall remain with the utility following the close of the sale; that the seller shall provide copies of all documents related to the utility reserve fund to the buyer, including the approved capital improvement plan, financial records, and status reports; whether the buyer requests to continue the utility reserve fund following the transfer; and whether the buyer will assume responsibility for the escrow account or obtain an irrevocable letter of credit to secure the utility reserve fund. If the buyer does not request to continue the utility reserve fund or does not provide sufficient documentation to guarantee the continued security of the utility reserve fund and compliance with the provisions set forth in this rule, all monies held in the utility reserve fund shall be refunded to the customers with interest in accordance with rule 25-30.360, F.A.C., and the utility reserve fund surcharge and utility reserve fund shall be discontinued. However, if the transfer of ownership is requested pursuant to subsection 25-30.037(5), F.A.C., and will result in the transfer of ownership to an exempt entity other than a governmental utility, the buyer shall not be required to obtain an escrow account or an irrevocable letter of credit.

2. In the event that the utility is abandoned as provided in rule 25-30.090, F.A.C., all monies held in the utility reserve fund and all documents related to the utility reserve fund shall remain with the utility and be turned over to the court-appointed receiver. If the utility remains under Commission jurisdiction following the abandonment, the court-appointed receiver shall be responsible for managing the utility reserve fund in accordance with this rule and all applicable Commission Orders.

(d) If the utility fails to follow through with the eligible project(s) covered by the utility reserve fund or comply with the security, fund maintenance, or reporting requirements set forth in this rule, the Commission shall initiate a review of the utility reserve fund and surcharge to determine whether the utility reserve fund and surcharge should be discontinued and whether all monies in the reserve fund should be refunded to the customers with interest in accordance with rule 25-30.360, F.A.C.

Rulemaking Authority 350.127(2), 367.081(2)(c), 367.121 FS. Law Implemented 367.081(2)(c) FS. History–New 6-20-17.

- 25-30.4445 Notice of Application for Utility Reserve Fund.

(1) This rule applies to all petitions to create a utility reserve fund filed by a water or wastewater utility that are filed as a stand-alone application. Petitions that are filed in conjunction with another rate proceeding filed pursuant to section 367.081(2)(a), 367.0814, or 367.0822, F.S., shall comply with the noticing requirements set forth in rule 25-22.0407 or 25-30.446, F.A.C., as applicable.

(2) Upon filing a petition to create a utility reserve fund, the utility shall mail a copy of the petition to the chief executive officer of the governing body of each municipality and county within the service areas included in the rate request. Each copy of the petition shall be accompanied by a statement that a copy of the utility reserve fund minimum filing requirements (MFRs) set forth in rule 25-30.444, F.A.C., when accepted by the Commission, can be obtained from the petitioner upon request.

(3) Within 30 days after the official date of the filing established by the Commission, the utility shall place a copy of the petition and MFRs at its official headquarters and at all business offices it has in the service areas included in the request. Such copies shall be available for public inspection during the utility’s regular business hours. If the utility does not have a business office in a service area included in its petition, the utility shall make other arrangements to provide public access to the petition and MFRs. Acceptable public access options are: placing a copy of the petition and MFRs at the main county library, the local community center, or other appropriate location which is within or most convenient to the service area and which is willing to accept and provide public access to the copies; providing customers with information about how to access the petition and MFRs in the utility’s docket file on the Commission’s website; or providing a printed or electronic copy of the petition and MFRs to any customer who requests access to a copy.

(4)(a) Within 50 days after the official date of filing established by the Commission, the utility shall provide, in writing, an initial customer notice to all customers within the service areas included in the utility reserve fund request and to all persons in the same service areas who have filed a written request for service or who have been provided a written estimate for service within the 12 calendar months prior to the month the request is filed. If a utility that qualifies for staff assistance under subsection 25-30.455(1), F.A.C., requests assistance with the utility reserve fund process and a customer meeting is scheduled, the initial customer notice may be combined with the customer meeting notice and provided in accordance with subsection (5), instead of 50 days after the official filing date established by the Commission.

(b) The initial customer notice must be approved by Commission staff prior to distribution and shall include the following:

1. The date the notice is to be issued,

2. A statement that the utility has filed a utility reserve fund request with the Commission and a statement of the general reasons for the request,

3. A statement of the location(s) where a copy of the petition and MFRs are available for public inspection and the hours and days when inspection may be made, or instructions on how to obtain a copy if the utility has made alternate public access arrangements as referenced in subsection (3), above,

4. A comparison of current utility reserve fund surcharge, if applicable, and the proposed new utility reserve fund surcharge,

5. The utility’s address, telephone number, and business hours,

6. A statement that written comments regarding utility service or the proposed utility reserve fund rates and charges should be addressed to the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, and that such comments should identify the docket number assigned to the proceeding,

7. A statement that complaints regarding service may be made to the Commission’s Office of Consumer Assistance and Outreach at the following toll-free number: 1(800)342-3552; and,

8. The docket number assigned by the Commission’s Office of Commission Clerk.

(c) The initial customer notice shall be mailed to the out-of-town address of all customers who have provided the utility with an out-of-town address.

(5) No less than 14 days and no more than 30 days prior to the date of a customer meeting conducted by the Commission staff, the utility shall provide written notice of the date, time, location, and purpose of the customer meeting to all customers within the service areas designated by the Commission staff. The notice must be approved by Commission staff prior to distribution. The notice shall be mailed to the out-of-town address of all customers who have provided the utility with an out-of-town address.

(6) If a proposed agency action order issued in the case is protested and any hearings are subsequently held, the utility shall give notice no less than 14 days and no more than 30 days prior to the date of each hearing held in or near a utility service area included in the utility reserve fund request. No less than 14 days and no more than 30 days prior to the hearing, the utility shall have published in a newspaper of general circulation in the area in which such hearing is to be held a display advertisement stating the date, time, location, and purpose of the hearing. These notices must be approved by Commission staff prior to publication.

(7) After the Commission issues an order granting or denying a utility reserve fund request, the utility shall notify its customers of the order and any revised rates. The customer notification must first be approved by Commission staff and shall be distributed no later than with the first bill containing any revised rates.

Rulemaking Authority 350.127(2), 367.081(2)(c), 367.121 FS. Law Implemented 367.081(2)(c), 367.091 FS. History–New 6-20-17.

- 25-30.445 General Information and Instructions Required of Water and Wastewater Utilities in an Application for a Limited Proceeding.

(1) Each applicant for a limited proceeding shall provide the following general information to the Commission:

(a) The name of the applicant as it appears on the applicant’s certificate and the address of the applicant’s principal place of business.

(b) The type of business organization under which the applicant’s operations are conducted; if the applicant is a corporation, the date of incorporation; the names and addresses of all persons who own 5 percent or more of the applicant’s stock; or the names and addresses of the owners of the business.

(c) The number(s) of the Commission order(s), if any, in which the Commission most recently considered the applicant’s rates for the system(s) involved.

(d) The address within the service area where the application is available for customer inspection during the time the rate application is pending.

(e) A statement signed by an officer of the utility that the utility will comply with the noticing requirements in rule 25-30.446, F.A.C.

(2) In a limited proceeding application:

(a) Each schedule shall be cross-referenced to identify related schedules.

(b) Except for handwritten official company records, all data in the petition and application shall be typed.

(c) The original and seven copies shall be filed with the Office of Commission Clerk.

(3) A filing fee as required in rule 25-30.020, F.A.C., shall be submitted at the time of application.

(4) The following minimum filing requirements shall be filed with the utility’s application for limited proceeding for a Class A or B water or wastewater utility:

(a) A detailed statement of the reason(s) why the limited proceeding has been requested.

(b) If the limited proceeding is being requested to recover costs required by a governmental or regulatory agency, provide the following:

1. A copy of any rule, regulation, order or other regulatory directive that has required or will require the applicant to make the improvement or the investment for which the applicant seeks recovery.

2. An estimate by a professional engineer, or other person, knowledgeable in design and construction of water and wastewater plants, to establish the projected cost of the applicant's investment and the period of time required for completion of construction.

(c) A schedule that provides the specific rate base components for which the utility seeks recovery. Supporting detail shall be provided for each item requested, including:

1. The actual or projected cost(s);

2. The date the item will be or is projected to be placed in service;

3. Any corresponding adjustments that are required as a result of adding or removing the requested component(s) from rate base, which may include retirement entries; and,

4. Any other relevant supporting information.

(d) If the utility’s application includes a request for recovery of plant in service, accumulated depreciation and depreciation expense, supporting detail shall be provided by primary account as defined by the NARUC Uniform System of Accounts, in accordance with rule 25-30.110, F.A.C.

(e) A calculation of the weighted average cost of capital shall be provided for the most recent 12-month period, using the mid-point of the range of the last authorized rate of return on equity, the current embedded cost of fixed-rate capital, the actual cost of short-term debt, the actual cost of variable-cost debt, and the actual cost of other sources of capital which were used in the last individual rate proceeding of the utility. If the utility does not have an authorized rate of return on equity, the utility shall use the current leverage formula pursuant to section 367.081(4)(f), F.S.

(f) If the utility is requesting recovery of operating expenses, the following information shall be provided:

1. A detailed description of the expense(s) requested;

2. The total cost by primary account pursuant to the NARUC Uniform System of Accounts;

3. Supporting documentation or calculations; and,

4. Any allocations that are made between systems, affiliates or related parties. If allocations are made, submit full detail that shows the total amount allocated, a description of the basis of the allocation methodology, the allocation percentage applied to each allocated cost, and the workpapers supporting the calculation of the allocation percentages.

(g) Calculations for all items that will create cost savings or revenue impacts from the implementation of the requested cost recovery items.

(h) If the utility includes any other items where calculations are required, supporting documentation shall be filed that reflects the calculations or assumptions made.

(i) A calculation of the revenue increase including regulatory assessment fees and income taxes, if appropriate.

(j) Annualized revenues for the most recent 12-month period using the rates in effect at the time the utility files its application for limited proceeding and a schedule reflecting this calculation by customer class and meter size.

(k) A schedule of current and proposed rates for all classes of customers.

(l) Schedules for the most recent 12-month period showing that, without any increased rates, the utility will earn below its authorized rate of return in accordance with section 367.082, F.S. The schedules shall consist of a rate base, net operating income and cost of capital schedule with adjustments to reflect those consistent with the utility’s last rate proceeding.

(m) If the limited proceeding is being requested to change the current rate structure, provide a copy of all workpapers and calculations used to calculate requested rates and allocations between each customer class. The test year shall be the most recent 12-month period. In addition, the following schedules, which are incorporated herein by reference, from Form PSC/AFD 19-W (11/93), entitled “Class A Water and/or Wastewater Utilities Financial, Rate and Engineering Minimum Filing Requirements,” shall be provided. The schedules can be obtained from the Commission’s Division of Accounting and Finance.

1. Schedule E-2, entitled “Revenue Schedule at Present and Proposed Rates,” is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-08251.

2. Schedule E-14, entitled “Billing Analysis Schedules,” is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-08252. Only two copies are required.

(n) Revised tariff sheets should not be filed with the application.

(o) A water utility’s application for limited proceeding shall also include:

1. A copy of all customer complaints that the utility has received regarding DEP secondary water quality standards during the past five years; and,

2. A copy of the utility’s most recent secondary water quality standards test results.

(5) In addition to the requirements stated in subsections (1) through (3), the following minimum filing requirements shall be filed with the utility’s application for limited proceeding for a Class C water or wastewater utility:

(a) A detailed statement of the reason(s) why the limited proceeding has been requested.

(b) If the limited proceeding is being requested to recover costs required by a governmental or regulatory agency, provide a copy of any rule, regulation, order or other regulatory directive that has required or will require the applicant to make the improvement or the investment for which the applicant seeks recovery.

(c) A schedule that provides the specific rate base components for which the utility seeks recovery, if known. Supporting detail shall be provided for each item requested, including:

1. The actual or projected cost(s);

2. The date the item will be or is projected to be placed in service;

3. Any corresponding adjustments, if known, that are required as a result of adding or removing the requested component(s) from rate base, which may include retirement entries; and,

4. Any other relevant supporting information, if known.

(d) If the utility is requesting recovery of operating expenses, provide an itemized description of the expense(s), including the cost and any available supporting documentation or calculations.

(e) Provide a description of any known items that will create cost savings or revenue impacts from the implementation of the requested cost recovery items.

(f) A calculation of the revenue increase including regulatory assessment fees and income taxes, if applicable.

(g) Annualized revenues for the most recent 12-month period using the rates in effect at the time the utility files its application for limited proceeding and a schedule reflecting this calculation by customer class and meter size.

(h) A Class C water utility’s application for limited proceeding shall also include:

1. A copy of all customer complaints that the utility has received regarding DEP secondary water quality standards during the past five years; and,

2. A copy of the utility’s most recent secondary water quality standards test results.

(6) In evaluating whether the utility’s request is improper for a limited proceeding, the Commission will consider factors such as:

(a) Whether the utility’s filing includes more than 4 separate projects for which recovery is sought and the requested rate increase exceeds 30 percent. Corresponding adjustments for a given project are not subject to the above limitation;

(b) Whether the utility has not had a rate case in more than seven years and the requested rate increase exceeds 30 percent; or

(c) Whether the limited proceeding is filed as the result of the complete elimination of either the water or wastewater treatment process and the requested rate increase exceeds 30 percent.

(7) The utility shall provide a statement in its filing to the Commission which addresses whether the utility’s rate base has declined or whether any expense recovery sought by the utility is offset by customer growth since its most recent rate proceeding or will be offset by future customer growth expected to occur within one year of the date new rates are implemented.

Rulemaking Authority 350.127(2), 367.121(1)(a) FS. Law Implemented 367.081, 367.0812, 367.0822, 367.121(1)(a), 367.145(2) FS. History–New 3-1-04, Amended 5-30-17.

- 25-30.446 Notice of and Public Information for Application for Limited Proceeding Rate Increase.

(1) This rule applies to all requests for limited proceeding rate increases made by a water or wastewater utility.

(2) Upon filing a petition for limited proceeding rate increase, the utility shall mail a copy of the petition to the chief executive officer of the governing body of each municipality and county within the service areas included in the rate request. Each copy of the petition shall be accompanied by a statement that a copy of the minimum filing requirements (MFRs) set forth in rule 25-30.445, F.A.C., when accepted by the Commission can be obtained from the petitioner upon request.

(3) Within 30 days after the official date of the filing established by the Commission, the utility shall place a copy of the petition and the MFRs at its official headquarters and at all business offices it has in the service areas included in the rate request. Such copies shall be available for public inspection during the utility’s regular business hours. If the utility does not have a business office in a service area included in its rate request, the utility shall place a copy of the petition and the MFRs at the main county library, the local community center or other appropriate location which is within or most convenient to the service area and which is willing to accept and provide public access to the copies. If the Commission determines that these locations will not provide adequate access, the Commission will require that copies of the petition and MFRs be placed at other specified locations.

(4) Upon filing a petition and MFRs for a limited proceeding, the utility shall publish a notice of application in a newspaper of general circulation in the service areas included in the petition.

(5)(a) Within 50 days after the official date of filing established by the Commission, the utility shall provide, in writing, an initial customer notice to all customers within the service areas included in the rate request and to all persons in the same service areas who have filed a written request for service or who have been provided a written estimate for service within the 12 calendar months prior to the month the petition is filed.

(b) The initial customer notice must be approved by Commission staff prior to distribution and shall include the following:

1. The date the notice is to be issued;

2. A statement that the utility has filed a rate request with the Commission and a statement of the general reasons for the request;

3. A statement of the locations where copies of the MFRs and petition are available for public inspection and the hours and days when inspection may be made;

4. A comparison of current rates and charges and the proposed new rates and charges;

5. The utility’s address, telephone number, and business hours;

6. A statement that written comments regarding utility service or the proposed rates and charges should be addressed to the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0870, and that such comments should identify the docket number assigned to the proceeding;

7. A statement that complaints regarding service may be made to the Commission’s Office of Consumer Assistance and Outreach at the following toll-free number: 1(800)342-3552; and,

8. The docket number assigned by the Commission’s Office of Commission Clerk.

(c) The initial customer notice shall be mailed to the out-of-town address of all customers who have provided the utility with an out-of-town address.

(6) No less than 14 days and no more than 30 days prior to the date of a customer meeting conducted by the Commission staff, the utility shall provide written notice of the date, time, location, and purpose of the customer meeting to all customers within the service areas designated by the Commission staff. The notice must be approved by Commission staff prior to distribution. The notice shall be mailed to the out-of-town address of all customers who have provided the utility with an out-of-town address.

(7) If a proposed agency action order issued in the case is protested and any hearings are subsequently held, the utility shall give notice no less than 14 days and no more than 30 days prior to the date of each hearing held in or near a utility service area included in the rate request. The utility shall also have published in a newspaper of general circulation in the area in which such hearing is to be held a display advertisement stating the date, time, location, and purpose of the hearing. The notice must be approved by Commission staff prior to publication.

(8) After the Commission issues an order granting or denying a rate change, the utility shall notify its customers of the order and any revised rates. The customer notification must be first approved by Commission staff and shall be distributed no later than with the first bill containing any revised rates.

Rulemaking Authority 350.127(2), 367.121(1)(a) FS. Law Implemented 367.0822, 367.121(1)(a) FS. History–New 3-1-04.

- 25-30.450 Burden of Proof and Audit Provisions.

In each instance, the utility must be able to support any schedule submitted, as well as any adjustments or allocations relied on by the utility. The work sheets, etc., supporting the schedules and data submitted must be organized in a systematic and rational manner so as to enable Commission personnel to verify the schedules in an expedient manner and minimum amount of time. The supporting work sheets, etc., shall list all reference sources necessary to enable Commission personnel to trace to original source of entry into the financial and accounting system and, in addition, verify amounts to the appropriate schedules.

Rulemaking Authority 367.121 FS. Law Implemented 367.081 FS. History–New 6-10-75, Formerly 25-10.177, Amended 1-31-00.

- 25-30.455 Staff Assistance in Rate Cases.

(1) Water and wastewater utilities whose total gross annual operating revenues are $300,000 or less for water service or $300,000 or less for wastewater service, or $600,000 or less on a combined basis, may petition the Commission for staff assistance in rate applications by submitting a completed staff assisted rate case application. Reasonable and prudent rate case expense shall be eligible for recovery through the rates developed by staff. Recovery of attorney fees and outside consultant fees related to the rate case shall be determined based on the requirements set forth in section 367.0814(3), F.S. A utility that chooses not to exercise the option of staff assistance may file for a rate increase under the provisions of rule 25-30.443, F.A.C.

(2) The appropriate application form, Commission Form PSC/AFD 2-W (11/86) (Rev. 06/14), entitled “Application for a Staff Assisted Rate Case,” is incorporated into this rule by reference and is available at: http://www.flrules.org/Gateway/reference.asp?No=Ref-04415. The form may also be obtained from the Commission’s Division of Accounting and Finance, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850.

(3) Upon completion of the form, the applicant shall file it with the Office of Commission Clerk, Florida Public Service Commission, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0870.

(4) Within 30 days of receipt of the completed application, the Commission will evaluate the application and determine the applicant’s eligibility for staff assistance.

(a) If the Commission has received four or more applications in the previous 30 days; or, if the Commission has 20 or more docketed staff assisted rate cases in active status on the date the application is received, the Commission will deny initial evaluation of an application for staff assistance and close the docket. When an application is denied under the provisions of this paragraph, the Commission will notify the applicant of the date on which the application may be resubmitted.

(b) Initially, determinations of eligibility will be conditional, pending an examination of the condition of the applicant’s books and records.

(5) Upon making its final determination of eligibility, the Commission will notify the applicant in writing as to whether the application is officially accepted or denied. If the application is accepted, a staff assisted rate case will be initiated. If the application is denied, the notification of application denial will state the deficiencies in the application with reference to the criteria set out in subsection (7) of this rule.

(6) The official date of filing will be 30 days after the date of the written notification to the applicant of the Commission’s official acceptance of the application.

(7) In determining whether to grant or deny the application, the Commission will consider the following criteria:

(a) Whether the applicant qualifies for staff assistance pursuant to subsection (1) of this rule;

(b) Whether the applicant’s books and records are organized consistent with rule 25-30.110, F.A.C., so as to allow Commission personnel to verify costs and other relevant factors within the 30-day time frame set out in this rule;

(c) Whether the applicant has filed annual reports;

(d) Whether the applicant has paid applicable regulatory assessment fees;

(e) Whether the applicant has at least one year of experience in utility operation;

(f) Whether the applicant has filed additional relevant information in support of eligibility, together with reasons why the information should be considered; and,

(g) Whether the utility was granted a rate case increase within the 2-year period prior to the receipt of the application under review.

(8) The Commission will deny the application if the utility does not remit the filing fee, as provided by paragraph 25-30.020(2)(f), F.A.C., within 30 days after official acceptance.

(9) An aggrieved applicant may request reconsideration of the application denial, which will be decided by the full Commission.

(10) A substantially affected person may file a petition to protest the Commission’s proposed agency action in a staff assisted rate case within 21 days of issuance of the Notice of Proposed Agency Action Order, as set forth in rule 28-106.111, F.A.C.

(11) A petition to protest the Commission’s proposed agency action shall conform to rule 28-106.201, F.A.C.

(12) In the event of a protest of the Commission’s Notice of Proposed Agency Action Order in a staff assisted rate case, the utility shall:

(a) Provide prefiled direct testimony in accordance with the Order Establishing Procedure issued in the case. At a minimum, that testimony shall adopt the Commission’s Proposed Agency Action Order;

(b) Sponsor a witness to support source documentation provided to the Commission staff in its preparation of the staff audit, the staff engineering and accounting report and the staff proposed agency action recommendation in the case;

(c) Include in its testimony the necessary factual information to support its position on any issue that it chooses to take a position different than that contained in the Commission’s Proposed Agency Action Order; and,

(d) Meet all other requirements of the Order Establishing Procedure.

(13) Failure to comply with the dates established in the Order Establishing Procedure, or to timely file a request for extension of time for good cause shown, may result in dismissal of the staff assisted rate case and closure of the docket.

(14) In the event of a protest of the Commission’s Proposed Agency Action Order in a staff assisted rate case, the Commission staff shall:

(a) File prefiled direct testimony to explain its analysis in the staff proposed agency action recommendation. In the event the staff wishes to alter its position on any issue, it shall provide factual testimony to support its changed position;

(b) Meet all other requirements of the Order Establishing Procedure; and,

(c) Provide to the utility materials to assist the utility in the preparation of its testimony and exhibits. This material shall consist of an example of testimony filed by a utility in another case, an example of testimony that would support the Proposed Agency Action Order in this case, an example of an exhibit filed in another case, and examples of prehearing statements and briefs filed in other cases.

Rulemaking Authority 350.127(2), 367.0814, 367.121 FS. Law Implemented 367.0814 FS. History–New 12-8-80, Formerly 25-10.180, Amended 11-10-86, 8-26-91, 11-30-93, 1-31-00, 12-16-08, 8-10-14, 2-19-17, 7-1-18.

- 25-30.456 Staff Assistance in Alternative Rate Setting.

(1) As an alternative to a staff assisted rate case as described in rule 25-30.455, F.A.C., water and wastewater utilities whose total gross annual operating revenues are $300,000 or less for water service or $300,000 or less for wastewater service, or $600,000 or less on a combined basis, may petition the Commission for staff assistance in alternative rate setting by submitting a completed staff assisted application for alternative rate setting.

(2) The appropriate application form, Commission Form PSC/AFD 25 (11/93) (Rev. 06/14), entitled “Application for Staff Assistance for Alternative Rate Setting,” is incorporated into this rule by reference and is available at: http://www.flrules.org/Gateway/reference.asp?No=Ref-04414. The form may also be obtained from the Commission’s Division of Accounting and Finance, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850.

(3) Upon completion of the form, the applicant shall file it with the Office of Commission Clerk, Florida Public Service Commission, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0870.

(4) Within 30 days of receipt of the completed application, the Commission will evaluate the application and determine the applicant’s eligibility for staff assistance.

(a) If the Commission has received four or more alternative rate setting applications in the previous 30 days; or, if the Commission has 20 or more docketed staff assisted rate cases in active status on the date the application is received, the Commission will deny initial evaluation of an application for staff assistance and close the docket. When an application is denied under the provisions of this paragraph, the Commission will notify the applicant of the date on which the application may be resubmitted.

(b) Determinations of eligibility will be conditional, pending an examination of the condition of the applicant’s books and records.

(5) Upon making its final determination of eligibility, the Commission will notify the applicant in writing as to whether the application is officially accepted or denied. If the application is accepted, staff assistance in alternative rate setting will be initiated. If the application is denied, the notification of application denial will state the deficiencies in the application with reference to the criteria set out in subsection (7) of this rule.

(6) The official date of filing will be 30 days after the date of the written notification to the applicant of the Commission’s official acceptance of the application.

(7) In determining whether to grant or deny the application, the Commission will consider the following criteria:

(a) Whether the applicant qualifies for staff assistance pursuant to subsection (1) of this rule;

(b) Whether the applicant’s books and records are organized consistent with rule 25-30.110, F.A.C., so as to allow Commission personnel to verify costs and other relevant factors within the 30-day time frame set out in this rule;

(c) Whether the applicant has filed annual reports;

(d) Whether the applicant has paid applicable regulatory assessment fees;

(e) Whether the applicant has at least one year of experience in utility operation;

(f) Whether the applicant has filed additional relevant information in support of eligibility, together with reasons why the information should be considered; and,

(g) Whether the utility was granted a rate case increase within the 2-year period prior to the receipt of the application under review.

(8) The Commission will deny the application if the utility does not remit the filing fee, as provided by paragraph 25-30.020(2)(f), F.A.C., within 30 days after official acceptance.

(9) An aggrieved applicant may request reconsideration of the application denial, which will be decided by the full Commission.

(10) The Commission will, for the purposes of determining the amount of rate increase, if any, compare the operation and maintenance expenses (O & M) of the utility to test year operating revenues. The Commission will consider an allowance for return on working capital using the one-eighth of O & M formula approach.

(11) The Commission will limit the maximum increase in operating revenues to 50 percent of test year operating revenues.

(12) The Commission will vote on a proposed agency action recommendation establishing rates no later than 90 days from the official filing date as established in subsection (6) of this rule.

(13) A substantially affected person may file a petition to protest the Commission’s Proposed Agency Action Order regarding a staff assisted alternative rate setting application within 21 days of issuance of the Notice of Proposed Agency Action Order as set forth in rule 28-106.111, F.A.C.

(14) A petition to protest the Commission’s proposed agency action shall conform to rule 28-106.201, F.A.C.

(15) In the event of protest of the Proposed Agency Action Order by a substantially affected person, the rates established in the Proposed Agency Action Order may be implemented on a temporary basis, subject to refund with interest in accordance with rule 25-30.360, F.A.C. At that time, the utility may elect to pursue rates set pursuant to the rate base determination provisions of rule 25-30.455, F.A.C.

(16) In the event of a protest, the maximum increase established in subsection (11) of this rule shall no longer apply.

(17) In the event of a protest of the Commission’s Proposed Agency Action Order in a staff assisted alternative rate setting application, the utility shall:

(a) Provide prefiled direct testimony in accordance with the Order Establishing Procedure issued in the case. At a minimum, that testimony shall adopt the Commission’s Proposed Agency Action Order;

(b) Sponsor a witness to support source documentation provided to the Commission staff in its preparation of the staff engineering and accounting analysis and the staff proposed agency action recommendation in the case;

(c) Include in its testimony the necessary factual information to support its position on any issue that it chooses to take a position different than that contained in the Commission’s Proposed Agency Action Order; and,

(d) Meet all other requirements of the Order Establishing Procedure.

(18) Failure to comply with the dates established in the Order Establishing Procedure, or to timely file a request for extension of time for good cause shown, may result in dismissal of the staff assisted alternative rate setting application and closure of the docket.

(19) In the event of protest of the Commission’s Proposed Agency Action Order in a staff assisted alternative rate setting application, the Commission staff shall:

(a) File prefiled direct testimony to explain its analysis in the proposed agency action recommendation. In the event the staff wishes to alter its position on any issue, it shall provide factual testimony to support its changed position;

(b) Meet all other requirements of the Order Establishing Procedure; and,

(c) Provide to the utility materials to assist the utility in the preparation of its testimony and exhibits. This material shall consist of an example of testimony filed by a utility in another case, a sample of testimony that would support the Proposed Agency Action Order in this case, an example of an exhibit filed in another case, and examples of prehearing statements and briefs filed in other cases.

Rulemaking Authority 350.127(2), 367.0814, 367.121 FS. Law Implemented 367.0814 FS. History–New 11-30-93, Amended 1-31-00, 12-16-08, 8-10-14, 7-1-18.

- 25-30.457 Limited Alternative Rate Increase.

(1) As an alternative to a staff assisted rate case as described in rule 25-30.455, F.A.C., or to staff assistance in alternative rate setting as described in rule 25-30.456, F.A.C., water utilities whose total gross annual operating revenues are $300,000 or less for water service and wastewater utilities whose total gross annual operating revenues are $300,000 or less for wastewater service may petition the Commission for a limited alternative rate increase of up to 20 percent applied to metered or flat recurring rates of all classes of service by filing with the Office of Commission Clerk the information required by subsections (7), (8) and (9) of this rule.

(2) Within 30 days of receipt of the completed petition, the Commission will evaluate the petition and determine the petitioner’s eligibility for a limited alternative rate increase.

(3) The Commission will notify the petitioner in writing as to whether the petition is accepted or denied. If the petition is accepted, staff assistance in alternative rate setting will be initiated. If the petition is denied, the notification of petition denial will state the deficiencies in the petition with reference to the criteria set out in subsection (5) of this rule.

(4) The official date of filing will be 30 days after the date of the written notification to the petitioner of the Commission’s acceptance of the petition.

(5) In determining whether to grant or deny the petition, the Commission will consider the following criteria:

(a) Whether the petitioner qualifies for staff assistance pursuant to subsection (1) of this rule;

(b) Whether the petitioners’ books and records are organized consistent with rule 25-30.110, F.A.C, so as to allow Commission personnel to verify costs and other relevant factors within the 30-day time frame set out in this rule;

(c) Whether the petitioner has filed annual reports;

(d) Whether the petitioner has paid applicable regulatory assessment fees;

(e) Whether the petitioner has at least one year of experience in utility operation;

(f) Whether the petitioner has filed additional relevant information in support of eligibility together with reasons why the information should be considered;

(g) Whether the utility was granted a rate case increase within the 2-year period prior to the receipt of the petition under review;

(h) Whether a final order in a rate proceeding that established the utility’s rate base, capital structure, annual operating expenses and revenues has been issued for the utility within the 7-year period prior to the receipt of the petition under review.

(6) The Commission will deny the petition if the petitioner does not remit the filing fee, as provided by paragraph 25-30.020(2)(f), F.A.C., within 30 days after official acceptance of the petition.

(7) Each petitioner for limited alternative rate increase shall provide the following general information to the Commission:

(a) The name of the utility as it appears on the utility’s certificate and the address of the utility’s principal place of business; and,

(b) The type of business organization under which the utility’s operations are conducted:

1. If the petitioner is a corporation, the date of incorporation and the names and addresses of all persons who own five percent or more of the petitioner’s stock; or

2. If the petitioner is not a corporation, the names and addresses of the owners of the business.

(8) The petitioner shall provide a schedule showing:

(a) Annualized revenues by customer class and meter size for the most recent 12-month period using the rates in effect at the time the utility files its petition; and,

(b) Current and proposed rates for all classes of customers.

(9) The petitioner shall provide a statement that the figures and calculations upon which the change in rates is based are accurate and that the change will not cause the utility to exceed its last authorized rate of return on equity.

(10) A financial or engineering audit of the utility’s financial or engineering books and records shall not be required in conjunction with the petition under review.

(11) The petition will be approved, denied, or approved with modifications within 90 days from the official filing date as established in subsection (4) of this rule.

(12) Any revenue increase granted under the provisions of this rule shall be held subject to refund with interest in accordance with rule 25-30.360, F.A.C., for a period of 15 months after the filing of the utility’s annual report required by rule 25-30.110, F.A.C., for the year the adjustment in rates was implemented.

(13) To insure overearnings will not occur due to the implementation of this rate increase, the Commission will conduct an earnings review of the utility’s annual report to determine any potential overearnings for the year the adjustment in rates was implemented.

(14) If, within 15 months after the filing of a utility’s annual report the Commission finds that the utility exceeded the range of its last authorized rate of return on equity after an adjustment in rates, as authorized by this rule, was implemented within the year for which the report was filed, such overearnings, up to the amount held subject to refund, with interest, shall be disposed of for the benefit of the customers.

(15) In the event of a protest of the Proposed Agency Action Order pursuant to rule 28-106.111, F.A.C., by a substantially affected person other than the utility, unless the Proposed Agency Action Order proposes a rate reduction, the utility may implement the rates established in the Proposed Agency Action Order on a temporary basis subject to refund with interest in accordance with rule 25-30.360, F.A.C., upon the utility filing a staff assisted rate case application pursuant to rule 25-30.455, F.A.C., within 21 days of the date the protest is filed.

(16) In the event of a protest, the limit on the maximum increase provided in subsection (1) of this rule shall no longer apply.

(17) If the utility fails to file a staff assisted rate case application within 21 days in the event of a protest, the petition for a limited alternative rate increase will be deemed withdrawn.

Rulemaking Authority 350.127(2), 367.0814, 367.121 FS. Law Implemented 367.0814 FS. History–New 3-15-05, Amended 12-16-08, 8-10-14, 7-1-18.

- 25-30.458 Notice of and Public Information for Application for Limited Alternative Rate Increase.

(1) This rule applies to all requests for a limited alternative rate increase.

(2) No less than 14 days and no more than 30 days prior to the date of a customer meeting, the utility shall provide, in writing, a customer meeting notice to all customers within its service area and to all persons in the same service area who have filed a written request for service or who have been provided a written estimate for service within the 12 calendar months prior to the month the petition is filed. The customer meeting will be conducted by the Commission staff no less than 21 days prior to Commission action on the application.

(3) The customer meeting notice shall be approved by Commission staff prior to distribution and shall include the following:

(a) The date the notice was issued;

(b) The time, date, location, and purpose of the customer meeting;

(c) A statement that the utility has applied for a limited alternative rate increase and the general reason for doing so;

(d) A statement of the location where copies of the application are available for public inspection during the utility’s regular business hours;

(e) A comparison of current rates and charges and the proposed new rates and charges;

(f) The utility’s address, telephone number, and regular business hours;

(g) A statement that written comments regarding utility service or the proposed rates and charges should be addressed to the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0870, and that such comments should identify the docket number assigned to the proceeding;

(h) A statement that complaints regarding service may be made to the Commission’s Office of Consumer Assistance and Outreach at the following toll-free number: 1(800)342-3552; and,

(i) The docket number assigned by the Commission’s Office of Commission Clerk.

(4) The customer meeting notice shall be mailed to the out-of-town address of all customers who have provided the utility with an out-of-town address.

(5) If the Commission issues a proposed agency action (PAA) order granting a limited alternative rate increase, the utility shall notify its customers of the order and any revised rates. The customer notification shall be approved by Commission staff and be distributed no later than with the first bill containing any revised rates.

Rulemaking Authority 350.127(2), 367.0814(9), 367.121(1) FS. Law Implemented 350.123, 367.0814, 367.121 FS. History–New 3-15-05.

- 25-30.460 Application for Miscellaneous Service Charges.

(1) All water and wastewater utilities may apply for miscellaneous service charges. These charges shall be included in each company’s tariff and include rates for initial connections, normal reconnections, violation reconnections, and premises visit charges.

(a) Initial connection charges are levied for service initiation at a location where service did not exist previously.

(b) Normal reconnection charges are levied for transfer of service to a new customer account at a previously served location, or reconnection of service subsequent to a customer requested disconnection.

(c) Violation reconnection is a charge that is levied prior to reconnection of an existing customer after discontinuance of service for cause according to subsection 25-30.320(2), F.A.C., including a delinquency in bill payment. Violation reconnection charges are at the tariffed rate for water and actual cost for wastewater.

(d) Premises Visit Charge is levied when a service representative visits a premises at the customer’s request for complaint resolution and the problem is found to be the customer’s responsibility.

(e) Premises Visit Charge (in lieu of disconnection) is levied when a service representative visits a premises for the purpose of discontinuing service for nonpayment of a due and collectible bill and does not discontinue service because the customer pays the service representative or otherwise makes satisfactory arrangements to pay the bill.

(2) A utility may request an additional charge (“after hours charge”) for overtime when the customer requests that the service be performed after normal hours. The after hours charge may be at the same rate specified for the existing charge during normal working hours. If the utility seeks a charge other than the normal working hours charge, the utility must file cost support.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.121 FS. History–New 11-30-93.

- 25-30.465 Private Fire Protection Rates.

The rate for private fire protection service shall be a charge based on the size of the connection rather than the number of fixtures connected. The rate shall be one-twelfth the current base facility charge of the utility’s meter sizes, unless otherwise supported by the utility.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081, 367.121 FS. History–New 11-30-93.

- 25-30.4705 Calculation of Rate Reduction After Rate Case Expense is Amortized.

To calculate the rate reduction to be made four years after a rate case as required by section 367.081(8), F.S., the following methodology shall be used. The annual amount of rate case expense, which is equal to one-fourth of the total allowed rate case expense, shall be divided by the regulatory assessment fee gross up factor. The resulting number shall then be divided by the revenue requirement to determine the percentage of the rate reduction. The percentage is then multiplied against the new rates to determine the amount of the future rate reduction. Revised tariff sheets implementing the reduction shall be filed no later than one month before the end of the fourth year.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.081(8), 367.121 FS. History–New 2-24-02.

- 25-30.475 Effective Date of Approved Tariffs.

Effective dates shall be as follows unless otherwise authorized by the Commission:

(1) For recurring rates or charges:

(a) Metered or flat recurring rates shall be effective for service rendered as of the stamped approval date on the tariff sheets provided customers have received notice. The tariff sheets will be approved upon staff’s verification that the tariffs are consistent with the Commission’s decision, that the proposed customer notice is adequate, and that any required security has been provided.

(b) If the effective date of the new rates falls within a regular billing cycle, the initial bills at the new rate may be prorated. The old charge shall be prorated based on the number of days in the billing cycle before the effective date of the new rates. The new charge shall be prorated based on the number of days in the billing cycle on and after the effective date of the new rates.

(c) In no event shall the rates be effective for service rendered prior to the stamped approval date.

(2) Non-recurring charges (such as service availability, guaranteed revenue charges, allowance for funds prudently invested, miscellaneous services) shall be effective for service rendered or connections made on or after the stamped approval date on the tariff sheets provided customers have received notice. The tariff sheets will be approved upon staff’s verification that the tariffs are consistent with the Commission’s decision and that the proposed customer notice is adequate. In no event shall the rates be effective for service rendered prior to the stamped approval date.

Rulemaking Authority 367.121 FS. Law Implemented 367.121 FS. History–New 11-30-93.

- 25-30.510 Applicability.

The provisions of this part, rules 25-30.510 through 30.585, F.A.C., shall apply to a utility when it files for a change in its service availability policy or charges or when the Commission initiates a show cause proceeding to require the utility to change such policy or charges. The provisions are not applicable to policies implemented and contracts entered into prior to the effective date of this part.

Rulemaking Authority 367.121(1), 367.101 FS. Law Implemented 367.101 FS. History–New 6-14-83, Formerly 25-30.51, 25-30.051.

- 25-30.515 Definitions.

When used in this part or in service availability policies or in service availability contracts or agreements, the following terms have the following meanings:

(1) Active Connection means a connection to the utility’s system at the point of delivery of service, whether or not service is currently being provided.

(2) Customer Connection Charge means any payment made to the utility for the cost of installing a connection from the utility’s water or wastewater lines, including but not limited to the cost of piping and the meter installation fee.

(3) Contribution-in-aid-of-construction (CIAC) means any amount or item of money, services, or property received by a utility, from any person or governmental agency, any portion of which is provided at no cost to the utility, which represents an addition or transfer to the capital of the utility, and which is utilized to offset the acquisition, improvement, or construction costs of the utility’s property, facilities, or equipment used to provide utility services to the public. The term includes, but is not limited to, system capacity charges, main extension charges and customer connection charges.

(4) Contributor means a person, builder, developer or other entity who makes a contribution-in-aid-of-construction.

(5) Customer Installation means all the facilities on the customer’s side of the point of delivery.

(6) Developer’s Agreement means a written agreement setting forth in detail the terms and conditions under which a utility will render service to a developer’s property.

(7) Economic Feasibility means a test by which the operating income of a utility to be earned from prospective customers within the area to be served by a proposed extension of facilities is divided by the investment in such facilities to determine if the utility will earn a fair return on its investment in the proposed extension.

(8) Equivalent Residential Connection (ERC) means

(a) 350 gallons per day;

(b) The number of gallons a utility demonstrates is the average daily flow for a single residential unit; or

(c) The number of gallons which has been approved by the Department of Environmental Protection for a single residential unit.

(9) Guaranteed Revenue Charge means a charge designed to cover the utility’s costs including, but not limited to the cost of operation, maintenance, depreciation, and any taxes, and to provide a reasonable return to the utility for facilities, a portion of which may not be used and useful to the utility or its existing customers. Guaranteed Revenues are designed to help the utility recover a portion of its cost from the time capacity is reserved until a customer begins to pay monthly service rates.

(10) Hydraulic Share means the pro rata share of the capabilities of the utility’s facilities to be made available for service to the contributor. The pro rata share is multiplied by the unit cost (per gallon) of providing the facilities to determine the proportional share of the cost thereof to be borne by the contributor.

(11) Inspection Fee means either the actual or the average cost to the utility of inspecting, or having inspected, the facilities constructed by a contributor or by an independent contractor for connection to the facilities of the utility.

(12) Main Extension Charge means a charge made by the utility for the purpose of covering all or part of the utility’s capital costs in extending its off-site water or wastewater facilities to provide service to specified property. The charge is determined on the “hydraulic share” basis or other acceptable method reasonably related to the cost of providing the service.

(13) Meter Installation Fee means the amount authorized by the Commission which is designed to recover the cost of installing the water measuring device at the point of delivery including materials and labor required.

(14) Off-Site Facilities means either the water transmission mains and facilities or the sewage collection trunk mains and facilities, including, but not limited to, manholes, sewage force mains and sewage pumping stations, the purpose of which is either to provide water service to properties within the service territory of the service utility or to collect sewage received from properties within the territory.

(15) On-Site Facilities means the portion of the water distribution system or the sewage collection and treatment system that has been, or is to be, located wholly within the property to which service is to be extended. If off-site facilities cross the property of the customer via an easement, the on-site facilities shall mean the water distribution system or the sewage collection system that is located on the customer’s property, exclusive of the off-site facilities.

(16) Refundable Advance means money paid or property transferred to a utility by the applicant for the installation of facilities which may not be used and useful for a period of time. The advance is made so that the proposed extension may be rendered economically feasible. The advance is returned to the applicant over a specified period of time in accordance with a written agreement as additional users connect to the system.

(17) Service Availability Policy means the section of the utility’s tariff which sets forth a uniform method of determining the system capacity charge or other charges to be paid and conditions to be met, by applicants for service in order to obtain water or wastewater service.

(18) Special Service Availability Contract means an agreement for charges for the extension of service which is not provided for in the utility’s service availability policy.

(19) System Capacity Charge means the charge made by a utility for each new connection to the system which charge is designed to defray a portion of the cost of the utility system.

(20) Treatment Facilities means the facilities used for the production and treatment of water or for the treatment and disposal of wastewater.

(21) Plant Capacity Charge means a charge made by the utility for the purpose of covering all or part of the utility’s capital costs in construction or expansion of treatment facilities.

Rulemaking Authority 367.121(1), 367.101 FS. Law Implemented 367.101 FS. History–New 6-14-83, Amended 11-30-93.

- 25-30.520 Responsibility of Utility to Provide Service.

It is the responsibility of the utility to provide service within its certificated territory in accordance with terms and conditions on file with the Commission.

Rulemaking Authority 367.121(1) FS. Law Implemented 367.101, 367.111 FS. History–New 6-14-83, Formerly 25-30.52, 25-30.052.

- 25-30.525 Application for Extension of Service.

This rule applies to an application for the extension of service to a part of the utility’s certificated territory where the utility is not presently providing service.

(1) An application for extension of water or wastewater service shall be made in writing to the utility on forms provided by the utility. The application shall include if applicable:

(a) A legal description of the property including reference to section, township and range.

(b) A drawing of the property showing its boundaries.

(c) The present zoning classification of the property.

(d) A plat map.

(e) A development plan.

(f) The intended land use of the development, including densities and types of use.

(g) The name and address of the person or entity making the application for extension of service.

(h) The nature of the applicant’s title to or interest in the described property.

(i) The date, or estimate of the date, service will be needed.

(2) If a utility receives an oral request for service, it shall advise the person making the request that applications for utility service must be made in writing.

Rulemaking Authority 367.121(1), 367.101 FS. Law Implemented 367.101, 367.111 FS. History–New 6-14-83.

- 25-30.530 Response to Applications for Extension of Service Within a Utility’s Certificated Territory, Cost Estimates.

(1) A utility shall respond to a request for extension of service within its certificated territory when the request is made on an application form supplied by the utility and submitted by a person or entity having a title interest in the property for which service is requested or by the duly authorized agent of such person or entity.

(2) Within 30 days after receipt of the application the utility shall notify the applicant in writing that service can or cannot be made available within a reasonable time.

(a) If service can be made available within a reasonable time the written response shall state that the utility will be obligated to service the applicant only after a contract or a developer’s agreement is properly executed by both parties.

(b) If service cannot be made available within a reasonable time, the utility shall notify the applicant and the Commission of the reasons why service cannot be made available and an estimate of when it can be made available.

(3)(a) If the utility notifies an applicant that service is available, the following shall apply:

1. If the request is for service to a single residence or single commercial facility, the utility shall furnish a cost estimate of the proposed extension and a preliminary sketch of the extension.

2. If the request is for service to a development, and the provision of service will be by the extension of existing facilities through utility investment, the utility shall be responsible for all engineering, planning, design and development.

3. If the request is for service to a development and the developer will be providing the necessary facilities for the extension, or will be paying for the construction of such facilities, the developer shall be responsible for the planning, design, and developing of construction drawings to extend the existing facilities to serve the proposed development, in accordance with Florida law. In such cases, the utility shall furnish general construction specifications, an estimate of the costs to be borne by the applicant, and a quotation of advances to be made upon execution of a developer’s agreement or other service agreement. The estimate shall include the cost of meters which are covered by tariff provisions for meter installation fees.

(b) The sketches, and estimates of costs to be borne by the applicant, which are to be prepared by the utility shall be prepared, as applicable, and delivered to the applicant within 60 days after the date of application. However, if the size and scope of the service requested requires more time to prepare an estimate and sketch, the utility shall prepare and deliver the estimate and sketch within 90 days.

(c) In estimating the connection costs to be borne by the applicant, the following shall apply:

1. If the utility decides to install facilities for its future benefit that are larger than normally required in the requested extension, the incremental cost for the larger facilities shall not be included in the cost estimate, but shall be covered by utility investment or by refundable advance agreement.

2. If more than one customer is to be served by a facility, the costs to be charged to a particular customer shall be determined according to the hydraulic demand of that customer or in accordance with some other acceptable method reasonably related to the cost of providing service.

Rulemaking Authority 367.121(1), 367.101 FS. Law Implemented 367.101, 367.111 FS. History–New 6-14-83, Formerly 25-30.53, 25-30.053.

- 25-30.540 Agreements for Service, Performance Under Agreements.

(1) Upon acceptance of the utility’s proposal and estimates provided under subsection 25-30.530(3), F.A.C., the appropriate service agreement or developer’s agreement shall be executed by both parties.

(2) An advance deposit may be required by the utility at the time of execution to cover the additional utility costs of preparing engineering plans and cost estimates of construction required to serve the property, and other engineering, administrative or legal expenses prudently incurred by the utility in the execution or performance of the agreement. The advance deposit shall not exceed 10 percent of the total charges to be paid by the applicant under the agreement or the additional engineering, administrative and legal expenses prudently incurred by the utility, whichever is greater.

(3)(a) The utility may charge and collect a reasonable amount, up to the total charges due under the agreement, to extend services. Upon the collection of the charges, the utility shall reserve the necessary treatment capacity for the applicant for a period of time specified in the agreement.

(b) Unless the utility can sell the reserved capacity, the charges collected shall not be refunded should the applicant not proceed further with the development. The agreement shall set forth the period of time within which a sale of the reserved capacity will require a refund to the applicant, which time period shall not be less than four years.

(4) If an applicant believes the charges required by a utility pursuant to subsections (2) and (3) are unreasonable, the applicant may file a complaint with the Commission in accordance with chapter 25-22, F.A.C.

(5) After a developer’s agreement is filed with the Commission and any party to the agreement fails to perform under the contract, the utility shall notify the Commission of the failure to perform.

(6) Upon receipt of the executed service agreement or developer’s agreement and any advance deposit or other payment, the utility and applicant will proceed with final engineering plans and specifications that each is responsible for and shall submit such plans and specifications to the appropriate regulatory agencies for approval. The utility will be allowed a reasonable period of time from the date of the execution of the agreement to complete the final engineering plans and construct the off-site facilities to serve the applicant.

(7) An applicant may use its engineer to prepare plans and specifications for its on-site development. However, such plans and specifications and the on-site water or wastewater facilities will be subject to the utility’s inspection and approval. An appropriate inspection and plan review fee may be charged by the utility.

Rulemaking Authority 367.121(1), 367.101 FS. Law Implemented 367.101 FS. History–New 6-14-83, Formerly 25-30.54, Amended 11-10-86, Formerly 25-30.054.

- 25-30.545 Construction.

(1) The size, type and quality of materials and their location in facilities to be constructed for the extension of service to customers shall be specified by the utility.

(2) Construction of the facilities may be done by the utility or, at its option, a construction agency acceptable to it. The utility may prescribe reasonable inspection requirements to ensure that the materials and workmanship meet prescribed standards when the construction of the facilities is done by a construction agency.

(3) In determining the length of a water or sewer main extension necessary to render service at a particular point, the distance from such point to the existing main shall be along a line drawn in accordance with proper construction and engineering standards.

Rulemaking Authority 367.121(1), 367.101 FS. Law Implemented 367.101 FS. History–New 6-14-83.

- 25-30.550 Filing of Agreements; Approval of Contracts.

(1) A copy of each developer’s agreement shall be filed with the Commission within 30 days of execution. Upon filing, the agreement shall be deemed to be approved under the utility’s existing service availability policy, unless the Commission gives notice of intent to disapprove within 30 days. Approval of a developer’s agreement does not preclude the Commission from affecting the provisions of a developer’s agreement if, pursuant to Commission action, the terms and conditions of a utility’s service availability policy are changed.

(2) Each special service availability contract shall be approved by the Commission prior to becoming effective.

(3) Each special service availability contract and developer’s agreement shall be accompanied by a statement from the utility affirming the current treatment plant connected load, the current treatment plant capacity, and the amount of capacity reserved under the agreement or contract. In lieu of this information, the utility may file a copy of its Department of Environmental Protection permit application.

Rulemaking Authority 367.121(1), 367.101 FS. Law Implemented 367.101 FS. History–New 6-14-83, Formerly 25-30.55, 25-30.055.

- 25-30.555 Guaranteed Revenue Agreements.

The rate of return required of an applicant by a utility pursuant to a guaranteed revenue agreement shall not exceed the return authorized the utility by the Commission in its most recent rate case, or in the absence of such determination, a rate of return calculated by using the appropriate rate of return on equity authorized by the Commission pursuant to section 367.081(4)(f), F.S., on the utility’s investment in the plant and system expansion that provides service to the applicant.

Rulemaking Authority 367.121(1), 367.101 FS. Law Implemented 367.081, 367.101 FS. History–New 6-14-83.

- 25-30.560 Disputes.

(1) Disputes concerning the application of these rules or concerning developer agreements may be referred to the Commission for disposition by the filing of a complaint in accordance with rule chapter 25-22, F.A.C.

(2) Upon the filing of a complaint, or during the pendency of a complaint, a party to the agreement may, after written demand to the utility for performance, make payments and perform acts as specified in the utility’s service availability policy or as required in the developer’s agreement, and the utility shall proceed with its performance pursuant to the service availability policy or developer’s agreement pending resolution of the dispute by the Commission. However, the utility may request that the Commission relieve the utility of performance if the utility can show that performance is not in the best interests of its customers.

Rulemaking Authority 367.121(1), 367.101 FS. Law Implemented 367.101 FS. History–New 6-14-83, Formerly 25-30.56, 25-30.056.

- 25-30.565 Application for Approval of New or Revised Service Availability Policy or Charges.

(1) Each application for a service availability policy or charges shall be filed in original and six copies.

(2) Upon filing an application for a new or revised service availability charge or policy, the utility shall provide notice pursuant to rule 25-30.4345, F.A.C.

(3) A filing fee as required in rule 25-30.020, F.A.C., shall be submitted at the time of application.

(4) Each application shall include the following, if applicable:

(a) A statement describing how the notice provisions have been complied with, including a copy of the actual notice(s).

(b) The name of the applicant, the applicant’s principal place of business and each local office from which company operations are conducted. The applicant’s name shall be as it appears on the certificate issued by the Commission if one has been issued.

(c) The number of the Commission order, if any, which previously considered the charges or service availability policy for the system involved.

(d) A statement explaining the basis for the requested changes in charges and conditions.

(e) A schedule showing the original cost of any existing treatment plants, the water transmission and distribution system, and the sewage collection system, by Uniform System of Accounting account numbers as required by rule 25-30.115, F.A.C., and the related capacity of each system as of 90 days prior to application.

(f) A detailed statement of accumulated depreciation for the plant listed in paragraph (e), above, as of 90 days prior to application.

(g) A schedule showing the number of active customers on line 90 days prior to the time of application by meter size, by customer class, and the related equivalent residential connections (ERC) as defined in subsection 25-30.515(8), F.A.C. Describe the method by which an ERC is defined.

(h) A detailed statement defining the capacity of the treatment facilities in terms of ERCs as used in developing the proposed service availability charges.

(i) A detailed statement defining the capacity of the distribution or collection system in terms of ERCs as used in developing the proposed service availability charges.

(j) Provide a list of outstanding developer agreements.

(k) For each developer agreement state whether the agreement is designed to result in contributed property, other than the approved system capacity charge, within the next 24 months; an estimate of the value of the contributed property to be added to the utility’s books; and a description of the property.

(l) A schedule showing total collections of contributions-in-aid-of-construction (CIAC) as of 90 days prior to the date of application. Detail any prepaid CIAC by amount, the related reserved ERCs, and the anticipated connection date. Reference any appropriate developer agreements.

(m) A detailed statement of accumulated amortization of CIAC as listed in paragraph (l), above, as of 90 days prior to application.

(n) Copies of approvals or permits for construction and operation of treatment facilities.

(o) A detailed statement by a registered professional engineer showing the cost, by Uniform System of Accounting account numbers, and capacity of proposed plant expansion, and a timetable showing projected construction time.

(p) A detailed statement by a registered professional engineer showing how the proposed construction will affect the capacity of the existing systems.

(q) If the expansion or plant upgrading is being undertaken to comply with the mandates of local, state or federal regulatory authorities, copies of the order(s) or correspondence directing the expansion or upgrading.

(r) A schedule showing the projected growth rate for utilization of the existing plant and line capacity and future plant and line capacity.

(s) A summary schedule of how the proposed service availability charge was calculated.

(t) A schedule showing, by meter size, the cost of meters, connecting fittings, meter boxes or enclosures and also showing sufficient data on labor and any other applicable costs to allow the determination of an average cost for meter installation by type.

(u) A statement of the existing and proposed on-site and off-site main installation charges or policy.

(v) The company’s present capital structure, including the cost of debt in the present capitalization. The availability and cost of other sources of financing the proposed expansion or upgrading of the system also shall be given.

(w) An original and three copies of the proposed tariff sheets.

(5) Upon filing of the application and supporting exhibits, the utility shall place copies thereof at its local office of the utility serving the area affected by the charges and conditions, and such copies shall be made available for public inspection.

(6) Each utility shall demonstrate the appropriateness of the requested service availability charges and conditions.

Rulemaking Authority 367.121(1), 367.101 FS. Law Implemented 367.101 FS. History–New 6-14-83, Amended 11-10-86, 11-30-93, 5-29-08.

- 25-30.570 Imputation of Contributions-in-Aid-of-Construction.

If the amount of CIAC has not been recorded on the utility’s books and the utility does not submit competent substantial evidence as to the amount of CIAC, the amount of CIAC shall be imputed to be the amount of plant costs charged to the cost of land sales for tax purposes if available, or the proportion of the cost of the facilities and plant attributable to the water transmission and distribution system and the sewage collection system.

Rulemaking Authority 367.121(1), 367.101 FS. Law Implemented 367.101 FS. History–New 6-14-83, Formerly 25-30.57, 25-30.057, Amended 1-31-00.

- 25-30.580 Guidelines for Designing Service Availability Policy.

A utility’s service availability policy shall be designed in accordance with the following guidelines:

(1) The maximum amount of contributions-in-aid-of-construction, net of amortization, should not exceed 75% of the total original cost, net of accumulated depreciation, of the utility’s facilities and plant when the facilities and plant are at their designed capacity; and

(2) The minimum amount of contributions-in-aid-of-construction should not be less than the percentage of such facilities and plant that is represented by the water transmission and distribution and sewage collection systems.

Rulemaking Authority 367.101, 367.121(1) FS. Law Implemented 367.101 FS. History–New 6-14-83, Formerly 25-30.58, 25-30.058, Amended 1-31-00.

- 25-30.585 Developer Service Availability Charges.

Subject to the limitation in rule 25-30.580, F.A.C., service availability charges for real estate developments shall not be less than the cost of installing the water transmission and distribution facilities and sewage collection system and not more than the developer’s hydraulic share of the total cost of the utility’s facilities and the cost of installing the water transmission and distribution facilities and sewage collection system. The terms of a developer’s agreement shall be consistent with the basic principles embodied in the rules in this part of the utility’s approved tariff. A statement of the potential impact of the developer agreement on the rates of the utility shall be submitted along with the developer agreement pursuant to rule 25-30.055, F.A.C.

Rulemaking Authority 367.101, 367.121(1) FS. Law Implemented 367.101 FS. History–New 6-14-83.