- CHAPTER 25-6

ELECTRIC SERVICE BY ELECTRIC PUBLIC UTILITIES

PART I  GENERAL PROVISIONS

25-6.002	Application and Scope

25-6.003	Definitions

25-6.004	Reference to Commission (Repealed)

PART II  RECORDS AND REPORTS

25-6.013	Gross Intrastate Operating Revenue Report (Repealed)

25-6.0131	Regulatory Assessment Fees; Investor-owned Electric Companies, Municipal Electric Utilities, Rural Electric Cooperatives

25-6.014	Records and Reports in General

25-6.0141	Allowance for Funds Used During Construction

25-6.0142	Uniform Retirement Units for Electric Utilities

25-6.0143	Use of Accumulated Provision Accounts 228.1, 228.2, and 228.4

25-6.0144	Fair Value of Energy Produced While Testing Electric Generating Units

25-6.015	Location and Preservation of Records

25-6.0151	Audit Access to Records

25-6.016	Maps and Records

25-6.017	Operating Records (Repealed)

25-6.018	Records of Interruptions and Commission Notification of Threats to Bulk Power Supply Integrity or Major Interruptions of Service

25-6.0183	Electric Utility Procedures for Generating Capacity Shortage Emergencies

25-6.0185	Electric Utility Procedures for Long-Term Energy Emergencies

25-6.019	Notification of Events

25-6.020	Record of Applications for Service

25-6.021	Records of Complaints

25-6.022	Record of Metering Devices and Metering Device Tests

25-6.023	Customer Account Records (Repealed)

25-6.024	Rate of Return Report (Repealed)

PART III  GENERAL MANAGEMENT REQUIREMENTS

25-6.033	Tariffs

25-6.034	Standard of Construction

25-6.0341	Location of the Utility’s Electric Distribution Facilities

25-6.0342	Electric Infrastructure Storm Hardening

25-6.0343	Municipal Electric Utility and Rural Electric Cooperative Reporting Requirements

25-6.0345	Safety Standards for Construction of New Transmission and Distribution Facilities

25-6.0346	Quarterly Reports of Work Orders and Safety Compliance

25-6.035	Adequacy of Resources

25-6.036	Inspection of Plant

25-6.037	Extent of System Which Utility Shall Operate and Maintain

25-6.038	Change in Character of Service

25-6.039	Safety

25-6.040	Grounding of Primary and Secondary Distribution System Circuits

25-6.041	Ground Resistance (Repealed)

25-6.042	Response to Commission Staff Inquiries (Repealed)

25-6.0423	Nuclear or Integrated Gasification Combined Cycle Power Plant Cost Recovery

25-6.0424	Petition for Mid-Course Correction

25-6.0425	Rate Adjustment Applications and Procedures

25-6.0426	Recovery of Economic Development Expenses

25-6.043	Investor-Owned Electric Utility Minimum Filing Requirements; Commission Designee

25-6.0431	Petition for a Limited Proceeding

25-6.0435	Interim Rate Relief

25-6.0436	Depreciation

25-6.04361	Subcategorization of Electric Plant for Depreciation Studies and Rate Design

25-6.04364	Electric Utilities Dismantlement Studies

25-6.04365	Nuclear Decommissioning

25-6.0437	Cost of Service Load Research

25-6.0438	Non-Firm Electric Service - Terms and Conditions

25-6.0439	Territorial Agreements and Disputes for Electric Utilities – Definitions

25-6.0440	Territorial Agreements for Electric Utilities

25-6.0441	Territorial Disputes for Electric Utilities

25-6.0442	Customer Participation

PART IV  GENERAL SERVICE PROVISIONS

25-6.044	Continuity of Service

25-6.045	Frequency Standards (Repealed)

25-6.0455	Annual Distribution Service Reliability Report

25-6.046	Voltage Standards

25-6.047	Constant Current Standards

25-6.048	Limiting Connected Load

25-6.049	Measuring Customer Service

25-6.050	Location of Meters

25-6.051	Rental Charge for Meters (Repealed)

25-6.052	Test Procedures and Accuracies of Consumption Metering Devices

25-6.053	Requirements as to Use of Instrument Transformers (Repealed)

25-6.054	Laboratory Standards

25-6.055	Portable Standards

25-6.056	Metering Device Test Plans

25-6.057	Methods of Meter Test (Repealed)

25-6.058	Determination of Average Meter Error

25-6.059	Meter Test by Request

25-6.060	Meter Test – Refereed Dispute

25-6.061	Relocation of Poles

25-6.062	Inspection of Wires and Equipment

25-6.063	Temporary Service (Repealed)

25-6.064	Extension of Facilities; Contribution in Aid of Construction

25-6.065	Interconnection and Metering of Customer-Owned Renewable Generation

PART V  RULES FOR RESIDENTIAL ELECTRIC UNDERGROUND EXTENSIONS

25-6.074	Applicability

25-6.075	Definitions

25-6.076	Rights of Way and Easements

25-6.077	Installation of Underground Distribution Systems Within New Subdivisions

25-6.078	Schedule of Charges

25-6.079	Connection to Supply System (Repealed)

25-6.080	Advances by Applicant

25-6.081	Construction Practices

25-6.082	Records and Reports

25-6.083	Special Conditions (Repealed)

PART VI  CUSTOMER RELATIONS

25-6.093	Information to Customers

25-6.094	Complaints and Service Requests

25-6.095	Initiation of Service

25-6.096	Termination of Service by Customer (Repealed)

25-6.097	Customer Deposits

25-6.098	Interest on Deposits (Repealed)

25-6.099	Meter Readings

25-6.100	Customer Billings

25-6.101	Delinquent Bills

25-6.102	Conjunctive Billing

25-6.103	Adjustment of Bills for Meter Error

25-6.104	Unauthorized Use of Energy

25-6.105	Refusal or Discontinuance of Service by Utility

25-6.106	Underbillings and Overbillings of Energy

25-6.109	Refunds

PART VII UNDERGROUND ELECTRIC DISTRIBUTION FACILITY CHARGES

25-6.115	Facility Charges for Conversion of Existing Overhead Investor-owned Distribution Facilities

PART IX  RESIDENTIAL CONSERVATION SERVICE (Transferred)

PART X

Subpart A  Accounting Reports

25-6.135	Annual Reports

25-6.1351	Cost Allocation and Affiliate Transactions

25-6.1352	Earnings Surveillance Report

25-6.1353	Forecasted Earnings Surveillance Report

Subpart B  Revenue Requirements

25-6.140	Test Year Notification; Proposed Agency Action Notification

- PART I  GENERAL PROVISIONS

- 25-6.002 Application and Scope.

(1) These rules and regulations shall apply to all electric public utilities operating under the jurisdiction of the Florida Public Service Commission. They are intended to define and promote good utility practices and procedures, adequate and efficient service to the public at reasonable costs, and to establish the rights and responsibilities of both the utility and the customer.

(2) No deviation from these rules shall be permitted unless authorized in writing by the Commission.

(3) The adoption of these rules shall not in any way relieve any utility from any of its duties under the laws of the state.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(1) FS. History–New 7-29-69, Formerly 25-6.02, Amended 1-31-00.

- 25-6.003 Definitions.

(1) Definitions of general applicability. The definitions of terms used in this chapter shall be as stated in the Authoritative Dictionary of IEEE Standard Terms, 7th edition, published in December 2000, incorporated herein by reference, except to the extent and for the purposes that the terms are defined elsewhere in this chapter. The definitions in subsection (2) shall be used for all purposes in this chapter.

(2) Definitions of terms.

(a) “Commission.” Unless a different intent clearly appears from the context, the word “Commission” shall be construed to mean the Florida Public Service Commission.

(b) “Customer.” Any person, firm, partnership, company, corporation, association, governmental agency or similar organization, who makes application for and is supplied with electric service by the utility for its ultimate use and not for use by, to, or through any other person or entity unless specifically authorized by the Commission.

(c) “Meter.” The word “meter,” when used in these rules without other qualification, shall be construed to mean any device used for the purpose of measuring the service rendered to a customer by a utility.

(d) “Point of Delivery.” The first point of connection between the facilities of the serving utility and the premises wiring.

(e) “Service.” The supply by the utility of electricity to the customer, including the readiness to serve and availability of electrical energy at the customer’s point of delivery at the standard available voltage and frequency whether or not utilized by the customer.

(f) “Service Drop.” The overhead service conductors from the last pole or other aerial support to and including the splices, if any, connecting to the service entrance conductors at the building or other structure.

(g) “Service Lateral.” The underground conductors between the transformer(s) or transformer secondary, including any risers at a pole or other structure, and the point of delivery.

(h) “Utility.” Unless a different intent clearly appears from the context, the word or words “utility” or “electric utility” as used in these rules shall have the same meaning as set out for “public utility” in Section 366.02, F.S., and shall include all such utilities subject to Commission jurisdiction.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(1) FS. History–New 7-29-69, Amended 4-13-80, Formerly 25-6.03, Amended 12-4-03.

- 25-6.004 Reference to Commission.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(1) FS. History–New 7-29-69, Formerly 25-6.04, Repealed 11-28-12.

- PART II RECORDS AND REPORTS

- 25-6.0131 Regulatory Assessment Fees; Investor-owned Electric Companies, Municipal Electric Utilities, Rural Electric Cooperatives.

(1) As applicable and as provided in Section 350.113, F.S., each company, utility, or cooperative shall remit to the Commission a fee based upon its gross operating revenue. This fee shall be referred to as a regulatory assessment fee. Regardless of the gross operating revenue of a company, a minimum annual regulatory assessment fee of $25 shall be imposed.

(a) Each investor-owned electric company shall pay a regulatory assessment fee in the amount of .00072 of gross operating revenues derived from intrastate business, excluding sales for resale between public utilities, municipal electric utilities, and rural electric cooperatives or any combination thereof.

(b) Each municipal electric utility and rural electric cooperative shall pay a regulatory assessment fee in the amount of 0.00015625 of its gross operating revenues derived from intrastate business, excluding sales for resale between public utilities, municipal electric utilities, and rural cooperatives or any combination thereof.

(2) Regulatory assessment fees are due each January 30 for the preceding period or any part of the period from July 1 until December 31, and on July 30 for the preceding period or any part of the period from January 1 until June 30.

(3) If the due date falls on a Saturday, Sunday, or a holiday, the due date is extended to the next business day. If the fees are sent by registered mail, the date of the registration is the United States Postal Service’s postmark date. If the fees are sent by certified mail and the receipt is postmarked by a postal employee, the date on the receipt is the United States Postal Service’s postmark date. The postmarked certified mail receipt is evidence that the fees were delivered. Regulatory assessment fees are considered paid on the date they are postmarked by the United States Postal Service or received and logged in by the Commission’s Division of Administrative and Information Technology Services in Tallahassee. Fees are considered timely paid if properly addressed, with sufficient postage and postmarked no later than the due date.

(4) Commission Form PSC/AFD 68 (01/99), entitled “Investor-Owned Electric Utility Regulatory Assessment Fee Return”; is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-02610; Form PSC/AFD 69 (07/96), entitled “Municipal Electric Utility Regulatory Assessment Fee Return” is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-02611; and Form PSC/AFD 70 (07/96), entitled “Rural Electric Cooperative Regulatory Assessment Fee Return” is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-02612. These forms are incorporated into this rule by reference and may be also be obtained from the Commission’s Division of Administrative and Information Technology Services. The failure of a utility to receive a return form shall not excuse the utility from its obligation to timely remit the regulatory assessment fees.

(5) Each company, utility, or cooperative shall have up to and including the due date in which to:

(a) Remit the total amount of its fee; or

(b) Remit an amount which the company, utility, or cooperative estimates is its full fee.

(6) Where the company, utility, or cooperative remits less than its full fee, the remainder of the full fee shall be due on or before the 30th day from the due date and shall, where the amount remitted was less than 90 percent of the total regulatory assessment fee, include interest as provided by paragraph (8)(b) of this rule.

(7) A company may request either a 15-day or a 30-day extension of its due date for payment of regulatory assessment fees or for filing its return form by submitting to the Division of Administrative and Information Technology Services Commission Form PSC/AIT 124 (12/11) entitled “Regulatory Assessment Fee Extension Request,” which is incorporated into this rule by reference and is available at: http://www.flrules.org/Gateway/reference.asp?No=Ref-02620. This form may also be obtained from the Commission’s Division of Administrative and Information Technology Services.

(a) The request for extension must be received by the Division of Administrative and Information Technology Services at least two weeks before the due date.

(b) The request for extension will not be granted if the utility has any unpaid regulatory assessment fees, penalties, or interest due from a prior period.

(c) Where a company, utility, or cooperative receives an extension of its due date pursuant to this rule, the entity shall remit a charge as set out in Section 350.113(5), F.S., in addition to the regulatory assessment fee.

(8) The delinquency of any amount due to the Commission from the company, utility, or cooperative pursuant to the provisions of Section 350.113, F.S., and this rule, begins with the first calendar day after any date established as the due date either by operation of this rule or by an extension pursuant to this rule.

(a) A penalty, as set out in Section 350.113, F.S., shall apply to any such delinquent amounts.

(b) Interest at the rate of 12 percent per annum shall apply to any such delinquent amounts.

Rulemaking Authority 350.127(2), 366.05 FS. Law Implemented 350.113, 366.14 FS. History–New 5-18-83, Amended 2-9-84, Formerly 25-6.131, Amended 6-18-86, 10-16-86, 3-7-89, 2-19-92, 7-7-96, 1-1-99, 5-7-13.

- 25-6.014 Records and Reports in General.

(1) Except as modified in subsection (2), each investor-owned electric utility shall maintain its accounts and records in conformity with the Uniform System of Accounts (USOA) for Public Utilities and Licensees as found in the Code of Federal Regulations, Title 18, Subchapter C, Part 101, for Major Utilities (2013), which is hereby incorporated by reference into this rule and may be accessed at http://www.flrules.org/Gateway/reference.asp?No=Ref-04826 and http://www.flrules.org/Gateway/reference.asp?No=Ref-04827. All inquiries relating to interpretation of the USOA shall be submitted to the Commission’s Division of Accounting and Finance in writing.

(2) For ratemaking purposes only, each investor-owned electric utility shall accrue unbilled base rate revenues, excluding those base rate revenues recoverable through other cost recovery or adjustment mechanisms.

(3) Each utility shall establish and maintain continuing property records in conformity with the plant accounts prescribed in the USOA. The records shall be compiled on the basis of original cost or other book cost consistent with the provisions of the USOA. The continuing property records or records supplemental thereto shall contain such detailed description and classification of property record units that will permit their ready identification and verification. They shall be maintained in such manner as will meet the following basic objectives:

(a) An inventory of property record units which may be readily checked for proof of physical existence;

(b) The association of costs with such property record units to assure accurate accounting for retirements; and

(c) The determination of dates of installation and removal of plant to provide data for use in connection with depreciation studies.

(4) For each utility providing data to the Commission, all data shall be consistent with and reconcilable with the utility’s Annual Report to the Commission.

(5) During visits authorized by Section 366.08, F.S., the utility shall provide staff members with adequate and comfortable working and filing space, consistent with prevailing conditions and climate and comparable with the accommodations provided to the utility’s outside auditors.

(6) The Commission prescribes the Uniform System of Accounts for Public Utilities and Licensees, as found in the Code of Federal Regulations, Title 18, Subchapter C, Part 101, for Major Utilities (2013), to be used by Rural Electric Cooperative and Municipal Electric Utilities operating within the State. All inquiries relating to interpretations of the USOA shall be submitted to the Commission’s Division of Accounting and Finance in writing.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 350.115, 366.02(2), 366.04(2)(a), (f), 366.05(1), 366.08 FS. History–New 7-29-69, 2-4-76, 8-21-79, 1-2-80, 11-18-82, Formerly 25-6.14, Amended 10-1-86, 11-2-87, 7-20-89, 12-27-94, 4-22-96, 3-30-04, 2-2-15.

- 25-6.0141 Allowance for Funds Used During Construction.

(1) Construction work in progress (CWIP) or nuclear fuel in process (NFIP) not under a lease agreement that is not included in rate base may accrue allowance for funds used during construction (AFUDC), under the following conditions:

(a) Eligible projects. The following projects may be included in CWIP or NFIP and accrue AFUDC:

1. Projects that involve gross additions to plant in excess of 0.5 percent of the sum of the total balance in Account 101 – Electric Plant in Service, and Account 106, Completed Construction not Classified, at the time the project commences and

a. Are expected to be completed in excess of one year after commencement of construction, or

b. Were originally expected to be completed in one year or less and are suspended for six months or more, or are not ready for service after one year.

(b) Ineligible projects. The following projects may be included in CWIP or NFIP, but may not accrue AFUDC:

1. Projects, or portions thereof, that do not exceed the level of CWIP or NFIP included in rate base in the utility’s last rate case.

2. Projects where gross additions to plant are less than 0.5 percent of the sum of the total balance in Account 101 – Electric Plant in Service, and Account 106 – Completed Construction not Classified, at the time the project commences.

3. Projects expected to be completed in less than one year after commencement of construction.

4. Property that has been classified as Property Held for Future Use.

(c) Unless otherwise authorized by the Commission, the following projects may not be included in CWIP or NFIP, nor accrue AFUDC:

1. Projects that are reimbursable by another party.

2. Projects that have been cancelled.

3. Purchases of assets which are ready for service when acquired.

4. Portions of projects providing service during the construction period.

(d) Other conditions. Accrual of AFUDC is subject to the following conditions:

1. Accrual of AFUDC is not to be reversed when a project originally expected to be completed in excess of one year is completed in one year or less;

2. AFUDC may not be accrued retroactively if a project expected to be completed in one year or less is subsequently suspended for six months, or is not ready for service after one year;

3. When a project is completed and ready for service, it shall be immediately transferred to the appropriate plant account(s) or Account 106, Completed Construction Not Classified, and may no longer accrue AFUDC;

4. Where a work order covers the construction of more than one property unit, the AFUDC accrual shall cease on the costs related to each unit when that unit reaches an in-service status;

5. When the construction activities for an ongoing project are expected to be suspended for a period exceeding six (6) months, the utility shall notify the Commission of the suspension and the reason(s) for the suspension, and shall submit a proposed accounting treatment for the suspended project; and

6. When the construction activities for a suspended project are resumed, the previously accumulated costs of the project may not accrue AFUDC if such costs have been included in rate base for ratemaking purposes. However, the accrual of AFUDC may be resumed when the previously accumulated costs are no longer included in rate base for ratemaking purposes.

(e) Subaccounts. Account 107, Construction Work in Progress, and Account 120.1, Nuclear Fuel in Process of Refinement, Conversion, Enrichment and Fabrication, shall be subdivided so as to segregate the cost of construction projects that are eligible for AFUDC from the cost of construction projects that are ineligible for AFUDC.

(f) Prior to the commencement of construction on a project, a utility may file a petition to seek approval to include an individual project in rate base that would otherwise qualify for AFUDC treatment per paragraph (1)(a).

(g) On a prospective basis, the Commission, upon its own motion, may determine that the potential impact on rates may require the exclusion of an amount of CWIP from a utility’s rate base that does not qualify for AFUDC treatment per paragraph (1)(a) and to allow the utility to accrue AFUDC on that excluded amount.

(2) The applicable AFUDC rate shall be determined as follows:

(a) The most recent 13-month average embedded cost of capital, except as noted below, shall be derived using all sources of capital and adjusted using adjustments consistent with those used by the Commission in the utility’s last rate case.

(b) The cost rates for the components in the capital structure shall be the midpoint of the last allowed return on common equity, the most recent 13-month average cost of short term debt and customer deposits and a zero cost rate for deferred taxes and all investment tax credits. The cost of long term debt and preferred stock shall be based on end of period cost. The annual percentage rate shall be calculated to two decimal places.

(3) Discounted monthly AFUDC rate. A discounted monthly AFUDC rate, calculated to six decimal places, shall be employed to insure that the annual AFUDC charged does not exceed authorized levels.

(a) The formula used to discount the annual AFUDC rate to reflect monthly compounding is as follows:

M = [(1 + A/100)1/12 – 1] x 100

Where:

| M | = | discounted monthly AFUDC rate |
| --- | --- | --- |
| A | = | annual AFUDC rate |

(b) The monthly AFUDC rate, carried out to six decimal places, shall be applied to the average monthly balance of eligible CWIP and NFIP that is not included in rate base.

(4) The following schedules shall be filed with each petition for a change in AFUDC rate:

(a) Schedule A. A schedule showing the capital structure, cost rates and weighted average cost of capital that are the basis for the AFUDC rate in subsection (2).

(b) Schedule B. A schedule showing capital structure adjustments including the unadjusted capital structure, reconciling adjustments and adjusted capital structure that are the basis for the AFUDC rate in subsection (2).

(c) Schedule C. A schedule showing the calculation of the monthly AFUDC rate using the methodology set out in this rule.

(5) No utility may charge or change its AFUDC rate without prior Commission approval. The new AFUDC rate shall be effective the month following the end of the 12-month period used to establish that rate and may not be retroactively applied to a previous fiscal year unless authorized by the Commission.

(6) Each utility charging AFUDC shall include in its December Earnings Surveillance Reports to the Commission Schedules A and B identified in subsection (4) of this rule, as well as disclosure of the AFUDC rate it is currently charging.

(7) The Commission may, on its own motion, initiate a proceeding to revise a utility’s AFUDC rate.

(8) Each utility shall include in its Forecasted Surveillance Report a schedule of individual projects that commence during that forecasted period and are estimated to equal or exceed a gross cost of $10,000,000. The schedule shall include the following minimum information:

(a) Description of the project.

(b) Estimated total cost of the project.

(c) Estimated construction commencement date.

(d) Estimated in-service date.

(9) The provisions of this rule are effective January 1, 1996 and shall be implemented by all electric utilities no later than January 1, 1999, or the utility’s next rate proceeding, whichever occurs first.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 350.115, 366.04(2)(a), (f) 366.06(1), (2), 366.08 FS. History–New 8-11-86, Formerly 25-6.141, Amended 11-13-86, 12-7-87, 1-7-97.

- 25-6.0142 Uniform Retirement Units for Electric Utilities.

(1) The rules and definitions set forth below are intended to establish uniform retirement units and establish capitalization versus expensing guidelines for electric utilities and do not relieve any utility from maintaining its accounts and records in conformity with the Uniform System of Accounts prescribed by the Code of Federal Regulations, Title 18, Chapter I, Subchapter C, Part 101 as adopted by Rule 25-6.014, F.A.C., except as provided in subsections (2) through (11) of this rule.

(2) For the purpose of this Rule, the following definitions shall apply:

(a) Average Inventory cost – An estimate of original material cost for a group of items having similar characteristics.

(b) Book Cost – The amount at which an item of property is included in a plant account, including the cost of all labor, material, and associated installation.

(c) Cost of Removal – The cost of demolishing, dismantling, removing, tearing down, or otherwise disposing of electric plant, including the cost of transporting and handling.

(d) Cradle-To-Grave Accounting – An accounting method which treats a unit of plant as being in service from the time it is first purchased until it is finally junked or disposed of in another manner. Any time spent in shop for refurbishing or in stock/inventory awaiting reinstallation is treated as being in service.

(e) Item – A single identifiable unit of utility plant. Capitalization criteria shall apply to the single item and not to a block or group of such items purchased on one order.

(f) Minor Item – Any part or element of plant which is not designated as a retirement unit, but is a component part of the retirement unit.

(g) Retirement – The removal, sale, abandonment, destruction, or other removal from service of a retirement unit or unreplaced minor item, except where removal is of a “cradle-to-grave” item.

(3) All utility plants shall be considered as consisting of retirement units and minor items of property. Each utility will implement a list of retirement units in conformity with the Commission’s “List of Retirement Units (Electrical Plant) as of January 1, 2000” (hereinafter referred to as “List”), which is published by the Commission and is incorporated herein by reference. A copy of the List may be obtained from the Director of the Division of Economics, Florida Public Service Commission, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850. The List must be implemented by each utility as of the beginning of the next fiscal year following the date the List was last updated. A utility may further subdivide retirement units in order to achieve a list more reflective of common, major replacement items providing that the cost of the additional subdivided unit is $1,000 or more. The Director of the Division of Economics, Florida Public Service Commission, shall be notified annually of additions and subdivisions to the utility’s retirement unit List with explanations of the nature and justification.

(4) The addition and retirement of retirement units as set forth in the List shall be accounted for as follows:

(a) When a retirement unit meeting the capitalization criteria set forth in the List as well as that set forth in subsection (11) is installed, the total installed cost shall be added to the appropriate plant account. Installed cost includes the associated labor, material, and installation cost.

(b) When a retirement unit is retired, with or without a replacement, the book cost of the retiring unit shall be credited to the plant account in which it is included and likewise debited to the associated account reserve. The cost is to be determined from the company’s records. If it cannot be, it is to be estimated. Any cost of removal and gross salvage associated with the retirement shall likewise be debited and credited, respectively, to the account reserve. The retirement entry shall be recorded no later than two months following the transfer of expenditures from Construction Work In Progress (Account 107) to Electric Plant in Service (Account 101/106). Associated cost of removal charges will be recorded when incurred and gross salvage will be recorded when received.

(c) When a retirement unit is replaced, the cost of the replacement should be accounted for in the same manner as in paragraph (4)(a) if the cost meets the criterion set forth in subsection (11). Otherwise, the charge should be made to the appropriate expense account.

(d) When a retirement unit is retired and removed from service in conjunction with the installation of a replacing unit, the cost of removal of the retiring unit shall be separated from the installation cost of the new replacing unit. Cost of removal shall be debited to the appropriate reserve account as set forth in paragraph (4)(b).

(5) The addition and retirement of minor items of depreciable property shall be accounted for as follows:

(a) When a minor item which did not previously exist as a part of a retirement unit at a given location is added, the cost shall be accounted for in the same manner as for the addition of a retirement unit if the intent of such addition is to render the affected retirement unit more useful, of greater capacity or increased efficiency. Otherwise, the charge shall be made to the appropriate maintenance expense account.

(b) When a minor item is retired and not replaced, the book cost along with any associated cost of removal and gross salvage shall be accounted for in the same manner as for the retirement of a retirement unit. If, however, the book cost of the minor item retired and not replaced has been accounted for by its inclusion in the retirement unit of which it is a part, no separate credit to the property account or debit to the associated account is required.

(c) When a minor item is replaced independently of the retirement unit of which it is a part, the cost of replacement shall be charged to the maintenance account appropriate for the item, except that if the replacement effects a substantial betterment (the primary aim of which is to make the property affected more useful, more efficient, of greater durability, or of greater capacity), the excess cost of the replacement over the estimated cost at current prices of replacing without betterment shall be charged to the appropriate plant account.

(6)(a) When a retirement unit is retired and it has a prospect for reuse, the original or estimated original cost of the material subject for reuse shall be credited to the account reserve of the retiring unit as gross salvage with a debit in the same amount to Plant Materials and Operating Supplies (Account 154). When the retirement unit is reused, the original or estimated original material cost shall be credited to Account 154 with a debit to the appropriate plant account. The plant account shall also be debited with costs for new installation and labor.

(b) When it is impractical to determine the original cost for each unit subject to reuse due to the relatively large number or small cost of such units, an appropriate average inventory cost that allows for any difference in size or character shall be used. The cost of repairing such items shall be charged to the maintenance account appropriate for the previous use.

(c) Reusable materials consisting of relatively small minor items, the identity of which cannot be determined without an undue refinement in accounting shall be included in Plant and Materials Operating Supplies (Account 154) at average inventory cost for such new items. The cost of repairing such items shall be charged to the appropriate expense account as indicated by previous use.

(7) The addition and retirement of items such as meters and transformers may be accounted for as cradle-to-grave, in which case the cost for refurbishing these items shall be charged to the appropriate expense accounts.

(8) Overhead construction costs such as engineering, supervision, general office salaries and expenses, construction engineering, insurance, taxes, relief and pensions, injuries and damages shall be capitalized only if they are directly associated with the construction project and shall be charged to particular jobs or units on the basis of the amounts of such overheads to the end that each job or unit shall bear its equitable portions of these costs and that the entire cost of the unit both direct and overhead shall be deducted from the plant accounts at the time the property is retired.

(9) All maintenance costs, whether the work is done by the utility or under contract, shall be expensed. Unusual or extraordinary expenses can be amortized over a reasonable period of time as determined by the Commission. The costs of keeping equipment and plant in good condition shall be accounted for as maintenance expenses. Included in this classification are the costs of material and labor associated with the upkeep of plant such as:

(a) The training of maintenance personnel and the testing of equipment and facilities.

(b) The cost of ordinary repairs, refurbishment, repainting, and rearrangements of plant.

(c) Miscellaneous expenses like shop repairs, tool expenses, and motor vehicle expenses.

(d) The cost of performing work to prevent failure, restore serviceability, or maintain or realize the life expectancy of the plant.

(e) The cost of repairing material for reuse.

(f) The cost of restoring the condition of plant damaged by attrition, acts of nature, fire, or other casualties (other than the cost of replacing retirement units).

(g) The cost of inspecting after repairs have been made.

(h) Direct field supervision of maintenance.

(i) The cost of general supervision and engineering associated with maintenance work.

(10) Engineering unclassified time shall be expensed.

(11) A minimum capitalization criterion of $1,000 is imposed for each retirement unit as set forth in the List for the Office Furniture and Equipment, Stores Equipment, Tools, Shop and Garage Equipment, Laboratory Equipment, Power Operated Equipment, Communication Equipment, and Miscellaneous Equipment Accounts.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 350.115, 366.041, 366.06(1) FS. History–New 9-6-87, Amended 3-19-92, 3-18-97, 11-8-99.

- 25-6.0143 Use of Accumulated Provision Accounts 228.1, 228.2, and 228.4.

(1) Account No. 228.1 Accumulated Provision for Property Insurance.

(a) This account may be established to provide for losses through accident, fire, flood, storms, nuclear accidents and similar type hazards to the utility’s own property or property leased from others, which is not covered by insurance. This account would also include provisions for the deductible amounts contained in property loss insurance policies held by the utility as well as retrospective premium assessments stemming from nuclear accidents under various insurance programs covering nuclear generating plants. A schedule of risks covered shall be maintained, giving a description of the property involved, the character of risks covered and the accrual rates used.

(b) Except as provided in paragraphs (1)(f), (1)(g) and (1)(h) charges to this account shall be made for all occurrences in accordance with the schedule of risks to be covered which are not covered by insurance. Recoveries, insurance proceeds or reimbursements for losses charged to this account shall be credited to the account.

(c) A separate subaccount shall be established for that portion of Account No. 228.1 which is designated to cover storm-related damages to the utility’s own property or property leased from others that is not covered by insurance. The records supporting the entries to this account shall be so kept that the utility can furnish full information as to each storm event included in this account.

(d) In determining the costs to be charged to cover storm-related damages, the utility shall use an Incremental Cost and Capitalization Approach methodology (ICCA). Under the ICCA methodology, the costs charged to cover storm-related damages shall exclude those costs that normally would be charged to non-cost recovery clause operating expenses in the absence of a storm. Under the ICCA methodology for determining the allowable costs to be charged to cover storm-related damages, the utility will be allowed to charge to Account No. 228.1 costs that are incremental to costs normally charged to non-cost recovery clause operating expenses in the absence of a storm. All costs charged to Account 228.1 are subject to review for prudence and reasonableness by the Commission. In addition, capital expenditures for the removal, retirement and replacement of damaged facilities charged to cover storm-related damages shall exclude the normal cost for the removal, retirement and replacement of those facilities in the absence of a storm. The utility shall notify the Director of the Commission Clerk in writing for each incident expected to exceed $10 million.

(e) The types of storm related costs allowed to be charged to the reserve under the ICCA methodology include, but are not limited to, the following:

1. Additional contract labor hired for storm restoration activities;

2. Logistics costs of providing meals, lodging, and linens for tents and other staging areas;

3. Transportation of crews for storm restoration;

4. Vehicle costs for vehicles specifically rented for storm restoration activities;

5. Waste management costs specifically related to storm restoration activities;

6. Rental equipment specifically related to storm restoration activities;

7. Materials and supplies used to repair and restore service and facilities to pre-storm condition, such as poles, transformers, meters, light fixtures, wire, and other electrical equipment, excluding those costs that normally would be charged to non-cost recovery clause operating expenses in the absence of a storm;

8. Overtime payroll and payroll-related costs for utility personnel included in storm restoration activities;

9. Fuel cost for company and contractor vehicles used in storm restoration activities; and

10. Cost of public service announcements regarding key storm-related issues, such as safety and service restoration estimates.

(f) The types of storm related costs prohibited from being charged to the reserve under the ICCA methodology include, but are not limited to, the following:

1. Base rate recoverable regular payroll and regular payroll-related costs for utility managerial and non-managerial personnel;

2. Bonuses or any other special compensation for utility personnel not eligible for overtime pay;

3. Base rate recoverable depreciation expenses, insurance costs and lease expenses for utility-owned or utility-leased vehicles and aircraft;

4. Utility employee assistance costs;

5. Utility employee training costs incurred prior to 72 hours before the storm event;

6. Utility advertising, media relations or public relations costs, except for public service announcements regarding key storm-related issues as listed above in subparagraph (1)(e)10.;

7. Utility call center and customer service costs, except for non-budgeted overtime or other non-budgeted incremental costs associated with the storm event;

8. Tree trimming expenses, incurred in any month in which storm damage restoration activities are conducted, that are less than the actual monthly average of tree trimming costs charged to operation and maintenance expense for the same month in the three previous calendar years;

9. Utility lost revenues from services not provided; and

10. Replenishment of the utility’s materials and supplies inventories.

(g) Under the ICCA methodology for determining the allowable costs to be charged to cover storm-related damages, certain costs may be charged to Account 228.1 only after review and approval by the Commission. Prior to the Commission’s determination of the appropriateness of including such costs in Account No. 228.1, the costs may be deferred in Account No. 186, Miscellaneous Deferred Debits. The deferred costs must be incurred prior to June 1 of the year following the storm event. By September 30 a utility shall file a petition for the disposition of any costs deferred prior to June 1 of the year following the storm event giving rise to the deferred costs. These costs include, but are not limited to, the following:

1. Costs of normal non-storm related activities which must be performed by employees or contractors not assigned to storm damage restoration activities (“back-fill work”) or normal non-storm related activities which must be performed following the restoration of service after a storm by an employee or contractor assigned to storm damage restoration activities in addition to the employee’s or contractor’s regular activities (“catch-up work”); and

2. Uncollectible accounts expenses.

(h) A utility may, at its own option, charge storm-related costs as operating expenses rather than charging them to Account No. 228.1. The utility shall notify the Director of the Commission Clerk in writing and provide a schedule of the amounts charged to operating expenses for each incident exceeding $5 million. The schedule shall be filed annually by February 15 of each year for information pertaining to the previous calendar year.

(i) If the charges to Account No. 228.1 exceed the account balance, the excess shall be carried as a debit balance in Account No. 228.1 and no request for a deferral of the excess or for the establishment of a regulatory asset is necessary.

(j) A utility may petition the Commission for the recovery of a debit balance in Account No. 228.1 plus an amount to replenish the storm reserve through a surcharge, securitization or other cost recovery mechanism.

(k) A utility shall not establish or change an annual accrual amount or a target accumulated balance amount for Account No. 228.1 without prior Commission approval.

(l) Each utility shall file a Storm Damage Self-Insurance Reserve Study (Study) with the Commission Clerk by January 15, 2011 and at least once every 5 years thereafter from the submission date of the previously filed study. A Study shall be filed whenever the utility is seeking a change to either the target accumulated balance or the annual accrual amount for Account No. 228.1. At a minimum, the Study shall include data for determining a target balance for, and the annual accrual amount to, Account No. 228.1.

(m) Each utility shall file a report with the Director of the Commission Clerk providing information concerning its efforts to obtain commercial insurance for its transmission and distribution facilities and any other programs or proposals that were considered. The report shall also include a summary of the amounts recorded in Account 228.1. The report shall be filed annually by February 15 of each year for information pertaining to the previous calendar year.

(2) Account No. 228.2 Accumulated Provision for Injuries and Damages.

(a) This account may be established to meet the probable liability, not covered by insurance, for deaths or injuries to employees or others and for damages to property neither owned nor held under lease by the utility. When liability for any injury or damage is admitted or settled by the utility either voluntarily or because of the decision of a Court or other lawful authority, such as a workman’s compensation board, the admitted liability or the amount of the settlement shall be charged to this account.

(b) Charges to this account shall be made for all losses covered. Detailed supporting records of charges made to this account shall be maintained in such a way that the year the event occurred which gave rise to the loss can be associated with the settlement. Recoveries or reimbursements for losses charged to the account shall be credited to the account.

(3) Account No. 228.4 Accumulated Miscellaneous Operating Provisions.

(a) This account may be established for operating provisions which are not covered elsewhere. This account shall be maintained in such a manner as to show the amount of each separate provision established by the utility and the nature and amounts of the debits and credits thereto. Each separate provision shall be identified as to purpose and the specific events to be charged to the account to ensure that all such events and only those events are charged to the provision accounts.

(b) Charges to this account shall be made for all costs or losses covered. Recoveries or reimbursements for amounts charged to this account shall be credited hereto.

(4)(a) The provision level and annual accrual rate for each account listed in subsections (1) through (3) shall be evaluated at the time of a rate proceeding and adjusted as necessary. However, a utility may petition the Commission for a change in the provision level and accrual outside a rate proceeding.

(b) If a utility elects to use any of the above listed accumulated provision accounts, each and every loss or cost which is covered by the account shall be charged to that account and shall not be charged directly to expenses except as provided for in paragraphs (1)(f), (1)(g) and (1)(h). Charges shall be made to accumulated provision accounts regardless of the balance in those accounts.

(c) No utility shall fund any account listed in subsections (1) through (3) unless the Commission approves such funding. Existing funded provisions which have not been approved by the Commission shall be credited by the amount of the funded balance with a corresponding debit to the appropriate current asset account, resulting in an unfunded provision.

Rulemaking Authority 366.05(1) FS. Law Implemented 350.115, 366.04(2)(a) FS. History–New 3-17-88, Amended 6-11-07.

- 25-6.0144 Fair Value of Energy Produced While Testing Electric Generating Units.

(1) This rule defines the “fair value” of energy generated while testing an electric generating unit under construction and before the unit is declared commercial, in conformity with the Uniform System of Accounts as adopted by the Commission.

(2) The Uniform System of Accounts for electric utilities requires that:

(a) Earnings and expenses during construction constitute a component of construction costs;

(b) Earnings include revenues received or earned for power produced by generating plants during the construction period which is sold or used by the utility; and

(c) Where power generated by a plant under construction is delivered to the utility’s electric system for distribution and sale, or is delivered to an associated company, or is delivered to and used by the utility for purposes other than distribution or sale, the utility’s construction work order shall be credited with the “fair value” of the energy so delivered.

(3) The “fair value” of energy for this purpose shall be the lower of either:

(a) The actual cost of fuel and related fuel expenses during the testing period; or

(b) The actual cost of fuel and related fuel expenses during the testing period with appropriate adjustments to reflect normal operating efficiency. The adjusted cost of fuel shall be equal to the quantity of fuel that would have been consumed to produce the same net megawatt hours under normal operating conditions, multiplied by the utility’s current monthly chargeout price for fuel.

(4) The amount of the fair value credit to the construction work order shall be concurrently charged to the appropriate fuel and other operation and maintenance expense accounts.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(2) FS. History–New 10-6-94.

- 25-6.015 Location and Preservation of Records.

(1) All records that a utility is required to keep by reason of these or other rules prescribed by the Commission shall be kept at the office or offices of the utility within this state, unless otherwise authorized by the Commission.

(2) Any utility that keeps its records outside of the state shall reimburse the Commission for the reasonable travel expenses incurred by each Commission representative during any review of the out-of-state records of the utility or its affiliates. Reasonable travel expenses are those travel expenses that are equivalent to travel expenses paid by the Commission in the ordinary course of its business.

(a) The utility shall remit reimbursement for out-of-state travel expenses within 30 days from the date the Commission mails the invoice.

(b) The reimbursement requirement in subsection (2) shall be waived for any utility that makes its out-of-state records available at the utility’s office located in Florida or at another mutually agreed upon location in Florida within 10 working days from the Commission’s initial request. If the utility demonstrates that 10 working days is not reasonable because of the complexity and nature of the issues involved or the volume and type of material requested, the Commission will establish a different time frame for the utility to bring records into the state. For individual data requests made during an audit, the response time frame in Rule 25-6.0151, F.A.C., shall control.

(3) All records shall be preserved in accordance with the Federal Energy Regulatory Commission’s regulations, Title 18, Subchapter C, Part 125, Code of Federal Regulations, entitled “Preservation of Records of Public Utilities and Licensees” (2013), which is hereby incorporated by reference into this rule, with the exception of the records listed in paragraph (3)(a) of this rule and may be accessed at http://www.flrules.org/Gateway/reference.asp?No=Ref-04828. Instead, utilities shall retain records listed in paragraph (3)(a) of this rule for the periods indicated.

(a) The Code of Federal Regulations items listed below are exceptions to the Schedule of Records and Periods of Retention contained in Title 18, Subchapter C, Section 125.3, Code of Federal Regulations:

1. Item 2(a), minute books of stockholders’, directors’, and directors’ committee meetings, earlier of 20 years or termination of the corporation’s existence;

2. Item 6(a)(1), general ledgers, 20 years;

3. Item 6(a)(2), ledgers: subsidiary or auxiliary, 20 years;

4. Item 7, journals: general and subsidiary, 20 years;

5. Item 8(a), journal vouchers and journal entries, 20 years; and

6. Item 20(a), appraisals and valuations made by the company of its properties or investments or of the properties or investments of any associated companies (includes all records essential thereto), 10 years after appraisal.

(b) The utility shall not be required to retain original source documents once the documents have been added to a storage and retrieval system that consistently produces clear, readable copies of source documents and the content of the documents is identical to the originals including any handwritten notations on the documents.

(c) The utility shall maintain written procedures governing the conversion of source documents to a storage and retrieval system, which procedures ensure the authenticity of documents and the completeness of records. Records maintained in the storage and retrieval system must be searchable and readable.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.05(1), (9), (11), 366.08, 366.093(1) FS. History–New 7-29-69, Amended 7-19-72, 1-11-76, 9-28-81, 11-18-82, Formerly 25-6.15, Amended 10-1-86, 11-2-87, 6-23-93, 11-13-95, 6-6-04, 2-2-15.

- 25-6.0151 Audit Access to Records.

This rule addresses the reasonable access to utility and affiliate records provided by Section 366.093(1), F.S., for the purposes of management and financial audits.

(1) The audit scope, audit program and objectives, and audit requests are not constrained by relevancy standards narrower than those provided by Section 366.093(1), F.S.

(2) Reasonable access means that company responses to audit requests for access to records shall be fully provided within the time frame established by the auditor. In establishing a due date, the auditor shall consider the location of the records, the volume of information requested, the number of pending requests, the amount of independent analysis required, and reasonable time for the utility to review its response for possible claims of confidentiality or privilege.

(3) In those instances where the utility disagrees with the auditor’s assessment of a reasonable response time to the request, the utility shall first attempt to discuss the disagreement with the auditor and reach an acceptable revised date. If agreement cannot be reached, the utility shall discuss the issue with successive levels of supervisors at the Commission until an agreement is reached. If necessary, a final decision shall be made by the Prehearing Officer. If the audit is related to an undocketed case, the Chairman shall make the decision.

(4) The utility and its affiliates shall have the opportunity to safeguard their records by copying them or logging them out, provided, however, that safeguard measures shall not be used to prevent reasonable access by Commission auditors to utility or affiliate records.

(5) Reasonable access to records includes reasonable access to personnel to obtain testimonial evidence in response to inquiries or through interviews.

(6) Nothing in this rule shall preclude Commission auditors from making copies or taking notes. In the event these notes relate to documents for which the company has asserted confidential status, such notes shall also be given confidential status.

(7) Form PSC/APA 6 (2/95), entitled “Audit Document And Record Request/Notice of Intent” is incorporated by reference into this rule. This form is used by auditors when requests are formalized. This form documents audit requests, the due dates for responses, and all Notices of Intent to Seek Confidential Classification.

Rulemaking Authority 350.127(2) FS. Law Implemented 366.093(1) FS. History–New 2-28-95.

- 25-6.016 Maps and Records.

(1) Each utility shall keep and, upon request, provide the Commission with an adequate description or maps defining the territory it serves.

(2) Each utility shall maintain primary maps, records, diagrams or drawings showing the location of its major units of operating property.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.04(2)(c), (d), (e), (5), 366.05(1), (7) FS. History–New 7-29-69, Formerly 25-6.16.

- 25-6.018 Records of Interruptions and Commission Notification of Threats to Bulk Power Supply Integrity or Major Interruptions of Service.

(1) Each utility shall keep a record of all major and/or prolonged interruptions to services affecting an entire community or a substantial portion of a community. Such record shall show cause for interruption, date, time duration, remedy, and steps taken to prevent recurrence, where applicable.

(2) The Commission shall be notified as soon as practicable of:

(a) Any action to maintain bulk power supply integrity by:

1. Requests to the public to reduce the consumption of electricity for emergency firm customer load reduction purposes.

2. Reducing voltage which affects firm customer load.

3. Reducing firm customer loads by manual switching, operation of automatic load-shedding devices, or any other means except under direct load management programs as approved by the Commission.

(b) Any loss in service for 15 minutes or more of bulk electric power supply to aggregate firm customer loads exceeding 200 megawatts.

(c) Any bulk power supply malfunction or accident which constitutes an unusual threat to bulk power supply integrity. The utility shall file a complete report with the Commission of steps taken to resume normal operation or restore service and prevent recurrence, where applicable, within 30 days of return to normal operation unless impracticable, in which event the commission may authorize an extension of time.

(3) Each utility with interruptible or curtailable rate schedules shall provide a report to the Commission of customer interruptions and curtailments for each applicable rate schedule. The report shall include the reason for interruption or curtailment, the date, time, and duration of the interruption or curtailment, and amount of load shed. For utilities with optional billing provisions which provide for the utility to purchase power from another utility and supply it directly to the interrupted or curtailed customer, the report to the Commission shall include the source, date, time, and amount of purchase, in megawatt hours, and cost per megawatt hour for those months when purchases are made under the optional billing provision. Beginning on July 1, 2004, the report shall be filed quarterly and no later than 30 days after the end of the reported quarter. If there were no interruptions, curtailments, or optional billing events in the quarter, the report shall so state. Reports of customer interruptions or curtailments are not required when done under direct load management programs as approved by the Commission.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.04(2)(c), (f), (5), 366.055 FS. History–New 7-29-69, Amended 4-13-80, Formerly 25-6.18, Amended 4-27-04.

- 25-6.0183 Electric Utility Procedures for Generating Capacity Shortage Emergencies.

The Commission adopts the Florida Reliability Coordinating Council’s Generating Capacity Shortage Plan, dated July 2007, as the Commission’s plan to address generating capacity shortage emergencies within Florida. A copy of the Generating Capacity Shortage Plan may be obtained from the Director, Division of Engineering, Florida Public Service Commission.

Rulemaking Authority 350.127(2), 366.05 FS. Law Implemented 366.04(2)(c), (f), (5) FS. History–New 2-12-91, Amended 3-19-98, 4-27-03, 5-1-08.

- 25-6.0185 Electric Utility Procedures for Long-Term Energy Emergencies.

(1) Each electric utility in Florida that owns or controls electric generation facilities must have on file with the Commission a long-term energy emergency plan to establish a systematic and effective means of anticipating, assessing, and responding to a long-term emergency caused by a fuel supply shortage. A long-term utility energy emergency exists when the fuel supplies of an individual utility are decreasing or are anticipated to decrease below a level adequate to provide continuous, uninterrupted service to its customers.

(2) Beginning on January 31, 1999, and every three calendar years thereafter, each utility subject to this rule must notify the Commission in writing that the utility has reviewed its fuel emergency plan.

(a) If a utility determines that its existing plan requires modification, a revised plan shall be submitted for Commission approval with the notification of review.

(b) If a utility determines no changes are necessary, the utility must file a letter stating that the required review has been conducted and that the existing plan continues to be adequate.

(3) At the time the utility submits its revised plan to the Commission, it shall also provide a copy of the plan to the Florida Reliability Coordinating Council (FRCC).

(4) The Commission shall review and either approve or reject each utility’s plan. The Commission’s review shall consider whether each utility’s plan adequately:

(a) Identifies specific actions to be taken by the utility upon the Governor’s declaration of a fuel supply emergency;

(b) Addresses interchange of energy and the physical sharing of fuel stocks or fuel deliveries or both;

(c) Sets priorities for customer interruptions; and

(d) Establishes objective criteria for notifying the Chairman of the FRCC Reliability Assessment Group (RAG) of the existence of a long-term energy emergency on the system of the utility.

(5) In reviewing individual utility plans of electric utilities serving areas west of the Apalachicola River, whose electric facilities and emergency contingency plans are coordinated with utilities outside of Florida, the Commission will take into account such utilities’ geographical location and interconnections with utilities outside of Florida.

(6) Plans not approved by the Commission shall be revised and resubmitted to the Commission pursuant to Commission order and within the time specified in the order.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(5), 366.05(7) FS. History–New 6-28-82, Formerly 25-6.185, Amended 3-24-99.

- 25-6.019 Notification of Events.

(1) Form PSC/ENG 159 (12/12), entitled “Electric Utility Event Report – Injury,” is incorporated in this rule by reference and may be obtained from the Commission’s Division of Administrative and Information Technology Services and is also available at http://www.flrules.org/Gateway/reference.asp?No=Ref-02041. As soon as practicable, but no later than two business day after it learns of the occurrence, each investor-owned electric utility, rural electric cooperative, and municipal electric utility shall notify the Commission Clerk, in writing, using Form PSC/ENG 159 (12/12), of any event involving any part of the electrical system which:

(a) Involves death or injury requiring hospitalization of non-utility persons, or

(b) Is significant from a safety standpoint in the judgment of the utility even though it is not required by paragraph (a).

(2) Form PSC/ENG 158 (12/12) entitled “Electric Utility Event Report – Damages,” is incorporated into this rule by reference and may be obtained from the Commission’s Division of Administrative and Information Technology Services and is also available at http://www.flrules.org/Gateway/reference.asp?No=Ref-02041. Each investor-owned electric utility, rural electric cooperative, and municipal electric utility shall report, in writing, to the Commission Clerk, using Form PSC/ENG 158 (12/12), within 30 days of learning of any event involving any part of the electrical system that:

(a) Involves damage to the property of others for an amount in excess of $10,000, or,

(b) Causes significant damage, in the judgment of the utility, to the utility’s facilities.

(3) Unless requested by the Bureau of Safety, reports are not required with respect to personal injury, death, or property damage resulting from vehicular equipment striking poles and/or other utility property or events directly caused by:

(a) A storm named by the National Hurricane Center;

(b) A tornado recorded by the National Weather Service;

(c) Ice on line;

(d) An extreme weather or fire event causing activation of the county emergency operation center.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(2)(f), (6), 366.05(1) FS. History–New 7-29-69, Amended 4-13-80, Formerly 25-6.19, Amended 12-16-12.

- 25-6.020 Record of Applications for Service.

Each utility shall accept and keep a record of each application for service within its service area. The record shall show the name and address of the applicant, date of application, date service is desired and, in those instances where service is not initiated promptly, the reason for the delay. Such records shall be preserved until service is made available or as otherwise provided under subsection 25-6.015(2), F.A.C.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.05(1) FS. History–New 7-29-69, Formerly 25-6.20.

- 25-6.021 Records of Complaints.

Each utility shall keep a record of all written complaints received. The record shall show the name and address of the complainant, the date received, the nature of the complaint, the result of any investigation, the disposition of the complaint and the date of such disposition. Cf. subsection 25-6.094(1), F.A.C., for the definition of “complaint” for the purpose of this rule.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(1) FS. History–New 7-29-69, Formerly 25-6.21.

- 25-6.022 Record of Metering Devices and Metering Device Tests.

(1) For all types of utility-performed tests, a test record shall be made whenever a unit of metering equipment is tested, but need not be retained after the equipment is again tested unless the test is made in accordance with Rule 25-6.059 or Rule 25-6.060, F.A.C. When equipment accuracy testing is required under Rule 25-6.059 or Rule 25-6.060, F.A.C., any record of accuracy testing for disputed equipment that is on file at the time the customer request is made under Rule 25-6.059 or Rule 25-6.060, F.A.C., must be retained until the dispute is resolved. The record shall show information to identify the unit and its location; equipment with which the unit is associated; the date of the test; reason for the test; readings before and after the test; if the meter creeps, a statement as to the rate of creeping; a statement of the “as found” accuracy; indications showing that all required checks have been made; a statement of repairs made, if any; and identification of the person making the test. The completion of each test will signify the “as left” accuracy falls within the required limits specified in Rule 25-6.052, F.A.C., unless the meter is to be retired.

(2) Each utility shall keep a record for each unit of metering equipment showing the date the unit was purchased, if available; the utility’s identification; associated equipment; essential name plate data; date of test; results of “as found” test; and location where installed with date of installation.

(3) Records of Test for Incoming Purchases. Regardless whether the newly purchased metering equipment is tested under a Random Sampling Plan approved pursuant to Rule 25-6.056, F.A.C., each utility shall maintain and make available to the Commission for each purchase of new meters and associated devices made during the calendar or fiscal year, the following information:

(a) Type of equipment, including manufacturer, model number, and any features which will subsequently be used to classify the units purchased into a population of units for in-service tests;

(b) The number of units purchased;

(c) The total number of units tested;

(d) The number of units tested measuring each percent registration recorded;

(e) Average percent registration;

(f) Standard deviation about the average percent registration (population or sample standard deviation);

(g) Results regarding whether the units tested meet the utility’s acceptance criteria; and

(h) If a utility does not perform its tests for incoming purchases, the data provided by equipment manufacturers concerning units tested on a 100 percent basis by the manufacturer, with the manufacturer’s test results used as a basis for acceptance testing, shall also be retained.

(4) Records of Periodic and Annual In-Service Meters Tests. Each utility shall maintain test records for each periodic and annual in-service test of electric meters and associated devices in such a manner that the information listed in paragraphs (4)(a) through (h) is readily available to the Commission on request. These data shall be maintained for units of metering equipment tested under approved Random Sampling Plans and for units tested under periodic testing programs, and shall be summarized on an annual basis.

(a) Type of equipment, including manufacturer, model number, and any features that are currently used to classify the units tested into a population of units for in-service tests;

(b) The number of units in the population;

(c) The total number of units tested;

(d) The number of units tested measuring each percent registration recorded;

(e) Average percent registration;

(f) Standard deviation about the average percent registration (population or sample standard deviation);

(g) Results showing whether the units tested under an approved random sampling program meet the utility’s acceptance criteria; and

(h) A statement of the action to be taken to make further tests or replace inaccurate units, when the units tested under an approved random sampling program do not meet the acceptance criteria.

(i) The information regarding units tested during the year but not tested under a Random Sampling Plan or a periodic testing program need not be maintained as listed in paragraphs (4)(a) through (h) or be summarized on an annual basis.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(1), (3), 366.04(2)(f) FS. History–New 7-29-69, Formerly 25-6.22, Amended 5-19-97, 7-3-06.

- PART III GENERAL MANAGEMENT REQUIREMENTS

- 25-6.033 Tariffs.

(1) Each utility may adopt such additional non-discriminatory rules and regulations governing its relations with customers as are necessary and which are not inconsistent with these rules or orders of the Commission. Such rules and regulations shall constitute an integral part of the utility’s tariffs and shall be filed with them.

(2) Each utility shall file with the Commission tariffs containing schedules for all rates and charges and copies of all rules and regulations governing the relation of customer and utility.

(a) Each utility shall include in its tariffs without limiting them to the following provisions:

1. Definitions of classes of customers.

2. Rules with which prospective customers must comply as a condition of receiving service, and the terms of contracts required.

3. Rules governing the establishment of credit by customers for payment of service bills.

4. Rules governing deposits and interest on deposits.

5. Rules governing the procedure followed in disconnecting and reconnecting service.

6. Notice by customer required for having service discontinued.

7. Rules governing temporary, emergency, auxiliary or stand-by service.

8. Rules covering billing periods.

9. Rules covering customer’s construction requirements.

10. Rules covering a special type of construction commonly requested by customers which the utility allows to be connected and terms upon which such construction will be permitted. This applies, for example, to a case where a customer desires underground service in overhead territory.

11. Rules covering such portion of service which the utility furnished, owns, and maintains.

12. Rules covering inspection of customer-owned facilities by proper authorities before service is rendered.

(3) All tariff filings shall be in the manner and form as prescribed by the Commission under separate Order entitled “Rules and Regulations Governing the Construction and Filing of Tariffs by Public Utilities.”

(4) No rules and regulations, or schedules of rates or charges, or modification or revisions of the same, shall be effective until filed with and approved by the Commission as provided by Law.

(5) A copy of the rules contained herein, as promulgated and adopted by the Commission, also a copy of the rate schedules and rules and regulations of the utility as filed with the Commission, shall be kept on file in the local commercial offices of the utility for inspection by its customers. A customer shall, upon request, be furnished a copy of the rate schedule applicable to his service.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.06 FS. History–New 7-29-69, Formerly 25-6.33.

- 25-6.034 Standard of Construction.

(1) The facilities of each utility shall be constructed, installed, maintained and operated in accordance with generally accepted engineering practices to assure, as far as is reasonably possible, continuity of service and uniformity in the quality of service furnished.

(2) Each utility shall, at a minimum, comply with the National Electrical Safety Code [ANSI C-2] [NESC], incorporated by reference in Rule 25-6.0345, F.A.C.

(a) For facilities constructed on or after February 1, 2007, the 2007 NESC shall apply. A copy of the 2007 NESC, ISBN number 0-7381-4893-8, may be obtained from the Institute of Electric and Electronic Engineers, Inc. (IEEE), 3 Park Avenue, New York, NY, 10016-5997.

(b) Facilities constructed prior to February 1, 2007, shall be governed by the edition of the NESC specified by subsections 013.B.1, 013.B.2, and 013.B.3 of the 2007 NESC, incorporated by reference in Rule 25-6.0345, F.A.C.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(2)(c), (f), (5), 366.05(1) FS. History–New 7-29-69, Amended 12-20-82, Formerly 25-6.34, Amended 2-1-07.

- 25-6.0341 Location of the Utility’s Electric Distribution Facilities.

(1) In order to facilitate safe and efficient access for installation and maintenance, to the extent feasible and cost-effective, electric distribution facilities shall be placed adjacent to a public road, normally in front of the customer’s premises.

(2) For initial installation, expansion, rebuild, or relocation of overhead facilities, utilities shall use easements, public streets, roads and highways along which the utility has the legal right to occupy, and public lands and private property across which rights-of-way and easements have been provided by the applicant for service.

(3) For initial installation, expansion, rebuild, or relocation of underground facilities, the utility shall require the applicant for service to provide easements along the front edge of the property, unless the utility determines there is an operational, economic, or reliability benefit to use another location.

(4) For conversions of existing overhead facilities to underground facilities, the utility shall, if the applicant for service is a local government that provides all necessary permits and meets the utility’s legal, financial, and operational requirements, place facilities in road rights-of-way in lieu of requiring easements.

(5) Where the expansion, rebuild, or relocation of electric distribution facilities affects existing third-party attachments or the facilities of existing joint users, and will result in the relocation of such facilities to a new location adjacent to a public road, the utility shall notify and attempt in good faith to accommodate concerns raised by third-party attachers and joint users, including input and concerns related to the cost impacts of the proposed relocation on attaching entities. The electric utility shall also, to the extent practical, coordinate the construction of its facilities with the affected third-party attachers and joint users.

(6) Any dispute or challenge related to the implementation of this rule by a customer, applicant for service, or attaching entity shall be resolved by the Commission.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(2)(c), (5), (6), 366.05(1) FS. History–New 2-1-07.

- 25-6.0342 Electric Infrastructure Storm Hardening.

(1) Application and Scope. This rule is intended to ensure the provision of safe, adequate, and reliable electric transmission and distribution service for operational as well as emergency purposes; require the cost-effective strengthening of critical electric infrastructure to increase the ability of transmission and distribution facilities to withstand extreme weather conditions; and reduce restoration costs and outage times to end-use customers associated with extreme weather conditions. This rule applies to all investor-owned electric utilities.

(2) Storm Hardening Plans. Each utility shall, no later than 90 days after the effective date of this rule, file with the Commission for its approval a detailed storm hardening plan. Each utility’s plan shall be updated every 3 years, unless the Commission, on its own motion or on petition by a substantially affected person or utility, initiates a proceeding to review and, if appropriate, modify the plans. In a proceeding to approve a utility’s plan, the Commission shall consider whether the utility’s plan meets the desired objectives of enhancing reliability and reducing restoration costs and outage times in a prudent, practical, and cost-effective manner to the affected parties.

(3) Contents of Plan: Each utility storm hardening plan shall contain a detailed description of the construction standards, policies, practices, and procedures employed to enhance the reliability of overhead and underground electrical transmission and distribution facilities in conformance with the provisions of this rule. Each filing shall, at a minimum, address the extent to which the utility’s storm hardening plan:

(a) Complies, at a minimum, with the National Electric Safety Code (ANSI C-2) [NESC] that is applicable pursuant to subsection 25-6.0345(2), F.A.C.

(b) Adopts the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC for the following distribution facilities:

1. New construction;

2. Major planned work, including expansion, rebuild, or relocation of existing facilities, assigned on or after the effective date of this rule; and

3. Critical infrastructure facilities and along major thoroughfares taking into account political and geographical boundaries and other applicable operational considerations.

(c) Is designed to mitigate damage to underground and supporting overhead transmission and distribution facilities due to flooding and storm surges.

(d) Provides for the placement of new and replacement distribution facilities so as to facilitate safe and efficient access for installation and maintenance pursuant to Rule 25- 6.0341, F.A.C.

(4) Deployment Strategy: Each utility storm hardening plan shall explain the systematic approach the utility will follow to achieve the desired objectives of enhancing reliability and reducing restoration costs and outage times associated with extreme weather events. The utility’s storm hardening plan shall provide a detailed description of its deployment strategy including, but not limited to the following:

(a) A description of the facilities affected; including technical design specifications, construction standards, and construction methodologies employed.

(b) The communities and areas within the utility’s service area where the electric infrastructure improvements, including facilities identified by the utility as critical infrastructure and along major thoroughfares pursuant to subparagraph (3)(b)3. are to be made.

(c) The extent to which the electric infrastructure improvements involve joint use facilities on which third-party attachments exist.

(d) An estimate of the costs and benefits to the utility of making the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages.

(e) An estimate of the costs and benefits, obtained pursuant to subsection (6) below, to third-party attachers affected by the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages realized by the third-party attachers.

(5) Attachment Standards and Procedures: As part of its storm hardening plan, each utility shall maintain written safety, reliability, pole loading capacity, and engineering standards and procedures for attachments by others to the utility’s electric transmission and distribution poles (Attachment Standards and Procedures). The Attachment Standards and Procedures shall meet or exceed the edition of the National Electrical Safety Code (ANSI C-2) that is applicable pursuant to Rule 25-6.034, F.A.C. so as to assure, as far as is reasonably practicable, that third-party facilities attached to electric transmission and distribution poles do not impair electric safety, adequacy, or pole reliability; do not exceed pole loading capacity; and are constructed, installed, maintained, and operated in accordance with generally accepted engineering practices for the utility’s service territory.

(6) Input from Third-Party Attachers: In establishing its storm hardening plan and Attachment Standards and Procedures, or when updating or modifying such plan or Attachment Standards and Procedures, each utility shall seek input from and attempt in good faith to accommodate concerns raised by other entities with existing agreements to share the use of its electric facilities. Any third-party attacher that wishes to provide input under this subsection shall provide the utility contact information for the person designated to receive communications from the utility.

(7) Dispute Resolution: Any dispute or challenge to a utility’s storm hardening plan, construction standards, deployment strategy, Attachment Standards and Procedures, or any projects implementing any of the above by a customer, applicant for service, or attaching entity shall be resolved by the Commission.

(8) Nothing in this rule is intended to conflict with Title 47, United States Code, Section 224, relating to Federal Communications Commission jurisdiction over pole attachments.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(2)(c), (5), (6), 366.05(1) FS. History–New 2-1-07.

- 25-6.0343 Municipal Electric Utility and Rural Electric Cooperative Reporting Requirements.

(1) Application and Scope. The purpose of this rule is to define certain reporting requirements by municipal electric utilities and rural electric cooperatives providing distribution service to end-use customers in Florida.

(2) The reports required by subsections (3), (4), and (5) of this rule shall be filed with the Commission Clerk by March 1 of each year for the preceding calendar year.

(3) Standards of Construction. Each municipal electric utility and rural electric cooperative shall report the extent to which its construction standards, policies, practices, and procedures are designed to address the ability of transmission and distribution facilities to mitigate damage caused by extreme weather. Each utility report shall, at a minimum, address the extent to which its construction standards, policies, guidelines, practices, and procedures:

(a) Comply, at a minimum, with the National Electrical Safety Code (ANSI C-2) [NESC]. For electrical facilities constructed on or after February 1, 2007, the 2007 NESC shall apply. Electrical facilities constructed prior to February 1, 2007, shall be governed by the edition of the NESC in effect at the time of the facility’s initial construction. A copy of the 2007 NESC, ISBN number 0-7381-4893-8, may be obtained from the Institute of Electric and Electronic Engineers, Inc. (IEEE).

(b) Are guided by the extreme wind loading standards specified by Figure 250-2(d) of the 2002 edition of the NESC for:

1. New construction;

2. Major planned work, including expansion, rebuild, or relocation of existing facilities, assigned on or after the effective date of this rule; and

3. Targeted critical infrastructure facilities and major thoroughfares taking into account political and geographical boundaries and other applicable operational considerations.

(c) Address the effects of flooding and storm surges on underground distribution facilities and supporting overhead facilities.

(d) Provide for placement of new and replacement distribution facilities so as to facilitate safe and efficient access for installation and maintenance.

(e) Include written safety, pole reliability, pole loading capacity, and engineering standards and procedures for attachments by others to the utility’s electric transmission and distribution poles.

(4) Facility Inspections. Each municipal electric utility and rural electric cooperative shall report, at a minimum, the following information pertaining to its transmission and distribution facilities:

(a) A description of the utility’s policies, guidelines, practices, and procedures for inspecting transmission and distribution lines, poles, and structures including, but not limited to, pole inspection cycles and pole selection process.

(b) The number and percentage of transmission and distribution inspections planned and completed.

(c) The number and percentage of transmission poles and structures and distribution poles failing inspection and the reason for the failure.

(d) The number and percentage of transmission poles and structures and distribution poles, by pole type and class of structure, replaced or for which remediation was taken after inspection, including a description of the remediation taken.

(5) Vegetation Management. Each municipal electric utility and rural electric cooperative shall report, at a minimum, the following information pertaining to the utility’s vegetation management efforts:

(a) A description of the utility’s policies, guidelines, practices, and procedures for vegetation management, including programs addressing appropriate planting, landscaping, and problem tree removal practices for vegetation management outside of road right-of-ways or easements, and an explanation as to why the utility believes its vegetation management practices are sufficient.

(b) The quantity, level, and scope of vegetation management planned and completed for transmission and distribution facilities.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(2)(f), (6) FS. History–New 12-10-06.

- 25-6.0345 Safety Standards for Construction of New Transmission and Distribution Facilities.

The Commission adopts and incorporates by reference the 2012 edition of the National Electrical Safety Code (ANSI C-2) [NESC], as the applicable safety standards for transmission and distribution facilities subject to the Commission’s safety jurisdiction. Each investor-owned electric utility, rural electric cooperative, and municipal electric system shall, at a minimum, comply with the standards in these provisions. A copy of the NESC may be obtained from the Institute of Electric and Electronic Engineers, Inc. (IEEE), 3 Park Avenue, New York, NY 10016-5997.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(2), (6) FS. History–New 8-13-87, Amended 2-18-90, 11-10-93, 8-17-97, 7-16-02, 2-1-07, 12-16-12.

25-6.0346 Quarterly Reports of Work Orders and Safety Compliance.

(1) Each investor-owned electric utility, rural electric cooperative and municipal electric utility shall report all completed electric work orders, relating to the construction and/or maintenance of transmission and distribution facilities, whether completed by the utility or one of its contractors, at the end of each quarter of the year. The report shall be electronically filed with the Commission Clerk no later than the 30th working day after the last day of the reporting quarter using Form PSC/ENG 157 (12/12), “PSC Quarterly Report of Completed Work Orders,” which is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-02040. This form is incorporated into this rule by reference and may also be obtained from the Commission’s Division of Administrative and Information Technology Services.

(2) In its quarterly report, each utility shall certify to the Commission that all work described in the completed work orders listed in the quarterly report meets or exceeds the applicable standards. Compliance inspections by the Commission shall be made on a random basis or as appropriate.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(2)(f), (6), 366.05(1) FS. History–New 12-16-12.

- 25-6.035 Adequacy of Resources.

(1) Each electric utility shall maintain sufficient generating capacity, supplemented by regularly available generating and non-generating resources, in order to meet all reasonable demands for service and provide a reasonable reserve for emergencies. Each electric utility shall also coordinate the sharing of energy reserves with other electric utilities in Peninsular Florida. To achieve an equitable sharing of energy reserves, Peninsular Florida utilities shall be required to maintain, at a minimum, a 15% planned reserve margin. The planned and operating reserve margin standards established herein are intended to maintain an equitable sharing of energy reserves, not to set a prudent level of reserves for long-term planning or reliability purposes. The planned reserve margin for each utility shall be calculated as follows:

RM = [(C - L)/L]*100 where;

“RM” – Is defined as the utility’s percent planned reserve margin;

“C” – Is defined as the aggregate sum of the rated dependable peak-hour capabilities of the resources that are expected to be available at the time of the utility’s annual peak; and

“L” – Is defined as the expected firm peak load of the system for which reserves are required.

The following shall be utilized as the operating reserve standard for Peninsular Florida’s utilities: operating reserves shall be maintained by the combined Peninsular Florida system at a value equal to or greater than the loss of generation that would result from the most severe single generating unit contingency. The operating reserves shall be allocated among the utilities in proportion to each control area’s peak hour net energy for load for the preceding year, and the summer gross Florida Reliability Coordinating Council (FRCC) capability of its largest unit or ownership share of a joint unit, whichever is greater. Fifty percent shall be allocated on the basis of peak hour net energy for load and fifty percent on the basis of the summer gross FRCC capability of the largest unit. Operating reserves shall be fully available within fifteen minutes. At least 25% of the operating reserves shall be in the form of spinning reserves which are automatically responsive to a frequency deviation from normal.

(2) Treatment of Purchased Power. Only firm purchase power agreements may be included as a resource for purposes of calculating a planned or operating reserve margin. A utility may petition for waiver of this requirement based on the very high availability of specific non-firm purchases.

(3) Treatment of Shared Generating Units. Only the utility which has first call on the generating unit may count the unit towards its planned or operating reserve margin. A utility has first call on a unit if the unit is available and the utility has the contractual right to dispatch the unit to meet its native load and other firm contractual commitments before any other party to the unit’s sharing arrangement. A utility may petition the Commission for approval of other methods demonstrating equivalent reliability on a case by case basis.

(4) Treatment of Non-Firm Load. If non-firm load (i.e., customers receiving service under load management, interruptible, curtailable, or similar tariffs) is relied upon by a utility when calculating its planned or operating reserves, the utility shall be required to make such reserves available to maintain the firm service requirements of other utilities.

(5) Buy-through Power for Interruptible Customers. Interruption of service to non-firm customers is not an emergency. As such, a utility shall not be required to provide buy-through power for another utility’s interruptible customers under obligatory emergency interchange schedules.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.04(2)(c), (5), 366.055 FS. History–New 7-29-69, Formerly 25-6.35, Amended 9-5-96, 5-29-01.

- 25-6.036 Inspection of Plant.

Each utility shall adopt a program of inspection of its electric plant in order to determine the necessity for replacement and repair. The frequency of the various inspection shall be based on the utility’s experience and accepted good practice. Each utility shall keep sufficient records to give evidence of compliance with its inspection program.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.04(2)(c), (5), 366.05(1), 366.055, 366.08 FS. History–New 7-29-69, Formerly 25-6.36.

- 25-6.037 Extent of System Which Utility Shall Operate and Maintain.

Each utility, unless specifically relieved in any case by the Commission from such obligations, shall operate and maintain in safe, efficient, and proper condition, pursuant to the standards referenced herein, all of the facilities and equipment used in connection with the production, transmission, distribution, regulation, and delivery of electricity to any customer up to the point of delivery. The utility is also responsible for the safe, efficient measurement of electrical consumption consistent with test procedures and accuracies prescribed by the Commission.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.04(6), 366.05(1), (3) FS. History–New 7-29-69, Amended 4-13-80, Formerly 25-6.37.

- 25-6.038 Change in Character of Service.

If any changes are made by the utility in its existing service characteristics which would impair the safe, efficient utilization of energy by the customer’s equipment, the utility shall bear the cost of all changes necessary to adapt the customer’s equipment to the new service conditions so that such equipment will perform to the same degree of effectiveness as theretofore unless such change is necessitated by a change in the customer’s requirements.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03 FS. History–New 7-29-69, Formerly 25-6.38.

- 25-6.039 Safety.

Each utility shall establish safe work practices. These safe work practices will effect the safety of the employees, the utility, and the general public. These safe work practices shall be designed to cover general information relative to the safety for all employees and the fundamental safe requirements for the various classifications of work encountered in the operations of the utility. They shall also include instruction in accepted methods of artificial respiration for all employees subject to the hazards of electrical shock or drowning.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(1) FS. History–New 7-29-69, Formerly 25-6.39.

- 25-6.040 Grounding of Primary and Secondary Distribution System Circuits.

(1) Unless otherwise specified by the Commission, each utility shall effectively ground the neutrals of all its multigrounded distribution circuits so as to render them reasonably safe to person and property. Conformance with the applicable provisions in the publications listed in subsection 25-6.034(2), F.A.C., shall be deemed by the Commission that the system is grounded so as to be reasonably safe to person and property.

(2) Each utility shall establish a program of inspection to insure that its artificial grounds are in good mechanical condition.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(1) FS. History–New 7-29-69, Amended 4-13-80, Formerly 25-6.40.

- 25-6.042 Response to Commission Staff Inquiries.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.04(2)(f), 366.05(1) FS. History–New 4-13-80, Formerly 25-6.42, Repealed 11-28-12.

- 25-6.0423 Nuclear or Integrated Gasification Combined Cycle Power Plant Cost Recovery.

(1) Purpose. The purpose of this rule is to establish alternative cost recovery mechanisms for the recovery of costs incurred in the siting, design, licensing, and construction of nuclear or integrated gasification combined cycle power plants in order to promote electric utility investment in nuclear or integrated gasification combined cycle power plants and allow for the recovery in rates of all such prudently incurred costs.

(2) Definitions. As used in this rule, the following definitions shall apply:

(a) “Nuclear power plant” is an electrical power plant which utilizes nuclear materials as fuel.

(b) “Integrated gasification combined cycle power plant” is an electrical power plant which uses synthesis gas produced by integrated gasification technology, as defined in Sections 403.503(14) and 366.93(1)(c), F.S.

(c) “Power plant” or “plant” means a nuclear power plant or an integrated gasification combined cycle power plant.

(d) “Cost” includes, but is not limited to, all capital investments including rate of return, any applicable taxes and all expenses, including operation and maintenance expenses, related to or resulting from the siting, licensing, design, construction, or operation of the nuclear power plant, including new, expanded, or relocated electrical transmission lines or facilities of any size which are necessary thereto,  or of the integrated gasification combined cycle power plant as defined in Section 366.93(1)(a), F.S.

(e) “Site selection.” A site will be deemed to be selected upon the filing of a petition for a determination of need for a nuclear or integrated gasification combined cycle power plant pursuant to Section 403.519, F.S.

(f) “Site selection costs” are costs that are expended prior to the selection of a site.

(g) “Pre-construction costs” are costs that are expended after a site has been selected in preparation for the construction of a nuclear or integrated gasification combined cycle power plant, incurred up to and including the date the utility completes site clearing work.

(h) Site selection costs and pre-construction costs include, but are not limited to: any and all costs associated with preparing, reviewing and defending a Combined Operating License application for a nuclear power plant; costs associated with site and technology selection; costs of engineering, designing, and permitting the nuclear or integrated gasification combined cycle power plant; costs of clearing, grading, and excavation; and costs of on-site construction facilities (i.e., construction offices, warehouses, etc.).

(i) “Construction costs” are costs that are expended to construct the nuclear or integrated gasification combined cycle power plant including, but not limited to, the costs of constructing power plant buildings and all associated permanent structures, equipment and systems.

(j) “Carrying Costs” shall be calculated using the utility’s most recently approved pretax allowance for funds used during construction (AFUDC) rate at the time an increment of cost recovery is sought.

(3) After the Commission has issued a final order granting a determination of need for a power plant pursuant to Section 403.519, F.S., a utility may file a petition for Commission approvals pursuant to Section 366.93(3), F.S., in the annual nuclear or integrated gasification combined cycle cost recovery proceeding, or a separate proceeding limited in scope to address only the petition for approval.

(4) Deferred Accounting Treatment. Site selection and pre-construction costs shall be afforded deferred accounting treatment and shall, except for projected costs recovered on a projected basis in one annual cycle, accrue carrying costs until recovered in rates.

(5) Site Selection Costs. After the Commission has issued a final order granting a determination of need for a power plant pursuant to Section 403.519, F.S., a utility may file a petition for a separate proceeding, to recover prudently incurred site selection costs. This separate proceeding will be limited to only those issues necessary for the determination of prudence and alternative method for recovery of site selection costs of a power plant.

(6) Pre-Construction Costs and Carrying Costs on Construction Cost Balance. After the Commission has issued a final order granting a determination of need for a power plant pursuant to Section 403.519, F.S., a utility may petition the Commission for recovery of pre-construction costs and carrying costs of construction cost balance as follows:

(a) Pre-Construction Costs. A utility is entitled to recover, through the Capacity Cost Recovery Clause, its actual and projected pre-construction costs. The utility may also recover the related carrying costs for those costs not recovered on a projected basis. Such costs will be recovered within 1 year, unless the Commission approves a longer recovery period. Any party may, however, propose a longer period of recovery, not to exceed 2 years. Actual pre-construction costs incurred by a utility prior to the issuance of a final order granting a determination of need pursuant to Section 403.519, F.S., shall be included in the initial filing made by a utility under this subsection for review, approval, and a finding with respect to prudence.

(b) Carrying Costs on Construction Cost Balance. A utility is entitled to recover, through the utility’s Capacity Cost Recovery Clause, the carrying costs on the utility’s annual projected construction cost balance associated with the power plant. The actual carrying costs recovered through the Capacity Cost Recovery Clause shall reduce the AFUDC that would otherwise have been recorded as a cost of construction eligible for future recovery as plant in service.

(c) Cost Recovery for Nuclear or Integrated Gasification Combined Cycle Power Plant Costs.

1. Each year, pursuant to the order establishing procedure in the annual cost recovery proceeding, a utility shall submit for Commission review and approval, as part of its cost recovery filings:

a. True-Up for Previous Years. A utility shall submit its final true-up of pre-construction expenditures, based on actual preconstruction expenditures for the prior year and previously filed expenditures for such prior year and a description of the pre-construction work actually performed during such year; or, once construction begins, its final true-up of carrying costs on its construction expenditures, based on actual carrying costs on construction expenditures for the prior year and previously filed carrying costs on construction expenditures for such prior year and a description of the construction work actually performed during such year.

b. True-Up and Projections for Current Year. A utility shall submit for Commission review and approval its actual/estimated true-up of projected pre-construction expenditures based on a comparison of current year actual/estimated expenditures and the previously-filed estimated expenditures for such current year and a description of the pre-construction work projected to be performed during such year; or, once construction begins, its actual/estimated true-up of projected carrying costs on construction expenditures based on a comparison of current year actual/estimated carrying costs on construction expenditures and the previously filed estimated carrying costs on construction expenditures for such current year and a description of the construction work projected to be performed during such year.

c. Projected Costs for Subsequent Years. A utility shall submit, for Commission review and approval, its projected pre-construction expenditures for the subsequent year and a description of the pre-construction work projected to be performed during such year; or, once construction begins, its projected construction expenditures for the subsequent year and a description of the construction work projected to be performed during such year.

2. The Commission shall conduct an annual hearing to determine the reasonableness of projected pre-construction expenditures and prudence of actual pre-construction expenditures expended by the utility; or, once construction begins, to determine the reasonableness of projected construction expenditures and prudence of actual construction expenditures expended by the utility, and the associated carrying costs. The Commission shall conduct an on-going auditing and monitoring program of prior year actual construction costs and related contracts pursuant to Section 366.08, F.S. In making its determination of reasonableness and prudence the Commission shall apply the standard provided pursuant to Section 403.519(4)(e), F.S.

3. Upon a determination of prudence, prior year actual costs associated with power plant construction subject to the annual proceeding shall not be subject to disallowance or further prudence review.

4. The final true-up for the previous year, actual/estimated true-up for the current year, and subsequent year’s projected power plant costs as approved by the Commission pursuant to subparagraph (6)(c)2. will be included for cost recovery purposes as a component of the following year’s capacity cost recovery factor in the Fuel and Purchased Power Cost Recovery Clause. The utility must file all necessary revisions to the fuel and purchased power cost recovery filings no later than eight business days after the Commission’s vote.

5. Along with the filings required by this paragraph, each year a utility shall submit for Commission review and approval a detailed analysis of the long-term feasibility of completing the power plant. Such analysis shall include evidence that the utility intends to construct the nuclear or integrated gasification combined cycle power plant by showing that it has committed sufficient, meaningful, and available resources to enable the project to be completed and that its intent is realistic and practical.

(7) Failure to Enter Commercial Service. Following the Commission’s issuance of a final order granting a determination of need for the power plant, in the event the utility elects not to complete or is precluded from completing construction of the power plant, the utility shall be allowed to recover all prudent site selection costs, pre-construction costs, and construction costs.

(a) The utility shall recover such costs through the Capacity Cost Recovery Clause over a period equal to the period during which the costs were incurred or 5 years, whichever is greater.

(b) The amount recovered under this subsection will be the remaining unrecovered Construction Work in Progress balance at the time of abandonment and future payment of all outstanding costs and any other prudent and reasonable exit costs. The unrecovered balance during the recovery period will accrue interest at the utility’s overall pretax weighted average midpoint cost of capital on a Commission adjusted basis as reported by the utility in its Earnings Surveillance Report filed in December of the prior year, utilizing the midpoint of return on equity (ROE) range or ROE approved for other regulatory purposes, as applicable.

(8) Commercial Service. As operating units or systems associated with the power plant and the power plant itself are placed in commercial service:

(a) The utility shall file a petition for Commission approval of the base rate increase pursuant to Section 366.93(4), F.S., separate from any cost recovery clause petitions, that includes any and all costs reflected in such increase, whether or not those costs have been previously reviewed by the Commission; provided, however, that any actual costs previously reviewed and determined to be prudent in the Capacity Cost Recovery Clause shall not be subject to disallowance or further prudence review except for fraud, perjury, or intentional withholding of key information.

(b) The utility shall calculate the increase in base rates resulting from the jurisdictional annual base revenue requirements for the power plant in conjunction with the Capacity Cost Recovery Clause projection filing for the year the power plant is projected to achieve commercial operation. The increase in base rates will be based on the annualized base revenue requirements for the power plant for the first 12 months of operations consistent with the cost projections filed in conjunction with the Capacity Cost Recovery Clause projection filing.

(c) At such time as the power plant is included in base rates, recovery through the Capacity Cost Recovery Clause will cease, except for the difference between actual and projected construction costs as provided in subparagraph (6)(c)4. above.

(d) The rate of return on capital investments shall be calculated using the utility’s most recent actual Commission adjusted basis overall weighted average rate of return as reported by the utility in its most recent Earnings Surveillance Report prior to the filing of a petition as provided in paragraph (8)(a). The return on equity cost rate used shall be the midpoint of the last Commission approved range for return on equity or the last Commission approved return on equity cost rate established for use for all other regulatory purposes, as appropriate.

(e) The jurisdictional net book value of any existing generating plant that is retired as a result of operation of the power plant shall be recovered through an increase in base rate charges over a period not to exceed 5 years. At the end of the recovery period, base rates shall be reduced by an amount equal to the increase associated with the recovery of the retired generating plant.

(9) A utility shall, contemporaneously with the filings required by paragraph (6)(c) above, file a detailed statement of project costs sufficient to support a Commission determination of prudence, including, but not limited to, the information required in paragraphs (9)(b) – (9)(e), below.

(a) Subject to suitable confidentiality agreements or, to the extent necessary, protective orders issued by the Commission, a utility will ensure reasonably contemporaneous access, which may include access by electronic means, for review by parties of all documents relied on by utility management to approve expenditures for which cost recovery is sought. Access to any information that is “Safeguards Information” as defined in 42 U.S.C. 2167 and 10 C.F.R. 73.21, incorporated by reference into this rule, shall only be in accordance with applicable Nuclear Regulatory Commission requirements. 42 U.S.C. §2167 (2012) may be accessed at http://www.flrules.org/Gateway/reference.asp?No=Ref-03632. 10 C.F.R. §73.21 (2013) may be accessed at http://www.flrules.org/gateway/reference.asp?No=Ref-03577.

(b) Regarding technology selected, a utility shall provide a description of the technology selected that includes, but is not limited to, a review of the technology and the factors leading to its selection.

(c) The annual true-up and projection cost filings shall include a list of contracts executed in excess of $1 million to include the nature and scope of the work, the dollar value and term of the contract, the method of vendor selection, the identity and affiliation of the vendor, and current status of the contract.

(d) Final true-up filings and actual/estimated true-up filings will include monthly expenditures incurred during those periods for major tasks performed within Site Selection, Preconstruction and Construction categories. A utility shall provide annual variance explanations comparing the current and prior period to the most recent projections for those periods filed with the Commission.

(e) Projection filings will include monthly expenditures for major tasks performed within Site Selection, Preconstruction and Construction categories.

(f) Annual Reports Required by Rule 25-6.135, F.A.C. On an annual basis following issuance of the final order granting a determination of need and until commercial operation of the power plant, a utility shall include the budgeted and actual costs as compared to the estimated in-service costs of the power plant as provided in the petition for need determination in its annual report filed pursuant to Rule 25-6.135, F.A.C. The estimates provided in the petition for need determination are non-binding estimates. Some costs may be higher than estimated and other costs may be lower. A utility shall provide such revised estimated in-service costs as may be necessary in its annual report.

Rulemaking Authority 350.127(2), 366.05(1), 366.93(2) FS. Law Implemented 366.93 FS. History–New 4-8-07, Amended 2-3-08, 1-29-14.

25-6.0424 Petition for Mid-Course Correction.

(1) To request a mid-course correction to the fuel cost recovery or capacity cost recovery factors, a utility shall file a petition for mid-course correction which shall contain the following information:

(a) The estimated percentage of year-end over-recovery or under-recovery calculated using the estimated End-of-Period Total Net True-up divided by the current period’s total actual and estimated Jurisdictional Fuel Revenue Applicable to Period. The estimated End-of-Period Total Net True-up consists of the difference between estimated and actual prior-period net true-ups, plus the estimated current-period monthly over/under-recoveries, plus the estimated current-period interest. The total actual and estimated Jurisdictional Fuel Revenue Applicable to Period consists of the best estimate of reprojected revenues for the period using the current cost recovery factor. The appropriate method to determine the over-recovery or under-recovery percentage for capacity costs is to make a similar percent calculation using up-to-date capacity cost recovery revenue and true-up amounts.

(b) The appropriate schedules from Form PSC/AFD 009-E (07/10) reflecting the estimated End-of-Period Total Net True-up based upon current cost recovery factors and revised fuel expenses. For a fuel mid-course correction, schedules E1 through E10 shall be filed. For a capacity mid-course correction, schedules E12-A through E12-E shall be filed. Form PSC/ECR 009-E (07/10), incorporated by reference in this rule and entitled “Mid-Course Correction Schedules,” may be obtained from the Commission’s Division of Accounting and Finance.

(2) In the event that the absolute value of the over-recovery or under-recovery either for fuel cost recovery or capacity cost recovery is 10 percent or greater, the utility shall promptly notify the Commission by letter delivered to the Commission Clerk. The notification of a 10 percent or greater estimated over-recovery or under-recovery shall include a petition for mid-course correction to the fuel cost recovery or capacity cost recovery factors, or shall include an explanation of why a mid-course correction is not practical. This section in no way precludes a utility from requesting a mid-course correction prior to reaching the 10 percent threshold requiring Commission notification.

(3) When filing a petition for mid-course correction to the fuel cost recovery or capacity cost recovery factors, a utility shall file 10 copies of the petition with the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, and an electronic copy with the Commission Clerk at Clerk@psc.state.fl.us. The Director of the Division of Accounting and Finance shall be the designee of the Commission for purposes of determining whether the utility has met the minimum filing requirements imposed by this rule.

Rulemaking Authority 350.127(2), 366.06(1) FS. Law Implemented 366.041, 366.05(1), 366.06(1), 366.076 FS. History–New 7-19-10.

- 25-6.0425 Rate Adjustment Applications and Procedures.

The Commission may in a full revenue requirements proceeding approve incremental adjustments in rates for periods subsequent to the initial period in which new rates will be in effect.

Rulemaking Authority 350.127(2), 366.05(1), 366.076(2) FS. Law Implemented 366.05(1), 366.076 FS. History–New 1-8-87.

- 25-6.0426 Recovery of Economic Development Expenses.

(1) Pursuant to Section 288.035, F.S., the Commission shall allow a public utility to recover reasonable economic development expenses subject to the limitations contained in subsections (3) and (4), provided that such expenses are prudently incurred and are consistent with the criteria established in subsection (7).

(2) Definitions.

(a) “Economic Development” means those activities designed to improve the quality of life for all Floridians by building an economy characterized by higher personal income, better employment opportunities, and improved business access to domestic and international markets.

(b) “Economic development organization” means a state, local, or regional public or private entity within Florida that engages in economic development activities, such as city and county economic development organizations, chambers of commerce, Enterprise Florida, the Florida Economic Development Council, and World Trade Councils.

(c) “Trade show” means an exhibition at which companies, organizations, communities, or states advertise or display their products or services, in which economic development organizations attend or participate to identify potential industrial prospects, to provide information about the locational advantages of Florida and its communities, or to promote the goods and services of Florida companies.

(d) “Prospecting mission” means a series of meetings with potential industrial prospects at their business locations with the objectives of convincing the prospect that Florida is a good place to do business and offers unique opportunities for that particular business, and encouraging the prospect to commit to a visit to Florida if a locational search is pending or in progress.

(e) “Strategic plan” means a long-range guide for the economic development of a community or state that focuses on broad priority issues, is growth-oriented, is concerned with fundamental change, and is designed to develop and capitalize on new opportunities.

(f) “Recruitment” means active efforts to encourage specific companies to expand or begin operations within Florida.

(3) Prior to each utility’s next rate change enumerated in subsection (6), the amounts reported for surveillance reports and earnings review calculations shall be limited to the greater of:

(a) The amount approved in each utility’s last rate case escalated for customer growth since that time, or

(b) 95 percent of the expenses incurred for the reporting period so long as such does not exceed the lesser of 0.15 percent of gross annual revenues or $3 million.

(4) At the time of each utility’s next rate case and for subsequent rate proceedings enumerated in subsection (6) the Commission will determine the level of sharing of prudent economic development costs and the future treatment of these expenses for surveillance purposes.

(5) Each utility shall report its total economic development expenses as a separate line item on its income statement schedules filed with the earnings surveillance report required by Rule 25-6.1352, F.A.C. Each utility shall make a line item adjustment on its income statement schedule to remove the appropriate percentage of economic development expenses incurred for the reported period consistent with subsections (3) and (4).

(6) Requests for changes relating to recovery of economic development expenses shall be considered only in the context of a full revenue requirements rate case or in a limited scope proceeding for the individual utility.

(7) All financial support for economic development activities given by public utilities to state and local governments and organizations shall be pursuant to a prior written agreement. Recoverable economic development expenses shall be limited to the following:

(a) Expenditures for operational assistance, including:

1. Planning, attending, and participating in trade shows;

2. Planning, conducting, and participating in prospecting missions designed to encourage the location in Florida of domestic and foreign companies;

3. Providing financial support to economic development organizations to assist with their economic development operations;

4. Providing financial support to economic development programs or initiatives identified or developed by Enterprise Florida, Inc.;

5. Participating in joint economic development efforts, including public-private partnerships, consortia, and multi-county regional initiatives;

6. Participating in downtown revitalization and rural community developmental programs.

7. Supporting state and local efforts to promote small and minority-owned business development efforts; and

8. Supporting state and local efforts to promote business retention and expansion activities.

(b) Expenditures for assisting state and local governments in the design of strategic plans for economic development activities, including:

1. Making financial contributions to state and local governments to assist strategic planning efforts; and

2. Providing technical assistance, data, computer programming, and financial support to state and local governments in the design and maintenance of information systems used in strategic planning activities.

(c) Expenditures of marketing and research services, including;

1. Assisting state and local governments and economic development organizations in marketing specific sites for business and industry development or recruitment;

2. Assisting state and local governments and economic development organizations in responding to inquiries from business and industry concerning the development of specific sites within the utility’s service area;

3. Providing technical assistance, data, computer programming, and financial support to state and local governments in the design and maintenance of geographic information systems, computer networks, and other systems used in marketing and research activities;

4. Providing financial support to economic development organizations to assist with their research and marketing activities;

5. Sponsoring publications, conducting direct mail campaigns, and providing advertising support for state and local economic development efforts;

6. Participating in cooperative marketing efforts with economic development organizations;

7. Helping state and local businesses identify suppliers, markets, and sources of financial assistance;

8. Helping economic development organizations identify specific industries and companies for targeting and recruitment;

9. Working with economic development organizations to identify businesses in need of help for expansion, going out of business, or at risk of leaving the area;

10. Providing site and facility selection assistance, including lists of commercial or industrial sites, computer databases, toll-free telephone numbers, maps, photographs, videos, and other activities in cooperation with economic development organizations; and

11. Supporting state and local efforts to promote exports of goods and services, and other international business activities.

Rulemaking Authority 288.035(3), 350.127(2) FS. Law Implemented 288.035 FS. History–New 7-17-95, Amended 6-2-98, 9-25-00.

- 25-6.043 Investor-Owned Electric Utility Minimum Filing Requirements; Commission Designee.

(1) General Filing Instructions.

(a) The petition under Sections 366.06 and 366.071, F.S., for adjustment of rates must include or be accompanied by:

1. The information required by Commission Form PSC/AFD/011-E (2/04), entitled “Minimum Filing Requirements for Investor-Owned Electric Utilities” which is incorporated into this rule by reference. The form may be obtained from the Commission’s Division of Accounting and Finance.

2. The exact name of the applicant and the address of the applicant’s principal place of business.

3. Copies of prepared direct testimony and exhibits for each witness testifying on behalf of the Company.

(b) In compiling the required schedules, a company shall follow the policies, procedures and guidelines prescribed by the Commission in relevant rules and in the company’s last rate case or in a more recent rate case involving a comparable utility. These schedules shall be identified appropriately (e.g., Schedule B-1 would be designated Company Schedule B-1 – Company basis).

(c) Each schedule shall be cross-referenced to identify related schedules as either supporting schedules or recap schedules.

(d) Each page of the filing shall be numbered on 8 1/2 × 11-inch paper. Each witness’ prefiled testimony and exhibits shall be on numbered pages and all exhibits shall be attached to the proponent’s testimony.

(e) Except for handwritten official company records, all data in the petition, testimony, exhibits and minimum filing requirements shall be typed.

(f) Each schedule shall indicate the name of the witness responsible for its presentation.

(g) All schedules involving investment data shall be completed on an average investment basis. Unless a specific schedule requests otherwise, average is defined as the average of 13 monthly balances.

(h) Twenty-one copies of the filing, consisting of the petition and its supporting attachments, testimony, and exhibits, shall be filed with the Office of Commission Clerk.

(i) Whenever the company proposes any corrections, updates or other changes to the originally filed data, 21 copies shall be filed with the Office of Commission Clerk with copies also served on all parties at the same time.

(2) Commission Designee: The Director of the Division of Accounting and Finance shall be the designee of the Commission for purposes of determining whether the utility has met the minimum filing requirements imposed by this rule. In making this determination, the Director shall consider whether information that would have been provided in a particular schedule required by this rule has been provided to the same degree of detail in another required schedule that the utility incorporates by reference.

Rulemaking Authority 366.05(1), (2), 366.06(3) FS. Law Implemented 366.04(2)(f), 366.06(1), (2), (3), (4), 366.071 FS. History–New 5-27-81, Formerly 25-6.43, Amended 7-5-90, 1-31-00, 2-12-04.

25-6.0431 Petition for a Limited Proceeding.

A petition for a limited proceeding shall include:

(1) A list of all issues the petitioner believes should be decided;

(2) A detailed statement of the reason(s) why the limited proceeding has been requested and why a limited proceeding is the appropriate type of proceeding for consideration of the requested relief;

(3) A schedule showing the specific rate base components for which the utility seeks recovery, on both a system and jurisdictional basis, if the utility is requesting recovery of rate base components;

(4) A detailed description of the expense(s) requested on both a system and jurisdictional basis, if the utility is requesting recovery of operating expenses;

(5) A schedule showing how the utility proposes to allocate any change in revenues to rate classes, and the proposed rates, if the petition requests a change in retail rates; and

(6) Any other information that the utility deems relevant.

Rulemaking Authority 350.127(2), 366.05, 366.06(1) FS. Law Implemented 366.05(1), 366.06(1), 366.076(1) FS. History‒New 10-8-13.

- 25-6.0435 Interim Rate Relief.

(1) Each electric utility petitioning for interim rate relief pursuant to Section 366.071, F.S., shall file the data required by paragraph 25-6.043(1)(a), F.A.C.

(2) The requested interim increase in base rate revenues shall be divided by interim test year base rate revenues to derive a percentage increase factor. The percentage increase factor shall be applied uniformly to all existing base rates and charges to derive the interim base rates and charges.

(3) Interim rate relief collected is subject to refund pending final order in the permanent rate relief request. Such increase shall be subject to a corporate undertaking or under bond as authorized by the Commission and any refund shall be made with an interest factor determined by using the 30-day commercial paper rate for high-grade, unsecured notes, sold through dealers by major corporations in multiples of $1,000, as regularly published in the Wall Street Journal. The annual rate as published on the first day of the current business month would be added to the rate as published on the first day of the subsequent business month and halved to obtain the simple average rate to be applied in that month. This rate of interest would be applied to the refund amount for that month. The amount of interest calculated would be added to the beginning balance of the following month so as to accomplish the compounding of the interest feature of the refund provision.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.04(2)(f), 366.06, 366.071 FS. History–New 5-27-81, Formerly 25-6.435, Amended 2-12-04.

- 25-6.0436 Depreciation.

(1) For the purposes of this part, the following definitions shall apply:

(a) Category or Category of Depreciable Plant – A grouping of plant for which a depreciation rate is prescribed. At a minimum it should include each plant account prescribed in subsection 25-6.014(1), F.A.C.

(b) Embedded Vintage – A vintage of plant in service as of the date of study or implementation of proposed rates.

(c) Mortality Data – Historical data by study category showing plant balances, additions, adjustments and retirements, used in analyses for life indications or calculations of realized life. Preferably, this is aged data in accord with the following:

1. The number of plant items or equivalent units (usually expressed in dollars) added each calendar year.

2. The number of plant items retired (usually expressed in dollars) each year and the distribution by years of placing of such retirements.

3. The net increase or decrease resulting from purchases, sales or adjustments and the distribution by years of placing of such amounts.

4. The number that remains in service (usually expressed in dollars) at the end of each year and the distribution by years of placing of such amounts.

(d) Net Book Value – The book cost of an asset or group of assets minus the accumulated depreciation or amortization reserve associated with those assets.

(e) Remaining Life Method – The method of calculating a depreciation rate based on the unrecovered plant balance, less average future net salvage and the average remaining life. The formula for calculating a Remaining Life Rate is:

Remaining Life Rate  =  100% - Reserve % - Average Future Net Salvage %

Average Remaining Life in Years

(f) Reserve (Accumulated Depreciation) – The amount of depreciation/amortization expense, salvage, cost of removal, adjustments, transfers, and reclassifications accumulated to date.

(g) Reserve Data – Historical data by study category showing reserve balances, debits and credits such as booked depreciation, expense, salvage and cost of removal and adjustments to the reserve utilized in monitoring reserve activity and position.

(h) Reserve Deficiency – An inadequacy in the reserve of a category as evidenced by a comparison of that reserve indicated as necessary under current projections of life and salvage with that reserve historically accrued. The latter figure may be available from the utility’s records or may require retrospective calculation.

(i) Reserve Surplus – An excess in the reserve of a category as evidenced by a comparison of that reserve indicated as necessary under current projections of life and salvage with that reserve historically accrued. The latter figure may be available from the utility’s records or may require retrospective calculation.

(j) Salvage Data – Historical data by study category showing bookings of retirements, gross salvage and cost of removal used in analysis of trends in gross salvage and cost of removal or for calculations of realized salvage.

(k) Theoretical Reserve or Prospective Theoretical Reserve – A calculated reserve based on components of the proposed rate using the formula:

Theoretical Reserve = Book Investment ‒ Future Accruals ‒ Future Net Salvage

(l) Vintage – The year of placement of a group of plant items or investment under study.

(m) Whole Life Method – The method of calculating a depreciation rate based on the Whole

Life (Average Service Life) and the Average Net Salvage. Both life and salvage components are the estimated or calculated composite of realized experience and expected activity. The formula is:

Whole Life Rate  =  100% - Average Net Salvage %

Average Service Life in Years

(2)(a) No utility shall change any existing depreciation rate or initiate any new depreciation rate without prior Commission approval.

(b) No utility shall reallocate accumulated depreciation reserves among any primary accounts and sub-accounts without prior Commission approval.

(c) When plant investment is booked as a transfer from a regulated utility depreciable account to another or from a regulated company to an affiliate, an appropriate reserve amount shall also be booked as a transfer. When plant investment is sold from one regulated utility to an affiliate, an appropriate associated reserve amount shall also be determined to calculate the net book value of the utility investment being sold. Appropriate methods for determining the appropriate reserve amount associated with plant transferred or sold are as follows:

1. Where vintage reserves are not maintained, synthesization using the currently prescribed curve shape may be required. The same reserve percent associated with the original placement vintage of the related investment shall then be used in determining the appropriate amount of reserve to transfer.

2. Where the original placement vintage of the investment being transferred is unknown, the reserve percent applicable to the account in which the investment being transferred resides may be assumed as appropriate for determining the reserve amount to transfer.

3. Where the age of the investment being transferred is known and a history of the prescribed depreciation rates is known, a reserve can be determined by multiplying the age times the investment times the applicable depreciation rate(s).

4. The Commission shall consider any additional methods submitted by the utilities for determining the appropriate reserve amounts to transfer.

(3)(a) Each utility shall maintain depreciation rates and accumulated depreciation reserves in accounts or subaccounts as prescribed by subsection 25-6.014(1), F.A.C. Utilities may maintain further sub-categorization.

(b) Upon establishing a new account or subaccount classification, each utility shall request Commission approval of a depreciation rate for the new plant category.

(4) A utility filing a depreciation study, regardless if a change in rates is being requested or not, shall submit to the Office of Commission Clerk six copies of the information required by paragraphs (6)(a) through (f) and (h) of this rule and at least three copies of the information required by paragraph (6)(g).

(5) Upon Commission approval by order establishing an effective date, the utility shall reflect on its books and records the implementation of the proposed rates, subject to adjustment when final depreciation rates are approved.

(6) A depreciation study shall include:

(a) A comparison of current and proposed depreciation rates and components for each category of depreciable plant. Current rates shall be identified as to the effective date and proposed rates as to the proposed effective date.

(b) A comparison of annual depreciation expense as of the proposed effective date, resulting from current rates with those produced by the proposed rates for each category of depreciable plant. The plant balances may involve estimates. Submitted data including plant and reserve balances or company planning involving estimates shall be brought to the effective date of the proposed rates.

(c) Each recovery and amortization schedule currently in effect should be included with any new filing showing total amount amortized, effective date, length of schedule, annual amount amortized and reason for the schedule.

(d) A comparison of the accumulated book reserve to the prospective theoretical reserve based on proposed rates and components for each category of depreciable plant to which depreciation rates are to be applied.

(e) A general narrative describing the service environment of the applicant company and the factors, e.g., growth, technology, physical conditions, necessitating a revision in rates.

(f) An explanation and justification for each study category of depreciable plant defining the specific factors that justify the life and salvage components and rates being proposed. Each explanation and justification shall include substantiating factors utilized by the utility in the design of depreciation rates for the specific category, e.g., company planning, growth, technology, physical conditions, trends. The explanation and justification shall discuss any proposed transfers of reserve between categories or accounts intended to correct deficient or surplus reserve balances. It should also state any statistical or mathematical methods of analysis or calculation used in design of the category rate.

(g) The filing shall contain all calculations, analysis and numerical basic data used in the design of the depreciation rate for each category of depreciable plant. Numerical data shall include plant activity (gross additions, adjustments, retirements, and plant balance at end of year) as well as reserve activity (retirements, accruals for depreciation expense, salvage, cost of removal, adjustments, transfers and reclassifications and reserve balance at end of year) for each year of activity from the date of the last submitted study to the date of the present study. To the degree possible, data involving retirements should be aged.

(h) The mortality and salvage data used by the company in the depreciation rate design must agree with activity booked by the utility. Unusual transactions not included in life or salvage studies, e.g., sales or extraordinary retirements, must be specifically enumerated and explained.

(7)(a) Utilities shall provide calculations of depreciation rates using both the whole life method and the remaining life method. The use of these methods is required for all depreciable categories. Utilities may submit additional studies or methods for consideration by the Commission.

(b) The possibility of corrective reserve transfers shall be investigated by the Commission prior to changing depreciation rates.

(8)(a) Each company shall file a study for each category of depreciable property for Commission review at least once every four years from the submission date of the previous study unless otherwise required by the Commission.

(b) A utility proposing an effective date of the beginning of its fiscal year shall submit its depreciation study no later than the mid-point of that fiscal year.

(c) A utility proposing an effective date coinciding with the expected date of additional revenues initiated through a rate case proceeding shall submit its depreciation study no later than the filing date of its Minimum Filing Requirements.

(9) As part of the filing of the annual report pursuant to Rule 25-6.135, F.A.C., each utility shall include an annual status report. The report shall include booked plant activity (plant balance at the beginning of the year, additions, adjustments, transfers, reclassifications, retirements and plant balance at year end) and reserve activity (reserve balance at the beginning of the year, retirements, accruals, salvage, cost of removal, adjustments, transfers, reclassifications and reserve balance at end of year) for each category of investment for which a depreciation rate, amortization, or capital recovery schedule has been approved. The report shall indicate for each category that:

(a) There has been no change of plans or utility experience requiring a revision of rates, amortization or capital recovery schedules; or

(b) There has been a change requiring a revision of rates, amortization or capital recovery schedules.

(10) For any category where current conditions indicate a need for revision of depreciation rates, amortization or capital recovery schedules and no revision is sought, the report shall explain why no revision is requested.

(a) Prior to the date of retirement of major installations, the Commission shall approve capital recovery schedules to correct associated calculated deficiencies where a utility demonstrates that (1) replacement of an installation or group of installations is prudent and (2) the associated investment will not be recovered by the time of retirement through the normal depreciation process.

(b) The Commission shall approve a special capital recovery schedule when an installation is designed for a specific purpose or for a limited duration.

(c) Associated plant and reserve activity, balances and the annual capital recovery schedule expense must be maintained as subsidiary records.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 350.115, 366.04(2)(f), 366.06(1) FS. History–New 11-11-82, Amended 1-6-85, Formerly 25-6.436, Amended 4-27-88, 12-12-91, 12-11-00, 5-29-08.

- 25-6.04361 Subcategorization of Electric Plant for Depreciation Studies and Rate Design.

(1) Depreciation rate design accounts shall be in accordance with the Federal Energy Regulatory Commission’s Uniform System of Accounts for Public Utilities and Licensees (USOA), Code of Federal Regulations, Title 18, Subchapter C, Part 101, as adopted by Rule 25-6.014, F.A.C. New depreciation subaccounts, as listed in subsection (5) below, shall be established under these accounts. This subcategorization shall group together items which are relatively homogeneous in expected life and salvage characteristics.

(2) New depreciation subaccounts must be established to subcategorize a plant which meets the following criteria:

(a) Introduction of a new technology: for example, flue gas desulphurization, heat pipes, or fluidized bed combustors.

(b) The present inclusion of an obsolescent/dying technology: for example, pneumatic monitoring systems.

(c) A major installation that is facing near-term retirement: for example, a generating unit, line, or station.

(3) Additionally, a company may develop depreciation subaccounts within a listed account as appropriate for its own situation. However, a company shall not establish a new subaccount (except subaccounts required by subsection (2)) that would represent less than 10% of the original primary account.

(4) Depreciation reserve, plant activity data, gross salvage, and costs of removal, shall be maintained for each depreciation category for which a depreciation rate is to be developed.

(5) The following accounts and subaccounts shall be used in the design of depreciation rates:

(a) Steam Production Plant. The following accounts shall be maintained, at a minimum, on a plant site basis. It is preferable, however, that the accounts be maintained for each individual unit within each plant site. Stratification within each account for use in determining the depreciation rate of the account shall be established in accord with their potential life patterns and planning of the specific company. An example of stratification groupings, which may be used, are shown below under Structures and Improvements, Account 311.

1. Structures and Improvements, Account 311.

Suggested stratification groupings are as follows:

a. Valves.

b. Pumps, HVAC ductwork, roads.

c. Piping systems.

d. Building structures, tanks, lighting, vents.

2. Boiler Plant Equipment, Account 312.

3. Turbogenerator Units, Account 314.

4. Accessory Electric Equipment, Account 315.

5. Miscellaneous Power Plant Equipment, Account 316.

(b) Nuclear Power Production Plant. The following accounts shall be maintained, at a minimum, on a plant site basis. It is preferable, however, that the accounts be maintained for each individual unit within each plant site. Stratification within the accounts for use in determining depreciation rates for the accounts shall be established in accord with their potential life patterns and planning of the specific company. In addition, subaccounts shall be established for the components and facilities that are expected to retire and be decommissioned upon receipt of the license termination as well as those components and facilities which are subject to retention to generate electricity with another steam source after the removal of the current nuclear steam generating components.

1. Structures and Improvements, Account 321.

2. Reactor Plant Equipment, Account 322.

3. Turbogenerator Units, Account 323.

4. Accessory Electric Equipment, Account 324.

5. Miscellaneous Power Plant Equipment, Account 325.

(c) Other Production Plant. The following accounts shall be maintained, at a minimum, on a plant site basis. Stratification within the accounts for use in determining depreciation rates for the accounts shall be established in accord with their potential life patterns and usage of the specific company.

1. Structures and Improvements, Account 341.

2. Fuel Holders, Producers, And Accessories, Account 342.

3. Prime Movers, Account 343.

4. Generators, Account 344.

5. Accessory Electric Equipment, Account 345.

6. Miscellaneous Power Plant Equipment, Account 346.

(d) Transmission Plant. The following accounts shall be used:

1. Easements, Account 351.

2. Structures and Improvements, Account 352.

3. Station Equipment, Account 353.

4. Towers and Fixtures, Account 354.

5. Poles and Fixtures, Account 355.

6. Overhead Conductors and Devices, Account 356.

7. Underground Conduit, Account 357.

8. Underground Conductors and Devices, Account 358.

9. Roads and Trails, Account 359.

10. Additional accounts or subaccounts shall be established in accord with potential life patterns and planning of the specific company.

(e) Distribution Plant. The following accounts shall be used:

1. Easements, Account 360.

2. Structures and Improvements, Account 361.

3. Station Equipment, Account 362.

4. Poles, Towers and Fixtures, Account 364.

5. Overhead Conductors and Devices, Account 365.

6. Underground Conduit, Account 366.

7. Underground Conductors and Devices, Account 367.

8. Line Transformers, Account 368.

9. Services, Account 369.

10. Meters, Account 370.

11. Installation on Customers Premises, Account 371.

12. Street Lighting and Signal Systems, Account 373.

13. Additional accounts or subaccounts shall be established in accord with potential life patterns and planning of the specific company.

(f) General Plant. The following accounts shall be used:

1. Easements, Account 389.

2. Structures and Improvements, Account 390.

3. Office Furniture and Equipment, Account 391. The following subaccounts shall be used:

a. Furniture. The investment in this subaccount shall be amortized over a 7 year period.

b. Office Accessories. The investment in this subaccount shall be amortized over a 5 year period.

c. Office, Mailing, and Duplicating Equipment. The investment in this subaccount shall be amortized over a 7 year period.

d. Computer Equipment. The investment in this subaccount shall be amortized over a 5 year period.

4. Transportation Equipment, Account 392. The following subaccounts shall be used:

a. Passenger Cars.

b. Light Trucks. This subaccount shall include trucks of one ton in capacity or less.

c. Heavy Trucks. This subaccount shall include trucks of greater than one ton capacity.

d. Tractors and Trailers.

e. Special Purpose Vehicles.

f. Aircraft.

g. Investments associated with marine equipment, motorcycles and single-occupant vehicles shall be subaccounted and amortized over a 5 year period.

5. Stores Equipment, Account 393. The following subaccounts shall be used:

a. Handling equipment.

b. Storage and Portable Handling Equipment. This subaccount shall be amortized over a 7 year period.

6. Tools, Shop and Garage Equipment, Account 394. The following subaccounts shall be used:

a. Fixed or Stationary Equipment.

b. Portable Tools and Equipment. This subaccount shall be amortized over a 7 year period.

7. Laboratory Equipment, Account 395. The following subaccounts shall be used:

a. Fixed or Stationary Equipment.

b. Portable Equipment. This subaccount shall be amortized over a 7 year period.

8. Power Operated Equipment, Account 396.

9. Communication Equipment, Account 397. The following subaccounts shall be used:

a. Company Official Communication Equipment.

b. Optic Electronics Equipment.

c. Other Communication Equipment.

10. Miscellaneous Equipment, Account 398. This account shall be amortized over a 7 year period.

11. Additional accounts or subaccounts shall be established in accord with potential life patterns and planning of the specific company.

(6) Depreciation rates developed after January 1, 1992 shall be based on the account classifications in this rule. In implementing these rates the following procedures shall be followed:

(a) Reserve activity data, plant activity data, gross salvage, and costs of removal are to be recorded to the new accounts and subaccounts for activity subsequent to January 1, 1992.

(b) The separation of investments and reserves under prior accounts into balances relating to new accounts and subaccounts under this rule may require estimation. Where vintaged distributions are not maintained, separation into accounts and subaccounts may require synthesization.

(c) If an existing account is essentially compatible with an account listed in the rule, that account shall be deemed to be in compliance with this rule.

Rulemaking Authority 350.127(2) FS. Law Implemented 350.115, 366.04(2)(a), 366.05(1), 366.06(1) FS. History–New 12-12-91.

- 25-6.04364 Electric Utilities Dismantlement Studies.

(1) Each utility that owns a fossil fuel generating unit is required to establish a dismantlement accrual as approved by the Commission to accumulate a reserve that is sufficient to meet all expenses at the time of dismantlement. The purpose of the study required by subsection (3) is to obtain sufficient information to update cost estimates based on new developments, additional information, technological improvements, and forecasts; to evaluate alternative methodologies; and to revise the annual accrual needed to recover the costs.

(2) For the purpose of this rule, the following definitions shall apply:

(a) “Contingency Costs.” A specific provision for unforeseeable elements of cost within the defined project scope.

(b) “Dismantlement.” The process of safely managing, removing, demolishing, disposing, or converting for reuse the materials and equipment that remain at the fossil fuel generating unit following its retirement from service and restoring the site to a marketable or useable condition.

(c) “Dismantlement Costs.” The costs for the ultimate physical removal and disposal of plant and site restoration, minus any attendant gross salvage amount, upon final retirement of the site or unit from service.

(3) Each utility shall file a dismantlement study for each generating site once every 4 years from the submission date of the previous study unless otherwise required by Commission order. The study shall be site-specific unless a showing is made by the utility that a site-specific study is not possible. A utility may file a study sooner than 4 years. Each utility’s dismantlement study shall include:

(a) A narrative describing each fossil fuel generating unit, including the in-service date and estimated retirement date.

(b) A list of all entities owning an interest in each generating unit and the percentage of ownership by each entity.

(c) The dismantlement study methodology.

(d) A summary of the major assumptions used in the study.

(e) The methodology selected to dismantle each generating unit and support for the selection.

(f) The methodology and escalation rates used in converting the current estimated dismantlement costs to future estimated dismantlement costs and supporting documentation and analyses.

(g) The total utility and jurisdictional dismantlement cost estimates in current dollars for each unit.

(h) The total utility and jurisdictional dismantlement cost estimates in future dollars for each unit.

(i) For each year, the estimated amount of dismantlement expenditures.

(j) The projected date each generating unit will cease operations.

(k) For each site, a comparison of the current approved annual dismantlement accruals with those proposed. Current accruals shall be identified as to the effective date and proposed accruals to the proposed effective date.

(l) A summary and explanation of material differences between the current study and the utility’s last filed study including changes in methodology and assumptions.

(m) Supporting schedules, analyses, and data, including the contingency allowance, used in developing the dismantlement cost estimates and annual accruals proposed by the utility. Supporting schedules shall include the inflation analysis.

(4) The dismantlement annual accrual shall be calculated using the current cost estimates escalated to the expected dates of actual dismantlement. The future costs less amounts recovered to date shall then be discounted in a manner that accrues the costs over the remaining life span of the unit.

(5) Dismantlement accruals shall be recorded monthly to assure that the costs for dismantlement have been provided for at the time the production unit or site ceases operations.

(6) A utility shall not establish a new annual dismantlement accrual, revise its annual dismantlement accrual, or transfer a dismantlement reserve without prior Commission approval.

(7) The annual dismantlement accrual shall be a fixed dollar amount and shall be based on a 4-year average of the accruals related to the years between the dismantlement study reviews.

(8) The accumulated dismantlement reserve and accruals shall be maintained in a subaccount of Account 108 “Accumulated Depreciation” and separate from the accumulated depreciation reserve and expenses. Subsidiary records shall include sufficient detail to allow for separate site or unit reporting.

Rulemaking Authority 350.115, 350.127(2) FS. Law Implemented 366.041, 366.06(1) FS. History–New 12-30-03.

- 25-6.04365 Nuclear Decommissioning.

(1) Purpose. The purpose of this rule is to codify the Commission’s policy of requiring each utility that owns a nuclear generating plant to ensure there are sufficient funds on hand at the time of decommissioning to meet all required expenses by establishing appropriate decommissioning accruals. This rule requires each utility to file a Nuclear Decommissioning Study on a regular basis, the purpose of which is to obtain sufficient information to update cost estimates based on new developments, additional information, technological improvements, and forecasts; to reevaluate alternative methodologies; and to revise the annual accrual needed to recover the costs.

(2) Definitions. For the purpose of this rule, the following definitions shall apply:

(a) “Contingency Costs.” A specific provision for unforeseeable elements of cost within the defined project scope, which is particularly important where previous experience relating estimates and actual costs has shown that unforeseeable events that will increase costs are likely to occur.

(b) “Decommissioning.” The process of safely managing, dismantling, removing, or converting for reuse the materials and equipment that remain at the nuclear generating unit following its retirement that results in an amendment to the licensing status of a nuclear power plant from operational to possession-only and possibly unrestricted use.

(3) Nuclear Decommissioning Study. Each utility shall file a site-specific nuclear decommissioning study at least once every five years from the submission date of the previous study unless otherwise required by the Commission. At a minimum, each utility’s nuclear decommissioning study shall include:

(a) A narrative describing each nuclear unit, including the in-service date, the date of operating license expiration, and the status of any license renewal request.

(b) A list of all entities owning an interest in each nuclear unit, the percentage of ownership by each entity, and documentation showing the status of each entity in providing its share of the total decommissioning costs.

(c) A narrative explaining plans for spent nuclear fuel storage and removal at each nuclear unit, including, at a minimum, the date on-site spent fuel pool storage capacity will be lost, the date spent nuclear fuel is expected to be removed from the plant site, and the estimated costs for on-site dry storage to accommodate the decommissioning of the unit.

(d) The decommissioning study methodology.

(e) A summary of the major assumptions used in the study.

(f) The methodology selected to decommission each nuclear unit and support for the selection.

(g) The method of providing financial assurance. If funding is selected, show the amounts qualified and nonqualified for each year since the prior study, and also the method assumed in the calculation of the proposed annual accrual.

(h) The total utility and jurisdictional decommissioning cost estimates in current dollars for each unit.

(i) The total utility and jurisdictional decommissioning cost estimates in future dollars for each unit.

(j) For each year, the estimated amount of decommissioning expenditures and the sources of funds.

(k) The projected date each nuclear unit will no longer be included in rate base for ratemaking purposes.

(l) For each nuclear unit, a comparison of the current approved annual decommissioning accruals with those proposed. Current accruals shall be identified as to the effective date and proposed accruals to the proposed effective date.

(m) The assumed fund earnings rate, net of tax, used in the calculation of the decommissioning accrual and supporting documentation for the rate proposed by the utility.

(n) The methodology and escalation rate used in converting the current estimated decommissioning costs to future estimated decommissioning costs and supporting documentation and analyses.

(o) The annual revenue requirement of the proposed decommissioning cost estimates.

(p) A reconciliation of the decommissioning fund balance and the decommissioning reserve balance as of the effective date of the revised decommissioning accruals proposed by the utility. The reconciliation shall show the fund balances by category. The fund balance may involve estimates.

(q) A summary and explanation of material differences between the current study and the utility’s last filed study including, at a minimum, changes in methodology and assumptions.

(r) Supporting schedules, analyses, and data, including the contingency allowance, used in developing the decommissioning cost estimates and annual accruals proposed by the utility. Supporting schedules shall include the inflation and funding analyses.

(4) Accumulation of Annual Accruals.

(a) The decommissioning annual accrual shall be calculated using the current cost estimates escalated to the expected dates of actual decommissioning.

(b) Decommissioning accruals shall be accumulated monthly based on a Commission approved method to assure that the costs for decommissioning are provided for at the expiration of the nuclear unit’s operating license.

(c) A utility shall not change its annual nuclear decommissioning accruals without prior Commission approval.

(5) Nuclear Decommissioning Fund Performance. The Commission will review and evaluate each utility’s investment performance to determine whether the decommissioning fund earned at least the rate of inflation.

(6) License Renewal. Each utility shall provide the Commission Clerk with a written summary of communications concerning major milestones between the Nuclear Regulatory Commission and the utility concerning license renewal within 21 days of receipt or mailing by the utility. Major milestones include notice of intent to request a license renewal, submittal of application, issuance of renewal license, and decision to continue or cease operations.

Rulemaking Authority 350.127(2) FS. Law Implemented 366.041, 366.06(1) FS. History–New 1-30-01.

- 25-6.0437 Cost of Service Load Research.

(1) Applicability. This rule shall apply to all investor-owned electric utilities over which the Commission has jurisdiction and which provide electric service to more than 50,000 retail customers at the end of any calendar year.

(2) Purpose. The primary purpose of this rule is to require that load research that supports cost of service studies used in ratemaking proceedings is of sufficient precision to reasonably assure that tariffs are equitable and reflect the true costs of serving each class of customer. Load research data gathered and submitted in accordance with this rule will also be used by the Commission to allocate costs to the customer classes in cost recovery clause proceedings, in evaluating proposed and operating conservation programs, for research, and for other purposes consistent with the Commission’s responsibilities.

(3) Sampling Plan. Within 90 days of becoming subject to this rule, each utility shall submit to the Commission a proposed load research sampling plan. The plan shall provide for sampling all rate classes that account for more than 1 percent of a utility’s annual retail sales. The plan shall provide that all covered rate classes shall be sampled within two years of the effective date of this rule. The sampling plan shall be designed to provide estimates of the averages of the 12 monthly coincident peaks for each class within plus or minus 10 percent at the 90 percent confidence level. The sampling plan shall also be designed to provide estimates of the summer and winter peak demands for each rate class within plus or minus 10 percent at the 90 percent confidence level, except for the General Service Non-Demand rate class. The sampling plan shall be designed to provide estimates of the summer and winter peak demands for the General Service Non-Demand rate class within plus or minus 15 percent at the 90 percent confidence level.

(4) Review of Proposed Plan. Except where a utility has requested a formal ruling by the Commission, within 90 days after submission, the Commission’s Division of Economics shall review each utility’s plan to determine whether it satisfies the criteria set forth in subsection (3) above and shall notify the utility in writing of its decision accepting or rejecting the proposed sampling plan. If a proposed plan is rejected, the written notice of rejection shall state clearly the reasons for rejecting the proposed plan. If a utility’s proposed plan is rejected, the utility shall submit a revised sampling plan to the Commission within 60 days after receiving the notice of rejection. Where a utility has requested staff review of its sampling plan and the plan has been rejected the utility may petition the Commission for approval of the plan. If a utility has not submitted a satisfactory sampling plan within 6 months following the submission of the initially proposed plan, the Commission may prescribe by order a sampling plan for the utility.

(5) Use of Approved Sampling Plan. The approved sampling plan shall be used for all load research performed for cost of service studies and other studies submitted to the Commission until a new sampling plan is approved by the Commission.

(6) Revised Sampling Plans. Each utility subject to this rule shall submit a current, revised sampling plan to the Commission no less often than every three years after the most recent sampling plan was required to be submitted. Any new or revised plan shall be developed using data from the utility’s most current load research to determine the required sampling plan to achieve the precision required in subsection (3) of this rule. New or revised plans shall be reviewed by the Commission pursuant to subsection (4) of this rule.

(7) Load Research Data to be Reported. Each utility subject to this rule shall perform a complete load research study in accordance with the specifications of this rule no less often than every three years. Each utility shall, within 120 days following completion of the study, submit to the Commission the results of each load research study completed after the effective date of this rule. The submission shall include a detailed calculation of the average 12 coincident peak and class load factors for each covered rate class based upon the load research results.

(8) Hourly Data to be Available Upon Request. Each utility subject to this rule shall make available within 30 days of a request by the Commission the estimated hourly demands by class for all hours in the year derived from this load research.

Rulemaking Authority 366.05(1), 350.127(2) FS. Law Implemented 350.117, 366.03, 366.04(2)(f), 366.05(1), 366.06(1), 366.82(3), (4) FS. History–New 3-11-84, Formerly 25-6.437, Amended 1-6-04.

- 25-6.0438 Non-Firm Electric Service ‒ Terms and Conditions.

(1) Applicability. This rule shall apply to all investor-owned electric utilities.

(2) Purpose. The purposes of this rule are: to define the character of non-firm electric service and various types thereof; to require a procedure for determining a utility’s maximum level of non-firm load; and to establish other minimum terms and conditions for the provision of non-firm electric service.

(3) Definitions.

(a) “Non-firm electric service” means electric service that, in accordance with terms and conditions specified in the applicable tariff, can be limited or interrupted. Non-firm service includes interruptible, curtailable, load management, and other types of non-firm electric service offered by the utilities pursuant to tariffs approved by the Florida Public Service Commission.

(b) “Interruptible electric service” means electric service that can be limited or interrupted, either automatically or manually, solely at the option of the utility.

(c) “Cost effective” in the context of non-firm service shall be based on avoided costs. It shall be defined as the net economic deferral or avoidance of additional production plant construction by the utility or in other measurable economic benefits in excess of all relevant costs accruing to the utility’s general body of ratepayers.

(d) “Curtailable electric service” means electric service that can be reduced or interrupted upon request of a utility but solely at the discretion of the customer.

(e) “Load management service” means electric service provided under an applicable firm rate schedule whereby electric service to specified components of the customer’s electric load may be interrupted at the discretion of the utility in accordance with conditions specified in the utility’s tariffs.

(4) Availability of Service.

(a) A utility may offer non-firm electric service to any customer or class of customers pursuant to tariffs or contracts approved by the Commission. Each utility that currently offers or proposes to offer non-firm electric service shall demonstrate, no later than its next rate case, that providing such service is cost effective.

(b) Each utility shall state in its tariff the terms and conditions under which non-firm electric service will be offered. If a utility believes that providing interruptible service or another type of non-firm service to a specific customer who otherwise qualifies for such service under the utility’s tariff will not result in benefits accruing to its general body of ratepayers, that utility shall apply to the Commission for authorization to refuse non-firm service to that customer. The provision of non-firm service for standby and supplemental purposes shall be consistent with the Federal Energy Regulatory Commission rule, 18 C.F.R. Section 292.305.

(c) When a utility proposes to make a change in any of its non-firm electric service offerings, it must provide written notice to each customer who may be affected by the proposal.

(5) Methods of Determining Maximum Levels of Non-Firm Load. Each utility offering non-firm electric service shall have on file with the Commission a methodology approved by the Commission for determining the cost effectiveness of non-firm load over its generation planning horizon, pursuant to the definition of “cost effective” in paragraph (3)(c). Specific consideration must be given to each type of non-firm electric service offered. A utility may petition the Commission to revise their methodology at any time.

(6) Maximum Levels of Non-Firm Load. Each utility shall attempt to maintain its subscribed non-firm loads at or below their maximum cost-effective levels, as determined by the utility’s approved methodology utilizing its most current system expansion plans and approved rates. If, during a revenue or rate review, the Commission finds that a utility’s efforts to maintain its subscribed non-firm loads at or below the maximum cost-effective level have not been prudent, the Commission may impute revenues at otherwise applicable rates for the amount of non-firm load in excess of cost effective levels.

(7) Reporting Requirements. Each utility offering non-firm electric service shall submit to the Commission on January 1 and July 1 of each year a report detailing the type of non-firm service offered and showing the amount of non-firm load on the utility’s system as of the month ending one month prior to the reporting date. In addition, the report shall state the cost-effective levels of non-firm load determined by the utility’s approved methodology.

(8) Minimum Notice to Transfer from Non-Firm to Firm Service. Each utility that offers non-firm service shall include a specific provision in its tariff that requires a customer to provide the utility with at least five years advance written notice in order for the customer to be eligible to transfer from interruptible to firm service. A utility may apply to the Commission for approval of a different minimum notice requirement if it can demonstrate that a different notice requirement is necessary or appropriate, either for all or any individual non-firm service offerings.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.03, 366.04, 366.041, 366.05 FS. History–New 8-21-86, Amended 9-3-91, 1-31-00.

- 25-6.0439 Territorial Agreements and Disputes for Electric Utilities - Definitions.

For the purpose of Rules 25-6.0440, 25-6.0441 and 25-6.0442, F.A.C., the following terms shall have the following meaning:

(1) “Territorial agreement” means a written agreement between two or more electric utilities which identifies the geographical areas to be served by each electric utility party to the agreement, the terms and conditions pertaining to implementation of the agreement, and any other terms and conditions pertinent to the agreement;

(2) “Territorial dispute” means a disagreement as to which utility has the right and the obligation to serve a particular geographical area.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.04(2), (4), (5) FS. History–New 3-4-90.

- PART IV GENERAL SERVICE PROVISIONS

- 25-6.044 Continuity of Service.

(1) Definitions applicable to this part:

(a) “Area of Service.” A geographic area where a utility provides retail electric service. An Area of Service can be the entire system, a district, or a subregion of the utility’s system in which centralized distribution service functions are carried out.

(b) “Average Duration of Outage Events (L-Bar).” The sum of each Outage Event Duration for all Outage Events occurring during a given time period, divided by the Number of Outage Events over the same time period within a specific Area of Service.

(c) “Customer Average Interruption Duration Index (CAIDI).” The average time to restore service to interrupted retail customers within a specified Area of Service over a given period of time. It is determined by dividing the sum of Customer Minutes of Interruption by the total number of Service Interruptions for the respective Area of Service.

(d) “Customers Experiencing More Than Five Interruptions (CEMI5).” The number of retail customers that sustain more than five Service Interruptions for a specified Area of Service over a given period of time.

(e) “Customer Minutes of Interruption (CMI).” For a given Outage Event, CMI is the sum of each affected retail customer’s Service Interruption Duration.

(f) “Momentary Average Interruption Event Frequency Index (MAIFIe).” The average number of Momentary Interruption Events recorded on primary circuits for a specified Area of Service over a given period of time.

(g) “Momentary Interruption.” The complete loss of voltage for less than one minute. This does not include short duration phenomena causing waveform distortion.

(h) “Momentary Interruption Event.” One or more Momentary Interruptions recorded by the operation of a utility distribution interrupting device within a five minute period. For example, two or three operations of a primary circuit breaker within a five minute period that did not result in a Service Interruption is one Momentary Interruption Event.

(i) “Number of Customers Served (C).” The sum of all retail customers on the last day of a given time period within a specific Area of Service.

(j) “Number of Outage Events (N).” The sum of Outage Events for an Area of Service over a specified period of time.

(k) “Outage Event.” An occurrence that results in one or more individual retail customer Service Interruptions.

(l) “Outage Event Duration (L).” The time interval, in minutes, between the time when a utility first becomes aware of an Outage Event and the time of restoration of service to the last retail customer affected by that Outage Event.

(m) “Service Interruption.” The complete loss of voltage of at least one minute to a retail customer.

(n) “Service Interruption Duration.” The time interval, in minutes, between the time a utility first becomes aware of a Service Interruption and the time of restoration of service to that retail customer.

(o) “System Average Interruption Duration Index (SAIDI).” The average minutes of Service Interruption Duration per retail customer served within a specified Area of Service over a given period of time. It is determined by dividing the total Customer Minutes of Interruption by the total Number of Customers Served for the respective Area of Service.

(p) “System Average Interruption Frequency Index (SAIFI).” The average number of Service Interruptions per retail customer within a specified Area of Service over a given period of time. It is determined by dividing the sum of Service Interruptions by the total Number of Customers Served for the respective Area of Service.

(q) “Planned Service Interruption.” A Service Interruption initiated by the utility to perform necessary scheduled activities, such as maintenance, infrastructure improvements, and new construction due to customer growth.

(2) Each utility shall keep a record of its system reliability and continuity of service data, customers’ Service Interruption notifications, and other data necessary for the annual reports filed under these rules. These records and data shall be retained for a minimum of ten years from the filing of each annual report. The utility shall record each Outage Event as planned or unplanned and shall identify the point of origination such as generation facility, transmission line, transmission substation equipment, or distribution equipment. The cause of each Outage Event shall be determined and recorded in a standardized manner throughout the utility. The date and time of the Outage Event and the number of Service Interruptions for the Outage Event shall also be recorded.

(3) Each utility shall make all reasonable efforts to prevent interruptions of service and when such interruptions occur shall attempt to restore service within the shortest time practicable consistent with safety.

(4) When the service is necessarily interrupted or curtailed, it shall be done at a time which, when at all practicable, will result in the least inconvenience to customers and all such scheduled interruptions shall be preceded by reasonable notice whenever practicable to affected customers. Each utility shall maintain a current copy of its noticing procedures with the Division of Engineering.

(5) The provisions of this rule shall not apply to a curtailment or an interruption of service to customers receiving service under interruptible rate classifications when the curtailment or interruption of service occurs pursuant to the affected retail customer’s service agreement.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.04(2)(c), (5), 366.05 FS. History–New 7-29-69, Formerly 25-6.44, Amended 2-25-93, 11-7-02, 8-17-06.

- 25-6.0440 Territorial Agreements for Electric Utilities.

(1) All territorial agreements between electric utilities shall be submitted to the Commission for approval. Each territorial agreement shall clearly identify the geographical area to be served by each utility. The submission shall include:

(a) A map and a written description of the area,

(b) The terms and conditions pertaining to implementation of the agreement, and any other terms and conditions pertaining to the agreement,

(c) The number and class of customers to be transferred,

(d) Assurance that the affected customers have been contacted and the difference in rates explained,

(e) Information with respect to the degree of acceptance by affected customers, i.e., the number in favor of and those opposed to the transfer, and

(f) An official Florida Department of Transportation (DOT) General Highway County map for each affected county depicting boundary lines established by the territorial agreement. Upon approval of the agreement, any modification, changes, or corrections to this agreement must be approved by this Commission.

(2) Standards for Approval. In approving territorial agreements, the Commission may consider, but not be limited to consideration of:

(a) The reasonableness of the purchase price of any facilities being transferred;

(b) The reasonable likelihood that the agreement, in and of itself, will not cause a decrease in the reliability of electrical service to the existing or future ratepayers of any utility party to the agreement; and

(c) The reasonable likelihood that the agreement will eliminate existing or potential uneconomic duplication of facilities.

(3) The Commission may require additional relevant information from the parties of the agreement, if so warranted.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.04(2), (4), (5), 366.05(7) FS. History–New 3-4-90, Amended 2-13-96.

- 25-6.0441 Territorial Disputes for Electric Utilities.

(1) A territorial dispute proceeding may be initiated by a petition from an electric utility requesting the Commission to resolve the dispute. Additionally the Commission may, on its own motion, identify the existence of a dispute and order the affected parties to participate in a proceeding to resolve it. Each utility which is a party to a territorial dispute shall provide a map and a written description of the disputed area along with the conditions that caused the dispute. Each utility party shall also provide a description of the existing and planned load to be served in the area of dispute and a description of the type, additional cost, and reliability of electrical facilities and other utility services to be provided within the disputed area.

(2) In resolving territorial disputes, the Commission may consider, but not be limited to consideration of:

(a) The capability of each utility to provide reliable electric service within the disputed area with its existing facilities and the extent to which additional facilities are needed;

(b) The nature of the disputed area including population and the type of utilities seeking to serve it, and degree of urbanization of the area and its proximity to other urban areas, and the present and reasonably foreseeable future requirements of the area for other utility services;

(c) The cost of each utility to provide distribution and subtransmission facilities to the disputed area presently and in the future; and

(d) Customer preference if all other factors are substantially equal.

(3) The Commission may require additional relevant information from the parties of the dispute if so warranted.

(4) Upon resolution of each territorial dispute, the parties to the dispute shall submit to the Commission an official Florida Department of Transportation (DOT) General Highway County map for each affected county depicting boundary lines established by the resolution of the territorial dispute.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.04(2), (4), (5), 366.05(7) FS. History–New 3-4-90, Amended 2-13-96.

- 25-6.0442 Customer Participation.

(1) Any customer located within the geographic area in question shall have an opportunity to present oral or written communications in commission proceedings to approve territorial agreements or resolve territorial disputes. If the commission proposes to consider such material, then all parties shall be given a reasonable opportunity to cross-examine or challenge or rebut it.

(2) Any substantially affected customer shall have the right to intervene in such proceedings.

(3) In any Commission proceeding to approve a territorial agreement or resolve a territorial dispute, the Commission shall give notice of the proceeding in the manner provided by Rule 25-22.0405, F.A.C.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.04(2), (4), 366.05(7) FS. History–New 3-4-90.

- 25-6.0455 Annual Distribution Service Reliability Report.

(1) Each utility shall file a Distribution Service Reliability Report with the Commission Clerk on or before March 1 of each year, for the preceding calendar year.

(2) The Distribution Service Reliability Report will exclude the impact of all service interruptions associated with generation and transmission disturbances governed by subsections 25-6.018(2) and (3), F.A.C.

(3) The report shall contain the following information on an actual and adjusted basis:

(a) The utility’s total number of Outage Events (N), categorized by cause for the highest ten causes of Outage Events, the Average Duration of Outage Events (L-Bar), and Average Service Restoration Time (CAIDI). The utility shall record these data and analyses on Form PSC/ENG 102-1(a) (8/06) and Form PSC/ENG 102-1(b) (8/06), entitled “Causes of Outage Events – Actual” and “Causes of Outage Events – Adjusted”, respectively, which may be obtained from the Division of Engineering, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, (850)413-6910, and which are incorporated herein by reference;

(b) Identification of the three percent of the utility’s Primary Circuits (feeders) with the highest number of feeder breaker interruptions. For each primary circuit so identified the utility shall report the primary circuit identification number or name, substation origin, general location, number of affected customers by service class served, Number of Outage Events (N), Average Duration of Outage Events (L-Bar), Average Service Restoration Time (CAIDI), whether the same circuit is being reported for the second consecutive year, the number of years the primary circuit was reported on the “Three Percent Feeder List” in the past five years, and the corrective action date of completion. The utility shall record these data and analyses on Form PSC/ENG 102-2(a) (8/06) and Form PSC/ENG 102-2(b) (8/06), entitled “Three Percent Feeder List – Actual” and “Three Percent Feeder List – Adjusted”, respectively, which may be obtained from the Division of Engineering, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, (850)413-6910, and which are incorporated herein by reference;

(c) The reliability indices SAIDI, CAIDI, SAIFI, MAIFIe, and CEMI5 for its system and for each district or region into which its system may be divided. The utility shall report these data and analyses on Form PSC/ENG 102-3(a) (8/06) and Form PSC/ENG 102-3(b) (8/06), entitles “System Reliability Indices – Annual” and “System Reliability Indices – Adjusted”, respectively, which may be obtained from the Division of Engineering, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, (850)413-6910, and which are incorporated herein by reference. Any utility furnishing electric service to fewer than 50,000 retail customers shall not be required to report the reliability indices MAIFIe or CEMI5; and

(d) The calculations for each of the required indices and measures of distribution reliability.

(4) Adjusted distribution reliability data may omit Outage Events directly caused by:

(a) Planned Service Interruptions;

(b) A storm named by the National Hurricane Center;

(c) A tornado recorded by the National Weather Service;

(d) Ice on lines;

(e) A planned load management event;

(f) Any electric generation or transmission event not governed by subsections 25-6.018(2) and (3), F.A.C.; or

(g) An extreme weather or fire event causing activation of the county emergency operation center.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.04(2)(c), (f), (5), 366.05, 366.05(7) FS. History–New 2-25-93, Amended 11-7-02, 8-17-06.

- 25-6.046 Voltage Standards.

(1) Each utility shall adopt standard nominal voltages conforming to modern usage, as may be required by the design of its distributing and transmission system for its entire service area or for each of the districts into which its system may be divided.

(a) For service rendered to customers whose principal consumption shall be for lighting and/or residential purposes, the voltage at the point of delivery shall not exceed 5% above or below the standard voltage adopted.

(b) For service rendered principally for industrial or power purposes, excluding residential purposes, the voltage at the point of delivery shall not exceed 7 1/2% above or below the standard voltage adopted.

(c) Sudden changes in voltage that exceed 5% of the standard voltage and occur more frequently than two times per hour, or changes of 2 1/2% that occur more frequently than once per minute shall be limited to magnitudes and frequency of occurrence compatible with the customer’s requirements.

(d) The limitations in paragraphs (a), (b) and (c) may be modified for cases in which the customer specifically agrees to accept service not meeting the specified limits.

(2) Where the utility’s facilities are reasonably adequate and of sufficient capacity to carry the actual loads normally imposed, the utility may require that the equipment on the customer’s premises shall be such that the starting and operating characteristics will not cause an instantaneous voltage drop of more than 4% of the standard voltage, measured at the point of delivery, or cause objectionable flicker to other customers’ service.

(3) Variations in voltage in excess of the limits specified above caused by service interruptions, action of the elements, temporary separation of parts of the system, infrequent and unavoidable fluctuations not exceeding five (5) minutes duration, operation of the customers’ equipment at low power factor, unbalanced loading, or other causes beyond the control of the utility shall not be considered a violation of this rule.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.04(2)(c), (5) FS. History–New 7-29-69, Formerly 25-6.46, Amended 2-25-93.

- 25-6.047 Constant Current Standards.

(1) Equipment supplying constant current street lighting circuits shall be so adjusted as to furnish as nearly as is practicable the rated current of the circuit supplied and, under normal operating conditions, the current shall not vary more than 4% above or below the rated current of the circuit.

(2) At least once a year the current output of the equipment supplying constant current circuits shall be checked and the equipment adjusted if necessary.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.04(2)(c), (5) FS. History–New 7-29-69, Formerly 25-6.47.

- 25-6.048 Limiting Connected Load.

If the utility maintains a rate based on connected load, provisions shall be made in its rules whereby the customer may arrange his wiring in such a manner that only a portion of the load may be served at one time. In such cases the connected load to be used for the computation of charges shall be the largest load which can be served.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.05(1) FS. History–New 7-29-69, Formerly 25-6.48.

- 25-6.049 Measuring Customer Service.

(1) All energy sold to customers shall be measured by commercially acceptable measuring devices owned and maintained by the utility, except where it is impractical to meter loads, such as street lighting, temporary or special installations, in which case the consumption may be calculated, or billed on demand or connected load rate or as provided in the utility’s filed tariff.

(2) When there is more than one meter at a location, the metering equipment shall be so tagged or plainly marked as to indicate the circuit metered. Where similar types of meters record different quantities, (kilowatt-hours and reactive power, for example), metering equipment shall be tagged or plainly marked to indicate what the meters are recording.

(3) Meters which are not direct reading shall have the multiplier plainly marked on the meter. All charts taken from recording meters shall be marked with the date of the record, the meter number, customer, and chart multiplier. The register ratio shall be marked on all meter registers. The watt-hour constant for the meter itself shall be placed on all watt-hour meters.

(4) Metering equipment shall not be set “fast” or “slow” to compensate for supply transformer or line losses.

(5) Individual electric metering by the utility shall be required for each separate occupancy unit of new commercial establishments, residential buildings, condominiums, cooperatives, marinas, and trailer, mobile home and recreational vehicle parks. However, individual metering shall not be required for any such occupancy unit for which a construction permit was issued before, and which has received master-metered service continuously since January 1, 1981. In addition, individual electric meters shall not be required:

(a) In those portions of a commercial establishment where the floor space dimensions or physical configuration of the units are subject to alteration, as evidenced by non-structural element partition walls, unless the utility determines that adequate provisions can be made to modify the metering to accurately reflect such alterations;

(b) For electricity used in central heating, ventilating and air conditioning systems, or electric back up service to storage heating and cooling systems;

(c) For electricity used in specialized-use housing accommodations such as hospitals, nursing homes, living facilities located on the same premises as, and operated in conjunction with, a nursing home or other health care facility providing at least the same level and types of services as a nursing home, convalescent homes, facilities certificated under Chapter 651, F.S., college dormitories, convents, sorority houses, fraternity houses, and similar facilities;

(d) For lodging establishments such as hotels, motels, and similar facilities which are rented, leased, or otherwise provided to guests by an operator providing overnight occupancy as defined in paragraph (8)(b);

(e) For separate, specially-designated areas for overnight occupancy, as defined in paragraph (8)(b), at trailer, mobile home and recreational vehicle parks and marinas where permanent residency is not established;

(f) For new and existing time-share plans, provided that all of the occupancy units which are served by the master meter or meters are committed to a time-share plan as defined in Chapter 721, F.S., and none of the occupancy units are used for permanent occupancy.

(g) For condominiums that meet the following criteria:

1. The declaration of condominium requires that at least 95 percent of the units are used solely for overnight occupancy as defined in paragraph (8)(b) of this rule;

2. A registration desk, lobby and central telephone switchboard are maintained; and

3. A record is kept for each unit showing each check-in and check-out date for the unit, and the name(s) of the individual(s) registered to occupy the unit between each check-in and check-out date.

(6) Master-metered condominiums.

(a) Initial Qualifications – In addition to the criteria in paragraph (5)(g), in order to initially qualify for master-metered service, the owner or developer of the condominium, the condominium association, or the customer must attest to the utility that the criteria in paragraph (5)(g) and in this subsection have been met, and that any cost of future conversion to individual metering will be the responsibility of the customer, consistent with subsection (7) of this rule. Upon request and reasonable notice by the utility, the utility shall be allowed to inspect the condominium to collect evidence needed to determine whether the condominium is in compliance with this rule.  If the criteria in paragraph (5)(g) and in this subsection are not met, then the utility shall not provide master-metered service to the condominium.

(b) Ongoing Compliance – The customer shall attest annually, in writing, to the utility that the condominium meets the criteria for master metering in paragraph (5)(g). The utility shall establish the date that annual compliance materials are due based on its determination of the date that the criteria in paragraphs (5)(g) and (6)(a) were initially satisfied, and shall inform the customer of that date before the first annual notice is due. The customer shall notify the utility within 10 days if, at any time, the condominium ceases to meet the requirements in paragraph (5)(g).

(c) Upon request and reasonable notice by the utility, the utility shall be allowed to inspect the condominium to collect evidence needed to determine whether the condominium is in compliance with this rule.

(d) Failure to Comply – If a condominium is master metered under the exemption in this rule and subsequently fails to meet the criteria contained in paragraph (5)(g), or the customer fails to make the annual attestation required by paragraph (6)(b), then the utility shall promptly notify the customer that the condominium is no longer eligible for master-metered service. If the customer does not respond with clear evidence to the contrary within 30 days of receiving the notice, the customer shall individually meter the condominium units within six months following the date on the notice. During this six month period, the utility shall not discontinue service based on failure to comply with this rule. Thereafter, the provisions of Rule 25-6.105, F.A.C., apply.

(7) When a structure or building is converted from individual metering to master metering, or from master metering to individual metering, the customer shall be responsible for the costs incurred by the utility for the conversion. These costs shall include, but not be limited to, any remaining undepreciated cost of any existing distribution equipment which is removed or transferred to the ownership of the customer, plus the cost of removal or relocation of any distribution equipment, less the salvage value of any removed equipment.

(8) For purposes of this rule:

(a) “Occupancy unit” means that portion of any commercial establishment, single and multi-unit residential building, or trailer, mobile home or recreational vehicle park, or marina which is set apart from the rest of such facility by clearly determinable boundaries as described in the rental, lease, or ownership agreement for such unit.

(b) “Overnight Occupancy” means use of an occupancy unit for a short term such as per day or per week where permanent residency is not established.

(9)(a) Where individual metering is not required under subsection (5) and master metering is used in lieu thereof, reasonable apportionment methods, including sub-metering may be used by the customer of record or the owner of such facility solely for the purpose of allocating the cost of the electricity billed by the utility. The term “cost” as used herein means only those charges specifically authorized by the electric utility’s tariff, including but not limited to the customer, energy, demand, fuel, conservation, capacity and environmental charges made by the electric utility plus applicable taxes and fees to the customer of record responsible for the master meter payments. The term does not include late payment charges, returned check charges, the cost of the customer-owned distribution system behind the master meter, the customer of record’s cost of billing the individual units, and other such costs.

(b) Any fees or charges collected by a customer of record for electricity billed to the customer’s account by the utility, whether based on the use of sub-metering or any other allocation method, shall be determined in a manner which reimburses the customer of record for no more than the customer’s actual cost of electricity.

(c) Each utility shall develop a standard policy governing the provisions of sub-metering as provided for herein. Such policy shall be filed by each utility as part of its tariffs. The policy shall have uniform application and shall be nondiscriminatory.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.05(1), 366.06(1), 366.81, 366.82 FS. History–New 7-29-69, Amended 11-26-80, 12-23-82, 12-28-83, Formerly 25-6.49, Amended 7-14-87, 10-5-88, 3-23-97, 10-10-06.

- 25-6.050 Location of Meters.

The utility shall designate to an applicant or its customers the location for meter placement. Locations of meters shall be easily accessible for reading, testing, and making necessary adjustments and repairs. If an applicant requests a different location for meter placement from that designated by the utility on initial application for service and the utility agrees that the different meter location is acceptable to the utility, the applicant shall pay the incremental cost of installing the meter at the different location. If an existing customer requests relocation of an existing installed meter and the utility agrees that the different meter location is acceptable to the utility, the existing customer shall pay the incremental cost of relocating the meter at the different location.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(1) FS. History–New 7-29-69, Formerly 25-6.50, Amended 2-4-13.

- 25-6.052 Accuracy Requirements and Test Plans for Metering Devices.

(1) Definitions.

(a) “Electronic Meter.” Any meter that measures electric demand or energy and displays registration using electronic components only.

(b) “Mechanical Meter.” Any meter that measures electric demand or energy and displays registration using mechanical components rather than electronic or solid-state components.

(c) “Lagged Demand (or Thermal Demand) Meter.” Any meter that indicates demand by means of thermal or mechanical devices having an approximately exponential response.

(d) “Registration Error.” The variation in kilowatts or kilowatt-hours from the true value measured by a standard or reference device.

(e) “Meter Type.” A combination of design and construction that forms a unique method of measurement of the consumption of electricity. For example, electromechanical, thermal, solid state, hybrid, etc.

(2) Accuracy Requirements for Watthour Meters. The performance of an in-service watthour meter shall be acceptable when the meter does not creep and the average registration error does not exceed plus or minus two percent. Meter registration error shall be determined in accordance with subsection 25-6.058(1), F.A.C.

(3) Accuracy Requirements for Demand Meters and Registers.

(a) The performance of a mechanical or lagged demand meter or register shall be acceptable when the registration error does not exceed four percent in terms of full-scale value at any point between 25 percent and 100 percent of full-scale value. Meter registration error shall be determined in accordance with paragraph 25-6.058(2)(a), F.A.C.

(b) The performance of an electronic demand meter or register shall be acceptable when the registration error does not exceed two percent of reading at any point between 10 percent and 100 percent of test amperes. Meter registration error shall be determined in accordance with paragraph 25-6.058(2)(b), F.A.C.

(c) Demand meters shall indicate zero under no-load conditions.

(4) Meter Equipment Test Procedures.

(a) The test of any unit of metering equipment shall consist of a comparison of its accuracy with the accuracy of a standard.

(b) Watthour meters and associated devices shall be tested for accuracy and adjusted in accordance with American National Standard for Electric Meters, Code for Electricity Metering (ANSI C12.1 – 2001), which is incorporated herein by reference.

(c) Electronic meters that compute demand from watthour meter registration and programmed demand algorithms shall be tested and adjusted in accordance with ANSI C12.1 – 2001. Demand registration need not be tested, provided the meter has been inspected to contain the correct demand algorithm whenever watthour registration is tested.

(5) Test Plans.

(a) Each utility shall submit its test plan for review and approval for all types of metering equipment, including:

1. Single-phase watthour meters;

2. Polyphase watthour meters;

3. Demand meters;

4. Pulse initiating meters;

5. Pulse recorders;

6. Time-of-use meters; and

7. Instrument Transformers.

(b) Test plans shall contain the following for each type of metering device covered:

1. Adjustment limits;

2. Test points;

3. Test duration;

4. Type of test – single-phase test, polyphase test, etc.; and

5. Description of the general steps involved.

(c) Any changes to a previously approved test plan must be submitted to the Commission’s Division of Engineering for approval. Adding a meter type to a previously approved test plan is a change that requires approval.

(d) Review of Proposed Test Plans. Except where a utility has requested a formal ruling by the Commission, the Division of Engineering shall within 90 days after submission review each utility’s proposed test plan to determine whether it satisfies the criteria set forth in paragraphs (5)(a) and (b) above and shall notify the utility in writing of its decision accepting or rejecting the proposed plan. If a proposed plan is rejected, the written notice of rejection shall state clearly the reasons for rejecting the proposed plan. If a utility’s proposed plan is rejected, the utility shall submit a revised plan to the Commission within 60 days after receiving the notice of rejection. Where a utility has requested staff review of its plan and a plan has been rejected, the utility may petition the Commission for approval of the plan.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(3) FS. History–New 7-29-69, Formerly 25-6.52, Amended 5-19-97, 7-3-06.

- 25-6.054 Laboratory Standards.

(1) Each utility shall have available one or more watthour meters to be used as basic reference standards. The watthour meters must have an adequate capacity and voltage range to test all portable standards used by the utility and must meet the requirements described in subsection 25-6.055(1), F.A.C.

(a) Watthour meters used as basic reference standards shall not be in error by more than plus or minus 0.05 percent at 1.00 power factor or by more than 0.10 percent at 0.50 power factor. Watthour meters shall not be used to check or calibrate portable standard watthour meters unless the basic reference standard watthour meter has been checked and adjusted, if necessary, to the prescribed accuracy within the preceding twelve months.

(b) The percent registration of each basic reference standard watthour meter shall be compared with the percent registration of all other basic reference standard watthour meters used by the utility.

(2) Each utility shall establish traceability of its watthour standard to the national standards at least annually using one of the following methods:

(a) Through the Measurement Assurance Program (MAP) in which the National Institute of Standards and Technology (NIST) has provided a transport standard; or

(b) Through a transport standard which is of the same nominal value and of quality equal to the basic reference standards that are sent to NIST or to an independent laboratory approved by the Commission.

(3) If error exceeding that referenced in paragraph 25-6.054(1)(a), F.A.C., in the percent registration of a watthour meter used as a basic reference standard is observed in the comparisons in paragraph 25-6.054(2)(b), F.A.C., the utility shall investigate the source of the error. If the cause of the error cannot be corrected, use of the watthour meter as a basic reference standard shall be discontinued.

(4) Each utility shall maintain historical performance records for each watthour meter used as a basic reference standard for the following types of comparisons:

(a) Comparisons of basic reference standards with national standards; and

(b) Intercomparisons made with other basic reference standards.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(1) FS. History–New 7-29-69, Amended 4-13-80, 5-13-85, Formerly 25-6.54, Amended 5-19-97.

- 25-6.055 Portable Standards.

(1) Each utility shall have one or more watthour meters to be used as portable standards, which shall have adequate capacity and voltage range to test all watthour meters used by the utility for billing purposes.

(a) All portable standard watthour meters shall be compared with a basic reference standard once a year.

(b) Each portable standard watthour meter shall be adjusted, if necessary, so that its accuracy will be within plus or minus 0.10 percent at 1.00 power factor and within plus or minus 0.20 percent at 0.50 power factor.

(2) If error exceeding that referenced in paragraph 25-6.055(1)(b), F.A.C., in the percent registration of a watthour meter used as a portable standard is observed in the comparisons in subsection 25-6.055(1), F.A.C., the utility shall investigate the source of the error. If the cause of the error cannot be corrected, use of the watthour meter as a basic reference standard shall be discontinued.

(3) The calibration history of each standard shall be made available to the Commission upon request.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(1), (3) FS. History–New 7-29-69, Amended 5-13-85, Formerly 25-6.55, Amended 5-19-97.

- 25-6.056 Metering Device Test Plans.

(1) The test of any unit of metering equipment shall consist of a comparison of its accuracy with a standard of known accuracy. Units not meeting the accuracy or other requirements of Rule 25-6.052, F.A.C., at the time of the test shall be corrected to meet such requirements and adjusted to within the required accuracy as close to 100 percent accurate as practicable or their use discontinued.

(2) All metering device tests shall be retained in accordance with Rule 25-6.022, F.A.C.

(3) New instrument transformers shall be tested in accordance with subsection (5) of this rule. Instrument transformers that have been removed from service shall be tested prior to reinstallation if the reason for removal, physical appearance, or record of performance gives cause to doubt its reliability.

(4) All metering equipment listed in paragraph 25-6.052(5)(a), F.A.C., shall be tested:

(a) Before initial and each successive installation, either by the utility or the manufacturer, with the exception of units of metering equipment that are statistically sample tested by the utility under an approved Random Sampling Plan; and

(b) When they are suspected by the utility of being inaccurate or damaged.

(5) Acceptance Testing. Tests for all new units of metering equipment may be performed according to one of three plans:

(a) On a 100 percent basis, with testing performed by the utility;

(b) On a statistically sampled basis under an approved Random Sampling Plan, with testing performed by the utility; or

(c) On a 100 percent basis, with testing performed by the manufacturer and the test results for each unit provided by the manufacturer and maintained by the utility.

(6) Within each population specified in an approved sampling plan or periodic test plan of mechanical or lagged demand meters, or other metering devices for which acceptability is stated in terms of full-scale value, each device shall have the same class amperage and class voltage.

(7) In-Service Testing.

(a) In-service metering devices may be sample tested under an approved Random Sampling Plan.

(b) In-service metering devices that are not included in an approved Random Sampling Plan shall be tested periodically. The periodic testing schedule for equipment not included in an approved Random Sampling Plan must be approved by the Commission.

(8) Random Sampling Plans Submitted for Approval.

(a) Random Sampling Plans published by the United States Department of Defense or by The American Society for Quality Control, or any other sampling plans that have been approved by the Commission prior to the effective date of this rule need not be re-approved for the types of equipment for which they were approved.

(b) Each Random Sampling Plan submitted for approval shall include, at a minimum, the following information:

1. Plans to more closely monitor populations of equipment in service for which estimates indicate accuracy problems, to determine if units in the population need to be adjusted or replaced (in-service sampling plans).

2. A statement of the plan’s statistical design and the rationale for using the plan in lieu of testing 100 percent of the units in the population.

3. A precise statement of the plan’s null hypothesis and alternative hypotheses, the probability of committing Type I error and Type II error, and the criteria for accepting or rejecting the null hypothesis.

(c) “Variables” sampling plans may use either of the “known variability” or the “unknown variability” acceptance criteria. The acceptance criteria shall be appropriately modeled. Variables sampling plans shall use the population standard deviation to measure variability unless the proposed plan is accompanied by adequate justification for using another parameter.

(9) The analysis of a proposed Random Sampling Plan, or a proposed periodic in-service testing schedule where applicable, shall include assessments of the plan’s ability to detect the presence of inaccurate equipment, the economy of testing only a sample of the units in the population, the impact of having inaccurate units used for billing purposes, the number of units in the population, and the historical performance of the type of equipment covered by the proposed plan.

(10) Approval of Sampling Plans and In-Service Testing Schedules. All utilities subject to this rule shall submit to the Commission’s Division of Engineering a proposed Random Sampling Plan for each population of metering devices for which it intends to use a random sampling plan for acceptance testing or for in-service testing, and a proposed periodic testing schedule for each population of metering devices for which it does not submit a proposed in-service random sampling plan. Sampling plans and in-service testing schedules must be reviewed and approved pursuant to subsection (11) of this rule prior to their use.

(11) Review of Proposed Test Plan. As used in this subsection, the word “plan” includes periodic testing schedules as well as Random Sampling Plans. Except where a utility has requested a formal ruling by the Commission, the Division of Engineering shall within 90 days after submission review each utility’s plan to determine whether it satisfies the criteria set forth in subsections (8) and (9) above and shall notify the utility in writing of its decision accepting or rejecting the proposed plan. If a proposed plan is rejected, the written notice of rejection shall state clearly the reasons for rejecting the proposed plan. If a utility’s proposed plan is rejected, the utility shall submit a revised plan to the Commission within 60 days after receiving the notice of rejection. Where a utility has requested staff review of its plan and the plan has been rejected, the utility may petition the Commission for approval of the initially proposed plan.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(3) FS. History–New 7-29-69, Amended 4-13-80, Formerly 25-6.56, Amended 5-19-97, 7-3-06.

- 25-6.058 Determination of Average Meter Registration Error.

(1) Average Meter Registration Error for Watthour Registers.

(a) If the metering installation is used to measure a load which has practically constant characteristics, such as a street-lighting load, the meter shall be tested under similar conditions of load and the registration error of the meter “as found” shall be considered as the average meter error.

(b) If a single-phase metering installation is used on a varying load, the average registration error shall be determined by one of the following methods. The utility shall select the method that best fits the customer’s usage pattern.

1. The weighted algebraic average of the error at approximately 10 percent and at 100 percent of the rated test amperes for the meter, the latter being given a weight of four times the former;

2. The simple average of the error at approximately 10 percent and at approximately 100 percent of the rated test amperes of the meter, each being given an equal weight; or

3. A single point, when calculating the error of an electronic meter, and the single point is an accurate representation of the error over the load range of the meter.

(c) If a polyphase metering installation is used on a varying load, the average registration error shall be determined by one of the following methods. The utility shall select the method that best fits the customer’s usage pattern.

1. The weighted algebraic average of its error at light load (approximately 10 percent rated test amperes) given a weight of two, its error at heavy load (approximately 100 percent rated test amperes) and 100 percent power factor given a weight of four, and at heavy load (approximately 100 percent rated test amperes) and 50 percent lagging power factor given a weight of one; or

2. A single point, when calculating the error of an electronic meter, and the single point is an accurate representation of the error over the load range of the meter.

(2) Average Meter Registration Error for Demand Registers.

(a) For mechanical or lagged demand meters, registration error shall be determined by testing the meter at both 40 percent and 80 percent of its full-scale value, as read on the reference or standard meter, or as near to these two points as practicable. The following two formulas shall be used to estimate the kilowatt error of the meter at 25 percent of full scale and at 100 percent of full scale:

E25 = [E80 – E40]/[R80 – R40]*[R25 – R40] + E40

E100 = [E80 – E40]/[R80 – R40]*[R100 – R40] + E40

where:

R25 and R100 denote the kilowatt readings on the reference meter at 25 percent and 100 percent of the full scale value of the meter being tested, respectively;

R40 and R80 denote the kilowatt readings on the reference meter at 40 percent and 80 percent of the full scale value of the meter being tested, respectively;

E40 is the difference in kilowatts between the reference reading (R40) and the reading on the meter being tested;

E80 is the difference in kilowatts between the reference reading (R80) and the reading on the meter being tested;

E25 is the estimated kilowatt error corresponding to R25; and

E100 is the estimated kilowatt error corresponding to R100.

The greater of these two estimated kilowatt errors, E25 or E100, shall be expressed as a percentage of the full-scale value of the meter being tested to determine if the meter meets the accuracy requirement of paragraph 25-6.052(3)(a), F.A.C.

(b) For electronic demand meters, demand registration need not be separately tested provided the meter has been inspected to contain the correct demand algorithm whenever watthour registration is tested.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(3) FS. History–New 7-29-69, Formerly 25-6.58, Amended 5-19-97, 7-3-06, 10-27-14.

- 25-6.059 Meter Test by Request.

(1) Upon request of a customer, the utility shall, without charge, make a test of the accuracy of the meter in use at his premises provided that the meter has not been tested by the utility or the Commission within twelve (12) months previous to such request. This may be a shop test.

(2) Should any customer request a meter test more frequently than provided for in subsection (1) of this rule, the utility may require a deposit to defray costs of testing, such deposit not to exceed one hundred dollars ($100.00) for each test. If the meter is found to be running fast in excess of the allowable limit the deposit shall be refunded, but if the meter is below the allowable limit, the deposit may be retained by the utility as a service charge for conducting the test.

(3) If the customer so desires, he or his authorized representative shall have the privilege of witnessing the test. A written report giving the results of the test shall be furnished to the customer upon request.

(4) At the request of the customer, the utility shall make arrangements for a meter test to be conducted by an independent meter testing facility of the customer’s choosing. The customer shall be responsible for negotiating and paying to the independent meter testing facility any fee charged for such a test. Such independent meter testing facilities shall, at a minimum, conform to the requirements of the American National Standard for Electric Metering, Code for Electricity Metering (ANSI C12.1 2001), which is incorporated herein by reference. Where appropriate, the meter may be field tested. The customer shall be responsible for all the costs incurred by the utility related to a meter test by an independent testing facility. The utility shall provide a detailed estimate of costs the utility expects to incur related to the meter test and may require payment of such costs prior to the actual meter test. The customer shall provide to the utility a detailed estimate of charges from the independent testing facility for the meter test prior to the actual test. If the meter is found to be running fast in excess of the limits established by these rules, any payment collected by the utility related to the meter test shall be refunded, but if the meter is found to be within the limits established by these rules, the utility may retain any payments collected by the utility related to the meter test.

(5) The utility may, at its discretion, conduct its own test of the meter in conformance with the testing standards established by these rules. In the event that separate tests of the same meter conflict as to whether the meter meets the accuracy standards established by these rules, at the request of the utility or the customer, the Commission will resolve the matter.

(6) For equipment tested under this rule, any previous accuracy test result on record at the time the meter test is requested must be retained in accordance with Rule 25-6.022, F.A.C.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(3), (4), (5) FS. History–New 7-29-69, Amended 10-11-83, Formerly 25-6.59, Amended 7-3-06.

- 25-6.060 Meter Test – Refereed Dispute.

(1) In the event of a dispute, upon request to the Commission by any customer, a test of the customer’s meter shall be made by the utility as soon as practicable. Said test shall be supervised and witnessed by a representative of the Commission.

(2) A meter shall in no way be disturbed after the utility has received notice that application has been made for such referee test unless a representative of the Commission is present or unless authority to do so is first given in writing by the Commission or by the customer.

(3) A report of the results of the test will be made by the Commission to the customer.

(4) For equipment tested under this rule, any previous accuracy test result on record at the time the meter test is requested must be retained in accordance with Rule 25-6.022, F.A.C.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.05(3), 366.08 FS. History–New 7-29-69, Formerly 25-6.60, Amended 7-3-06, 12-16-12.

- 25-6.061 Relocation of Poles.

(1) When a utility is required by governmental or other valid authority to move poles, as, for example, the widening of streets or from public to privately-owned right-of-way, the utility is not required to furnish a new service entrance. It shall, however, run a service drop to the nearest point that meets local or national code requirements on each building served from the new pole location and remove the old service drop without expense to the customer.

(2) If the utility relocates its poles of its own volition, the utility shall supply and connect a new service entrance and remove the old without cost to the customer; or the utility may attach its system to the existing service entrance without expense to the customer, provided that local or national code requirements are met.

(3) If a utility is required by governmental or other valid authority to install underground distribution, and abandon overhead distribution, the utility shall not be required to bear any of the cost of making the necessary changes on the customer’s premises, except for the removal of the overhead service drop.

(4) If the utility elects to change an existing customer’s service drop from overhead to underground, the utility shall bear all of the costs associated with the necessary changes.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.05(1) FS. History–New 7-29-69, Formerly 25-6.61.

- 25-6.062 Inspection of Wires and Equipment.

Where inspection is required by law to insure that the wiring and equipment of the customer is installed and maintained in accordance with National Code, local and utility requirements, the utility shall not make service connection until approval is granted by the authorized inspecting authority.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.05(1) FS. History–New 7-29-69, Formerly 25-6.62.

- 25-6.064 Contribution-in-Aid-of-Construction for Installation of New or Upgraded Facilities.

(1) Application and scope. The purpose of this rule is to establish a uniform procedure by which investor-owned electric utilities calculate amounts due as contributions-in-aid-of-construction (CIAC) from customers who request new facilities or upgraded facilities in order to receive electric service, except as provided in Rule 25-6.078, F.A.C.

(2) Contributions-in-aid-of-construction for new or upgraded overhead facilities (CIACOH) shall be calculated as follows:

| CIACOH | = | Total estimated work order job cost of installing the facilities | - | Four years expected incremental base energy revenue | - | Four years expected incremental base demand revenue, if applicable |
| --- | --- | --- | --- | --- | --- | --- |

(a) The cost of the service drop and meter shall be excluded from the total estimated work order job cost for new overhead facilities.

(b) The net book value and cost of removal, net of the salvage value, for existing facilities shall be included in the total estimated work order job cost for upgrades to those existing facilities.

(c) The expected annual base energy and demand charge revenues shall be estimated for a period ending not more than 5 years after the new or upgraded facilities are placed in service.

(d) In no instance shall the CIACOH be less than zero.

(3) Contributions-in-aid-of-construction for new or upgraded underground facilities (CIACUG) shall be calculated as follows:

| CIACUG | = | CIACOH | + | Estimated difference between cost of providing the service underground and overhead |
| --- | --- | --- | --- | --- |

(4) Each utility shall apply the formula in subsections (2) and (3) of this rule uniformly to residential, commercial and industrial customers requesting new or upgraded facilities at any voltage level.

(5) The costs applied to the formula in subsections (2) and (3) shall be based on the requirements of Rule 25-6.0342, F.A.C., Electric Infrastructure Storm.

(6) All CIAC calculations under this rule shall be based on estimated work order job costs. In addition, each utility shall use its best judgment in estimating the total amount of annual revenues which the new or upgraded facilities are expected to produce.

(a) A customer may request a review of any CIAC charge within 12 months following the in-service date of the new or upgraded facilities. Upon request, the utility shall true-up the CIAC to reflect the actual costs of construction and actual base revenues received at the time the request is made.

(b) In cases where more customers than the initial applicant are expected to be served by the new or upgraded facilities, the utility shall prorate the total CIAC over the number of end-use customers expected to be served by the new or upgraded facilities within a period not to exceed 3 years, commencing with the in-service date of the new or upgraded facilities. The utility may require a payment equal to the full amount of the CIAC from the initial customer. For the 3-year period following the in-service date, the utility shall collect from those customers a prorated share of the original CIAC amount, and credit that to the initial customer who paid the CIAC. The utility shall file a tariff outlining its policy for the proration of CIAC.

(7) The utility may elect to waive all or any portion of the CIAC for customers, even when a CIAC is found to be applicable. If however, the utility waives a CIAC, the utility shall reduce net plant in service as though the CIAC had been collected, unless the Commission determines that there is a quantifiable benefit to the general body of ratepayers commensurate with the waived CIAC. Each utility shall maintain records of amounts waived and any subsequent changes that served to offset the CIAC.

(8) A detailed statement of its standard facilities extension and upgrade policies shall be filed by each utility as part of its tariffs. The tariffs shall have uniform application and shall be nondiscriminatory.

(9) If a utility and applicant are unable to agree on the CIAC amount, either party may appeal to the Commission for a review.

Rulemaking Authority 366.05(1), 350.127(2) FS. Law Implemented 366.03, 366.05(1), 366.06(1) FS. History–New 7-29-69, Amended 7-2-85, Formerly 25-6.64, Amended 2-1-07.

- 25-6.065 Interconnection and Net Metering of Customer-Owned Renewable Generation.

(1) Application and Scope. The purpose of this rule is to promote the development of small customer-owned renewable generation, particularly solar and wind energy systems; diversify the types of fuel used to generate electricity in Florida; lessen Florida’s dependence on fossil fuels for the production of electricity; minimize the volatility of fuel costs; encourage investment in the state; improve environmental conditions; and, at the same time, minimize costs of power supply to investor-owned utilities and their customers. This rule applies to all investor-owned utilities, except as otherwise stated in subsection (10).

(2) Definitions. As used in this rule, the term.

(a) “Customer-owned renewable generation” means an electric generating system located on a customer’s premises that is primarily intended to offset part or all of the customer’s electricity requirements with renewable energy. The term “customer-owned renewable generation” does not preclude the customer of record from contracting for the purchase, lease, operation, or maintenance of an on-site renewable generation system with a third-party under terms and conditions that do not include the retail purchase of electricity from the third party.

(b) “Gross power rating” means the total manufacturer’s AC nameplate generating capacity of an on-site customer-owned renewable generation system that will be interconnected to and operate in parallel with the investor-owned utility’s distribution facilities. For inverter-based systems, the AC nameplate generating capacity shall be calculated by multiplying the total installed DC nameplate generating capacity by .85 in order to account for losses during the conversion from DC to AC.

(c) “Net metering” means a metering and billing methodology whereby customer-owned renewable generation is allowed to offset the customer's electricity consumption on-site.

(d) “Renewable energy,” as defined in Section 377.803, F.S., means electrical, mechanical, or thermal energy produced from a method that uses one or more of the following fuels or energy sources: hydrogen, biomass, solar energy, geothermal energy, wind energy, ocean energy, waste heat, or hydroelectric power.

(3) Standard Interconnection Agreements. Each investor-owned utility shall, within 30 days of the effective date of this rule, file for Commission approval a Standard Interconnection Agreement for expedited interconnection of customer-owned renewable generation, up to 2 MW, that complies with the following standards:

(a) IEEE 1547 (2003) Standard for Interconnecting Distributed Resources with Electric Power Systems;

(b) IEEE 1547.1 (2005) Standard Conformance Test Procedures for Equipment Interconnecting Distributed Resources with Electric Power Systems; and

(c) UL 1741 (2005) Inverters, Converters, Controllers and Interconnection System Equipment for Use With Distributed Energy Resources.

(d) A copy of IEEE 1547 (2003), ISBN number 0-7381-3720-0, and IEEE 1547.1 (2005), ISBN number 0-7381-4737-0, may be obtained from the Institute of Electric and Electronic Engineers, Inc. (IEEE), 3 Park Avenue, New York, NY, 10016-5997. A copy of UL 1741 (2005) may be obtained from COMM 2000, 1414 Brook Drive, Downers Grove, IL 60515.

(4) Customer Qualifications and Fees.

(a) To qualify for expedited interconnection under this rule, customer-owned renewable generation must have a gross power rating that:

1. Does not exceed 90% of the customer’s utility distribution service rating; and

2. Falls within one of the following ranges:

Tier 1 ‒ 10 kW or less;

Tier 2 – greater than 10 kW and less than or equal to 100 kW; or

Tier 3 – greater than 100 kW and less than or equal to 2 MW.

(b) Customer-owned renewable generation shall be considered certified for interconnected operation if it has been submitted by a manufacturer to a nationally recognized testing and certification laboratory, and has been tested and listed by the laboratory for continuous interactive operation with an electric distribution system in compliance with the applicable codes and standards listed in subsection (3).

(c) Customer-owned renewable generation shall include a utility-interactive inverter, or other device certified pursuant to paragraph (4)(b) that performs the function of automatically isolating the customer-owned generation equipment from the electric grid in the event the electric grid loses power.

(d) For Tiers 1 and 2, provided the customer-owned renewable generation equipment complies with paragraphs (4)(a) and (b), the investor-owned utility shall not require further design review, testing, or additional equipment other than that provided for in subsection (6). For Tier 3, if an interconnection study is necessary, further design review, testing and additional equipment as identified in the study may be required.

(e) Tier 1 customers who request interconnection of customer-owned renewable generation shall not be charged fees in addition to those charged to other retail customers without self-generation, including application fees.

(f) Along with the Standard Interconnection Agreement filed pursuant to subsection (3), each investor-owned utility may propose for Commission approval a standard application fee for Tiers 2 and 3, including itemized cost support for each cost contained within the fee.

(g) Each investor-owned utility may also propose for Commission approval an Interconnection Study Charge for Tier 3.

(h) Each investor-owned utility shall show that their fees and charges are cost-based and reasonable. No fees or charges shall be assessed for interconnecting customer-owned renewable generation without prior Commission approval.

(5) Contents of Standard Interconnection Agreement. Each investor-owned utility’s customer-owned renewable generation Standard Interconnection Agreement shall, at a minimum, contain the following:

(a) A requirement that customer-owned renewable generation must be inspected and approved by local code officials prior to its operation in parallel with the investor-owned utility to ensure compliance with applicable local codes.

(b) Provisions that permit the investor-owned utility to inspect customer-owned renewable generation and its component equipment, and the documents necessary to ensure compliance with subsections (2) through (4). The customer shall notify the investor-owned utility at least 10 days prior to initially placing customer equipment and protective apparatus in service, and the investor-owned utility shall have the right to have personnel present on the in-service date. If the customer-owned renewable generation system is subsequently modified in order to increase its gross power rating, the customer must notify the investor-owned utility by submitting a new application specifying the modifications at least 30 days prior to making the modifications.

(c) A provision that the customer is responsible for protecting the renewable generating equipment, inverters, protective devices, and other system components from damage from the normal and abnormal conditions and operations that occur on the investor-owned utility system in delivering and restoring power; and is responsible for ensuring that customer-owned renewable generation equipment is inspected, maintained, and tested in accordance with the manufacturer’s instructions to ensure that it is operating correctly and safely.

(d) A provision that the customer shall hold harmless and indemnify the investor-owned utility for all loss to third parties resulting from the operation of the customer-owned renewable generation, except when the loss occurs due to the negligent actions of the investor-owned utility. A provision that the investor-owned utility shall hold harmless and indemnify the customer for all loss to third parties resulting from the operation of the investor-owned utility’s system, except when the loss occurs due to the negligent actions of the customer.

(e) A requirement for general liability insurance for personal and property damage, or sufficient guarantee and proof of self-insurance, in the amount of no more than $1 million for Tier 2, and no more than $2 million for Tier 3. The investor-owned utility shall not require liability insurance for Tier 1. The investor-owned utility may include in the Interconnection Agreement a recommendation that Tier 1 customers carry an appropriate level of liability insurance.

(f) Identification of any fees or charges approved pursuant to subsection (4).

(6) Manual Disconnect Switch.

(a) Each investor-owned utility’s customer-owned renewable generation Standard Interconnection Agreement may require customers to install, at the customer’s expense, a manual disconnect switch of the visible load break type to provide a separation point between the AC power output of the customer-owned renewable generation and any customer wiring connected to the investor-owned utility’s system. Inverter-based Tier 1 customer-owned renewable generation systems shall be exempt from this requirement, unless the manual disconnect switch is installed at the investor-owned utility’s expense. The manual disconnect switch shall be mounted separate from, but adjacent to, the meter socket and shall be readily accessible to the investor-owned utility and capable of being locked in the open position with a single investor-owned utility padlock.

(b) The investor-owned utility may open the switch pursuant to the conditions set forth in paragraph (6)(c), isolating the customer-owned renewable generation, without prior notice to the customer. To the extent practicable, however, prior notice shall be given. If prior notice is not given, the utility shall at the time of disconnection leave a door hanger notifying the customer that their customer-owned renewable generation has been disconnected, including an explanation of the condition necessitating such action. The investor-owned utility shall reconnect the customer-owned renewable generation as soon as the condition necessitating disconnection is remedied.

(c) Any of the following conditions shall be cause for the investor-owned utility to disconnect customer-owned renewable generation from its system:

1. Emergencies or maintenance requirements on the investor-owned utility’s electric system;

2. Hazardous conditions existing on the investor-owned utility system due to the operation of the customer’s generating or protective equipment as determined by the investor-owned utility;

3. Adverse electrical effects, such as power quality problems, on the electrical equipment of the investor-owned utility’s other electric consumers caused by the customer-owned renewable generation as determined by the investor-owned utility;

4. Failure of the customer to maintain the required insurance coverage.

(7) Administrative Requirements.

(a) Each investor-owned utility shall maintain on its website a downloadable application for interconnection of customer-owned renewable generation, detailing the information necessary to execute the Standard Interconnection Agreement. Upon request the investor-owned utility shall provide a hard copy of the application within 5 business days.

(b) Within 10 business days of receipt of the customer’s application, the investor-owned utility shall provide written notice that it has received all documents required by the Standard Interconnection Agreement or indicate how the application is deficient. Within 10 business days of receipt of a completed application, the utility shall provide written notice verifying receipt of the completed application. The written notice shall also include dates for any physical inspection of the customer-owned renewable generation necessary for the investor-owned utility to confirm compliance with subsections (2) through (6), and confirmation of whether a Tier 3 interconnection study will be necessary.

(c) The Standard Interconnection Agreement shall be executed by the investor-owned utility within 30 calendar days of receipt of a completed application. If the investor-owned utility determines that an interconnection study is necessary for a Tier 3 customer, the investor-owned utility shall execute the Standard Interconnection Agreement within 90 days of a completed application.

(d) The customer must execute the Standard Interconnection Agreement and return it to the investor-owned utility at least 30 calendar days prior to beginning parallel operations and within one year after the utility executes the Agreement. All physical inspections must be completed by the utility within 30 calendar days of receipt of the customer’s executed Standard Interconnection Agreement. If the inspection is delayed at the customer’s request, the customer shall contact the utility to reschedule an inspection. The investor-owned utility shall reschedule the inspection within 10 business days of the customer’s request.

(8) Net Metering.

(a) Each investor-owned utility shall enable each customer-owned renewable generation facility interconnected to the investor-owned utility’s electrical grid pursuant to this rule to net meter.

(b) Each investor-owned utility shall install, at no additional cost to the customer, metering equipment at the point of delivery capable of measuring the difference between the electricity supplied to the customer from the investor-owned utility and the electricity generated by the customer and delivered to the investor-owned utility’s electric grid.

(c) Meter readings shall be taken monthly on the same cycle as required under the otherwise applicable rate schedule.

(d) The investor-owned utility shall charge for electricity used by the customer in excess of the generation supplied by customer-owned renewable generation in accordance with normal billing practices.

(e) During any billing cycle, excess customer-owned renewable generation delivered to the investor-owned utility’s electric grid shall be credited to the customer’s energy consumption for the next month’s billing cycle.

(f) Energy credits produced pursuant to paragraph (8)(e) shall accumulate and be used to offset the customer’s energy usage in subsequent months for a period of not more than twelve months. At the end of each calendar year, the investor-owned utility shall pay the customer for any unused energy credits at an average annual rate based on the investor-owned utility’s COG-1, as-available energy tariff.

(g) When a customer leaves the system, that customer’s unused credits for excess kWh generated shall be paid to the customer at an average annual rate based on the investor-owned utility’s COG-1, as-available energy tariff.

(h) Regardless of whether excess energy is delivered to the investor-owned utility’s electric grid, the customer shall continue to pay the applicable customer charge and applicable demand charge for the maximum measured demand during the billing period. The investor-owned utility shall charge for electricity used by the customer in excess of the generation supplied by customer-owned renewable generation at the investor-owned utility’s otherwise applicable rate schedule. The customer may at their sole discretion choose to take service under the investor-owned utility’s standby or supplemental service rate, if available.

(9) Renewable Energy Certificates. Customers shall retain any Renewable Energy Certificates associated with the electricity produced by their customer-owned renewable generation equipment. Any additional meters necessary for measuring the total renewable electricity generated for the purposes of receiving Renewable Energy Certificates shall be installed at the customer’s expense, unless otherwise determined during negotiations for the sale of the customer’s Renewable Energy Certificates to the investor-owned utility.

(10) Reporting Requirements. Each electric utility, as defined in Section 366.02(2), F.S., shall file with the Commission as part of its tariff a copy of its Standard Interconnection Agreement form for customer-owned renewable generation. In addition, each electric utility shall report the following, by April 1 of each year.

(a) Total number of customer-owned renewable generation interconnections as of the end of the previous calendar year;

(b) Total kW capacity of customer-owned renewable generation interconnected as of the end of the previous calendar year;

(c) Total kWh received by interconnected customers from the electric utility, by month and by year for the previous calendar year;

(d) Total kWh of customer-owned renewable generation delivered to the electric utility, by month and by year for the previous calendar year; and

(e) Total energy payments made to interconnected customers for customer-owned renewable generation delivered to the electric utility for the previous calendar year, along with the total payments made since the implementation of this rule.

(f) For each individual customer-owned renewable generation interconnection:

1. Renewable technology utilized;

2. Gross power rating;

3. Geographic location by county; and

4. Date interconnected.

(11) Dispute Resolution. Parties may seek resolution of disputes arising out of the interpretation of this rule pursuant to Rule 25-22.032, F.A.C, Customer Complaints, or Rule 25-22.036, F.A.C., Initiation of Formal Proceedings.

Rulemaking Authority 350.127(2), 366.05(1), 366.92 FS. Law Implemented 366.02(2), 366.04(2)(c), (5), (6), 366.041, 366.05(1), 366.81, 366.82(1), (2), 366.91(1), (2), 366.92 FS. History–New 2-11-02, Amended 4-7-08.

- PART V RULES FOR RESIDENTIAL ELECTRIC UNDERGROUND EXTENSIONS

- 25-6.074 Applicability.

(1) Extensions of electric distribution lines applied for after the effective date of these rules, and necessary to furnish permanent electric service to all structures within a new residential subdivision, or to new multiple-occupancy buildings, shall be made underground when requested by an applicant or required by governmental authority.

(2) Such extensions of service shall be made by the utility in accordance with the provisions in these rules.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03 FS. History–New 4-10-71, Formerly 25-6.74.

- 25-6.075 Definitions.

The following words and terms, when used in these rules, shall have the meaning indicated:

(1) “Applicant.” Any person, partnership, association, corporation, or governmental agency controlling or responsible for the development of a new subdivision and applying for the construction of an underground electric distribution system in such subdivision.

(2) “Building.” Any structure, within a subdivision, designed for residential occupancy and containing less than five (5) individual dwelling units.

(3) “Feeder mains.” A three-phase primary installation which serves as a source for primary laterals or loops.

(4) “Distribution system.” Electric service facilities consisting of primary and secondary conductors, transformers, and necessary accessories and appurtenances for the furnishing of electric power at utilization voltage.

(5) “Multiple-occupancy building.” A structure erected and framed of component structural parts and designed to contain five (5) or more individual dwelling units.

(6) “Subdivision.” The tract of land which is divided into five (5) or more building lots or upon which five (5) or more separate dwelling units are to be located, or the land on which is to be constructed new multiple-occupancy buildings.

(7) “Designated underground area.” That geographical area in which by mutual agreement between the utility and the applicant existing distribution facilities have been installed underground and/or in which proposed distribution facilities shall be installed pursuant to the requirements and exceptions contained in subsection 25-6.077(2), F.A.C.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03 FS. History–New 4-10-71, Amended 4-13-80, Formerly 25-6.75.

- 25-6.076 Rights of Way and Easements.

(1) Within the applicant’s subdivision the utility shall construct, own, operate and maintain distribution lines only along easements, public streets, roads, and highways which the utility has the legal right to occupy, and on public lands and private property across which rights of way and easements satisfactory to the utility may be obtained without cost or condemnation by the utility.

(2) Rights of way and easements suitable to the utility must be furnished by the applicant in reasonable time to meet service requirements and must be cleared of trees, tree stumps, paving and other obstruction, staked to show property lines and final grade, and must be graded to within six (6) inches of final grade by the applicant before the utility will commence construction, all at no charge to the utility. Such clearing and grading must be maintained by the applicant during construction by the utility.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03 FS. History–New 4-10-71, Formerly 25-6.76.

- 25-6.077 Installation of Underground Distribution Systems Within New Subdivisions.

(1) When required. After acceptance by the utility of a proper application, the utility shall define the geographical area described and entailed by said application a “Designated Underground Area.” The utility shall design and install a suitable underground electric distribution system with sufficient capacity and suitable materials which, in its judgment, will assure that the applicant will receive reasonably safe and adequate electric service for the reasonably foreseeable future.

(2) Facilities required to be underground.

(a) All service, secondary, and primary distribution conductors with the possible exception of feeder mains shall be underground. Appurtenances such as transformers, pedestal mounted terminals, switching equipment, and meter cabinets may be placed above ground at the discretion of the utility.

(b) At the option of the applicant and subject to requirements of governmental authorities and Rule 25-6.078, F.A.C., new feeder mains or portions thereof required to supply service within the subdivision, supply location distribution, or to serve spot loads may be either overhead or underground.

(3) Service connection. The service connection to the building will normally be at or near the part of the building nearest the point at which the underground secondary electric supply is available to the property to be served. If the service connection point selected on any building requires the installation of a service lateral in excess of 75 feet, then the applicant may be required to pay for the service lateral and installation in excess of 75 feet in accordance with the utility’s tariff rules and regulations on file with the Commission; except as provided under subsection 25-6.078(6), F.A.C., herein.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.04(6), 366.041(1), (4), 366.05(1), 366.06(1) FS. History–New 4-10-71, Amended 4-13-80, Formerly 25-6.77, Amended 10-29-97.

- 25-6.078 Schedule of Charges.

(1) Each utility shall file with the Commission a written policy that shall become a part of the utility’s tariff rules and regulations on the installation of underground facilities in new subdivisions. Such policy shall be subject to review and approval of the Commission and shall include an Estimated Average Cost Differential, if any, and shall state the basis upon which the utility will provide underground service and its method for recovering the difference in cost of an underground system and an equivalent overhead system from the applicant at the time service is extended. The charges to the applicant shall not be more than the estimated difference in cost of an underground system and an equivalent overhead system.

(2) For the purpose of calculating the Estimated Average Cost Differential, cost estimates shall reflect the requirements of Rule 25-6.0342, F.A.C., Electric Infrastructure Storm Hardening.

(3) On or before October 15 of each year, each utility shall file with the Commission Clerk Form PSC/ECO 13-E, Schedule 1, using current material and labor costs. If the cost differential as calculated in Schedule 1 varies from the Commission-approved differential by plus or minus 10 percent or more, the utility shall file a written policy and supporting data and analyses as prescribed in subsections (1), (4) and (5) of this rule on or before April 1 of the following year; however, each utility shall file a written policy and supporting data and analyses at least once every 3 years.

(4) Differences in Net Present Value of operational costs, including average historical storm restoration costs over the life of the facilities, between underground and overhead systems, if any, shall be taken into consideration in determining the overall Estimated Average Cost Differential. Each utility shall establish sufficient record keeping and accounting measures to separately identify operational costs for underground and overhead facilities, including storm related costs.

(5) Detailed supporting data and analyses used to determine the Estimated Average Cost Differential for underground and overhead distribution systems shall be concurrently filed by the utility with the Commission and shall be updated using cost data developed from the most recent 12-month period. The utility shall record these data and analyses on Form PSC/ECO 13-E (10/97). Form PSC/ECO 13-E, entitled “Overhead/Underground Residential Differential Cost Data” is incorporated by reference into this rule and may be obtained from the Division of Economics, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, (850) 413-6410.

(6) Service for a new multiple-occupancy building shall be constructed underground within the property to be served to the point of delivery at or near the building by the utility at no charge to the applicant, provided the utility is free to construct its service extension or extensions in the most economical manner.

(7) The recovery of the cost differential as filed by the utility and approved by the Commission may not be waived or refunded unless it is mutually agreed by the applicant and the utility that the applicant will perform certain work as defined in the utility’s tariff, in which case the applicant shall receive a credit. Provision for the credit shall be set forth in the utility’s tariff rules and regulations, and shall be no more in amount than the total charges applicable.

(8) The difference in cost as determined by the utility in accordance with its tariff shall be based on full use of the subdivision for building lots or multiple-occupancy buildings. If any given subdivision is designed to include large open areas, the utility or the applicant may refer the matter to the Commission for a special ruling as provided under Rule 25-6.083, F.A.C.

(9) The utility shall not be obligated to install any facilities within a subdivision until satisfactory arrangements for the construction of facilities and payment of applicable charges, if any, have been completed between the applicant and the utility by written agreement. A standard agreement form shall be filed with the company’s tariff.

(10) Nothing in this rule shall be construed to prevent any utility from waiving all or any portion of a cost differential for providing underground facilities. If, however, the utility waives the differential, the utility shall reduce net plant in service as though the differential had been collected unless the Commission determines that there is a quantifiable benefit to the general body of ratepayers commensurate with the waived differential.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.03, 366.04(1), (4), 366.04(2)(f), 366.06(1) FS. History–New 4-10-71, Amended 4-13-80, 2-12-84, Formerly 25-6.78, Amended 10-29-97, 2-1-07.

- 25-6.080 Advances by Applicant.

(1) Where, due to the manner in which a subdivision is developed, the utility is required to construct an underground electric distribution system through a section or sections of the subdivision where service will not be connected for at least two (2) years, then, in accordance with approved tariffs relating to extension of facilities the utility may require a reasonable deposit from the applicant before construction is commenced, in order to guarantee performance.

(2) Where the subdivision is developed in a uniform manner, so that the utility may restrict the construction of its underground electric distribution system to the areas in which buildings are being constructed, then the utility may not require a deposit greater in amount than the charges calculated in accordance with the tariffs approved by the Commission.

(3) If the amount of the deposit is in excess of the charges permitted under the utility’s approved tariff, then the excess deposit, without interest, shall be returned to the applicant on a pro-rata basis at quarterly intervals on the basis of installations of service to new customers.

(4) Any portion of a deposit remaining unrefunded five (5) years from the date the utility is first ready to render service from the extension will be retained by the utility as liquidated damages and credited to an appropriate account.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.041(1), 366.06(1) FS. History–New 4-10-71, Formerly 25-6.80.

- 25-6.081 Construction Practices.

(1) The provisions in these rules are based on the premise that each applicant and utility will provide a cooperative effort to keep the cost of construction and installation of underground systems as low as possible.

(2) Each utility shall undertake to further improve underground construction proficiency toward the end that the downward trends in underground construction costs may be continued.

(3) To the extent practicable, joint use of trenches by all utilities shall be undertaken where economies can be realized without impairment to safety or service, care being taken to conform to any applicable Code and utility specification.

(4) To the extent practicable, where existing aerial facilities are being retired and removed from service, replacement will be made with underground construction whenever economically feasible.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03 FS. History–New 4-10-71, Formerly 25-6.81.

- 25-6.082 Records and Reports.

(1) To insure the development and availability of appropriate data necessary to satisfy the reporting requirements of Rule 25-6.078, F.A.C., herein, each utility shall maintain separate records or sub-accounts for underground distribution construction, operation and maintenance costs.

(2) Records shall also be maintained of experienced results obtained in the use of joint trenching, in such manner and detail as will afford an opportunity to evaluate the economies available using this practice.

Rulemaking Authority 366.04(2)(f), 366.05(1) FS. Law Implemented 350.115, 366.03, 366.04(2)(a), (f) FS. History–New 4-10-71, Formerly 25-6-82, Amended 10-29-97.

- PART VI CUSTOMER RELATIONS

- 25-6.093 Information to Customers.

(1) Upon the customer’s request, the utility shall provide to the customer information as to the method of reading meters and the derivation of billing therefrom, the billing cycle and approximate date of monthly meter reading.

(2) Upon request of the customer, the utility shall provide to the customer a copy and explanation of the utility’s rates and provisions applicable to the type or types of service furnished or to be furnished such customer.

(3)(a) By paper or electronic bill insert, billing statement, website, electronic notification, or other means agreed to by both the customer and the utility, the utility shall give to each of its customers a summary of all available electrical rates that are available to the class of which that customer is a member.

(b) The utility shall provide the information contained in paragraph (a) to all its customers:

1. Not later than 60 days after the commencement of service;

2. Not less frequently than once each year; and,

3. Not later than 60 days after the utility has received approval of its new rate schedule applicable to such customer.

(c) In this subsection, “rate schedule” shall mean customer charge, energy charge, and demand charge, as set forth in Rule 25-6.100, F.A.C.

(d) By bill insert, or as a message on the customer bill, on a quarterly basis using the utility’s normal billing cycle, each utility shall provide its customers the sources of generation for the most recent 12-month period available prior to the billing cycle. The sources of generation shall be stated by fuel type for utility generation and as “purchased power” for off-system purchases. The sources of generation are to be set forth as kilowatt-hour percentages of the total utility generation and purchased power.

(4) Upon request of the customer, but not more frequently than once each calendar year, the utility shall provide to the customer a concise statement of the actual consumption of electric energy by that customer for each billing period during the previous 12 months.

Rulemaking Authority 366.05(1), 350.127(2) FS. Law Implemented 366.03, 366.04(2)(f), (6), 366.041(1), 366.05(1), (3), 366.06(1) FS. History–New 7-29-69, Amended 11-26-80, 6-28-82, 10-15-84, Formerly 25-6.93, Amended 4-18-99, 2-1-16.

- 25-6.094 Complaints and Service Requests.

(1) The utility shall make a full and prompt investigation of all customer complaints and other service requests. The word “complaints” as used in this rule shall be construed to mean substantial objection made to a utility by a customer as to its charges, facilities, or service, the disposal of which complaint requires investigation or analysis. Each utility shall provide a means of receiving and promptly responding to emergency calls on a 24-hour per day basis.

(2) Reports of electrical conditions wherein property damage or personal injury is reasonably foreseeable are to be considered as emergencies requiring immediate attention commensurate with ability to provide performance in situations resulting from acts of God.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.04(2)(d), (5), 366.05(1) FS. History–New 7-29-69, Amended 12-15-85, Formerly 25-6.94.

- 25-6.095 Initiation of Service.

(1) Anyone desiring service may be required to make application in writing in accordance with practices prescribed by the utility. Such application shall be considered as notice to utility that the applicant desires service and an expression of his willingness to conform to such reasonable rules and regulations regarding service as are in effect.

(2) Upon compliance by the applicant with the provisions governing utility service, the utility shall undertake to initiate service without unreasonable delay. To be effective, the policy adopted by each utility for the initiation of service shall have uniform application and shall be set forth in its filed tariff.

(3) When service is initiated, the utility may charge a reasonable fee to defray the cost of establishing service provided such charge is specified in its filed tariff.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.041(1), 366.05(1), 366.06(1) FS. History–New 7-29-69, Formerly 25-6.95.

- 25-6.097 Customer Deposits.

(1) Each utility’s tariff shall state the methodology for determining the amount of the deposit charged for existing accounts and new service requests. The methodology shall conform to Section 366.05(1)(c), F.S.

(2) Each utility may require an applicant for service to satisfactorily establish credit, but such establishment of credit shall not relieve the customer from complying with the utility’s rules for payment of bills. Credit will be deemed so established if:

(a) The applicant for service furnishes a satisfactory guarantor to secure payment of bills for the service requested. For residential customers, a satisfactory guarantor shall, at a minimum, be a customer of the utility with a satisfactory payment record. For non-residential customers, a satisfactory guarantor need not be a customer of the utility. Each utility shall develop minimum financial criteria that a proposed guarantor must meet to qualify as a satisfactory guarantor. A copy of the criteria shall be made available to each new non-residential customer upon request by the customer. A guarantor’s liability shall be terminated when a residential customer whose payment of bills is secured by the guarantor meets the requirements of subsection (3) of this rule. Guarantors providing security for payment of residential customers’ bills shall only be liable for bills contracted at the service address contained in the contract of guaranty.

(b) The applicant pays a cash deposit.

(c) The applicant for service furnishes an irrevocable letter of credit from a bank or a surety bond.

(3) Refund of deposits. After a customer has established a satisfactory payment record and has had continuous service for a period of 23 months, the utility shall refund the residential customer’s deposits and shall, at the utility’s option, either refund or pay the higher rate of interest specified below for nonresidential deposits, providing the customer has not, in the preceding 12 months:

(a) Made more than one late payment of a bill (after the expiration of 20 days from the date of mailing or delivery by the utility).

(b) Paid with a check refused by a bank.

(c) Been disconnected for nonpayment, or at any time.

(d) Tampered with the electric meter, or

(e) Used service in a fraudulent or unauthorized manner.

(4) Deposits for existing accounts. A utility may charge, upon written notice to the customer of not less than thirty (30) days, a deposit on an existing account in order to secure payment of bills. Such request for a deposit shall be separate and apart from any bill for service and shall explain the reason for the deposit. The deposit charged must conform to the requirements of Section 366.05(1)(c)1., F.S.

(5) Interest on deposits.

(a) Each electric utility which requires deposits to be made by its customers shall pay a minimum interest on such deposits of 2 percent per annum. The utility shall pay an interest rate of 3 percent per annum on deposits of nonresidential customers qualifying under subsection (3) when the utility elects not to refund such deposit after 23 months.

(b) The deposit interest shall be simple interest in all cases and settlement shall be made annually, either in cash or by credit on the current bill. This does not prohibit any utility paying a higher rate of interest than required by this rule. No customer depositor shall be entitled to receive interest on a deposit until and unless a customer relationship and the deposit have been in existence for a continuous period of six months, then the customer shall be entitled to receive interest from the day of the commencement of the customer relationship and the placement of deposit. Nothing in this rule shall prohibit a utility from refunding at any time a deposit with any accrued interest.

(6) Record of deposits. Each utility shall keep records to show:

(a) The name of each customer making the deposit;

(b) The premises for which the deposit applies;

(c) The date and amount of deposit; and,

(d) Each transaction concerning the deposits such as interest payments, interest credited or similar transactions.

(7) Receipt for deposit. The utility shall provide a receipt to the customer for any deposit received from the customer.

(8) Refund of deposit when service is discontinued. Upon termination of service, the deposit and accrued interest may be credited against the final account and the balance, if any, shall be returned promptly to the customer but in no event later than fifteen (15) days after service is discontinued.

Rulemaking Authority 366.05(1), 350.127(2) FS. Law Implemented 366.03, 366.041(1), 366.05(1), 366.06(1) FS. History–New 7-29-69, Amended 5-9-76, 7-8-79, 6-10-80, 10-17-83, 1-31-84, Formerly 25-6.97, Amended 10-13-88, 4-25-94, 3-14-99, 7-26-12, 2-1-16.

- 25-6.099 Meter Readings.

Each service meter shall be clearly marked to indicate the units measured. Unless special circumstances warrant, meters shall be read at monthly intervals on the approximate corresponding day of each meter-reading period.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.05(1) FS. History–New 7-29-69, Amended 4-13-80, Formerly 25-6.99.

- 25-6.100 Customer Billings.

(1) Bills shall be rendered monthly and as promptly as possible following the reading of meters.

(2) Each customer’s bill shall show at least the following information:

(a) The meter reading and the date the meter is read, in addition to the meter reading for the previous period. If the meter reading is estimated, the word “estimated” shall be prominently displayed on the bill.

(b)1. Kilowatt-hours (KWH) consumed including on and off peak if customer is time-of-day metered.

2. Kilowatt (KW) demand, if applicable, including on and off peak if customer is time-of-day metered.

(c) The dollar amount of the bill, including separately:

1. Customer, Base or Basic Service charge.

2. Energy (KWH) charges, exclusive of fuel, in cents per KWH, and applicable cost recovery clause charges.

3. Demand (KW) charges, exclusive of fuel, in dollar cost per KW, if applicable, for any demand charges included in the utility’s rate structure and applicable cost recovery clause charges.

4. Fuel (KWH) charges in cents per KWH (no fuel costs shall be included in the Energy or Demand charges).

5. Total electric cost which, at a minimum, is the sum of charges 1 through 4 above but can include other line item charges (e.g.,  Florida Gross Receipts Tax, etc.).

6. Franchise fees, if applicable.

7. Taxes, as applicable on purchases of electricity by the customer.

8. Any discount or penalty, if applicable.

9. Past due balances shown separately.

10. The gross and net billing, if applicable.

11. The rate and amount of the “Asset Securitization Charge,” pursuant to Section 366.95(4)(b), F.S., if applicable.

(d) Identification of the applicable rate schedule.

(e) The date by which payment must be made in order to benefit from any discount or avoid any penalty, if applicable.

(f) The average daily KWH consumption for the current period and for the same period in the previous year, for the same customer at the same location.

(g) The delinquent date or the date after which the bill becomes past due.

(h) Any conversion factors which can be used by customers to convert from meter reading units to billing units. Where metering complexity makes this requirement impractical, a statement must be on the bill advising where and how such information may be obtained from the utility.

(i) Where budget billing is used, the current month’s actual consumption and charges should be shown separately from budgeted amounts.

(j) If applicable, the information required by Section 366.8260(4), F.S., and Section 366.95(4), F.S.

(k) The name and address of the utility and the telephone number(s) and web address where customers can receive information about their bill as well as locations where the customers can pay their utility bill. Such information must identify those locations where no surcharge is incurred.

(3) When there is sufficient cause, estimated bills may be submitted provided that with the third consecutive estimated bill the company shall contact the customer explaining the reason for the estimated billing and who to contact in order to obtain an actual meter reading. An actual meter reading must be taken at least once every six months. If an estimated bill appears to be abnormal when a subsequent reading is obtained, the bill for the entire period shall be computed at a rate which contemplates the use of service during the entire period and the estimated bill shall be deducted. If there is reasonable evidence that such use occurred during only one billing period, the bill shall be computed.

(4) The advancement or postponement of the regular meter reading date is governed by Section 366.05(1)(b), F.S.

(5) Whenever the period of service for which an initial or opening bill is rendered is less than the normal billing period, the charges applicable to such service, including minimum charges, shall be prorated except that initial or opening bills need not be rendered but the energy used during such period may be carried over to and included in the next regular monthly billing.

(6) The practices employed by each utility regarding customer billing shall have uniform application to all customers on the same rate schedule.

(7) Franchise Fees.

(a) When a municipality charges a utility any franchise fee, the utility may collect that fee only from its customers receiving service within that municipality. When a county charges a utility any franchise fee, the utility may collect that fee only from its customers receiving service within that county.

(b) A utility may not incorporate any franchise fee into its other rates for service.

(c) For the purposes of this subsection, the term “utility” shall mean any electric utility, rural electric cooperative, or municipal electric utility.

(d) This subsection shall not be construed as granting a municipality or county the authority to charge a franchise fee. This subsection only specifies the method of collection of a franchise fee, if a municipality or county, having authority to do so, charges a franchise fee.

Rulemaking Authority 366.05(1), 366.04(2) FS. Law Implemented 366.03, 366.04(2), 366.041(1), 366.05(1), 366.051, 366.06(1), 366.8260(4), 366.95(4) FS. History–New 2-25-76, Amended 4-13-80, 12-29-81, 6-28-82, 5-16-83, 2-4-13, 2-1-16.

- 25-6.101 Delinquent Bills.

Bills shall not be considered delinquent prior to the expiration of twenty (20) days from the date of mailing or delivery by the utility.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.05(1) FS. History–New 2-25-76.

- 25-6.102 Conjunctive Billing.

(1) Conjunctive billing means totalizing metering, additive billing, plural meter billing, conjunctional metering, and all like or similar billing practices which seek to combine, for billing purposes, the separate consumptions and registered demands of two or more points of delivery serving a single customer.

(2) A single point of delivery of electric service to a user of such service is defined as the single geographical point where a single class of electric service, as defined in a published rate tariff, is delivered from the facilities of the utility to the facilities of the customer.

(3) Conjunctive billing shall not be permitted. Bills for two or more points of delivery to the same customer shall be calculated separately for each such point of delivery.

(4) A customer operating a single integrated business* under one name in two or more buildings and/or energy consuming locations may request a single point of delivery and such request shall be complied with by the utility providing that:

(a) Such buildings or locations are situated on a single unit of property; or

(b) Such buildings or locations are situated on two or more units of property which are immediately adjoining, adjacent, or contiguous; or

(c) Such buildings or locations are situated on two or more units of property which would be immediately adjoining, adjacent or contiguous except for intervening streets, alleys or highways.

In all cases arising in paragraph (a), (b) or (c), it shall be the customer’s responsibility to provide the electrical facilities necessary for distributing the energy beyond the single delivery point.

*The word “business” as used in this section shall be construed as including residences and educational, religious, governmental, commercial and industrial operations.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.05(1) FS. History–New 7-29-69.

- 25-6.103 Adjustment of Bills for Meter Error.

(1) For mechanical or lagged demand meters, the error at the customer’s average billing demand over the refund period shall be used to determine the amount to refund or backbill the customer. This error shall be determined by testing the meter at both 40 percent and 80 percent of meter full scale value, as read on the standard or reference meter, or as near to these two points as is practicable. The following formula shall be used to estimate the kilowatt error of the meter at the customer’s average billing demand:

Eavg = [E80 – E40]/[M80 – M40]*[Mavg – M40] + E40

where:

Mavg denotes the customer’s average billing demand over the refund period;

M40 and M80 denote the kilowatt readings on the meter being tested when the reference meter is at 40 percent and 80 percent of the full-scale value of the meter being tested, respectively;

E40 and E80 denote the kilowatt errors on the meter being tested corresponding to M40 and M80, respectively; and

Eavg denotes the estimated kilowatt error at the customer’s average billing demand.

The kilowatt error is determined, Eavg, shall be expressed as a percentage, P, of the reference meter reading corresponding to the average billing demand. This percentage shall be used to determine the corrected billing demand for each month of the refund period. A correction factor, C.F., will be applied to the original billing demand for each month in the refund/backbill period to determine the corrected billing demand for each month as follows:

C.F. * Original Billing Demand = Corrected Billing Demand

where:

C.F. = [1/(1+P)]

and P is the percentage error of Eavg relative to the reference meter reading corresponding to the average billing demand over the refund/backbill period.

(2) For watthour and electronic demand meters, the percentage error to be used for refunds and backbills shall be the same percentage calculated when tested for watthour registration as set forth in subsection 25-6.058(1) and paragraph 25-6.058(2)(b), F.A.C., respectively. A correction factor, C.F., will be applied to the original billing demand/energy for each month in the refund/backbill period to determine the corrected billing demand/energy for each month as follows:

C.F. * Original Billing Demand/Energy = Corrected Billing Demand/Energy

where:

C.F. = [1/1(1+P)]

and P is the percentage error calculated according to subsection 25-6.058(1), F.A.C., for watthour meters and paragraph 25-6.058(2)(b), F.A.C., for electronic demand meters.

(3) Over-registering meters. Whenever a meter tested is found to have an error in excess of the plus tolerance allowed in Rule 25-6.052, F.A.C., the utility shall refund to the customer the amount billed in error as determined by subsection (1) or subsection (2) of this rule for one half the period since the last test, said one half period shall not exceed twelve (12) months; except that if it can be shown that the error was due to some cause, the date of which can be fixed, the overcharges shall be computed back to but not beyond such date based upon available records. The refund shall not include any part of any minimum charge.

(4) Under-registering meters.

(a) A utility may backbill in the event that a meter is found to be under-registering. A utility may not backbill for any period greater than twelve (12) months. If it can be ascertained that the meter was under-registering for less than twelve (12) months, then the utility may backbill only for the lesser period of time. In any event, the customer may extend the payments of the backbill over the same amount of time for which the utility issued the backbill.

(b) Nothing in paragraph (4)(a) of this rule shall be construed to limit the application of Rule 25-6.104, F.A.C., or prohibit a utility from backbilling for four years pursuant to subsection (7) of this rule.

(c) Whenever a meter is tested and not subject to Rule 25-6.104 or subsection 25-6.105(5), F.A.C., and is found to have an error in excess of the minus tolerance allowed by Rule 25-6.052, F.A.C., the utility may bill the customer an amount equal to the unbilled error as determined by subsection (1) or subsection (2) of this rule. If the utility has required a deposit for a meter test as permitted under subsection (2) of Rule 25-6.059, F.A.C., the customer may be billed only for that portion of the unbilled error which is in excess of the deposit retained by the utility.

(5) In the event of a non-registering meter or a meter for which the test results are inconclusive, the utility may bill the customer on an estimate based on previous bills for similar usage or on other sources of available data provided.

(6) Creeping. Whenever a meter, upon proper testing, is found to have a registration error due to “creep” in excess of the tolerance allowed by Rule 25-6.052, F.A.C., the error shall be calculated by timing the rate of “creeping” and assuming that the creeping affected the registration of the meter for 25% of the time, unless a more accurate estimate of the percentage of time the meter should have been inactive can be obtained.

(7) Where a utility determines that a service location has not previously been properly metered through errors of an electrical contractor, the utility may backbill for up to four years from the date of notice to the customer that the error has been discovered. The customer may extend the payments of the backbill over the same amount of time for which the utility issued the backbill.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.041(1), 366.05(1), (3), (4), 366.06(1) FS. History–New 7-29-69, Amended 4-13-80, 5-3-82, 7-3-06.

- 25-6.104 Unauthorized Use of Energy.

In the event of unauthorized or fraudulent use, or meter tampering, the utility may bill the customer on a reasonable estimate of the energy used.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.05(1) FS. History–New 7-29-69, Amended 4-13-80, 5-3-82, 11-21-82.

- 25-6.105 Refusal or Discontinuance of Service by Utility.

(1) Until adequate facilities can be provided, each utility may refuse to serve an applicant if, in the best judgment of the utility, it does not have adequate facilities to render the service applied for.

(2) Each utility may refuse to serve any person whose service requirements or equipment is of a character that is likely to affect unfavorably service to other customers.

(3) Each utility may refuse to render any service other than that character of service which is normally furnished, unless such service is readily available.

(4) Each utility shall not be required to furnish service under conditions requiring operation in parallel with generating equipment connected to the customer’s system if, in the opinion of the utility, such operation is hazardous or may interfere with its own operations or service to other customers or with service furnished by others. Each utility may specify requirements as to connection and operation as a condition of rendering service under such circumstances.

(5) If the utility refuses service for any reason specified in this subsection, the utility shall notify the applicant for service as soon as practicable, pursuant to subsection (7), of the reason for refusal of service. If the utility will discontinue service, the utility shall notify the customer at least 5 working days prior to discontinuance, that service will cease unless the deficiency is corrected in compliance with the utility’s regulations, resolved through mutual agreement, or successfully disputed by the customer. The 5-day notice provision does not apply to paragraph (h), (i) or (j). In all instances involving refusal or discontinuance of service the utility shall advise in its notice that persons dissatisfied with the utility’s decision to refuse or discontinue service may register their complaint with the utility’s customer relations personnel and to the Florida Public Service Commission at 1(800) 342-3552, which is a toll free number. As applicable, each utility may refuse or discontinue service under the following conditions:

(a) For non-compliance with or violation of any state or municipal law or regulation governing electric service.

(b) For failure or refusal of the customer to correct any deficiencies or defects in his wiring or equipment which are reported to him by the utility.

(c) For the use of energy for any other property or purpose than that described in the application.

(d) For failure or refusal to provide adequate space for the meter and service equipment of the utility.

(e) For failure or refusal to provide the utility with a deposit to insure payment of bills in accordance with the utility’s regulation, provided that written notice, separate and apart from any bill for service, be given the customer.

(f) For neglect or refusal to provide safe and reasonable access to the utility for the purpose of reading meters or inspection and maintenance of equipment owned by the utility, provided that written notice, separate and apart from any bill for service, be given the customer.

(g) For non-payment of bills or non-compliance with the utility’s rules and regulations, and only after there has been a diligent attempt to have the customer comply, including at least 5 working days’ written notice to the customer, such notice being separate and apart from any bill for service, provided that those customers who so desire may designate a third party in the company’s service area to receive a copy of such delinquent notice. For purposes of this subsection, “working day” means any day on which the utility’s business office is open and the U.S. Mail is delivered. A utility shall not, however, refuse or discontinue service for nonpayment of a dishonored check service charge imposed by the utility.

(h) Without notice in the event of a condition known to the utility to be hazardous.

(i) Without notice in the event of tampering with meters or other facilities furnished and owned by the utility.

(j) Without notice in the event of unauthorized or fraudulent use of service. Whenever service is discontinued for fraudulent use of service, the utility may, before restoring service, require the customer to make at his own expense all changes in facilities or equipment necessary to eliminate illegal use and to pay an amount reasonably estimated as the loss in revenue resulting from such fraudulent use.

(6) Service shall be restored when cause for discontinuance has been satisfactorily adjusted.

(7) In case of refusal to establish service, or whenever service is intentionally discontinued by the utility for other than routine maintenance, the utility shall notify the applicant or customer in writing of the reason for such refusal or discontinuance.

(8) The following shall not constitute sufficient cause for refusal or discontinuance of service to an applicant or customer:

(a) Delinquency in payment for service by a previous occupant of the premises unless the current applicant or customer occupied the premises at the time the delinquency occurred and the previous customer continues to occupy the premises and such previous customer shall benefit from such service.

(b) Failure to pay for merchandise purchased from the utility.

(c) Failure to pay for a service rendered by the utility which is non-regulated.

(d) Failure to pay for a different type of utility service, such as gas or water.

(e) Failure to pay for a different class of service.

(f) Failure to pay the bill of another customer as guarantor thereof.

(g) Failure to pay a dishonored check service charge imposed by the utility.

(9) When service has been discontinued for proper cause, each utility may charge a reasonable fee to defray the cost of restoring service, provided such fee is included in its filed tariff.

(10) No utility shall discontinue service to any non-commercial customer between 12:00 noon on a Friday and 8:00 a.m. the following Monday or between 12:00 noon on the day preceding a holiday and 8:00 a.m. the next working day. Provided, however, this prohibition shall not apply when:

(a) Discontinuance is requested by or agreed to by the customer; or

(b) A hazardous condition exists; or

(c) Meters or other utility owned facilities have been tampered with or

(d) Service is being obtained fraudulently or is being used for unlawful purposes.

Holiday as used in this subsection shall mean New Year’s Day, Memorial Day, July 4, Labor Day, Thanksgiving Day and Christmas Day.

(11) Each utility shall submit, as a tariff item, a procedure for discontinuance of service when that service is medically essential.

Rulemaking Authority 366.05 FS. Law Implemented 366.03, 366.04(2)(c), (5), 366.041(1), 366.05(1), 366.06(1) FS. History–New 2-25-76, Amended 2-3-77, 2-6-79, 4-13-80, 11-26-80, 1-1-91, 1-7-93.

- 25-6.106 Underbillings and Overbillings of Energy.

(1) A utility may not backbill customers for any period greater than twelve (12) months for any undercharge in billing which is the result of the utility’s mistake. The utility shall allow the customer to pay for the unbilled service over the same time period as the time period during which the underbilling occurred or over some other mutually agreeable time period. Nor may the utility recover in a ratemaking proceeding any lost revenues which inure to the utility’s detriment on account of this provision. This rule shall not apply to underbillings provided for in Rule 25-6.103 or 25-6.104, F.A.C.

(2) In the event of other overbillings not provided for in Rule 25-6.103, F.A.C., the utility shall refund the overcharge to the customer for the period during which the overcharge occurred based on available records. If commencement of the overcharging cannot be fixed, then a reasonable estimate of the overcharge shall be made and refunded to the customer. The amount and period of the adjustment shall be based on the available records. The refund shall not include any part of a minimum charge.

(3) In the event of an overbilling, the customer may elect to receive the refund as a credit to future billings or as a one time payment.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03, 366.041(1), 366.05(1), 366.06(1) FS. History–New 4-13-80, Amended 5-3-82, 11-21-82.

- 25-6.109 Refunds.

(1) Applicability. With the exception of deposit refunds and refunds associated with adjustment factors, all refunds ordered by the Commission shall be made in accordance with the provisions of this Rule, unless otherwise ordered by the Commission.

(2) Timing of Refunds. Refunds must be made within ninety (90) days of the Commission’s order unless a different time frame is prescribed by the Commission. Unless a stay has been requested in writing and granted by the Commission, a motion for reconsideration of an order requiring a refund will not delay the timing of the refund. In the event that a stay is granted pending reconsideration, the timing of the refund shall commence from the date of the order disposing of any motion for reconsideration. This rule does not authorize any motion for reconsideration not otherwise authorized by Chapter 25-22, F.A.C.

(3) Basis of Refund. Where the refund is the result of a specific rate change, including interim rate increases and the refund can be computed on a per customer basis, that will be the basis of the refund. In such cases, refunds may by made by either recalculating the affected customer’s bill or by applying an appropriate refund factor to the consumption used by the customer during the refund period. However, where the refund is not related to specific rate changes, such as a refund for overearnings, the refund shall be made to customers of record as of a date specified by the Commission. In such case, refunds shall be made on the basis of consumption. Per customer refund refers to a refund to every customer receiving service during the refund period. Customer of record refund refers to a refund to every customer receiving service as of a date specified by the Commission.

(4) Interest.

(a) In the case of refunds which the Commission orders to be made with interest, the average monthly interest rate until the refund is posted to the customer’s account shall be based on the thirty (30) day commercial paper rate for high grade, unsecured notes sold through dealers by major corporations in multiples of $1,000 as regularly published in the Wall Street Journal.

(b) This average monthly interest rate shall be calculated for each month of the refund period:

1. By adding the published interest rate in effect for the last business day of the month prior to each month of the refund period and the published rate in effect for the last business day of each month of the refund period divided by twenty-four (24) to obtain the average monthly interest rate;

2. The average monthly interest rate for the month prior to distribution shall be the same as the last calculated average monthly interest rate.

(c) The average monthly interest rate shall be applied to the sum of the previous month’s ending balance (including monthly interest accruals) and the current month’s ending balance divided by two (2) to accomplish a compounding effect.

(d) Interest Multiplier. When the refund is computed for each customer, an interest multiplier may be applied against the amount of each customer’s refund in lieu of a monthly calculation of the interest for each customer. The interest multiplier shall be calculated by dividing the total amount refundable to all customers, including interest, by the total amount of the refund, excluding interest. For the purpose of calculating the interest multiplier, the utility may, upon approval by the Commission, estimate the monthly refundable amount.

(e) Commission staff shall provide applicable interest rate figures and assistance in calculations under this Rule upon request of the affected utility.

(5) Method of Refund Distribution. For those customers still on the system, a credit shall be made on the bill. In the event the refund is for a greater amount than the bill, the remainder of the credit shall be carried forward until the refund is completed. If the customer so requests, a check for any negative balance must be sent to the customer within ten (10) days of the request. For customers entitled to a refund but no longer on the system, the company shall mail a refund check to the last known billing address except that no refund for less than $1.00 will be made to these customers.

(6) Security for Money Collected Subject to Refund. In the case of money being collected subject to refund, the money shall be secured by a bond unless the Commission specifically authorizes some other type of security such as placing the money in escrow, approving a corporate undertaking, or providing a letter of credit. The Commission may require the company to provide a report by the 10th of each month indicating the monthly and total amount of money subject to refund as of the end of the preceding month. The report shall also indicate the status of whatever security is being used to guarantee repayment of the money.

(7) Refund Reports. During the processing of the refund, monthly reports on the status of the refund shall be made by the 10th of the following month. In addition, a preliminary report shall be made within thirty (30) days after the date the refund is completed and again 90 days thereafter. A final report shall be made after all administrative aspects of the refund are completed. The above reports shall specify the following:

(a) The amount of money to be refunded and how that amount was computed;

(b) The amount of money actually refunded;

(c) The amount of any unclaimed refunds; and

(d) The status of any unclaimed amounts.

(8) With the last report under subsection (7) of this rule, the company shall suggest a method for disposing of any unclaimed amounts. The Commission shall then order a method of disposing of the unclaimed funds.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.03, 366.04(1), (2)(f), 366.06(3), 366.07, 366.071 FS. History–New 8-18-83.

- PART VII UNDERGROUND ELECTRIC DISTRIBUTION FACILITY CHARGES

- 25-6.115 Facility Charges for Conversion of Existing Overhead Investor-owned Distribution Facilities.

(1) Each investor-owned utility shall file a tariff showing the non-refundable deposit amounts for standard applications addressing the conversion of existing overhead electric distribution facilities to underground facilities. The tariff shall include the general provisions and terms under which the public utility and applicant may enter into a contract for the purpose of converting existing overhead facilities to underground facilities. The non-refundable deposit amounts shall be calculated in the same manner as the engineering costs for underground facilities serving each of the following scenarios: urban commercial, urban residential, rural residential, existing low-density single family home subdivision and existing high-density single family home subdivision service areas.

(2) For purposes of this rule, the applicant is the person or entity requesting the conversion of existing overhead electric distribution facilities to underground facilities. In the instance where a local ordinance requires developers to install underground facilities, the developer who actually requests the construction for a specific location is deemed the applicant for purposes of this rule.

(3) Nothing in the tariff shall prevent the applicant from constructing and installing all or a portion of the underground distribution facilities provided:

(a) Such work meets the investor-owned utility’s construction standards;

(b) The investor-owned utility will own and maintain the completed distribution facilities; and

(c) Such agreement is not expected to cause the general body of ratepayers to incur additional costs.

(4) Nothing in the tariff shall prevent the applicant from requesting a non-binding cost estimate which shall be provided to the applicant free of any charge or fee.

(5) Upon an applicant’s request and payment of the deposit amount, an investor-owned utility shall provide a binding cost estimate for providing underground electric service.

(6) An applicant shall have at least 180 days from the date the estimate is received to enter into a contract with the public utility based on the binding cost estimate. The deposit amount shall be used to reduce the charge as indicated in subsection (7) only when the applicant enters into a contract with the public utility within 180 days from the date the estimate is received by the applicant, unless this period is extended by mutual agreement of the applicant and the utility.

(7) The charge paid by the applicant shall be the charge for the proposed underground facilities as indicated in subsection (8) minus the charge for overhead facilities as indicated in subsection (9) minus the non-refundable deposit amount. The applicant shall not be required to pay an additional amount which exceeds 10 percent of the binding cost estimate.

(8) For the purpose of this rule, the charge for the proposed underground facilities shall include:

(a) The estimated cost of construction of the underground distribution facilities based on the requirements of Rule 25-6.0342, F.A.C., Electric Infrastructure Storm Hardening Standards of Construction, including the construction cost of the underground service lateral(s) to the meter(s) of the customer(s); and

(b) The estimated remaining net book value of the existing facilities to be removed less the estimated net salvage value of the facilities to be removed.

(9) For the purpose of this rule, the charge for overhead facilities shall be the estimated construction cost to build new overhead facilities, including the service drop(s) to the meter(s) of the customer(s). Estimated construction costs shall be based on the requirements of Rule 25-6.0342, F.A.C., Electric Infrastructure Storm Hardening.

(10) An applicant requesting construction of underground distribution facilities under this rule may challenge the utility’s cost estimates pursuant to Rule 25-22.032, F.A.C.

(11) For purposes of computing the charges required in subsections (8) and (9):

(a) The utility shall include the Net Present Value of operational costs including the average historical storm restoration costs for comparable facilities over the expected life of the facilities.

(b) If the applicant chooses to construct or install all or a part of the requested facilities, all utility costs, including overhead assignments, avoided by the utility due to the applicant assuming responsibility for construction shall be excluded from the costs charged to the customer, or if the full cost has already been paid, credited to the customer. At no time will the costs to the customer be less than zero.

(12) Nothing in this rule shall be construed to prevent any utility from waiving all or any portion of the cost for providing underground facilities. If, however, the utility waives any charge, the utility shall reduce net plant in service as though those charges had been collected unless the Commission determines that there is quantifiable benefits to the general body of ratepayers commensurate with the waived charge.

(13) Nothing in this rule shall be construed to grant any investor-owned electric utility any right, title or interest in real property owned by a local government.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.03, 366.04, 366.05 FS. History–New 9-21-92, Amended 2-1-07.

- PART X

- Subpart A Accounting Reports

- 25-6.135 Annual Reports.

(1) Each investor-owned electric utility shall file annual reports with the Commission on Commission Form PSC/AFD/101 (3/04) which is incorporated by reference into this rule. Form PSC/AFD/101, entitled “Annual Report of Major Electric Utilities”, may be obtained from the Commission’s Division of Accounting and Finance. These reports shall be verified by a responsible accounting officer of the utility making the report and shall be due on or before April 30 for the preceding calendar year. A utility may file a written request for an extension of time with the Division of Accounting and Finance no later than April 30. One extension of 31 days will be granted upon request. A request for a longer extension must be accompanied by a statement of good cause and shall specify the date by which the report will be filed. “Good cause” means a demonstration that the company has worked diligently to prepare the report and that the additional time period requested to complete and submit the report is both reasonable and necessary given the company’s particular circumstances.

(2) The utility shall also file with the original and each copy of the annual report form, or separately within 30 days, a letter or report, signed by an independent certified public accountant, attesting to the conformity in all material respects of the schedules and their applicable notes listed on the general information page of Form PSC/AFD/101 with the Commission’s applicable uniform system of accounts and published accounting releases.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 350.115, 366.04(2)(a), (f), 366.05(1), (2) FS. History–New 12-27-94, Amended 12-11-00, 3-30-04.

- 25-6.1351 Cost Allocation and Affiliate Transactions.

(1) Purpose. The purpose of this rule is to establish cost allocation requirements to ensure proper accounting for affiliate transactions and utility nonregulated activities so that these transactions and activities are not subsidized by utility ratepayers. This rule is not applicable to affiliate transactions for purchase of fuel and related transportation services that are subject to Commission review and approval in cost recovery proceedings.

(2) Definitions.

(a) Affiliate – Any entity that directly or indirectly through one or more intermediaries, controls, is controlled by, or is under common control with a utility. As used herein, “control” means the possession, directly or indirectly, of the power to direct or cause the direction of the management and policies of a company, whether such power is exercised through one or more intermediary companies, or alone, or in conjunction with, or pursuant to an agreement, and whether such power is established through a majority or minority ownership or voting of securities, common directors, officers or stockholders, voting trusts, holding trusts, associated companies, contracts or any other direct or indirect means.

(b) Affiliate Transaction – Any transaction in which both a utility and an affiliate are each participants, except transactions related solely to the filing of consolidated tax returns.

(c) Cost Allocation Manual (CAM) – The manual that sets out a utility’s cost allocation policies and related procedures.

(d) Direct Costs – Costs that can be specifically identified with a particular service or product.

(e) Fully Allocated Costs – The sum of direct costs plus a fair and reasonable share of indirect costs.

(f) Indirect Costs – Costs, including all overheads, that cannot be identified with a particular service or product.

(g) Nonregulated – Refers to services or products that are not subject to price regulation by the Commission or not included for ratemaking purposes and not reported in surveillance.

(h) Prevailing Price Valuation – Refers to the price an affiliate charges a regulated utility for products and services, which equates to that charged by the affiliate to third parties. To qualify for this treatment, sales of a particular asset or service to third parties must encompass more than 50 percent of the total quantity of the product or service sold by the entity. The 50 percent threshold is applied on an asset-by-asset and service-by-service basis, rather than on a product line or service line basis.

(i) Regulated – Refers to services or products that are subject to price regulation by the Commission or included for ratemaking purposes and reported in surveillance.

(3) Non-Tariffed Affiliate Transactions.

(a) The purpose of subsection (3) is to establish requirements for non-tariffed affiliate transactions impacting regulated activities. This subsection does not apply to the allocation of costs for services between a utility and its parent company or between a utility and its regulated utility affiliates or to services received by a utility from an affiliate that exists solely to provide services to members of the utility’s corporate family. All affiliate transactions, however, are subject to regulatory review and approval.

(b) A utility must charge an affiliate the higher of fully allocated costs or market price for all non-tariffed services and products purchased by the affiliate from the utility. Except, a utility may charge an affiliate less than fully allocated costs or market price if the charge is above incremental cost. If a utility charges less than fully allocated costs or market price, the utility must maintain documentation to support and justify how doing so benefits regulated operations. If a utility charges less than market price, the utility must notify the Commission Clerk in writing within 30 days of the utility initiating, or changing any of the terms or conditions, for the provision of a product or service. In the case of products or services currently being provided, a utility must notify the Division within 30 days of the rule’s effective date.

(c) When a utility purchases services and products from an affiliate and applies the cost to regulated operations, the utility shall apportion to regulated operations the lesser of fully allocated costs or market price. Except, a utility may apportion to regulated operations more than fully allocated costs if the charge is less than or equal to the market price. If a utility apportions to regulated operations more than fully allocated costs, the utility must maintain documentation to support and justify how doing so benefits regulated operations and would be based on prevailing price valuation.

(d) When an asset used in regulated operations is transferred from a utility to a nonregulated affiliate, the utility must charge the affiliate the greater of market price or net book value. Except, a utility may charge the affiliate either the market price or net book value if the utility maintains documentation to support and justify that such a transaction benefits regulated operations. When an asset to be used in regulated operations is transferred from a nonregulated affiliate to a utility, the utility must record the asset at the lower of market price or net book value. Except, a utility may record the asset at either market price or net book value if the utility maintains documentation to support and justify that such a transaction benefits regulated operations. An independent appraiser must verify the market value of a transferred asset with a net book value greater than $1,000,000. If a utility charges less than market price, the utility must notify the Commission Clerk in writing within 30 days of the transfer.

(e) Each affiliate involved in affiliate transactions must maintain all underlying data concerning the affiliate transaction for at least three years after the affiliate transaction is complete. This paragraph does not relieve a regulated affiliate from maintaining records under otherwise applicable record retention requirements.

(4) Cost Allocation Principles.

(a) Utility accounting records must show whether each transaction involves a product or service that is regulated or nonregulated. A utility that identifies these transactions by the use of subaccounts meets the requirements of this paragraph.

(b) Direct costs shall be assigned to each non-tariffed service and product provided by the utility.

(c) Indirect costs shall be distributed to each non-tariffed service and product provided by the utility on a fully allocated cost basis. Except, a utility may distribute indirect costs on an incremental or market basis if the utility can demonstrate that its ratepayers will benefit. If a utility distributes indirect costs on less than a fully allocated basis, the utility must maintain documentation to support doing so.

(d) Each utility must maintain a listing of revenues and expenses for all non-tariffed products and services.

(5) Reporting Requirements. Each utility shall file information concerning its affiliates, affiliate transactions, and nonregulated activities on Form PSC/AFD/101 (3/04) which is incorporated by reference into Rule 25-6.135, F.A.C. Form PSC/AFD/101, entitled “Annual Report of Major Electric Utilities,” may be obtained from the Commission’s Division of Accounting and Finance.

(6) Cost Allocation Manual. Each utility involved in affiliate transactions or in nonregulated activities must maintain a Cost Allocation Manual (CAM). The CAM must be organized and indexed so that the information contained therein can be easily accessed.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 350.115, 366.04(2)(a), (f), 366.041(1), 366.05(1), (2), (9), 366.06(1), 366.093(1) FS. History–New 12-27-94, Amended 12-11-00, 3-30-04.

- 25-6.1352 Earnings Surveillance Report.

(1) Each investor-owned electric utility shall file rate of return data using Commission Form PSC/AFD 14 (6/94), which is incorporated by reference into this rule. Form PSC/AFD 14, entitled “Investor-Owned Electric Utility Earnings Surveillance Report,” may be obtained from the Commission’s Division of Accounting and Fiance.

(2) The report shall be filed:

(a) Monthly, by the 15th day of the second month following the reported month for electric utilities with 50,000 or more customers.

(b) Quarterly, by the 15th day of the second month following the reported quarter for electric utilities with less than 50,000 customers.

(3) A utility may file a written request for an extension of time with the Division of Accounting and Finance prior to the due date of the report. One extension of 31 days will be granted upon request. A request for Commission approval of a longer extension must be accompanied by a statement of good cause and shall specify the date by which the report will be filed.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 350.117(1), 366.04(2)(f) FS. History–New 6-9-94, Amended 3-14-96.

- 25-6.1353 Forecasted Earnings Surveillance Report.

(1) Each investor-owned electric utility that is not under an incentive regulation plan or not subject to an earnings cap shall file with the Commission its forecasted financial information on Commission Form PSC/AFD 22 (1/95) which is incorporated into this rule by reference. Form PSC/AFD 22, entitled “Investor-Owned Electric Utility Forecasted Earnings Surveillance Report”, may be obtained from the Commission’s Division of Accounting and Finance. The report shall be verified by the responsible officer of the utility making the report. The report shall be due on or before March 1 of each year, and shall contain the forecasted financial information for that calendar year.

(2) A utility may file a written request for an extension of time with the Division of Accounting and Finance no later than March 1. One extension of 15 days will be granted upon request. A request for a longer extension must be accompanied by a statement of good cause and shall specify the date by which the report will be filed.

(3) If during the course of the forecast year the utility should revise its forecasted financial information as a result of a change in a forecast assumption such that its forecasted annual Return on Equity changes by more than 25 basis points, whether as a result of a single or several events or assumptions, the utility shall provide the Commission with the following information within 30 days of the revised forecast:

(a) A description of the revised forecast assumptions or other events that caused the forecasted return on equity to be revised.

(b) An estimate of the revised annual Return on Equity.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 350.117(1), 366.04(2)(f), 366.05(1) FS. History–New 1-11-95.

- Subpart B Revenue Requirements

- 25-6.140 Test Year Notification; Proposed Agency Action Notification.

(1) At least 60 days prior to filing a petition for a general rate increase, a company shall notify the Commission in writing of its selected test year and filing date. This notification shall include:

(a) An explanation for requesting the particular test period. If an historical test year is selected, there shall be an explanation of why the historical period is more representative of the company’s operations than a projected period. If a projected test year is selected, there shall be an explanation of why the projected period is more representative than an historical period;

(b) An explanation, including an estimate of the impact on revenue requirements, of the major factors which necessitate a rate increase;

(c) A statement describing the actions and measures implemented by the company for the specific purpose of avoiding a rate increase; and

(d) A statement that the utility either is or is not requesting that the Commission process its petition for rate increase using the proposed agency action process authorized in Section 366.06(4), F.S.

(2) In the event that a test year other than one based on a calendar year or the company’s normal fiscal year is selected, the notification shall include an explanation of why the chosen test year period is more appropriate.

(3) If the company cannot meet its filing date, it shall notify the Commission in writing before the due date and include an explanation of why it will not meet the filing date. The company shall include a revised filing date.

Rulemaking Authority 350.127(2) FS. Law Implemented 366.06, 366.06(1), (4) FS. History–New 9-21-92, Amended 10-6-94.