# CHAPTER 40B-21

# WATER SHORTAGE PLAN

# 40B-21.001	Purpose and Policy

# 40B-21.031	Elements of the Plan (Repealed)

# 40B-21.051	Definitions

# 40B-21.211	Monitoring Conditions

# 40B-21.221	Evaluating Hydrologic Conditions.

# 40B-21.231	Declaring a Water Shortage

# 40B-21.251	Water Shortage Response

# 40B-21.275	Implementing a Water Shortage Declaration

# 40B-21.291	Variances (Repealed)

# 40B-21.421	Compliance (Repealed)

# 40B-21.511	General (Repealed)

# 40B-21.531	Source Classifications

# 40B-21.541	Use Classifications

# 40B-21.571	Method of Withdrawal Classifications

# 40B-21.601	General

# 40B-21.621	Water Shortage Advisory, Phase I (Repealed)

# 40B-21.631	Water Shortage, Phase II

# 40B-21.641	Water Shortage, Phase III

# 40B-21.651	Water Shortage Emergency

## 40B-21.001 Purpose and Policy.

(1) Chapter 373, Florida Statutes (F.S.), provides for the conservation, protection, management, and control of the waters of the state by the water management districts. Section 373.246, F.S., specifies that each water management district shall formulate a plan for implementation during periods of water shortage.

(2) The procedures in this plan comprise the Suwannee River Water Management District’s (District) water shortage plan required under Section 373.246(1), F.S. The purposes of the plan are to protect the water resources of the District from serious harm; to assure equitable distribution of available water resources among all water users during times of shortage (consistent with the goals of minimizing adverse economic, social, and health related impacts); to provide advance knowledge of the means by which water apportionments and reductions will be made during times of shortage; and to promote greater security for water users.

(3) This chapter and any implementation of it during a water shortage or water shortage emergency, shall not divest the Governing Board and Executive Director of the authority to declare a water shortage or water shortage emergency pursuant to Section 373.175, F.S.

(4) These procedures apply to all water users, including those exempted from Chapter 40B-2, F.A.C., permitting requirements.

(5) It is the policy of the Governing Board that:

(a) Water users and the general public will be supplied frequent and accurate information regarding the status of water resources, methods of water conservation, and means for efficient water use.

(b) This plan will only be implemented in times of water shortage as determined by comparing current hydrologic monitoring data, historical trends, and anticipated demand by users.

(c) Artificial water shortages will not be created by the over-allocation of available supplies in the administration and implementation of Chapter 40B-2, F.A.C., Permitting of Water Use.

(d) The specific means and methods for water use reduction that are found in Part V of this chapter will recognize the relative efficiency of similarly classified users.

(e) The specific means and methods for water use reduction that are found in Part V of this chapter will represent a guideline for specific restrictions to be imposed on users who transfer water across basin boundaries-interbasin transfers.

(f) During times of declared water shortage, the cooperation of local government officials, local law enforcement officials, and the public will be actively encouraged.

(g) The District will seek the cooperation and assistance of state, county, and municipal governmental officials, law enforcement officials, and police officers in the enforcement of the water shortage plan or any water shortage order issued pursuant thereto.

(h) Use of reclaimed water (wastewater or stormwater) will not be restricted in this chapter in order to promote the use of reclaimed water as an alternative source. The District shall evaluate this policy no later than five years following the effective date of this chapter and make appropriate modifications as necessary.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246, 373.603 FS. History–New 7-30-06.

## 40B-21.031 Elements of the Plan.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06, Repealed by Section 3, Chapter 2012-31, Laws of Florida, 5-27-12.

## 40B-21.051 Definitions

When used in this chapter:

(1) “Even numbered address” means the house address or rural route ending in the numbers 0, 2, 4, 6, 8, or the letters A-M. Post office box numbers are not included.

(2) “Even numbered days” means the days whose dates end in the numbers 0, 2, 4, 6 or 8. For purposes of this chapter, the date shall be determined by the day during which irrigation begins.

(3) “Hand watering” means the low volume irrigation of plants or crops with one hose, fitted with a self-canceling or automatic shutoff nozzle, attended by one person.

(4) “High Pressure/High Volume Irrigation System” shall mean any sprinkler-type irrigation system with an SER greater than 1.2 and will typically include higher pressure (greater than 30 psi) pivots, traveling or walking systems, or in-ground, overhead sprinkler systems.

(5) “Irrigation System Efficiency Ratio (SER)” shall mean the ratio of the water withdrawn to the water requirement of the plant(s) irrigated and shall be determined by comparing volume of water which needs to be pumped for delivery by a particular irrigation system to the net irrigation requirement of a crop. For example, if a particular irrigation system requires 1.2 inches of water in order to apply 1 inch to a crop, the SER is 1.2:1 or simply 1.2. Generally, the excess water is lost to system leakage, evaporation, and wind drift.

(6) “Low Pressure/Low Volume Irrigation System” shall mean any irrigation system with a SER of 1.2 or less and will typically include trickle, drip, micro jet, and low pressure (less than 30 pounds per square inch [psi]) overhead irrigation systems.

(7) “Low-volume mobile equipment washing” means the washing of mobile equipment with a bucket and sponge or a hose with a self-canceling or automatic shutoff nozzle or both.

(8) “Low-volume pressure cleaning” means pressure cleaning by means of equipment which is specifically designed to reduce the inflow volume as accepted by industry standards.

(9) “Method of withdrawal class” means the type of facility or means of extraction or diversion of water employed by the user. Method of withdrawal classes within the District are specified in Rule 40B-21.571, F.A.C.

(10) “Mobile equipment” means any public, private, or commercial automobile, truck, trailer, railroad car, camper, boat, or any other type of similar equipment. The term shall not include sanitation and sludge vehicles or food vending and transporting vehicles.

(11) “Odd numbered address” means the house address or rural route ending in the numbers 1, 3, 5, 7, 9 or the letters N-Z. Post office box numbers are not included.

(12) “Odd numbered days” means the days whose dates end in the numbers 1, 3, 5, 7 or 9. For purposes of this chapter, the date shall be determined by the day during which irrigation begins.

(13) “Overhead irrigation” means the use of equipment and devices which deliver water under pressure, through the air, above the level of the plant being irrigated.

(14) “Plan” means the water shortage plan authorized in Section 373.246, F.S., and contained in this chapter.

(15) “Seawater” shall mean any ground or surface water with an average total chloride concentration equal to or greater than 15,000 milligrams per liter.

(16) “Source class” means the specified water resource from which a user is obtaining water either directly or indirectly. Source classes within the District are identified in Rule 40B-21.531, F.A.C.

(17) “Use class” means the category describing the purpose for which the user is using water. Use classes within the District are specified in Rule 40B-21.541, F.A.C.

(18) “User” means any person or entity which directly or indirectly takes water from the water resource, including but not limited to uses from private or public utility systems, uses under water use permits issued pursuant to Chapter 40B-2, F.A.C., or uses from individual wells or pumps for domestic or individual home use.

(19) “Water resource” means any and all water on or beneath the surface of the ground, including natural or artificial water courses, lakes, ponds, or diffused surface water and water percolating, standing, or flowing beneath the surface of the ground, and any related natural systems. However, it does not refer to treated wastewater effluent or seawater.

(20) “Water shortage” means that situation within all or part of the District when insufficient water is available to meet the existing reasonable-beneficial needs of water users and to protect water resources from serious harm. A water shortage may be the result of a drought or the result of human influences on water resources.

(21) “Water shortage emergency” means a situation when the powers which can be exercised under a water shortage declaration are not sufficient to adequately protect the public health, safety, or welfare, the health of animals, fish, or aquatic life.

(22) “Water Use Permit” means a permit issued pursuant to Chapter 40B-2, F.A.C., authorizing the withdrawal and use of water.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06.

## 40B-21.211 Monitoring Conditions.

(1) Purpose – This part of the plan generally describes the data collection and analysis activities of the District in anticipation of and during a declared water shortage or water shortage emergency. Monitoring data shall be used to determine:

(a) Whether a water shortage or water shortage emergency should be declared;

(b) Whether the restrictions in effect are sufficient to protect the water resources within the affected area in light of anticipated climate conditions; and

(c) Whether the restrictions in effect are being adequately complied with by water users.

(2) Data Sources – Data shall be obtained from the following sources:

(a) The District, including information on permitted quantities, relevant pumping and meter records, general hydrological, meteorological, and biological information, and all other relevant information;

(b) The U.S. Geological Survey, the Natural Resources Conservation Service, the Florida Bureau of Geology, the Florida Department of Environmental Protection, regional planning councils, and other local, state, or federal agencies; and

(c) Any other source available.

(3) Resource Monitoring – The District shall collect and analyze water resource data. Data which shall be collected include:

(a) Levels in surface and ground waters, including potentiometric heads in confined and unconfined aquifers;

(b) Flows of rivers, streams, and springs;

(c) Water quality of surface and ground waters;

(d) Demand of natural systems, including but not limited to losses from evapotranspiration and seepage;

(e) Rainfall;

(f) Drought indices or weather forecasts;

(g) Impacts on fish and wildlife; and

(h) Other data required to evaluate the status of the water resources of the District.

(4) Demand Monitoring – The District shall collect and analyze data concerning user demand upon the water resources. Data which shall be collected include:

(a) Demands of permitted users;

(b) Demands of users not subject to permitting, but subject to the provisions of the water shortage plan;

(c) Demands of users whose supply of water is established by federal law; and

(d) Other data required to evaluate demands on the water resources of the District.

(5) The District shall prepare a monthly hydrologic conditions report summarizing the data gathered pursuant to this plan.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06.

## 40B-21.221 Evaluating Hydrologic Conditions.

(1) Current data shall be compared to historical data to determine whether serious harm to the water resources can be expected.

(2) Evaluations under this rule shall consider established minimum flows and levels and associated rules regarding implementation of water shortage provisions contained in Chapter 40B-8, F.A.C.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06, Amended 4-10-16.

## 40B-21.231 Declaring a Water Shortage.

(1) In order to protect the water resource from serious harm, the Governing Board shall declare a water shortage for the affected source class, if the District determines there is a possibility that insufficient water will be available within a source class to meet the estimated present user demands from that source. In declaring a water shortage, the Governing Board shall specify the geographic area or areas of water shortage within the District. The restricted area or areas shall include all or part of a county, municipality, surfacewater basin or utility service area which impacts a source class for which a water shortage is declared. When the affected source extends beyond the District’s boundaries, the District shall coordinate water shortage declarations with the appropriate water management district(s).

(2) A water shortage shall be declared for those source classes not presently experiencing a water shortage if usage from such sources can be reasonably expected to impact the present and anticipated available water supply in those source classes currently experiencing a shortage.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06.

## 40B-21.251 Water Shortage Response.

(1) This plan establishes the means and methods to achieve the reduction in overall demand estimated to be necessary to protect water resources from serious harm. The specific reduction means and methods are intended to reduce demand during times of water shortages by increasing reduction methods and means on water use as a function of the severity of the water shortage. For a water shortage, reduction methods and means are specified which, alone or in combination, are intended to achieve this reduction.

(2) If the District determines that, within any area of the District, the provisions of a water shortage are not sufficient to protect the public health, safety, or welfare, the health of animals, fish, or aquatic life, the Executive Director, with the concurrence of the Governing Board, shall declare a Water Shortage Emergency.

(3) In order to prevent serious harm to the water resources, the District shall evaluate water shortage conditions and shall implement the restrictions found in Part V of this chapter.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06.

## 40B-21.275 Implementing a Water Shortage Declaration.

(1) In implementing water use restrictions, the factors the District shall consider include:

(a) The source of the water supply experiencing the shortage;

(b) The relative impact of the various categories of water users on the water body for which the shortage is declared;

(c) The availability and practicality of alternative sources;

(d) The relative economic impacts that the restrictions are likely to have on each category of user. To the degree practical, the Governing Board shall impose water use restrictions in a manner that distributes the burden of the restrictions equitably among water users, relative to their impact on the sources experiencing the shortage;

(e) The potential for serious harm to natural systems;

(f) Water shortage plans of local governments;

(g) The appropriate geographic scope of the restrictions;

(h) The effectiveness of the restriction imposed in terms of reducing water use and protecting the relevant water supply source; and

(i) The impact of the water use reduction methods and means on the public health, safety and welfare.

(2) Declaration of a water shortage and notification thereof shall be conducted in accordance with Section 373.246, F.S.

(3) When a water shortage is declared, the District will publish notice of the declaration in a prominent place within newspapers of general circulation in the areas affected. Such notice shall be published each day for the first week of the shortage and once a week thereafter until the declaration is rescinded. In addition, the District shall make every reasonable effort to inform the general public of the reduction methods and means in effect and the source classes which are affected. Particular attention shall be given to presenting this information in a form which is easily understood and applied by the citizens of the affected areas.

(4) The District shall notify each affected permittee within the affected source class of any change in permit conditions, any permit suspension or any other restriction on water use. Notice shall be by electronic or regular mail.

(5) At least one public hearing shall be scheduled, which will be noticed according to the provisions in subsection (2). The public and water use permit holders shall be afforded an opportunity to participate during water shortage public hearing(s) and present testimony on water shortage effects and the impacts of the proposed reduction methods and means. Substantive evidence submitted by the public at or prior to the hearing shall be made a part of the record at the hearing.

(6) Additional public hearings may be announced by the Board during a declared water shortage, and reasonable additional notice will be provided.

(7) The District shall notify local elected officials of any water shortage declaration and subsequent restrictions. Notice shall be by the best practicable means under the circumstances. In addition, local law enforcement officials shall be notified as soon as possible of any water shortage declaration or change in reduction methods and means affecting their areas of responsibility.

(8) A declaration of water shortage or any provision or restriction imposed under the water shortage plan may be modified or rescinded by the Board.

(9) An order declaring a water shortage or emergency orders shall become effective on the day after any notice required in subsection (3) is published. An order declaring a water shortage shall remain in effect until modified or rescinded by the Governing Board.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06, Amended 1-28-14.

## 40B-21.291 Variances.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06, Repealed by Section 3, Chapter 2012-31, Laws of Florida, 5-27-12.

## 40B-21.421 Compliance.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.119, 373.129, 373.136, 373.603, 373.609, 373.175, 373.246 FS. History–New 7-30-06, Repealed by Section 3, Chapter 2012-31, Laws of Florida, 5-27-12.

## 40B-21.511 General.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06, Repealed by Section 3, Chapter 2012-31, Laws of Florida, 5-27-12.

## 40B-21.531 Source Classifications.

Each water user shall be classified according to one or more of the following sources of water:

(1) Surfacewater sources:

(a) Name of specific surfacewater source;

(b) Basin;

(c) Sub-basin.

(2) Groundwater Sources:

(a) Floridan aquifer;

(b) Secondary artesian aquifer;

(c) Water table aquifer.

(3) Reclaimed Water:

(a) Wastewater;

(b) Stormwater.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06.

## 40B-21.541 Use Classifications.

(1) Each water user shall be classified according to one or more of the following use classes and subclasses of water:

(a) Indoor uses, which include water used for indoor personal and household needs, and similar needs at businesses;

(b) Essential uses of water for fire fighting purposes, health and medical purposes, and to satisfy federal, state, or local public health and safety requirements;

(c) Agricultural uses, such as production of vegetable and other crops, citrus and fruit trees, nursery plants, pasture, sod, aquaculture, soil flooding, and freeze protection. This classification includes the following subclasses:

1. Low pressure/low volume irrigation systems;

2. High pressure/high volume irrigation systems;

3. Flood/seepage irrigation systems;

4. Soil flooding;

5. Freeze protection.;

6. Livestock care;

7. Aquaculture.

(d) Commercial and industrial uses in which water is integral to the production of goods and services, including power generation. This classification includes the following subclasses:

1. Phosphate mining and beneficiation, including all primary and ancillary uses of water in the mining, beneficiation, and transport of phosphate ore and associated products.

2. Chemical products processing or manufacturing, including all primary and ancillary uses of water in the manufacturing of phosphate chemicals, fertilizers, chlorine, lead, zinc, and other chemicals.

3. Limestone, sand, gravel, or other minerals mining, including all primary and ancillary uses of water in the mining, processing, and transport of limestone, sand, gravel, or other mineral products.

4. Cement, concrete, and concrete products manufacturing, including all primary and ancillary uses of water integral to the manufacturing of cement, concrete, and concrete products.

5. Perishable foods processing, including the use of water for the processing of such perishable foods as citrus, strawberries, and tomatoes.

6. Perishable foods packing, including the use of water in the packing of perishable foods.

7. Bottled water and other beverage products, including the use of water for direct bottling or the production of beer, wine, soft drinks, or other beverages.

8. Power generation, including the use of water for steam generation and the use of water for cooling and for replenishment of cooling reservoirs.

9. Other industrial and commercial uses. Includes all such activities not elsewhere sub-classified.

(e) Water utility use, which may include both water used for potable supply and water used for maintaining and operating the supply system;

(f) Landscape irrigation, which is the outdoor irrigation of grass, trees and other plants in places such as residences, businesses, golf courses, parks, recreational areas, cemeteries, and public buildings; and

(g) Miscellaneous uses such as aesthetic ponds, fountains and water features, environmental restoration or enhancement, cooling and air conditioning, and navigation.

(2) The listing of the classifications above does not establish any priority ranking between classes.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06.

## 40B-21.571 Method of Withdrawal Classifications.

Each water user shall be identified by one or more of the following method of withdrawal classes:

(1) Surface waters:

(a) Pump;

(b) Gravity flow.

(2) Ground waters:

(a) Artesian well;

(b) Pumped well.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06.

## 40B-21.601 General.

(1) Upon declaration of a water shortage or water shortage emergency, the restrictions presented within this part can be implemented to achieve the desired overall reductions in user demand. The target reduction ultimately chosen during a water shortage will be dependent upon the severity of the particular shortage. The District shall evaluate hydrologic conditions and implement the restrictions found in this Part. The restrictions shall be included in the notice(s) of the shortage, as specified in Rule 40B-21.275, F.A.C.

(2) Restrictions are presented for each use class and various subclasses. It shall be the responsibility of each water user to keep informed as to the restrictions in effect.

(3) In addition to the restrictions specified in this part, all wasteful and unnecessary water use is prohibited regardless of the severity of water shortage. This subsection is not intended to prohibit legal uses of water whether permitted or exempted by rule or statute. Such wasteful and unnecessary water use shall include, but not be limited to:

(a) Allowing water to be dispersed without any practical purpose to the user, regardless of the type of water use;

(b) Allowing water to be dispersed in a grossly inefficient manner, regardless of the type of water use;

(c) Allowing water to be dispersed to accomplish a purpose for which water use is unnecessary or which can be easily accomplished through alternative methods without water use; and

(d) Allowing water to be dispersed for purely aesthetic or ornamental uses.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06.

## 40B-21.621 Water Shortage Advisory, Phase I.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06, Repealed 1-19-16.

## 40B-21.631 Water Shortage, Phase II.

A Phase II Water Shortage refers to a severe water shortage. The Governing Board shall choose a combination of these and any other appropriate and necessary restrictions to achieve the required reduction in overall demand.

(1) Indoor uses shall reduce use by employing water conservation measures and by installing water conserving devices.

(2) Essential uses may voluntarily reduce water use by limiting flushing and other system cleaning activities to a level required to maintain the health, safety, and welfare of the public.

(3) Agricultural uses shall be restricted as follows:

(a) Treated wastewater irrigation shall not be restricted;

(b) Low pressure/low volume irrigation systems shall not be restricted except in accordance with subsection 40B-21.601(1), F.A.C.;

(c) Overhead irrigation by high pressure/high volume systems shall be prohibited between the hours of 10:00 a.m. and 4:00 p.m. Systems that have been certified by an independent irrigation laboratory within the past five years prior to the effective date of a water shortage order to be as efficient as practicable shall not be restricted, except in accordance with subsection 40B-21.601(1), F.A.C.;

(d) Flood/seepage irrigation systems shall be operated in a manner that will capture all runoff that is practicable for reuse;

(e) Hand watering shall not be restricted;

(f) The District shall request that livestock water users voluntarily reduced their water usage;

(g) Water use for freeze protection shall be restricted to situations in which official weather forecasting services predict temperatures likely to cause permanent damage to crops;

(h) Soil flooding for pest control or soil preservation shall be prohibited. Soil flooding to permit harvesting of sod shall be prohibited;

(i) The District shall request that aquaculture water users voluntarily reduce their water usage;

(j) All irrigation systems shall be operated in a manner that will efficiently use the water withdrawn;

(k) All agricultural enterprises should reduce or suspend those activities which stimulate the need for increased irrigation, as feasible and appropriate;

(l) No unnecessary off-site discharge from irrigation shall be allowed;

(m) Users having access to more than one source class shall maximize the use of the lesser or least restricted source class;

(n) For those agricultural enterprises that have best management practices approved by the Department of Agriculture and Consumer Services, irrigation for purposes of watering-in of insecticides, fungicides, herbicides, and fertilizers shall not be restricted. Such watering-in shall be limited to the minimum necessary and shall be accomplished during the hours allowed for normal irrigation.

(4) Commercial and industrial uses.

(a) Phosphate mining and beneficiation operations:

1. Recycled water within the mine site shall be used as much as possible to reduce freshwater withdrawals.

2. Water within noncontiguous mine cuts and other impoundments shall be used to the greatest extent practicable to augment the mine’s circulation system.

3. Off-site discharges of water shall be reduced or eliminated to the greatest extent possible.

4. Cleaning requiring water use shall be reduced to the minimum required to protect the efficiency of the operation, prevent damage to equipment, or maintain the health and safety of workers.

5. Reduce or suspend the washing of vehicles except for health and safety needs.

6. Nonessential uses, plant cleaning, water-cooled air conditioning, and lawn irrigation shall be reduced or eliminated to the greatest extent possible.

(b) Chemical products processing or manufacturing facilities:

1. The use of fresh water shall be reduced to the greatest extent possible.

2. Off-site discharge shall be reduced or eliminated to the greatest extent possible.

3. Recycled water shall be used to replace fresh water to the greatest extent possible.

4. Nonessential uses, plant cleaning, water-cooled air conditioning, and lawn irrigation shall be reduced or eliminated to the greatest extent possible.

(c) Limestone, sand, gravel, or other minerals mining operations:

1. On-site impounded surface waters shall be used to replace fresh water withdrawals to the greatest extent possible.

2. Reduce spraying for dust control in quarry area except for health and safety standards.

3. Reduce general housekeeping that requires the use of water to the greatest extent possible.

4. Off-site discharge shall be reduced or eliminated wherever possible.

(d) Cement, concrete, and concrete products manufacturing facilities:

1. Reuse runoff to the greatest extent possible.

2. Reduce spray drift to the greatest extent possible and increase the efficiency of spray application to the greatest extent possible.

3. Reduce the unnecessary water content of products shipped to the greatest extent possible.

(e) Perishable foods processing operations:

1. Off-site discharge shall be reduced or eliminated wherever feasible.

2. Water losses from released steam shall be minimized to the greatest extent possible.

3. Effluent shall be recycled to the greatest extent possible.

(f) Perishable foods packing operations:

1. Restrict washing of fruit and plant area to the minimum level necessary for health and safety standards.

2. Equipment washing apparatus with automatic shut-off devices should be used to the greatest extent possible.

(g) Bottled water and other beverage products operations:

1. Restrict equipment washing operations to the minimum level necessary for health and safety standards.

2. Implement routine process inspections to find and reduce water waste to the greatest extent possible.

(h) Power generation:

1. Maximize production from generating facilities which are least dependent upon withdrawals from the source experiencing the shortage, and minimize production from generating facilities which are most dependent upon withdrawals from the source experiencing the shortage, to the greatest extent practicable.

2. Non-essential uses of water, plant cleaning, water-cooled air conditioning, and lawn irrigation shall be reduced or eliminated to the greatest extent possible.

3. Power companies should encourage customers to reduce power consumption to the greatest extent possible, so that they may reduce power generation and in turn, reduce water consumption.

(i) Other industrial and commercial uses:

1. Reduce use by employing water conserving measures and by installing water conserving devices.

2. Replace use of fresh water with reclaimed or recycled water to the maximum extent practicable.

3. Users having access to more than one source class shall maximize the use of the lesser or least restricted source class.

(5) Water utility uses.

(a) To the greatest extent possible, utilities shall institute conservation measures such as improving and accelerating leak detection surveys and repair programs, installing and calibrating meters, and stabilizing and equalizing system pressures.

(b) New water line flushing and disinfection shall be limited to minimum requirements.

(6) Landscape irrigation uses.

(a) Lawns and landscaping.

1. Established lawns and landscaping.

a. Treated wastewater irrigation shall not be restricted.

b. The irrigation of established lawns and landscaping is prohibited, except between the hours of 9:00 p.m. and 7:00 a.m.

c. The use of water as described in subparagraph b. above shall be further restricted as follows:

(I) Established lawns and landscaping at locations with street addresses ending in an even number, or in the letters A-L, may water only on even numbered days.

(II) Established lawns and landscaping at locations with street addresses ending in an odd number, or in the letters M-Z, or with no addresses, may water only on odd numbered days.

d. Hand watering, as described in Part I, shall not be restricted.

e. Irrigation for purposes of watering-in of insecticides, fungicides and herbicides, where such watering-in is required by the manufacturer, or by federal, state or local law, shall not be restricted; such watering-in shall be limited to the minimum necessary and should be accomplished during the hours allowed for normal irrigation.

f. The operation of irrigation systems for cleaning and maintenance purposes shall not be restricted, except to be limited to the minimum necessary to maintain efficient operation of the system. Each irrigation zone may be tested a maximum of once per week.

2. New lawns and landscaping.

a. Treated wastewater irrigation shall not be restricted.

b. Irrigation of new lawns and landscaping shall not be restricted; however, irrigation should be limited to non-daylight hours to the greatest extent possible and limited to the minimum amount required for the establishment of the lawn.

c. Irrigation for purposes of watering-in of insecticides, fungicides and herbicides, where such watering-in is required by the manufacturer, or by federal, state or local law, shall not be restricted; such watering-in shall be limited to the minimum necessary and should be accomplished during the hours allowed for normal irrigation.

d. The operation of irrigation systems for cleaning and maintenance purposes shall not be restricted, except to be limited to the minimum necessary to maintain efficient operation of the system. Each irrigation zone may be tested a maximum of once per week.

(b) Golf courses.

1. Treated wastewater irrigation shall not be restricted.

2. Irrigation of greens and tees shall be reduced to the greatest extent possible and shall be accomplished during non-daylight hours.

3. Irrigation of fairways, roughs, and non-play areas on the front nine holes of the course shall be prohibited, except between the hours of 9:00 p.m. and 7:00 a.m. on even numbered days.

4. Irrigation of fairways, roughs, and non-play areas on the back nine holes of the course shall be prohibited, except between the hours of 9:00 p.m. and 7:00 a.m. on odd numbered days.

5. Reduce or suspend to the greatest extent possible those horticultural practices which stimulate the need for increased irrigation.

6. Users having access to more than one source class shall maximize the use of the lesser or least restricted source class.

7. The operation of irrigation systems for cleaning and maintenance purposes shall not be restricted, except to be limited to the minimum necessary to maintain efficient operation of the system. Each irrigation zone may be tested a maximum of once per week.

8. Irrigation for purposes of watering-in of insecticides, fungicides, herbicides, and fertilizer where such watering-in is required by the manufacturer or by federal, state or local law, shall be limited to the minimum necessary and should be accomplished during the hours allowed for normal irrigation.

(c) Cemeteries.

1. Irrigation of cemeteries shall be prohibited, except between the hours of 9:00 p.m. and 7:00 a.m.

2. Irrigation of cemeteries shall be further restricted as follows:

a. One half of the cemetery property may be irrigated on Monday, Wednesday and Friday.

b. The remaining one half of the cemetery property may be irrigated on Tuesday, Thursday and Saturday.

(7) Miscellaneous uses.

(a) Recreation area use of water shall be reduced to the greatest extent possible.

(b) Washing or cleaning streets, driveways, sidewalks, or other impervious areas with water shall be prohibited except to meet federal, state, or local health or safety standards.

(c) Mobile equipment washing shall be accomplished using only low-volume methods (excluding commercial car washes).

(d) Outside pressure cleaning shall be restricted to only low-volume methods.

(e) Augmentation shall be limited to the minimum necessary to maintain and preserve the long-term integrity of the surfacewater body and associated habitat for fish and wildlife. Where minimum levels have been established by the District, no augmentation shall occur when water levels are above the applicable minimum water level.

(f) The use of water for cooling and air conditioning shall be restricted to that amount of water necessary to maintain a minimum temperature of 78 degrees Fahrenheit. Discharge of water from cooling and air conditioning systems shall be to pervious surfaces and shall not be accomplished through irrigation systems, where feasible and appropriate.

(g) Aesthetic uses.

1. Outside aesthetic uses of water shall be prohibited.

2. Inside aesthetic uses of water shall be prohibited.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06, Amended 4-21-08.

## 40B-21.641 Water Shortage, Phase III.

A Phase III Water Shortage refers to an extreme water shortage. The Governing Board shall choose a combination of these and any other appropriate and necessary restrictions to achieve the required reduction in overall demand.

(1) Indoor uses shall reduce use by employing water conservation measures and by installing water conserving devices.

(2) Essential uses may voluntarily reduce water use by limiting flushing and other system cleaning activities to a level required to maintain the health, safety, and welfare of the public.

(3) Agricultural uses shall be restricted as follows:

(a) Treated wastewater irrigation shall not be restricted.

(b) Low pressure/low volume irrigation systems shall not be restricted except in accordance with subsection 40B-21.601(1), F.A.C.

(c) Overhead irrigation by high pressure/high volume systems shall be prohibited between the hours of 9:00 a.m. and 6:00 p.m. Systems that have been certified by an independent irrigation laboratory within the past five years prior to the effective date of a water shortage order to be as efficient as practicable shall not be restricted, except in accordance with subsection 40B-21.601(1), F.A.C.

(d) Flood/seepage irrigation systems shall be operated in a manner that will capture all runoff that is practicable for reuse.

(e) Hand watering shall be prohibited between the hours of 10:00 a.m. and 4:00 p.m.

(f) The District shall request that livestock water users voluntarily reduce their water usage.

(g) Water use for freeze protection shall be restricted to situations in which official weather forecasting services predict temperatures likely to cause permanent damage to crops.

(h) Soil flooding for pest control or soil preservation shall be prohibited. Soil flooding to permit harvesting of sod shall be prohibited.

(i) The District shall request that aquaculture water users voluntarily reduce their water usage.

(j) All irrigation systems shall be operated in a manner that will efficiently use the water withdrawn.

(k) All agricultural enterprises should suspend those activities which stimulate the need for increased irrigation, as feasible and appropriate.

(l) No unnecessary off-site discharge from irrigation shall be allowed.

(m) Users having access to more than one source class shall maximize the use of the lesser or least restricted source class.

(n) For those agricultural enterprises that have best management practices approved by the Department of Agriculture and Consumer Services, irrigation for purposes of watering-in of insecticides, fungicides, herbicides, and fertilizers shall not be restricted. Such watering-in shall be limited to the minimum necessary and shall be accomplished during the hours allowed for normal irrigation.

(4) Commercial and industrial uses.

(a) Phosphate mining and beneficiation operations:

1. Recycled water within the mine site shall be used as much as possible to reduce freshwater withdrawals.

2. Water within noncontiguous mine cuts and other impoundments shall be used to the greatest extent practicable to augment the mine’s circulation system.

3. Off-site discharges of water shall be reduced or eliminated to the greatest extent possible.

4. Cleaning requiring water use shall be reduced to the minimum required to protect the efficiency of the operation, prevent damage to equipment, or maintain the health and safety of workers.

5. Suspend the washing of vehicles except for health and safety needs.

6. Nonessential uses, plant cleaning, water-cooled air conditioning, and lawn irrigation shall be reduced or eliminated to the greatest extent possible. Restriction of other uses within the mine site may also apply.

(b) Chemical products processing or manufacturing facilities:

1. The use of fresh water shall be reduced to the greatest extent possible.

2. Off-site discharge shall be reduced or eliminated to the greatest extent possible.

3. Recycled water shall be used to replace fresh water to the greatest extent possible.

4. Nonessential uses, plant cleaning, water-cooled air conditioning, and lawn irrigation shall be reduced or eliminated to the greatest extent possible. Restriction of other uses may also apply.

(c) Limestone, sand, gravel, or other minerals mining operations:

1. On-site impounded surface waters shall be used to replace fresh water withdrawals to the greatest extent possible.

2. Reduce spraying for dust control in quarry area except for health and safety standards.

3. Reduce general housekeeping that requires the use of water to the greatest extent possible.

4. Off-site discharge shall be reduced or eliminated wherever possible.

(d) Cement, concrete, and concrete products manufacturing facilities:

1. Reuse runoff to the greatest extent possible.

2. Reduce spray drift to the greatest extent possible and increase the efficiency of spray application to the greatest extent possible.

3. Reduce the unnecessary water content of products shipped to the greatest extent possible.

(e) Perishable foods processing operations:

1. Off-site discharge shall be reduced or eliminated wherever feasible.

2. Water losses from released steam shall be minimized to the greatest extent possible.

3. Effluent shall be recycled to the greatest extent possible.

(f) Perishable foods packing operations:

1. Restrict washing of fruit and plant area to minimum level necessary for health and safety standards.

2. Equipment washing apparatus with automatic shut-off devices should be used to the greatest extent possible.

(g) Bottled water and other beverage products operations:

1. Restrict equipment washing operations to the minimum level necessary for health and safety standards.

2. Implement routine process inspections to find and reduce water waste to the greatest extent possible.

(h) Power generation:

1. Maximize production from generating facilities which are least dependent upon withdrawals from the source experiencing the shortage, and minimize production from generating facilities which are most dependent upon withdrawals from the source experiencing the shortage, to the greatest extent practicable.

2. Non-essential uses of water, plant cleaning, water-cooled air conditioning, and lawn irrigation shall be reduced or eliminated to the greatest extent possible. Restrictions of other uses may apply.

3. Power companies should encourage customers to reduce power consumption to the greatest extent possible, so that they may reduce power generation and in turn, reduce water consumption.

(i) Other industrial and commercial uses:

1. Reduce use by employing water conserving measures and by installing water conserving devices.

2. Replace use of fresh water with reclaimed or recycled water wherever appropriate and feasible to the maximum extent practicable.

3. Users having access to more than one source class shall maximize the use of the lesser or least restricted source class.

4. Additional restrictions may apply.

(5) Water utility uses.

(a) To the greatest extent possible, utilities shall institute conservation measures such as improving and accelerating leak detection surveys and repair programs, installing and calibrating meters, and stabilizing and equalizing system pressures.

(b) New water line flushing and disinfection shall be limited to minimum requirements.

(6) Landscape irrigation uses.

(a) Lawns and landscaping.

1. Established lawns and landscaping.

a. Treated wastewater irrigation shall not be restricted.

b. The irrigation of established lawns and landscaping is prohibited, except between the hours of 10:00 p.m. and 6:00 a.m.

c. The use of water as described in b. above shall be further restricted as follows:

(I) Established lawns and landscaping at locations with street addresses ending in an even number, or in the letters A-L, may water only on even numbered days.

(II) Established lawns and landscaping at locations with street addresses ending in an odd number, or in the letters M-Z, or with no addresses, may water only on odd numbered days.

d. Hand watering, as described in Part I, shall be prohibited between the hours of 10:00 a.m. and 4:00 p.m.

e. Irrigation for purposes of watering-in of insecticides, fungicides and herbicides, where such watering-in is required by the manufacturer, or by federal, state or local law, shall not be restricted; such watering-in shall be limited to the minimum necessary and should be accomplished during the hours allowed for normal irrigation.

f. The operation of irrigation systems for cleaning and maintenance purposes shall not be restricted, except to be limited to the minimum necessary to maintain efficient operation of the system. Each irrigation zone may be tested a maximum of once per week.

2. New lawns and landscaping.

a. Treated wastewater irrigation shall not be restricted.

b. Irrigation of new lawns and landscaping shall occur between the hours of 4:00 p.m. and 10:00 a.m. and limited to the minimum amount required for the establishment of the lawn.

c. Irrigation for purposes of watering-in of insecticides, fungicides and herbicides, where such watering-in is required by the manufacturer, or by federal, state or local law, shall not be restricted; such watering-in shall be limited to the minimum necessary and should be accomplished during the hours allowed for normal irrigation.

d. The operation of irrigation systems for cleaning and maintenance purposes shall not be restricted, except to be limited to the minimum necessary to maintain efficient operation of the system. Each irrigation zone may be tested a maximum of once per week.

(b) Golf courses.

1. Treated wastewater irrigation shall not be restricted.

2. Irrigation of greens and tees shall occur between the hours of 10:00 p.m. and 6:00 a.m.

3. Irrigation of fairways, roughs, and non-play areas on the front nine holes of the course shall be prohibited, except between the hours of 10:00 p.m. and 6:00 a.m. on odd numbered days.

4. Irrigation of fairways, roughs, and non-play areas on the back nine holes of the course shall be prohibited, except between the hours of 10:00 p.m. and 6:00 a.m. on even numbered days.

5. Reduce or suspend to the greatest extent possible those horticultural practices which stimulate the need for increased irrigation.

6. Users having access to more than one source class shall maximize the use of the lesser or least restricted source class.

7. The operation of irrigation systems for cleaning and maintenance purposes shall be restricted to the minimum necessary to maintain efficient operation of the system. Each irrigation zone may be tested a maximum of once per week.

8. Irrigation for purposes of watering-in of insecticides, fungicides, herbicides, and fertilizer where such watering-in is required by the manufacturer or by federal, state or local law, shall not be restricted; such watering-in shall be limited to the minimum necessary and should be accomplished during the hours allowed for normal irrigation.

(c) Cemeteries.

1. Irrigation of cemeteries shall be prohibited, except between the hours of 10:00 p.m. and 6:00 a.m.

2. Irrigation of cemeteries shall be further restricted as follows:

a. One half of the cemetery property may be irrigated on Monday and Wednesday.

b. The remaining one half of the cemetery property may be irrigated on Tuesday and Thursday.

(7) Miscellaneous uses.

(a) Recreation area use of water shall be reduced to the greatest extent possible.

(b) Washing or cleaning streets, driveways, sidewalks, or other impervious areas with water shall be prohibited except to meet federal, state, or local health or safety standards.

(c) Mobile equipment washing shall be accomplished using only low-volume methods (excluding commercial car washes).

(d) Outside pressure cleaning shall be restricted to only low-volume methods.

(e) Augmentation shall be limited to the minimum necessary to maintain and preserve the long-term integrity of the surfacewater body and associated habitat for fish and wildlife. Where minimum levels have been established by the District, no augmentation shall occur when water levels are above the applicable minimum water level.

(f) The use of water for cooling and air conditioning shall be restricted to that amount of water necessary to maintain a minimum temperature of 78 degrees Fahrenheit. Discharge of water from cooling and air conditioning systems shall be to pervious surfaces and shall not be accomplished through irrigation systems, where feasible and appropriate.

(g) Aesthetic uses.

1. Outside aesthetic uses of water shall be prohibited.

2. Inside aesthetic uses of water shall be prohibited.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 7-30-06, Amended 4-21-08.

## 40B-21.651 Water Shortage Emergency.

(1) If the District determines that, within any area of the District, the provisions of a Water Shortage are not sufficient to protect the public health, safety, or welfare, the health of animals, fish, or aquatic life, the Executive Director, with the concurrence of the Governing Board at the next regularly-scheduled meeting, may declare a Water Shortage Emergency. The Executive Director may, without prior notice, issue orders reciting the existence of such an emergency pursuant to the provisions of Chapter 120, F.S.

(a) Such orders shall identify all methods and means for water use reduction deemed necessary by the Executive Director, with the concurrence of the Governing Board at the next regularly-scheduled meeting, to meet the emergency.

(b) All users to whom an emergency order is directed shall comply immediately, but may petition the Governing Board for a hearing as set forth in Section 373.119, F.S.

(2) The District shall inform all users to whom an emergency order is directed of the existence of such order and all associated methods and means for water use reduction by the best practicable means available under the circumstance. Particular attention shall be given to presenting this information in a form which is easily understood and applied by the citizens of the affected areas.

(3) The District shall notify local elected officials of any water shortage emergency declaration and remedial action required. Notice shall be by the best practicable means under the circumstances. In addition, local law enforcement officials shall be notified as soon as possible of any water shortage emergency declaration or change of water use reduction methods and means affecting their areas of responsibility.

(4) A combination of water use reduction means and methods, both voluntary and mandatory, may be implemented by the District. Other means and methods that are deemed necessary to successfully accomplish the necessary water use reductions may also be required. These means and methods will be targeted at those uses in which demand reduction is essential and where the probability of further water savings is high.

(5) Declaration of a water shortage emergency shall be conducted in accordance with Sections 373.246 and 373.119, F.S.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.119, 373.175, 373.246 FS. History–New 7-30-06.