# CHAPTER 62B-55

# MODEL LIGHTING ORDINANCE FOR MARINE TURTLE PROTECTION

# 62B-55.001 	Purpose and Intent (Repealed)

# 62B-55.002 	Definitions

# 62B-55.003 	Marine Turtle Nesting Areas

# 62B-55.004 	General Guidance to Local Governments

# 62B-55.005 	Prohibition of Activities Disruptive to Marine Turtles

# 62B-55.006 	Model Standards for New Beachfront Lighting

# 62B-55.007 	Model Standards For Existing Beachfront Lighting

# 62B-55.008 	Proposed Enforcement and Penalties

# 62B-55.009 	Monitoring and Reporting Guidance (Repealed)

## 62B-55.001 Purpose and Intent.

Rulemaking Authority 161.163 FS. Law Implemented 161.163 FS. History–New 3-30-93, Formerly 16B-55.001, Repealed 11-26-15.

## 62B-55.002 Definitions.

(1) “Artificial light” or “artificial lighting” means the light emanating from any human-made device.

(2) “Beach” means the zone of unconsolidated material that extends landward from the mean low water line to the place where there is a marked change in material or physiographic form, or to the line of permanent vegetation, usually the effective limit of storm waves.

(3) “Bug” type bulb means any yellow colored light bulb that is marketed as being specifically treated in such a way so as to reduce the attraction of bugs to the light.

(4) “Coastal construction activities” means any work or activity that is likely to have a material physical effect on existing coastal conditions or natural shore and inlet processes.

(5) “County” means Bay, Brevard, Broward, Charlotte, Citrus, Collier, Dade, Dixie, Duval, Escambia, Flagler, Franklin, Gulf, Hernando, Indian River, Jefferson, Lee, Levy, Manatee, Martin, Monroe, Nassau, Okaloosa, Palm Beach, Pasco, Pinellas, St. Johns, St. Lucie, Santa Rosa, Sarasota, Suwanee, Taylor, Volusia, Wakulla, and Walton Counties.

(6) “Cumulatively illuminated” means illuminated by numerous artificial light sources that as a group illuminate any portion of the beach.

(7) “Department” means the Florida Department of Environmental Protection.

(8) “Directly illuminated” means illuminated as a result of glowing element(s), lamp(s), globe(s), or reflector(s) of an artificial light source which is visible to an observer on the beach.

(9) “Dune” means a mound or ridge of loose sediments, usually sand-sized, lying landward of the beach and deposited by any natural or artificial mechanism.

(10) “Frontal dune” means the first natural or man-made mound or bluff of sand which is located landward of the beach and which has sufficient vegetation, height, continuity, and configuration to offer protective value.

(11) “Ground-level barrier” means any vegetation, natural feature or artificial structure rising from the ground which prevents beachfront lighting from shining directly onto the beach-dune system.

(12) “Hatchling” means any species of marine turtle, within or outside of a nest, that has recently hatched from an egg.

(13) “Indirectly illuminated” means illuminated as a result of the glowing element(s), lamp(s), globe(s), or reflector(s) of an artificial light source which is not visible to an observer on the beach.

(14) “Local government” means any county listed in subsection (4), above, and any municipality, community development district, or special taxing district within those counties.

(15) “Marine turtle” means any marine-dwelling reptile of the families Cheloniidae or Dermochelyidae found in Florida waters or using the beach as nesting habitat, including the species: Caretta caretta (loggerhead), Chelonia mydas (green), Dermochelys coriacea (leatherback), Eretmochelys imbricata (hawksbill), and Lepidochelys kempi (Kemp’s ridley). For purposes of this rule, marine turtle is synonymous with sea turtle.

(16) “Nest” means an area where marine turtle eggs have been naturally deposited or subsequently relocated.

(17) “Nesting season” means the period from May 1 through October 31 of each year for all counties except Brevard, Indian River, St. Lucie, Martin, Palm Beach, and Broward. Nesting season for Brevard, Indian River, St. Lucie, Martin, Palm Beach, and Broward counties means the period from March 1 through October 31 of each year.

(18) “Nighttime” means the locally effective time period between sunset and sunrise.

(19) “Person” means individuals, firms, associations, joint ventures, partnerships, estates, trusts, syndicates, fiduciaries, corporations, and all other groups or combinations.

(20) “Tinted glass” means any glass treated to achieve an industry-approved, inside-to-outside light transmittance value of 45% or less. Such transmittance is limited to the visible spectrum (400 to 700 nanometers) and is measured as the percentage of light that is transmitted through the glass.

Rulemaking Authority 161.163 FS. Law Implemented 161.163 FS. History–New 3-30-93, Formerly 16B-55.002.

## 62B-55.003 Marine Turtle Nesting Areas.

Scientific investigations have demonstrated that marine turtles can nest along the entire coastline of the state. Historical data are not sufficient to exclude any county as an area utilized by marine turtles for nesting. For the purposes of this rule, however, the coastal areas of the state utilized, or likely to be utilized, by marine turtles for nesting include all beaches adjoining the waters of the Atlantic Ocean, the Gulf of Mexico, and the Straits of Florida and located within Bay, Brevard, Broward, Charlotte, Collier, Dade, Duval, Escambia, Flagler, Franklin, Gulf, Indian River, Lee, Manatee, Martin, Monroe, Nassau, Okaloosa, Palm Beach, Pinellas, St. Johns, St. Lucie, Santa Rosa, Sarasota, Volusia, and Walton Counties; and all inlet shorelines of those beaches.

Rulemaking Authority 161.63 FS. Law Implemented 161.163 FS. History–New 3-30-93, Formerly 16B-55.003.

## 62B-55.004 General Guidance to Local Governments.

(1) The responsibility for protecting nesting female and hatchling marine turtles should be a joint responsibility of local government and the department. Local governments are encouraged to adopt, implement, and enforce the guidelines provided herein to assist in that responsibility. Local governments that have adopted less stringent regulations should consider amending existing ordinances to provide greater protection to nesting marine turtles and hatchlings. In the process of implementing these guidelines, the following management goals should also be considered by local governments:

(a) Public Awareness. Any person submitting an application for coastal construction activities within the jurisdictional boundaries of the local government should be informed of the existence of and requirements within the local government’s ordinances concerning artificial lighting and marine turtle protection.

(b) Local Government – Department Communication. Upon adoption of these guidelines, a system of communication between the local government and the department should be developed if it does not already exist. Protection of marine turtle nesting habitat, nesting females, and hatchlings is greatly enhanced when local governments manage their beaches and coastal activities in a manner consistent with prudent marine turtle conservation strategies. The department is ready to assist local governments by providing such conservation information and other technical assistance.

(c) Inter-Governmental Cooperation. Upon adoption of these guidelines, local governments should develop a system for receiving copies of permits issued by the department, the Department of Environmental Protection, or the United States Army Corps of Engineers for any coastal construction within the local government's jurisdiction. Activities permitted by these agencies should be assessed for compliance with the local government's lighting ordinance.

(d) Enforcement. Local governments should develop a process for the consistent and effective enforcement of adopted guidelines. This process should include at least one compliance inspection of the beach conducted at night prior to the commencement of the main portion of the marine turtle nesting season and one compliance inspection conducted during the marine turtle nesting season.

(2) The department considers the provisions of this chapter to be minimum guidelines for the protection of nesting habitat, nesting females, and hatchling marine turtles from the negative effects of artificial lighting. More stringent standards for marine turtle protection may be adopted by local governments. Prior to adoption of any additional standards, local governments are encouraged to consult with the department to ensure that the proposed standards are consistent with the guidelines set forth herein and with all other applicable department rules.

Rulemaking Authority 161.63 FS. Law Implemented 161.163 FS. History–New 3-30-93, Formerly 16B-55.004.

## 62B-55.005 Prohibition of Activities Disruptive to Marine Turtles.

The following activities involving direct illumination of portions of the beach should be prohibited on the beach at nighttime during the nesting season for the protection of nesting females, nests, and hatchling marine turtles:

(1) The operation of all motorized vehicles, except emergency and law enforcement vehicles or those permitted on the beach for marine turtle conservation or research.

(2) The building of campfires or bonfires.

Rulemaking Authority 161.63 FS. Law Implemented 161.163 FS. History–New 3-30-93, Formerly 16B-55.005.

## 62B-55.006 Model Standards for New Beachfront Lighting.

In order to provide the highest level of protection for nesting marine turtles and their hatchlings, local governments should adopt all of the following standards for artificial light sources on all new coastal construction:

(1) Exterior artificial light fixtures shall be designed and positioned so that:

(a) The point source of light or any reflective surface of the light fixture is not directly visible from the beach;

(b) Areas seaward of the frontal dune are not directly or indirectly illuminated; and,

(c) Areas seaward of the frontal dune are not cumulatively illuminated.

(2) Exterior artificial light fixtures within direct line-of-sight of the beach are considered appropriately designed if:

(a) Completely shielded downlight only fixtures or recessed fixtures having low wattage (i.e., 50 watts or less) “bug” type bulbs and non-reflective interior surfaces are used. Other fixtures that have appropriate shields, louvers, or cut-off features may also be used if they are in compliance with paragraphs (1)(a), (b), and (c), above; and,

(b) All fixtures are mounted as low in elevation as possible through use of low-mounted wall fixtures, low bollards, and ground-level fixtures.

(3) Floodlights, uplights or spotlights for decorative and accent purposes that are directly visible from the beach, or which indirectly or cumulatively illuminate the beach, shall not be used.

(4) Exterior lights used expressly for safety or security purposes shall be limited to the minimum number and configuration required to achieve their functional role(s). The use of motion detector switches that keep lights off except when approached and that switch lights on for the minimum duration possible are preferred.

(5) Only low intensity lighting shall be used in parking areas within line-of-sight of the beach. Such lighting shall be:

(a) Set on a base which raises the source of light no higher than 48 inches off the ground; and,

(b) Positioned or shielded so that the light is cast downward and the source of light or any reflective surface of the light fixture is not visible from the beach and does not directly or indirectly illuminate the beach.

(6) Parking areas and roadways, including any paved or unpaved areas upon which motorized vehicles will park or operate, shall be designed and located to prevent vehicular headlights from directly or indirectly illuminating the beach.

(7) Vehicular lighting, parking area lighting, and roadway lighting shall be shielded from the beach through the use of ground-level barriers. Ground-level barriers must not interfere with marine turtle nesting or hatchling emergence, or cause short- or long- term damage to the beach/dune system.

(8) Tinted glass shall be installed on all windows and glass doors of single or multi-story structures within line-of-sight of the beach.

(9) Use of appropriately shielded low pressure sodium vapor lamps and fixtures shall be preferred for high-intensity lighting applications such as lighting parking areas and roadways, providing security, and similar applications.

(10) Temporary lighting of construction sites during the marine turtle nesting season shall be restricted to the minimal amount necessary and shall incorporate all of the standards of this section.

Rulemaking Authority 161.63 FS. Law Implemented 161.163 FS. History–New 3-30-93, Formerly 16B-55.006.

## 62B-55.007 Model Standards For Existing Beachfront Lighting.

In order to provide the highest level of protection for nesting marine turtles and their hatchlings, local governments should adopt all of the following standards for existing artificial beachfront lighting sources:

(1) Existing artificial light fixtures shall be repositioned, modified, or removed so that:

(a) The point source of light or any reflective surface of the light fixture is not directly visible from the beach;

(b) Areas seaward of the frontal dune are not directly or indirectly illuminated; and,

(c) Areas seaward of the frontal dune are not cumulatively illuminated.

(2) The following measures shall be taken to reduce or eliminate the negative effects of existing exterior artificial lighting:

(a) Reposition fixtures so that the point source of light or any reflective surface of the light fixture is no longer visible from the beach;

(b) Replace fixtures having an exposed light source with fixtures containing recessed light sources or shields;

(c) Replace traditional light bulbs with yellow “bug” type bulbs not exceeding 50 watts;

(d) Replace non-directional fixtures with directional fixtures that point down and away from the beach;

(e) Replace fixtures having transparent or translucent coverings with fixtures having opaque shields covering an arc of at least 180 degrees and extending an appropriate distance below the bottom edge of the fixture on the seaward side so that the light source or any reflective surface of the light fixture is not visible from the beach;

(f) Replace pole lamps with low-profile, low-level luminaries so that the light source or any reflective surface of the light fixture is not visible from the beach;

(g) Replace incandescent, fluorescent, and high intensity lighting with the lowest wattage low pressure sodium vapor lighting possible for the specific application;

(h) Plant or improve vegetation buffers between the light source and the beach to screen light from the beach;

(i) Construct a ground level barrier to shield light sources from the beach. Ground-level barriers must not interfere with marine turtle nesting or hatchling emergence, or cause short- or long- term damage to the beach/dune system;

(j) Permanently remove or permanently disable any fixture which cannot be brought into compliance with the provisions of these standards.

(3) The following measures shall be taken to reduce or eliminate the negative effects of interior light emanating from doors and windows within line-of-sight of the beach:

(a) Apply window tint or film that meets the standards for tinted glass;

(b) Rearrange lamps and other moveable fixtures away from windows;

(c) Use window treatments (e.g., blinds, curtains) to shield interior lights from the beach; and,

(d) Turn off unnecessary lights.

Rulemaking Authority 161.63 FS. Law Implemented 161.163 FS. History–New 3-30-93, Formerly 16B-55.007.

## 62B-55.008 Proposed Enforcement and Penalties.

Enforcement, appeal, and remedy of matters related to this chapter should be regulated pursuant to procedures established under local ordinances. Penalties for non-compliance should be established and should be sufficient to discourage violations. Enforcement capability should be adequate to respond to possible violations within the timeframe necessary to prevent continued and prolonged impacts to marine turtles and hatchlings.

Rulemaking Authority 161.63 FS. Law Implemented 161.163 FS. History–New 3-30-93, Formerly 16B-55.008.

## 62B-55.009 Monitoring and Reporting Guidance.

Rulemaking Authority 161.63 FS. Law Implemented 161.163 FS. History–New 3-30-93, Formerly 16B-55.009, Repealed 11-26-15.