# CHAPTER 62S-6

# POLLUTANT DISCHARGE ACT

# 62S-6.009 	Application of Definitions

# 62S-6.012 	Discharge Cleanup Organization; Approval

# 62S-6.022 	Notification of Pollutant Discharge

# 62S-6.032 	Terminal Facility Discharge Prevention and Response Certificates; Inspections

# 62S-6.033 	Terminal Facility Discharge Contingency Plan

# 62S-6.034 	Additional Equipment to Cleanup a 10,000 Gallon Pollutant Discharge

## 62S-6.009 Application of Definitions.

For purposes of this chapter, the following terms shall be defined to mean:

(1) “Pollutant” in accordance with Section 376.031(7), F.S., is interpreted to mean “oil of any kind and in any form” and “derivatives thereof” to include, but not be limited to, crude petroleum or liquid products that are derived from crude petroleum by distillation, cracking, hydroforming, and/or other petroleum refinery processes to include “gasoline.” “Pesticides” means liquid chemical preparations intended for use in killing or regulating the growth of any living organism; “ammonia” and “derivatives thereof” include, but are not limited to anhydrous liquid ammonia (NH3), ammonia in aqueous solution (NH4OH), ammonium salts or other liquid chemical preparations which when discharged release free ammonia (NH3), or ammonium ion (NH4); and “chlorine” and “derivatives thereof,” include, but are not limited to, anhydrous liquid chlorine (Cl2), chlorine in aqueous solution (HOCL + Cl – ), compounds containing hypochlorite (ClO – ), chlorite (ClO2 – ), chlorate (ClO3 – ) perchlorate (ClO4 – ) lons, other liquid chemical preparations which, when discharged, release free chlorine (Cl or Cl2) or any of the above chlorine-containing ions.

(2) “Cargo” means goods or materials on board a vessel for purposes of transportation, in bulk, and regardless of whether transported under proprietary or non-proprietary shipping documents. Pollutants recovered and transported as the direct result of cleanup activities in response to a given discharge shall not be considered cargo.

Rulemaking Authority 376.07 FS. Law Implemented 376.031, 376.065, 376.07 FS. History–New 8-23-74, Formerly 16B-16.09, Amended 11-5-80, 11-21-83, 10-3-85, 11-11-85, Formerly 16N-16.09, Amended 8-27-92, Formerly 16N-16.009, Amended 10-17-94, Formerly 62N-16.009, Amended 1-9-14.

## 62S-6.012 Discharge Cleanup Organization; Approval.

(1) For approval as a discharge cleanup organization, an applicant shall apply to the department on a Form 62S-6.012(1), Application for Approval as a Discharge Cleanup Organization, dated 1-9-14, hereby adopted and incorporated by reference. The completed form can be either mailed to the Department of Environmental Protection, Office of Emergency Response, 3900 Commonwealth Boulevard, M.S. 659, Tallahassee, Florida 32399-3000 or it can be electronically submitted to the following email address, OER@dep.state.fl.us. Copies of this form are available from Department of Environmental Protection, Office of Emergency Response, 3900 Commonwealth Boulevard, M.S. 659, Tallahassee, Florida 32399-3000 or https://www.flrules.org/Gateway/reference.asp?No=Ref-03630 or http://www.dep.state.fl.us/oer/contractors.htm/.

(2) There are two categories of discharge cleanup organizations. Category one is for organizations providing discharge containment only; category two is for organizations providing containment and cleanup of a 10,000 gallon pollutant discharge. The department shall approve discharge cleanup organizations that meet the following criteria:

(a) Category one applicants shall have access to the containment equipment equal to five times the length of the largest vessel docking at or the largest vessel providing service from the terminal facility, whichever is larger, for the terminal facility for which the applicant will provide service.

(b) Category two applicants shall have access to the equipment required, pursuant to Rule 62S-6.034, F.A.C., to begin cleaning up a 10,000 gallon discharge within 4 hours of discharge notification to their organization.

(3) Once a discharge cleanup organization has been initially certified, it shall be the organization’s responsibility to notify the department in writing of any changes to the information contained in its original application. Failure to notify the department is grounds for suspension or revocation of the certification.

Rulemaking Authority 376.07 FS. Law Implemented 376.065, 376.09 FS. History–New 8-23-74, Formerly 16B-16.12, Amended 11-5-80, Formerly 16N-16.12, Amended 6-17-92, Formerly 16N-16.012, 62N-16.012, Amended 1-9-14.

## 62S-6.022 Notification of Pollutant Discharge.

(1) The “person-in-charge” master of any vessel or the “person-in-charge” of any terminal facility that suffers a pollutant discharge which enters or threatens to enter waters of the state within the jurisdiction of the department shall, within one hour of discovery of the discharge, notify the State Watch Office at (850)413-9911 or the United States Coast Guard at the National Response Center.

(2) The person making notification to the State Watch Office shall provide at least the following information regarding the spill.

(a) Name, occupation, title and telephone number of person making notification.

(b) Type of pollutant spilled.

(c) Location of spill (nearest city, river, bay, miles, etc.).

(d) Type of installation or carrier involved in the spill.

(e) Estimated amount of pollutant spilled.

(f) Date and time (local) of spill.

(g) Persons and agencies already contacted.

(h) Size and characteristics of area already affected by the spill.

(i) Containment and cleanup efforts to date.

(j) Cause of spill if known.

(k) Person or firm in charge of source.

Rulemaking Authority 376.07 FS. Law Implemented 376.12 FS. History–New 11-5-80, Formerly 16N-16.22, Amended 6-17-92, Formerly 16N-16.022, 62N-16.022, Amended 1-9-14.

## 62S-6.032 Terminal Facility Discharge Prevention and Response Certificates; Inspections.

(1) An owner or operator of a terminal facility shall provide to the department, the information required pursuant to Section 376.065, F.S., for the issuance of a discharge prevention and response certificate.

(2) The department shall inspect each terminal facility required to have a discharge prevention and response certificate and;

(a) Verify the information required to be provided by the applicant under Section 376.065(2), F.S.

(b) Inspect and verify access to the containment and cleanup equipment required for terminal facilities which store or service vessels having a capacity to carry 10,000 gallons or more of pollutants as fuel or cargo as provided under Section 376.065(3), F.S.

(c) Review and verify the contents of the terminal facility site specific discharge contingency plan to ensure it contains the minimum information required pursuant to Rule 62S-6.033, F.A.C.

(3) For purposes of preparing a terminal facility discharge contingency plan, a reasonable time for having additional cleanup equipment at the location of the discharge shall be presumed to be four hours after initial discovery of the discharge.

Rulemaking Authority 376.07 FS. Law Implemented 376.065 FS. History–New 8-27-92, Formerly 16N-16.032, Amended 4-12-95, Formerly 62N-16.032.

## 62S-6.033 Terminal Facility Discharge Contingency Plan.

(1) An owner or operator of a terminal facility shall have a discharge contingency plan which is site specific for reporting discharges and detailing the methods, means and equipment to be used in the removal of such pollutants in the event of a discharge which enters or threatens to enter waters of the state. An adequate discharge contingency plan shall be one of the following:

(a) A plan in compliance with the federal Oil Pollution Act of 1990, Section 4202 requirements, which is hereby incorporated by reference, for an oil transfer facility contingency plan, or

(b) For terminal facilities which store or service vessels with the capacity to carry 10,000 gallons or greater of pollutants as fuel or cargo, excluding motor fuel, a plan which includes as a minimum, the following details:

1. Terminal Facility Description.

a. The terminal facility name, location (including latitude, longitude and street address), telephone numbers, radio frequencies, if any, terminal facility size and storage capacities, hours of operation, pollutants handled, and types of transfers conducted.

b. Description of the terminal facility’s waterfront including any docks or wharves and the length and capacity of the largest vessel serviced at or providing service from the terminal facility.

c. Description of prevailing tides, currents, water depths, shorelines, and any structures located in adjacent waters within 100 yards of the terminal facility.

d. Description of seasonal weather to include wind directions and speeds, air and water temperatures and potential visibility problems.

2. Organization.

a. The name of the designated spill response officer or “person in charge” and the facility manager and a description of the designated individuals’ training and discharge response duties. If the duties of the spill response officer are assumed by an individual with a different title, that individual’s title also may be used in the plan.

b. The names or positions of terminal facility employees assigned to the terminal facility discharge response team.

c. The names and telephone numbers of the owners, operators, facility manager and an alternate individual designated to be in charge of the facility when the facility manager is not present at the facility.

d. Location of the current list of the names and telephone numbers of additional personnel available to respond to a discharge.

3. Notification.

a. The responsibility and procedure for the immediate telephone and radio notification of a discharge to the U.S. Coast Guard at the National Response Center or the State Watch Office at (850)413-9911.

b. The responsibility, procedure and telephone numbers for the timely notification of a discharge to the terminal facility’s management, off-duty personnel, cleanup contractors, oil spill cooperative, local emergency response governmental agencies.

c. Description of systems, measures, and devices used to detect discharges such as routine patrols, alarms, monitors and inspections.

4. Verification. The organizational procedure for verifying the source or cause of the discharge, the type, volume, and characteristics of the discharged pollutant, and the flow rate of discharge.

5. On-scene Assessment.

a. Provide the name or title of the terminal facility personnel responsible for the initial determination of the size and projected threat of a discharge; movement of the pollutant; waters, shorelines and structures that may be affected; any anticipated environmental damage and observations of wind velocity and direction; currents and other such data that may assist in making discharge movement projections.

b. A plan or table of tank capacities to enable the volume estimation of a discharge or threat of a discharge from specific tanks or lines.

6. Response to a Discharge.

a. List of all discharge containment or cleanup equipment at the terminal facility and the physical storage location of the equipment.

b. Procedures for terminal facility or contracted personnel to begin deploying containment boom within one hour of discovery of a discharge. Identify response team members by name or position and their specific responsibilities. The plan shall provide for initial containment response within one hour after discovery of a discharge and a secondary cleanup response using additional cleanup equipment within four hours after initial deployment of containment boom.

c. A list of cleanup contractors and local sources of cleanup equipment and materials available to the terminal facility. Detail the procedure and responsibility for obtaining and transporting the additional cleanup equipment required by Rule 62S-6.034, F.A.C., if the equipment is not stored at the terminal facility.

7. Discharge Mitigation. Provide piping and tank diagrams showing the location of items, including valves, vents, and lines necessary to determine the source and cause of a discharge. Also include a description of the measures that can be taken to stop, control, mitigate and contain the discharged pollutant.

8. Protection of Sensitive or Critical Locations.

a. Identify all known sensitive or critical locations most likely to be subjected to potential damage by a discharge including but not limited to, marshes, marinas, power plants, and parks. Include name of the location and telephone number of a contact person at each such location (park manager, marina manager, power plant manager, etc.), if any, and distance from the terminal facility.

b. Describe the methods and procedures to be used in protecting these identified areas.

9. Recovery and Disposal.

a. Identify spill recovery equipment and systems available for deployment.

b. Identify available locations for deployment of this equipment.

c. Identify the available staging and temporary storage areas for recovered pollutants.

d. Identify potential waste disposal facilities or sites for permanent disposal of recovered pollutant waste.

(c) For terminal facilities which store or service vessels with the capacity to carry less than 10,000 gallons of pollutants as fuel or cargo, excluding motor fuel, a plan which includes as a minimum, the following details:

1. Terminal Facility Description.

a. The terminal facility name, physical location and street address, telephone numbers, radio frequencies, if any, terminal facility size and pollutant storage capacities, hours of operation, pollutants handled, and types of transfers conducted.

b. Description of the terminal facility’s waterfront including any docks or wharves and the length and capacity of largest vessel serviced at or providing service from the terminal facility.

2. Organization. The name, address and telephone numbers of the owner, operator, terminal facility manager, and person designated to be in charge of the terminal facility when the terminal facility manager is not present at the facility.

3. Notification.

a. The responsibility and procedure for the immediate telephone and radio notification of any discharge to the U.S. Coast Guard at the National Response Center or the State Watch Office at (850)413-9911, including, but not limited to, telephone numbers and radio frequencies of the U.S. Coast Guard and state contact point.

b. The responsibility, procedure and telephone numbers for the timely notification of a discharge to persons listed in subparagraph 2., above, off-duty personnel, cleanup contractors, oil spill cooperative, local emergency response governmental agencies and other response and cleanup forces.

4. Response to a Discharge.

a. List of all discharge containment or cleanup equipment at the terminal facility and the physical location of the equipment.

b. Procedures for terminal facility or contracted personnel to begin deployment of containment boom within one hour of discovery of a discharge.

c. A list of cleanup contractors and local sources of cleanup equipment and materials available to the terminal facility.

(2) All terminal facility discharge contingency plans must be revised within 30 days of any significant change affecting the discharge response preparedness or capabilities of the facility. The plan shall be made available for inspection by the department upon request.

(3) The terminal facility owner or operator shall provide for the annual spill response training of all terminal facility personnel who are identified in the discharge contingency plan by name, title or position as having duties or responsibilities for response in the event of a discharge. In addition, the owner or operator shall insure that all such terminal facility discharge response personnel are required to review the facility’s discharge contingency plan on an annual basis or when significant changes or revisions have been made to the plan. Records of the required training and review shall be kept at the facility and made available for inspection upon request by the department.

Rulemaking Authority 376.07 FS. Law Implemented 376.07 FS. History–New 8-27-92, Formerly 16N-16.033, Amended 4-12-95, Formerly 62N-16.033, Amended 1-9-14.

## 62S-6.034 Additional Equipment to Cleanup a 10,000 Gallon Pollutant Discharge.

(1) The additional cleanup equipment to be available to a terminal facility as required under Section 376.065(3), F.S., shall be as follows:

(a) Twenty-five hundred feet of sorbent boom.

(b) Two each 2,000 gallon per hour mechanical removal or skimming devices and two each 2,000 gallon capacity holding or storage devices and a minimum of 200 feet of suction hose.

(c) A sufficient quantity of sorbents based on their rated sorption capacity for 1,000 gallons of pollutants.

(d) One thousand each heavy duty 30 gallon or larger garbage bags or the equivalent, for containment of soiled sorbents.

(e) Three boats (16 feet or larger), each with a minimum of a 25 horsepower engine suitable for deploying and retrieving boom and transporting discharge clean up equipment.

(f) Hand tools – 10 each yard rakes, 10 each square point shovels, 10 each round pointed shovels and 3 each wheelbarrows.

(g) Two each portable gasoline powered blowers (yard type).

(h) Two each portable trash pumps with at least 100 feet of discharge hose and 50 feet of suction hose with a nozzle. Pumps shall have a lift capacity of 25 feet and discharge capacity of 50 psi.

(i) Ten each portable two-way communication radios or cellular telephones.

(j) One thousand feet of 1/2" line or rope.

(k) Nautical charts of the terminal facility site.

(l) Fifty sets of protective clothing.

(m) Twenty-five pairs of protective footwear.

(2) A terminal facility shall not be required to provide for permanent or sorbent boom in response to a discharge of chlorine, ammonia or pesticides in a form which cannot be contained by such booming equipment.

(3) A terminal facility may request a waiver or substitution for any specific equipment required by this section. The department shall grant the waiver or substitution provided the item is not required due to specific environmental or operational features or characteristics at the terminal facility and that the waiver or substitution will not be detrimental to the discharge cleanup capabilities of the facility.

Rulemaking Authority 376.07 FS. Law Implemented 376.065 FS. History–New 8-27-92, Formerly 16N-16.034, 62N-16.034, Amended 1-9-14.