# CHAPTER 64B15-14

# PRACTICE REQUIREMENTS

# 64B15-14.001	Advertisings

# 64B15-14.0015	Notice to the Department of Mailing Address and Place of Practice of Licensee

# 64B15-14.002	Notice of Withdrawal from Patient Care (Repealed)

# 64B15-14.003	HIV/AIDS: Knowledge of Antibody Status; Action to be Taken (Repealed)

# 64B15-14.004	Standards for the Prescription of Drugs to Treat Obesity

# 64B15-14.005	Standards for the Prescribing of Controlled Substances for Treatment of Acute Pain

# 64B15-14.0051	Training Requirements for Physicians Practicing in Pain Management Clinics

# 64B15-14.0052	Requirement for Pain Management Clinic Registration; Inspection or Accreditation

# 64B15-14.006	Standards of Practice for Surgery/Procedure

# 64B15-14.007	Standard of Care for Office Surgery

# 64B15-14.0075	Osteopathic Physician Office Incident Reporting

# 64B15-14.0076	Requirement for Osteopathic Physician Office Surgery Registration; Inspection or Accreditation

# 64B15-14.0077	Approval of Osteopathic Physician Office Accrediting Organizations

# 64B15-14.008	Standards for Telemedicine Prescribing Practice (Repealed)

# 64B15-14.0081	Standards for Telemedicine Practice (Repealed)

# 64B15-14.009	Standards for Office Based Opioid Addiction Treatment (Repealed)

# 64B15-14.010	Physician Practice Standard Regarding Do Not Resuscitate (DNR) Orders

# 64B15-14.011	Qualifications of Physicians Who Evaluate and Treat Sex Offenders (Repealed)

# 64B15-14.012	Optional Informed Consent for Cataract Surgery

# 64B15-14.013	Mandatory Standardized Informed Consent for Medical Marijuana, Required Documentation for Comparable

# Medical Conditions; Required Documentation for Smokable Medical Marijuana

# 64B15-14.0131	Practice Standards for the Certification of Smoking Marijuana as a Route of Administration

# 64B15-14.014	Standards of Practice for the Treatment of Gender Dysphoria in Minors

# 64B15-14.015	Physician Reporting Requirements for Termination of Pregnancies

## 64B15-14.001 Advertisings.

(1) The Board permits the dissemination to the public of legitimate information in accordance with the Board’s rules, regarding the practice of osteopathic medicine and where and from whom osteopathic medical services may be obtained, so long as such information is in no way false, deceptive, or misleading.

(2) No physician shall disseminate or cause the dissemination of any advertisement or advertising which is in any way false, deceptive, or misleading. Any advertisement or advertising shall be deemed by the Board to be false, deceptive, or misleading if it:

(a) Contains a misrepresentation of facts; or

(b) Makes only a partial disclosure of relevant facts; or

(c) Creates false or unjustified expectations of beneficial assistance; or

(d) Appeals primarily to a layperson’s fears, ignorance, or anxieties regarding his state of well-being; or

(e) Contains any representation or claims as to which the osteopathic physician referred to in the advertising does not expect to perform; or

(f) Contains any representation, statement, or claim which misleads or deceives; or

(g) States or implies that the osteopathic physician is a specialist in any aspect of the practice of osteopathic medicine unless he has in fact completed post-doctoral training in the recognized specialty field including internship, residency, fellowship, or alternate training requirements, accredited by either the AOA or the ACGME for the number of years contemplated for completion of the specialty program. However, a physician may indicate the services offered and may state that the practice is limited to one or more types of services when this is, in fact, the case; or

(h) States or implies that an osteopathic physician has been certified as a specialist in any aspect of the practice of osteopathic medicine unless he or she has in fact received such certification, meets the training requirements of paragraph 64B15-14.001(2)(g), F.A.C., includes the name of the certifying agency in any statement or advertisement claiming certification. For purposes of this rule, the Board approves the specialty boards of the American Board of Medical Specialties (ABMS), the American Osteopathic Association (AOA), and such other recognizing agencies as may request and receive future approval by the Board based upon the following criteria:

1. The organization has been granted Section 501(c) status under the Internal Revenue Code.

2. The organization shall have full time administrative staff, housed in dedicated office space which is appropriate for the organization’s program.

3. The organization shall have bylaws, a code of ethics to guide the practice of its members, and an internal review and control process, including budgetary practices, to ensure effective utilization of resources.

4. The organization shall be national in scope, one of whose central purposes is credentialing of Physicians. An umbrella organization composed of more than one academy and board shall also have formal procedures for recognition and discipline of academies and boards.

5. With regards to certification, the organization shall be able to demonstrate the existence of appropriate procedures to ensure, with regard to any examination given after the effective date of this rule, that:

a. Such examination is of sufficient breadth and scope as to cover the specialty field;

b. The exams and answers thereto are adequately secured;

c. A standard grading system with pass/fail standards has been established in advance of testing;

d. The proctoring of all examinations shall be done by independent proctors, i.e., at a minimum, members of the certification board not related to, in practice or association with, or having a financial interest in the applicant being tested;

e. The grant or denial of certification is based on objective performance, skill, knowledge, and merit of the candidate;

6. The organization has an interest in the continuing proficiency of its members, by requiring periodic recertification and/or documentation of continuing medical education hours as well as continued practice in the field of certification.

(i) Represents that professional services can or will be competently performed for a stated fee when this is not the case, or makes representations with respect to fees for professional services that do not disclose all variables affecting the fees that will, in fact, be charged; or

(j) Conveys the impression that the osteopathic physician disseminating the advertising or referred to therein possesses qualifications, skills or other attributes, which are superior to other osteopathic physicians, other than a simple listing of earned professional, post-doctoral or other professional achievements recognized by the Board; or

(k) Fails to conspicuously identify the osteopathic physician by name in the advertisement or fails to conspicuously identify the osteopathic physician referred to in the advertising as an osteopathic physician.

(3) As used in the rules of this Board, the terms “advertisement” and “advertising” shall mean any statements, oral or written, disseminated to or before the public or any portion thereof, with the intent of furthering the purpose, either directly or indirectly, of selling professional services, or offering to perform professional services, or inducing members of the public to enter into any obligation relating to such professional services.

(4) It shall be the responsibility of any duly licensed osteopathic physician who utilizes the electronic media for the purpose of advertising to insure that an exact copy of the audio tape and/or video tape is maintained and preserved for a period of at least 90 days from the date that the actual advertisement is aired or shown through the electronic media.

(5) The recognizing agencies currently approved by the Board of Osteopathic Medicine include:

(a) American Association of Physician Specialists, Inc. (Approved June, 2002).

(b) American Board of Interventional Pain Physicians (Approved August, 2010).

Rulemaking Authority 459.005, 459.015(1)(d), (e), (l), (m), (o), (q), (v), (nn), 459.0152 FS. Law Implemented 459.005, 459.015(1)(d), (e), (l), (m), (o), (q), (v), (nn), 459.0152 FS. History–New 7-1-80, Formerly 21R-14.01, Amended 10-28-91, Formerly 21R-14.001, 61F9-14.001, 59W-14.001, Amended 11-29-10.

## 64B15-14.0015 Notice to the Department of Mailing Address and Place of Practice of Licensee.

Each licensee shall provide written notification to the department of the licensee’s current mailing address and place of practice. The term “place of practice” means the primary physical location where the osteopathic physician practices the profession of osteopathic medicine.

Rulemaking Authority 456.035 FS. Law Implemented 456.035 FS. History–New 12-26-94, Formerly 59W-14.0015, Amended 10-12-99, 8-13-15.

## 64B15-14.002 Notice of Withdrawal from Patient Care.

Rulemaking Authority 459.005, 459.015(1)(g), 459.015(1)(x) FS. Law Implemented 459.015(1)(g), 459.015(1)(x) FS. History–New 7-1-80, Formerly 21R-14.02, 21R-14.002, Amended 1-24-94, Formerly 61F9-14.002, Amended 6-15-95, Formerly 59W-14.002, Repealed 1-19-98.

## 64B15-14.003 HIV/AIDS: Knowledge of Antibody Status; Action to be Taken.

Rulemaking Authority 456.032, 459.005 FS. Law Implemented 456.032, 459.015(1)(w) FS. History–New 3-29-94, Formerly 61F9-14.003, 59W-14.003, Repealed 10-21-15.

## 64B15-14.004 Standards for the Prescription of Drugs to Treat Obesity.

The prescribing of anti-obesity drugs should only be performed by osteopathic physicians quilified by training and experience to treat obesity. All licensees are expected to abide by the following guidelines and standards in the utilization of any drug, synthetic compound, nutritional supplement, or herbal treatment, for the purpose of providing medically assisted weight loss. For purposes of this rule, “anti-obesity drugs” means any drug, synthetic compound, nutritional supplement, or herbal treatment used for the purpose of providing medically assisted weight loss.

(1) To justify the use of anti-obesity drugs as set forth above, the patient must have an initial Body Mass Index (BMI) of 30 or above, or an initial BMI of greater than 25 with at least one comorbidity factor, or an initial measurable body fat content equal to or greater than 25% of total body weight for male patients or 30% of total body weight for women. The treating physician may also take into account other factors such as ethnicity-specific values and markers such as waist circumference when justifying the use of anti-obesity drugs. BMI is calculated by use of the formula BMI = weight (kg)/height (m2).

(2) Physicians in Florida are prohibited from prescribing, ordering, dispensing, or administering any anti-obesity drug that is both a serotonergic and anorexic agent unless the drug has been approved by the U.S. Food and Drug Administration (FDA) specifically for use in weight loss management. Selective serotonin re-uptake inhibitors (SSRIs) that have not been approved by the FDA for weight loss may not be prescribed, ordered, dispensed, or administered for such purposes.

(3) Physicians may only prescribe anti-obesity drugs to children with an initial BMI greater than 120th percent of the 95th percentile with significant comorbidity or an initial BMI greater than 140th percent of the 95th percentile.

(4) An initial evaluation of the patient shall be conducted prior to the prescribing, ordering, dispensing or administering of any drug, synthetic compound, nutritional supplement, or herbal treatment and such evaluation shall include physical and complete history; tests related to medical treatment for weight loss; medical referrals as indicated by the history, physical examination, and testing; all in accordance with general medical standards of care. The initial evaluation may be delegated to an educated and trained physician’s assistant licensed pursuant to Chapter 458 or 459, F.S., or an advanced practice registered nurse licensed pursuant to Chapter 464, F.S.

(5) Prior to prescribing, ordering, dispensing, or administering anti-obesity drugs, the prescribing osteopathic physician must obtain written informed consent from the patient. Such consent shall discuss potential benefits versus potential risks of weight loss treatments. A copy of the signed informed consent shall be included in the patient’s medical record.

(6) Each osteopathic physician who is prescribing, ordering, or providing anti-obesity drugs to patients must assure that such patients undergo a re-evaluation at least once every 3 months. The re-evaluation shall include the elements of the initial evaluation and an assessment of the medical effects of the treatment being provided.

(7) Each osteopathic physician who prescribes, orders, dispenses or administers anti-obesity drugs for the purpose of providing medically assisted weight loss shall provide to each patient a legible copy of the Weight-Loss Consumer Bill of Rights as set forth in Sections 501.0573 and 501.0575(1)(a) through (e)3., F.S.

(8) Any osteopathic physician who advertises practice relating to weight loss that includes the prescribing of anti-obesity drugs or whose services are advertised by another person or entity shall be responsible for assuring that such advertising meets the requirements of Rule 64B15-14.001, F.A.C. Advertising weight loss treatment shall be considered false, deceptive or misleading if it contains representations that:

(a) Promise specific results;

(b) Raise unreasonable expectations;

(c) Claim rapid, dramatic, incredible, or safe weight loss;

(d) State or suggest that diets or exercise are not required; or

(e) Suggest that weight loss is effortless or magical.

Rulemaking Authority 459.005, 459.0135 FS. Law Implemented 459.0135 FS. History–New 3-29-98, Amended 9-18-02, 8-8-22.

## 64B15-14.005 Standards for the Prescribing of Controlled Substances for Treatment of Acute Pain.

The standards of practice in this rule do not supersede the level of care, skill and treatment recognized in general law related to healthcare licensure. All physicians and physician assistants who are authorized to prescribe controlled substances shall comply with the following:

(1) Definitions.

(a) Acute Pain. For the purpose of this rule, “acute pain” is defined as the normal, predicted, physiological, and time-limited response to an adverse chemical, thermal, or mechanical stimulus associated with surgery, trauma, or acute illness. The term does not include pain related to:

1. Cancer.

2. A terminal condition. For purposes of this subparagraph, the term “terminal condition” means a progressive disease or medical or surgical condition that causes significant functional impairment, is not considered to be reversible without the administration of life-sustaining procedures, and will result in death within 1 year after diagnosis if the condition runs its normal course.

3. Palliative care to provide relief of symptoms related to an incurable, progressive illness or injury.

4. A traumatic injury with an Injury Severity Score of 9 or greater.

(b) Prescription Drug Monitoring Program (PDMP) or “the system”. For the purpose of this rule, the system is defined as the Florida Department of Health’s electronic system to collect and store controlled substance dispensing information as set forth in Section 893.055, F.S.

(c) Substance Abuse. For the purpose of this rule, “substance abuse” is defined as the use of any substances for non-therapeutic purposes or use of medication for purposes other than those for which it is prescribed.

(2) Standards. The nature and extent of the requirements set forth below will vary depending on the practice setting and circumstances presented to the clinician. The Board has adopted the following standards for the prescribing of controlled substances for acute pain:

(a) Evaluation of the Patient. A medical history and physical examination appropriate for the patient’s clinical condition must be conducted and documented in the medical record. The medical record also shall document the presence of one or more recognized medical indications for the use of a controlled substance.

(b) Treatment Plan. The written treatment plan shall indicate if any further diagnostic evaluations or other treatments are planned including non-opioid medications and therapies if indicated. After treatment begins, the physician shall adjust medication therapy, if necessary, to the individual medical needs of each patient.

(c) Informed Consent and Agreement for Treatment. The physician shall discuss the risks and benefits of the use of controlled substances including the risk of abuse and addiction as well as physical dependence with the patient, persons designated by the patient, or with the patient’s surrogate or guardian if the patient is incompetent. The discussion shall also include expected pain intensity, duration, options, use of pain medications, non-medication therapies, and common side effects. Special attention must be given to those pain patients who are at risk of misuse or diversion of their medications.

(d) Periodic Review. Based on the circumstances presented, the physician shall review the course of treatment and any new information about the etiology of the pain. Continuation or modification of therapy shall depend on the physician’s evaluation of the patient’s progress. If treatment goals are not achieved, despite medication adjustments, the physician shall reevaluate the patient and determine the appropriateness of continued treatment. The physician shall monitor patient compliance of medication usage and related treatment plans.

(e) Consultation. The physician shall refer the patient as necessary for additional evaluation and treatment in order to achieve treatment objectives. The management of pain in patients with a history of substance abuse or with a comorbid psychiatric disorder requires extra care, monitoring, and documentation, and may require consultation with or referral to an expert in the management of such patients.

(f) Medical Records. The physician is required to keep accurate and complete records to include, but not be limited to:

1. The medical history and a physical examination, including history of drug abuse or dependence, if indicated;

2. Diagnostic, therapeutic, and laboratory results;

3. Evaluations and consultations;

4. Treatment objectives;

5. Discussion of risks and benefits;

6. Treatments;

7. Medications (including date, type, dosage, and quantity prescribed);

8. Instructions and agreements;

9. Drug testing results if indicated;

10. Justification for deviation from the 3-day prescription supply limit for a Schedule II opioid controlled substance for acute pain;

11. Outline of problems encountered when attempting to consult the PDMP, if the system was non-operational or the clinician, or his or her designee, is unable to access the PDMP due to a temporary technological or electrical failure; and

12. Periodic reviews. Records must remain current, maintained in an accessible manner, readily available for review, and must be in full compliance with Rule 64B15-15.004, F.A.C., Sections 456.057, and 459.015(1)(o), F.S.

(g) Compliance with Laws and Rules. Physicians and physician assistants shall at all times, remain in compliance with this rule and all state and federal laws and regulations addressing the prescribing and administration of controlled substances.

Rulemaking Authority 456.44(4), 459.005(1) FS. Law Implemented 456.44, 459.003(3), 459.015(1)(g), (x), (2) FS. History–New 3-9-00, Amended 11-14-06, 11-10-11, 1-1-19.

## 64B15-14.0051 Training Requirements for Physicians Practicing in Pain Management Clinics.

Effective July 1, 2012, physicians who have not met the qualifications set forth in subsections (1) through (6), below, shall have successfully completed a pain medicine fellowship that is accredited by the Accreditation Council for Graduate Medical Education (ACGME) or the American Osteopathic Association (AOA) or a pain medicine residency that is accredited by ACGME or the AOA. Prior to July 1, 2012, physicians prescribing or dispensing controlled substance medications in pain management clinics registered pursuant to Section 459.0137(1), F.S., must meet one of the following qualifications:

(1) Board certification by a specialty board recognized by the American Board of Medical Specialties (ABMS) and holds a sub-specialty certification in pain medicine; or a Certificate of Added Qualification in Pain Management by the American Osteopathic Association;

(2) Board certification in pain medicine by the American Board of Pain Medicine (ABPM);

(3) Successful completion of a pain medicine fellowship that is accredited by the Accreditation Council for Graduate Medical Education (ACGME) or the American Osteopathic Association (AOA) or a pain medicine residency that is accredited by the ACGME or the AOA;

(4)(a) Successful completion of a residency program in physical medicine and rehabilitation, anesthesiology, neurology, neurosurgery, or psychiatry approved by the ACGME or the AOA;

(b) Successful completion of a residency program in family practice, internal medicine, or orthopedics approved by the AOA, or

(c) Current Certificate of Added Qualification approved by the AOA in hospice, palliative medicine or geriatric medicine.

(5) Current staff privileges at a Florida-licensed hospital to practice pain medicine or perform pain medicine procedures;

(6) Three (3) years of documented full-time practice, which is defined as an average of 20 hours per week each year, in pain-management and attendance and successful completion of 40 hours of in-person, live-participatory AMA Category I or AOA Category IA CME courses in pain management that address all the following subject areas:

(a) The goals of treating both short term and ongoing pain treatment;

(b) Controlled substance prescribing rules, including controlled substances agreements;

(c) Drug screening or testing, including usefulness and limitations;

(d) The use of controlled substances in treating short-term and ongoing pain syndromes, including usefulness and limitations;

(e) Evidenced-based non-controlled pharmacological pain treatments;

(f) Evidenced-based non-pharmacological pain treatments;

(g) A complete pain medicine history and a physical examination;

(h) Appropriate progress note keeping;

(i) Comorbidities with pain disorders, including psychiatric and addictive disorders;

(j) Drug abuse and diversion, and prevention of same;

(k) Risk management; and,

(l) Medical ethics.

In addition to the CME set forth in subsection (6), above, physicians must be able to document hospital privileges at a Florida-licensed hospital; practice under the direct supervision of a physician who is qualified in subsections (1) through (4), above; or have the practice reviewed by a Florida-licensed risk manager and document compliance with all recommendations of the risk management review.

(7) Upon completion of the 40 hours of CME set forth above, physicians qualifying under subsection (6), above, must also document the completion of 15 hours of in-person, live participatory AMA Category I or AOA Category IA CME in pain management for every year the physician is practicing pain management.

Rulemaking Authority 459.0137(4) FS. Law Implemented 459.0137 FS. History–New 11-8-10, Amended 3-16-11, 3-26-12, 7-3-12.

## 64B15-14.0052 Requirement for Pain Management Clinic Registration; Inspection or Accreditation.

(1) Registration.

(a) Every designated physician of a pain management clinic, as defined in Section 459.0137(1), F.S., shall register the clinic with the Department of Health. It is the Designated Physician’s responsibility to ensure that the clinic is registered, regardless of whether other physicians are practicing in the same office or whether the office is non-physician owned.

(b) In order to register a pain management clinic, the Designated Physician must comply with Department rule subsections 64B-7.001(3) and (4), F.A.C., and provide documentation to support compliance with Rule 64B15-14.012, F.A.C.

(c) The Designated Physician must notify the Board within 10 calendar days, in writing, of any changes to the registration information, including the termination of his or her employment with the pain management clinic.

(d) Documentation of registration shall be posted in a conspicuous place in the waiting room viewable by the public.

(2) Inspection.

(a) Unless the Designated Physician has previously provided written notification of current accreditation by a nationally recognized accrediting agency approved by the Board the clinic shall submit to an annual inspection by the Department. All nationally recognized accrediting organizations shall be held to the same Board-determined practice standards for registering Florida pain management clinic sites.

(b) The Department shall conduct unannounced annual inspections of pain clinics pursuant to this rule.

(c) The Designated Physician shall cooperate with the inspector(s), make medical records available to the inspector, and be responsive to all reasonable requests.

(d) The inspector(s) shall determine compliance with the requirements of Rule 64B15-14.0051, F.A.C. This shall include review of a random selection of patient records for patients who are treated for pain, selected by the inspector(s) for each physician practicing in the clinic or who has practiced in the clinic during the past six months.

(e) If the clinic is determined to be in noncompliance, the Designated Physician shall be notified and shall be given a written statement at the time of inspection. Such written notice shall specify the deficiencies. Unless the deficiencies constitute an immediate and imminent danger to the public, the Designated Physician shall be given 30 days from the date of inspection to correct any documented deficiencies and notify the Department of corrective action plan. Upon written notification from the Designated Physician that all deficiencies have been corrected, the Department is authorized to re-inspect for compliance. If the Designated Physician fails to submit a corrective action plan within 30 days of the inspection, the Department is authorized to re-inspect the office to ensure that the deficiencies have been corrected.

(f) The written results of the inspection, deficiency notice and any subsequent documentation shall be forwarded to the Department. This shall include:

1. Whether the deficiencies constituted an immediate and serious danger to the public,

2. Whether the Designated Physician provided the Department with documentation of correction of all deficiencies within 30 days from the date of inspection; and,

3. The results of any reinspection.

(g) The Department shall review the results of the inspection(s) and determine whether action against the clinic registration is merited.

(h) Nothing herein shall limit the authority of the Department to investigate a complaint without prior notice.

(i) If the clinic is accredited by a nationally recognized accrediting agency approved by the Board, the Designated Physician shall submit written notification of the current accreditation survey of his or her office(s) in lieu of undergoing an inspection by the Department.

(j) The Designated Physician shall submit, within thirty (30) days of accreditation, a copy of the current accreditation survey of the clinic and shall immediately notify the Board of Osteopathic Medicine of any accreditation changes that occur. For purposes of initial registration, the Designated Physician shall submit a copy of the most recent accreditation survey of the clinic in lieu of undergoing an inspection by the Department.

(k) If a provisional or conditional accreditation is received, the Designated Physician shall notify the Board of Osteopathic Medicine in writing and shall include a plan of correction.

Rulemaking Authority 459.0137(4) FS. Law Implemented 459.0137 FS. History–New 11-18-10.

## 64B15-14.006 Standards of Practice for Surgery/Procedure.

The Board of Osteopathic Medicine interprets the standard of care requirement of Section 459.015(1)(z), F.S., and the delegation of duties restrictions of Section 459.015(1)(aa), F.S., with regard to surgery as follows:

(1) The ultimate responsibility for diagnosing and treating medical and surgical problems is that of the licensed allopathic or osteopathic physician who is to perform the surgery. In addition, it is the responsibility of the treating physician or an equivalently trained allopathic or osteopathic physician practicing within a Board approved postgraduate training program to explain the procedure to and obtain the informed consent of the patient. It is not necessary, however, that the operating surgeon obtain or witness the signature of the patient on the written form evidencing informed consent.

(2) This rule is intended to prevent wrong site, wrong side, wrong patient and wrong surgeries/procedures by requiring the team to pause prior to the initiation of the surgery/procedure to confirm the side, site, patient identity, and surgery/procedure.

(a) Definition of Surgery/Procedure. As used herein, “surgery/procedure” means the removal, incision or curettage of tissue or an organ, insertion of natural or artificial implants, electro-convulsive therapy, endoscopic procedure, or other procedure requiring the administration of anesthesia or an anesthetic agent. Minor surgeries/procedures such as excision of skin lesions, moles, warts, cysts, lipomas and repair of lacerations or surgery limited to the skin and subcutaneous tissue performed under topical or local anesthesia not involving drug-induced alteration of consciousness other than minimal pre-operative tranquilization of the patient are exempt from the following requirements. Paracentesis, thoracentesis, ocular surgery, liposuction, lipoplasty, and Mohs, are not minor surgeries/procedures.

(b) Except in life-threatening emergencies requiring immediate resuscitative measures, once the patient has been prepared for the elective surgery/procedure and the team has been gathered in the surgery/procedure room and immediately prior to the initiation of any procedure, the surgery/procedure team will pause and the physician(s) performing the procedure will verbally confirm the patient’s identification, the intended procedure and the correct surgical/procedure site. The physician performing the surgery/procedure shall not make any incision or perform any surgery or procedure prior to performing this required confirmation. If the surgery/procedure is performed in a facility licensed pursuant to Chapter 395, F.S., or a Level II or III surgery/procedure is performed in an office surgery setting, the physician(s) performing the procedure and another Florida licensed health care practitioner shall verbally and simultaneously confirm the patient’s identification, the intended surgery/procedure and the correct surgical/procedure site prior to making any incision or initiating the procedure. The notes of the surgery/procedure shall specifically reflect when this confirmation procedure was completed and which personnel on the surgical team confirmed each item.

(c) Confirmation of  the patient’s identity shall be made by using two or more of the following corroborating patient identifiers:

1. Name.

2. Assigned identification number.

3. Telephone number.

4. Date of Birth.

5. Social security number.

6. Address.

7. Photograph.

(d) The provisions of paragraph (b), shall be applicable to anesthesia providers prior to administering anesthesia or anesthetic agents, or performing regional blocks at any time both within or outside a surgery setting.

(e) At any time after the pause is completed, but before the procedure is initiated, if the physician(s) leave(s) the room where the procedure is being performed, upon his or her return, the pause set forth in paragraph (b), above, must be performed again.

(3) Management of postsurgical care is the responsibility of the operating surgeon.

(4) The operating surgeon can delegate discretionary postoperative activities to equivalently trained licensed allopathic or osteopathic physician practicing within Board approved postgraduate training programs. Delegation to any health care practitioner is permitted only if the other practitioner is supervised by the operating surgeon or an equivalently trained licensed allopathic or osteopathic physician or a physician practicing within a Board approved postgraduate training program.

Rulemaking Authority 459.005, 459.015(1)(z) FS. Law Implemented 459.015(1)(x), (z), (aa) FS. History–New 10-16-01, Amended 4-5-05, 11-5-07, Amended 10-3-13.

## 64B15-14.007 Standard of Care for Office Surgery.

Nothing in this rule relieves the surgeon of the responsibility for making the medical determination that the office is an appropriate forum for the particular procedure(s) to be performed on the particular patient.

(1) Definitions.

(a) Surgery. For the purpose of this rule, surgery is defined as any manual or operative procedure, including the use of lasers, performed upon the body of a living human being for the purposes of preserving health, diagnosing or curing disease, repairing injury, correcting deformity or defects, prolonging life, relieving suffering or any elective procedure for aesthetic, reconstructive or cosmetic purposes, to include, but not be limited to: incision or curettage of tissue or an organ; suture or other repair of tissue or organ, including a closed as well as an open reduction of a fracture; extraction of tissue including premature extraction of the products of conception from the uterus; insertion of natural or artificial implants; or an endoscopic procedure with use of local or general anesthetic.

(b) Surgeon. For the purpose of this rule, surgeon is defined as a licensed osteopathic physician performing any procedure included within the definition of surgery.

(c) Equipment. For the purpose of this rule, implicit within the use of the term of equipment is the requirement that the specific item named must meet current performance standards according to manufacturer’s guidelines.

(d) Office surgery. For the purpose of this rule office surgery is defined as surgery which is performed outside of any facility licensed under Chapter 390 or 395, F.S. Office surgical procedures shall not be of a type that generally result in blood loss of more than ten percent of estimated blood volume in a patient with a normal hemoglobin; require major or prolonged intracranial, intrathoracic, abdominal, or major joint replacement procedures, except for laparoscopic procedures; involve major blood vessels performed with direct visualization by open exposure of the major vessel, except for percutaneous endovascular intervention; or are generally emergent or life threatening in nature.

(e) Percutaneous endovascular intervention. For the purpose of this rule percutaneous endovascular intervention is defined as a procedure performed without open direct visualization of the target vessel, requires only needle puncture of an artery or vein followed by insertion of catheters, wires, or similar devices which are then advanced through the blood vessels using imaging guidance. Once the catheter reaches the intended location, various maneuvers to address the diseased area may be performed which include, but are not limited to, injection of contrast for imaging, treatment of vessels with angioplasty, atherectomy, covered or uncovered stenting, intentionally occluding vessels or organs (embolization), and delivering medications, radiation, or other energy such as laser, radiofrequency, or cryo.

(f) Major Blood Vessels. For the purpose of this rule, major blood vessels are defined as a group of critical arteries and veins including the aorta, coronary arteries, pulmonary arteries, superior and inferior vena cava, pulmonary veins, and any intra-cerebral artery or vein.

(g) Pediatric patients are defined as those patients who are 13 years of age or under.

(2) General Requirements for Office Surgery.

(a) The surgeon must examine the patient immediately before the surgery to evaluate the risk of anesthesia and of the surgical procedure to be performed. The surgeon may delegate the preoperative heart lung evaluation to a qualified anesthesia provider within the scope of the provider’s practice and, if applicable, protocol. The surgeon must maintain complete records of each surgical procedure, as set forth in Rule 64B15-15.004, F.A.C., including anesthesia records, when applicable and the records shall contain written informed consent from the patient reflecting the patient’s knowledge of identified risks, consent to the procedure, type of anesthesia and anesthesia provider, and that a choice of anesthesia provider exists, i.e., anesthesiologist, anesthesiologist assistant, another appropriately trained physician as provided in this rule, certified registered nurse anesthetist, or physician assistant.

(b) The requirement set forth in paragraph (2)(a), above, for written informed consent is not necessary for minor Level I procedures limited to the skin and mucosa.

(c) The surgeon must maintain a log of all liposuction procedures where more than 1,000 cubic centimeters of supernatant fat is removed, and Level II and Level III surgical procedures performed, which must include a confidential patient identifier, time of arrival in the operating suite, documentation of completion of the medical clearance as performed by the anesthesiologist or the operating physician, the surgeon’s name, diagnosis, CPT Codes, patient ASA classification, and the type of procedure, the level of surgery, the anesthesia provider, the type of anesthesia used, the duration of the procedure, and any adverse incidents, as identified in Section 459.026, F.S. If not documented elsewhere in the patient record, the surgical log must note the type of post-operative care, duration of recovery, disposition of the patient upon discharge, and list of medications used during surgery, and recovery. The log and all surgical records shall be provided to investigators of the Department of Health upon request and must be maintained for six (6) years from the last patient contact.

(d) In any liposuction procedure, the surgeon is responsible for determining the appropriate amount of supernatant fat to be removed from a particular patient. A maximum of 4000 cc supernatant fat may be removed by liposuction in the office setting. A maximum of 50mg/kg of Lidocaine can be injected for tumescent liposuction in the office setting.

(e) Liposuction may be performed in combination with another separate surgical procedure during a single Level II or Level III operation, only in the following circumstances:

1. When combined with abdominoplasty, liposuction may not exceed 1000 cc of supernatant fat,

2. When liposuction is associated and directly related to another procedure, the liposuction may not exceed 1000cc of supernatant fat,

3. Major liposuction in excess of 1000 cc supernatant fat may not be performed in a remote location from any other procedure.

(f) Standard of Care for Gluteal Fat Grafting. When performing gluteal fat grafting procedures, fat may only be injected into the subcutaneous space and must never cross the gluteal fascia. Intramuscular or submuscular fat injections are prohibited.

(g) For elective cosmetic and plastic surgery procedures performed in a physician’s office, the maximum planned duration of all surgical procedures combined must not exceed 8 hours. Except for elective cosmetic and plastic surgery, the surgeon shall not keep patients past midnight in a physician’s office. For elective cosmetic and plastic surgical procedures, the patient must be discharged within 24 hours of presenting to the office for surgery; an overnight stay is permitted in the office provided the total time the patient is at the office does not exceed 23 hours and 59 minutes including the surgery time. An overnight stay in a physician’s office for elective cosmetic and plastic surgery shall be strictly limited to the physician’ s office. If the patient has not recovered sufficiently to be safely discharged within the timeframes set forth, the patient must be transferred to a hospital for continued post-operative care.

(h) The Board of Osteopathic Medicine adopts the “Standards of the American Society of Anesthesiologists for Basic Anesthetic Monitoring,” approved by House Delegates on October 21, 1986, and last amended on October 20, 2010, as the standards for anesthetic monitoring by any qualified anesthesia provider.

1. These standards apply to general anesthetics, regional anesthetics, and monitored anesthesia care (Level II and III as defined by this rule) although, in emergency circumstances, appropriate life support measures take precedence. These standards may be exceeded at any time based on the judgment of the responsible supervising physician or anesthesiologist. They are intended to encourage quality patient care, but observing them cannot guarantee any specific patient outcome. They are subject to revision from time to time, as warranted by the evolution of technology and practice. This set of standards addresses only the issue of basic anesthesia monitoring, which is one component of anesthesia care.

2. In certain rare or unusual circumstances some of these methods of monitoring may be clinically impractical, and appropriate use of the described monitoring methods may fail to detect untoward clinical developments. Brief interruptions of continual monitoring may be unavoidable. For purpose of this rule, “continual” is defined as “repeated regularly and frequently in steady rapid succession” whereas “continuous” means “prolonged without any interruption at any time.”

3. Under extenuating circumstances, the responsible supervising osteopathic physician or anesthesiologist may waive the requirements marked with an asterisk (*); it is recommended that when this is done, it should be so stated (including the reasons) in a note in the patient’s medical record. These standards are not intended for the application to the care of the obstetrical patient in labor or in the conduct of pain management.

a. Standard I.

(I) Qualified anesthesia personnel shall be present in the room throughout the conduct of all general anesthetics, regional anesthetics and monitored anesthesia care.

(II) Objective. Because of the rapid changes in patient status during anesthesia, qualified anesthesia personnel shall be continuously present to monitor the patient and provide anesthesia care. In the event there is a direct known hazard, e.g., radiation, to the anesthesia personnel which might require intermittent remote observation of the patient, some provision for monitoring the patient must be made. In the event that an emergency requires the temporary absence of the person primarily responsible for the anesthetic, the best judgment of the supervising physician or anesthesiologist will be exercised in comparing the emergency with the anesthetized patient’s condition and in the selection of the person left responsible for the anesthetic during the temporary absence.

b. Standard II.

(I) During all anesthetics, the patient’s oxygenation, ventilation, circulation and temperature shall be continually evaluated.

(II) Oxygenation.

(A) Objective – To ensure adequate oxygen concentration in the inspired gas and the blood during all anesthetics.

(B) Methods:

(I) Inspired gas: During every administration of general anesthesia using an anesthesia machine, the concentration of oxygen in the patient breathing system shall be measured by an oxygen analyzer with a low oxygen concentration limit alarm in use.*

(II) Blood oxygenation: During all anesthetics, a quantitative method of assessing oxygenation such as a pulse oximetry shall be employed.* When the pulse oximeter is utilized, the variable pitch pulse tone and the low threshold alarm shall be audible to the qualified anesthesia provider.*Adequate illumination and exposure of the patient are necessary to assess color.*

(III) Ventilation.

(A) Objective – To ensure adequate ventilation of the patient during all anesthetics.

(B) Methods:

(I) Every patient receiving general anesthesia shall have the adequacy of ventilation continually evaluated. Qualitative clinical signs such as chest excursion, observation of the reservoir breathing bag and auscultation of breath sounds are useful. Continual monitoring for the presence of expired carbon dioxide shall be performed unless invalidated by the nature of the patient, procedure or equipment. Quantitative monitoring of the volume of expired gas is strongly encouraged.*

(II) When an endotracheal tube or supraglottic airway is inserted, its correct positioning must be verified by clinical assessment and by identification of carbon dioxide in the expired gas. Continual end-tidal carbon dioxide analysis, in use from the time of endotracheal tube/supraglottic airway placement, until extubation/removal or initiating transfer to a postoperative care location, shall be performed using a quantitative method such as capnography, capnometry or mass spectroscopy.* When capnography or capnometry is utilized, the end tidal carbon dioxide alarm shall be audible to the qualified anesthesia provider.*

(III) When ventilation is controlled by a mechanical ventilator, there shall be in continuous use a device that is capable of detecting disconnection of components of the breathing system. The device must give an audible signal when its alarm threshold is exceeded.

(IV) During regional anesthesia (with no seadation) or local anesthesia (with no sedation), the adequacy of ventilation shall be evaluated by continual observation of qualitative clinical signs. During moderate or deep sedation the adequacy of ventiliation shall be evaluated by continual observation of qualitative clinical signs. Monitoring for the presence of exhaled carbon dioxide is recommended.

(V) Circulation.

(A) Objective – To ensure the adequacy of the patient’s circulatory function during all anesthetics.

(B) Methods:

(I) Every patient receiving anesthesia shall have the electrocardiogram continuously displayed from the beginning of anesthesia until preparing to leave the anesthetizing location.*

(II) Every patient receiving anesthesia shall have arterial blood pressure and heart rate determined and evaluated at least every five minutes.*

(III) Every patient receiving general anesthesia shall have, in addition to the above, circulatory function continually evaluated by at least one of the following: palpation of a pulse, auscultation of heart sounds, monitoring of a tracing of intra-arterial pressure, ultrasound peripheral pulse monitoring, or pulse plethysmography or oximetry.

(IV) Body Temperature.

(A) Objective – To aid in the maintenance of appropriate body temperature during all anesthetics.

(B) Methods: Every patient receiving anesthesia shall have temperature monitored when clinically significant changes in body temperature are intended, anticipated or suspected.

(i) The surgeon must assure that the post-operative care arrangements made for the patient are adequate to the procedure being performed as set forth in Rule 64B15-14.006, F.A.C. Management of post-surgical care is the responsibility of the operating surgeon and may be delegated only as set forth in subsection 64B15-14.006(3), F.A.C. If there is an overnight stay at the office in relation to any surgical procedure:

1. The office must provide at least two (2) monitors, one of these monitors must be certified in Advanced Cardiac Life Support (ACLS), and maintain a monitor to patient ratio of at least 1 monitor to 2 patients. Once the surgeon has signed a timed and dated discharge order, the office may provide only one monitor to monitor the patient. The monitor must be qualified by licensure to administer all of the medications required on the crash cart and must be certified in Advanced Cardiac Life Suport. The full and current crash cart required below must be present in the office and immediately accessible for the monitors.

2. The surgeon must be reachable by telephone and readily available to return to the office if needed. For purposes of this subsection, “readily available” means capable of returning to the office within 15 minutes of receiving a call.

(j) A policy and procedure manual must be maintained in the office, updated annually, and implemented. The policy and procedure manual must contain the following: duties and responsibilities of all personnel, quality assessment and improvement systems comparable to those required by Rule 59A-5.019, F.A.C.; cleaning, sterilization, and infection control, and emergency procedures. This applies only to physician offices at which Level II and Level III procedures are performed.

(k) The surgeon shall establish a risk management program that includes the following components:

1. The identification, investigation, and analysis of the frequency and causes of adverse incidents to patients,

2. The identification of trends or patterns of incidents,

3. The development of appropriate measures to correct, reduce, minimize, or eliminate the risk of adverse incidents to patients; and,

4. The documentation of these functions and periodic review no less than quarterly of such information by the surgeon.

(l) The surgeon shall report to the Department of Health any adverse incidents that occur within the office surgical setting. This report shall be made within 15 days after the occurrence of an incident as required by Section 459.026, F.S.

(m) A sign must be prominently posted in the office which states that the office is a doctor’s office regulated pursuant to the rules of the Board of Osteopathic Medicine as set forth in rule Division 64B15, F.A.C. This notice must also appear prominently within the required patient informed consent.

(n) All physicians performing office surgery must be qualified by education, training, and experience to perform any procedure the physicians perform in the office surgery setting.

(3) Level I Office Surgery.

(a) Scope. Level I office surgery includes the following:

1. Minor procedures such as excision of skin lesions, moles, warts, cysts, lipomas and repair of lacerations or surgery limited to the skin and subcutaneous tissue performed under topical or local anesthesia not involving drug-induced alteration of consciousness other than minimal pre-operative tranquilization of the patient.

2. Liposuction involving the removal of less than 4000cc supernatant fat is permitted.

3. Incision and drainage of superficial abscesses, limited endoscopies such as proctoscopies, skin biopsies, arthrocentesis, thoracentesis, paracentesis, dilation of urethra, cysto-scopic procedures, and closed reduction of simple fractures or small joint dislocations (i.e., finger and toe joints).

4. Anesthesia is limited to minimal sedation. The patient’s level of sedation is that of minimal sedation and anxiolysis and the chances of complications requiring hospitalization are remote. Minimal sedation and anxiolysis is a drug-induced state during which patients respond normally to verbal commands. Although cognitive function and physical coordination may be impaired, airway reflexes, and ventilatory and cardiovascular functions are unaffected. Controlled substances, as defined in Sections 893.02 and 893.03, F.S., are limited to oral administration in doses appropriate for the unsupervised treatment of insomnia, anxiety or pain.

5. Chances of complication requiring hospitalization are remote.

(b) Standards for Level I Office Surgery.

1. Training Required. Surgeon’s continuing medical education should include: proper dosages; management of toxicity or hypersensitivity to regional anesthetic drugs. One assistant must hold current certification in an American Heart Association, American Safety and Health Institute, American Red Cross, or Pacific Medical Training approved Basic Life Support course with didactic and skills components, and the surgeon must hold current certification in an American Heart Association, American Safety and Health Institute, or Pacific Medical Training approved Advanced Cardiac Life Support course with didactic and skills components.

2. Equipment and Supplies Required. Intravenous access, supplies, oxygen, oral airways, and a positive pressure ventilation device shall be available in the office, along with the following mediciations, stored per manufacturer’s recommendations:

(a) Atropine 3 mg;

(b) Diphenhydramine 50 mg;

(c) Epinephrine 1 mg in 10 ml;

(d) Epinephrine 1 mg in 1 ml vial, 3 vials total; and,

(e) Hydrocortisone 100 mg.

(f) If a benzodiazepine is administered, Flumazenil 0.5 mg in 5 ml vial, 2 vials total; and,

(g) If an opiate is administered, Nalaxone 0.4 mg in 1 ml vial, 2 vials total.

3. When performing minor procedures such as excision of skin lesions, moles, warts, cysts, lipomas, and repair of lacerations or surgery limited to the skin and subcutaneous tissue performed under topical or local anesthesia, physicans are exempt from subparagraphs (3)(b)1. and 2., above. Current Basic Life Support certification is recommended but not required.

4. Assistance of Other Personnel Required. No other assistance is required, unless the specific surgical procedure being performed requires an assistant.

(4) Level II Office Surgery.

(a) Scope.

1. Level II Office Surgery shall include, but not be limited to: hemorrhoidectomy, hernia repair, large joint dislocations, colonoscopy, and liposuction involving the removal of up to 4000cc supernatant fat.

2. Level II Office Surgery includes any surgery in which the patient’s level of sedation is that of moderate sedation and analgesia or conscious sedation. Moderate sedation and analgesia or conscious sedation is a drug-induced depression of consciousness during which patients respond purposefully to verbal commands, either alone or accompanied by light tactile stimulation. No interventions are required to maintain a patent airway, and spontaneous ventilation is adequate. Cardiovascular function is maintained. Reflex withdrawal from a painful stimulus is not considered a purposeful response.

(b) Standards for Level II Office Surgery.

1. Transfer Agreement Required. The physician, or the facility where the procedure is being performed, must have a transfer agreement with a licensed hospital within reasonable proximity if the physician performing the procedure does not have staff privileges to perform the same procedure as that being performed in the out-patient setting at a licensed hospital within reasonable proximity. “Reasonable proximity” is defined as not to exceed thirty (30) minutes transport time to the hospital. The transfer agreement required by this rule must be current and have been entered into no more than five (5) years prior to the date of the inspection. A transfer agreement must affirmatively disclose an effective date.

2. Training Required.

a. The surgeon must have staff privileges at a licensed hospital to perform the same procedure in that hospital as that being performed in the office setting or must be able to document satisfactory completion of training such as Board certification or Board eligibility by a Board approved by the American Osteopathic Association, the American Board of Medical Specialties, the Accreditation Council on Graduate Medical Education or any other board approved by the Board of Osteopathic Medicine or must be able to establish comparable background, training, and experience. Such Board certification or comparable background, training and experience must also be directly related to and include the procedure(s) being performed by the physician in the office surgery facility.

b. One (1) assistant must be currently certified in and by an American Heart Association, American Safety and Health Institute, American Red Cross, or Pacific Medical Training approved Basic Life Support course with didactic and skills components, and the surgeon must be currently certified in and by an American Heart Association, American Safety and Health Institute, or Pacific Medical Training approved Advanced Cardiac Life Support course with didactic and skills components.

3. Equipment and Supplies Required.

a. Full and current crash cart at the location the anesthetizing is being carried out. Medicines shall be stored per the manufacturer’s recommendations and multi-dose vials shall be dated once opened. The crash cart must include, at a minimum, the following intravenous or inhaled medications:

(I) Adenosine 18 mg

(II) Albuterol 2.5 mg with small volume nebulizer

(III) Amiodarone 300 mg

(IV) Atropine 3 mg

(V) Calcium chloride 1 gram

(VI) Dextrose 50%; 50 ml

(VII) Diphenhydramine 50 mg

(VIII) Dopamine 200 mg minimum

(IX) Epinephrine 1 mg in; 10 ml

(X) Epinephrine 1 mg in 1 ml vial, 3 vials total

(XI) Flumazenil 1 mg

(XII) Furosemide 40 mg

(XIII) Hydrocortisone 100 mg

(XIV) Lidocaine appropriate for cardiac administration 100 mg

(XV) Magnesium sulfate 2 grams

(XVI) Naloxone 1.2 mg

(XVII) A beta blocker class drug

(XVIII) Sodium bicarbonate 50 mEq/50 ml

(XIX) Paralytic agent that is appropriate for use in rapid sequence intubation

(XX) A calcium channel blocker class drug

(XXI) Intralipid 20% 500 ml solution (only if non-neuraxial regional blocks are performed)

In the event of a drug shortage, the physician is allowed to substitute a therapeutically equivalent drug that meets the prevailing standard of care. The office must maintain documentation of its unsuccessful efforts to obtain the required drug.

b. A Benzodiazepine must be present in the office.

c. Positive pressure ventilation device (e.g., Ambu) plus oxygen supply.

d. End tidal CO2 detection device.

e. Monitors for blood pressure/EKG/Oxygen saturation.

f. Emergency intubation equipment, which shall at a minimum include suction devices, endotracheal tubes, laryngoscopes, oropharyngeal airways, nasopharyngeal airways and bag valve mask apparatus that are patient-size specific.

g. Defibrillator with defibrillator pads or defibrillator gel, or an Automated External Defibrillator unit (AED).

h. Sufficient back up power is required to allow the physician to safely terminate the procedure and to allow the patient to emerge from the anesthetic, all without compromising the sterility of the procedure or the environment of care.

i. Sterilization equipment.

j. IV solution and IV equipment.

4. Assistance of Other Personnel Required. The surgeon must be assisted by a qualified anesthesia provider as follows: An Anesthesiologist, Certified Registered Nurse Anesthetist, or Physician Assistant qualified as set forth in subparagraph 64B15-6.010(2)(b)6., F.A.C., or a registered nurse may be utilized to assist with the anesthesia, if the surgeon is ACLS certified. An anesthesiologist assistant may assist the anesthesiologist as set forth in Rule 64B15-7.005, F.A.C. An assisting anesthesia provider cannot function in any other capacity during the procedure. If additional assistance is required by the specific procedure or patient circumstances, such assistance must be provided by a physician, osteopathic physician, registered nurse, licensed practical nurse, or operating room technician. A physician licensed under Chapter 458 or 459, F.S., a licensed physician assistant, a licensed registered nurse with post-anesthesia care unit experience or the equivalent, credentialed by an American Heart Association, American Safety and Health Institute, or Pacific Medical Training approved Advanced Cardiac Life Support course with didactic and skills components or, in the case of pediatric patients, by an American Heart Association, American Safety and Health Institute, or Pacific Medical Training approved Pediatric Advanced Life Support course with didactic and skills components and, must be available to monitor the patient in the recovery room until the patient is recovered from anesthesia.

(5) Level IIA Office Surgery.

(a) Scope. Level IIA office surgeries are those Level II office surgeries with a maximum planned duration of 5 minutes or less and in which chances of complications requiring hospitalization are remote.

(b) Standards for Level IIA Office Surgery.

1. The standards set forth in subsection 64B15-14.007(4), F.A.C., must be met except for the requirements set forth in subparagraph 64B15-14.007(4)(b)4., F.A.C., regarding assistance of other personnel.

2. Assistance of Other Personnel Required. During the procedure, the surgeon must be assisted by a physician or physician assistant who is licensed pursuant to Chapter 458 or 459, F.S., or by a licensed registered nurse or a licensed practical nurse. Additional assistance may be required by specific procedure or patient circumstances. Following the procedure, a physician or physician assistant who is licensed pursuant to Chapter 458 or 459, F.S., or a licensed registered nurse must be available to monitor the patient in the recovery room until the patient is recovered from anesthesia. The monitor must be certified by an American Heart Association, American Safety and Health Institute, or Pacific Medical Training approved Advanced Cardiac Life Support course with didactic and skills components, or, in the case of pediatric patients, by an American Heart Association, American Safety and Health Institute, or Pacific Medical Training approved Pediatric Advanced Life Support course with didactic and skills components.

(6) Level III Office Surgery.

(a) Scope.

1. Level III Office Surgery is that surgery in which the patient’s level of sedation is that of deep sedation and analgesia or general anesthesia. Deep sedation and analgesia is a drug-induced depression of consciousness during which patients cannot be easily aroused but respond purposefully following repeated or painful stimulation. The ability to independently maintain ventilatory function may be impaired. Patients may require assistance in maintaining a patent airway, and spontaneous ventilation may be inadequate. Cardiovascular function is usually maintained. Reflex withdrawal from a painful stimulus is not considered a purposeful response. General anesthesia is a drug-induced loss of consciousness during which patients are not arousable, even by painful stimulation. The ability to independently maintain ventilatory function is often impaired. Patients often require assistance in maintaining a patent airway, and positive pressure ventilation may be required because of depressed spontaneous ventilation or drug-induced depression of neuromuscular function. Cardiovascular function may be impaired. The use of spinal or epidural anesthesia shall be considered Level III.

2. Only patients classified under the American Society of Anesthesiologist’s (ASA) risk classification criteria as Class I or II are appropriate candidates for Level III office surgery.

a. All Level III surgeries on patient classified as ASA III and higher are to be performed only in a hospital or ambulatory surgery center.

b. For all ASA II patients above the age of 50, the surgeon must obtain a complete workup performed prior to the performance of Level III surgery in a physician office setting. If the patient has a cardiac history or is deemed to be a complicated medical patient, the patient must have a preoperative EKG and be referred to an appropriate consultant for medical optimization. The referral to a consultant may be waived after evaluation by the patient’s anesthesiologist.

(b) Standards for Level III Office Surgery. In addition to the standards for Level II Office Surgery, the surgeon must comply with the following:

1. Training Required.

a. The surgeon must have staff privileges at a licensed hospital to perform the same procedure in that hospital as that being performed in the office setting or must be able to document satisfactory completion of training such as Board certification or Board qualification by a Board approved by the American Osteopathic Association, the American Board of Medical Specialties, the Accreditation Council on Graduate Medical Education or any other board approved by the Board of Osteopathic Medicine or must be able to demonstrate to the accrediting organization or to the Department comparable background, training and experience. Such Board certification or comparable background, training and experience must also be directly related to and include the procedure(s) being performed by the physician in the office surgery facility. In addition, the surgeon must have knowledge of the principles of general anesthesia.

b. One assistant must be currently certified by an American Heart Association, American Safety and Health Institute, American Red Cross, or Pacific Medical Training approved Basic Life Support course with didactic and skills components, and the surgeon must be currently certified by an American Heart Association, American Safety and Health Institute, or Pacific Medical Training approved Advanced Cardiac Life Support course with didactic and skills components.

2. Emergency policies and procedures related to serious anesthesia complications shall be formulated, periodically reviewed, practiced, updated, and posted in a conspicuous location. Topics to be covered shall include the following:

a. Airway Blockage (foreign body obstruction),

b. Allergic Reactions,

c. Bradycardia,

d. Bronchospasm,

e. Cardiac Arrest,

f. Chest Pain,

g. Hypoglycemia,

h. Hypotension,

i. Hypoventilation,

j. Laryngospasm,

k. Local Anesthetic Toxicity Reaction; and,

l. Malignant Hyperthermia.

3. Equipment and Supplies Required.

a. Equipment and medication, including at least 720 mg of dantrolene on site, (if halogenated anesthetics or succinylcholine are utilized) and monitored post-anesthesia recovery must be available in the office.

b. The office, in terms of general preparation, equipment, and supplies, must be comparable to a free standing ambulatory surgical center, including, but not limited to, recovery capability, and must have provisions for proper recordkeeping.

c. Blood pressure monitoring equipment; EKG; end tidal CO2 monitor; pulse oximeter, emergency intubation equipment and a temperature monitoring device.

d. Table capable of trendelenburg and other positions necessary to facilitate the surgical procedure.

4. Assistance of Other Personnel Required. An Anesthesiologist, Certified Registered Nurse Anesthetist, Anesthesiologist Assistant, or Physician Assistant qualified as set forth in subparagraph 64B15-6.010(2)(b)6., F.A.C., must administer the general or regional anesthesia and an M.D., D.O., Registered Nurse, Licensed Practical Nurse, Physician Assistant, or Operating Room Technician must assist with the surgery. The anesthesia provider cannot function in any other capacity during the procedure. A physician licensed under Chapter 458 or 459 F.S., a licensed anesthesiologist assistant, a licensed physician assistant, or a licensed registered nurse with post-anesthesia care unit experience or the equivalent, and credentialed by an American Heart Association, American Safety and Health Institute, or Pacific Medical Training approved Advanced Cardiac Life Support course with didactic and skills components, or in the case of pediatric patients, by an American Heart Association, American Safety and Health Institute, or Pacific Medical Training approved Pediatric Advanced Life Support course with didactic and skills components, must be available to monitor the patient in the recovery room until the patient has recovered from anesthesia.

Rulemaking Authority 459.005, 459.0138(2), 459.015(1)(z), 459.026 FS. Law Implemented 459.0138, 459.015(1)(g), (x), (z), (aa), 459.026 FS. History–New 11-29-01, Amended 2-23-03, 11-2-05, 6-4-09, 8-30-10, 3-20-13, 10-3-13, 12-11-14, 5-24-15, 11-10-15, 5-31-16, 10-4-16, 9-10-17, 5-17-18, 9-11-19, 3-24-20, 5-19-22.

## 64B15-14.0075 Osteopathic Physician Office Incident Reporting.

(1) Definitions.

(a) “Adverse incident” for purposes of reporting to the department, is defined in Section 459.026, F.S., as an event over which the osteopathic physician or other licensee could exercise control and which is associated in whole or in part with a medical intervention, rather than the condition for which such intervention occurred, and which results in the following patient injuries;

1. The death of a patient.

2. Brain or spinal damage to a patient.

3. The performance of a surgical procedure on the wrong patient.

4. The performance of a wrong-site surgical procedure; the performance of a wrong surgical procedure; or the surgical repair of damage to a patient resulting from a planned surgical procedure where the damage is not a recognized specific risk as disclosed to the patient and documented through the informed-consent process and if one of the listed procedures in this paragraph results in: death; brain or spinal damage; permanent disfigurement not to include the incision scar; fracture or dislocation of bones or joints; a limitation of neurological, physical or sensory function; or any condition that required transfer of the patient.

5. A procedure to remove unplanned foreign objects remaining from a surgical procedure.

6. Any condition that required the transfer of a patient to a hospital licensed under Chapter 395, F.S., from any facility or any office maintained by an osteopathic physician for the practice of medicine which is not licensed under Chapter 395, F.S.

(b) “Licensee” for purposes of this rule, includes an osteopathic physician or physician assistant issued a license, registration, or certificate, for any period of time, pursuant to Chapter 459, F.S.

(c) “Office maintained by an osteopathic physician” as that term is used in Section 459.026(1), F.S., is defined as a business location where the osteopathic physician delivers medical services regardless of whether other physicians are practicing at the same location or the business is non-physician owned.

(2) Incident Reporting System. An incident reporting system shall be established for each osteopathic physician office.

(a) Incident Reports. The incident reporting system shall include the prompt, postmarked and sent by certified mail within 15 calendar days after the occurrence of the adverse incident, reporting of incidents to the Department of Health, Consumer Services Unit, 4052 Bald Cypress Way, Bin #C75, Tallahassee, Florida 32399-3275. The report shall be made on the Physician Office Adverse Incident Report, Form #DH-MQA 1030, Revised 12/20, which is incorporated herein by reference and available from http://www.flrules.org/Gateway/reference.asp?No=Ref-12779. The report must be submitted by every licensee who was involved in the adverse incident. If multiple licensees are involved in the adverse incident, they may meet this requirement by signing off on one report; however, each signee is responsible for the accuracy of the report. This report shall contain the following information:

1. The patient’s name, locating information, gender, age, diagnosis, date of office visit, and purpose of office visit.

2. A clear and concise description of the incident including time, date, and exact location within the office.

3. A listing of all persons then known to be involved directly in the incident, including license numbers and locating information, and a description of the person’s exact involvement and actions.

4. A listing of any witnesses not previously identified in subparagraph 3.

5. The name, license number, locating information, and signature of the osteopathic physician or licensee submitting the report, along with date and time that the report was completed.

(b) Incident Report Review and Analysis. Evidence of compliance with this paragraph will be considered in mitigation in the event the Board takes disciplinary action.

1. The osteopathic physician shall be responsible for the regular and systematic reviewing of all incident reports filed by the osteopathic physician or physician assistant under the osteopathic physician’s supervision, for the purpose of identifying factors that contributed to the adverse incident and identifying trends or patterns as to time, place, or persons. The osteopathic physician shall implement corrective actions and incident prevention education and training indicated by the review of each adverse incident and upon emergence of any trend or pattern in incident occurrence.

2. Copies of incident reports shall be maintained in the osteopathic physician office.

(3) Death reports. Notwithstanding the provisions of this rule and Section 459.026, F.S., an adverse incident which results in death shall be reported immediately to the medical examiner pursuant to Section 406.12, F.S.

Rulemaking Authority 459.005(1), 459.026(7) FS. Law Implemented 459.026 FS. History–New 2-12-02, Amended 8-12-19, 4-18-21.

## 64B15-14.0076 Requirement for Osteopathic Physician Office Surgery Registration; Inspection or Accreditation.

(1) Registration.

(a) Office Registration. An office in which a physician performs liposuction procedures where more than 1,000 cubic centimeters of supernatant fat is removed, a Level II office surgery, or a Level III office surgery shall register with the Department of Health (Department) unless the office is licensed as facility under Chapter 390 or 395, F.S. The office must notify the Department within 10 calendar days after the termination of a designated physician relationship and must notify the Department of the designation of another physician to serve as the designated physician.

(b) Designated Physician. Each office registered in paragraph (1)(a) must designate a physician who is responsible for office’s compliance with the health and safety requirements of Section 459.0138, F.S., Rule 64B15-14.007, F.A.C., and this rule, including any changes to the office registration in paragraph (1)(a) above. The designated physician is required to update within 10 days any modifications to the office surgery registration application regarding the recovery personnel and persons on the surgical team along with supporting documentation if said person is not a physician.

(c) Physician Registration. Each physician practicing at a registered office shall notify the Board in writing within 10 calendar days after beginning or ending his or her practice at a registered office. The physician must comply with the requirements and qualifications of Section 459.0138, F.S., Rule 64B15-14.007, F.A.C., and this rule. The written notification for beginning office surgery practice requires the physician to provide and document the following information:

1. Financial Responsibility. All physicians practicing at a registered office must meet the financial responsibility requirements of Sections 458.320 and 459.0085, F.S., as applicable, and notify the Board of the option he or she elects.

2. For surgeons:

a. The level of surgery the physician intends to perform;

b. The types of procedures the physician intends to perform at this registered office;

c. Whether the physician holds current certification of eligiblity with a specialty board approved by the Florida Board of Osteopathic Medicine and if so, to submit a copy of the certificate or board-eligibility letter with the notification;

d. If the physician does not hold current certification or board eligibility, the physician must provide documentation to establish comparable background, training, and experience;

e. If the physician does not hold current certification or board eligibility or provide documentation to establish comparable background, training, and experience, submission of a letter of good standing and a copy of the delineation of staff privileges as set forth in subparagraph 64B15-14.007 (4)(b)2., F.A.C.;

f. If the physician does not provide a letter of good standing and a copy of the delineation of staff privileges as set forth in subparagraph 64B15-14.007(4)(b)2., F.A.C., the physician must provide a copy of a current transfer agreement with a licensed hospital within 30 minutes transport time from the surgery facility as set forth in subparagraph 64B15-14.007(4)(b)1., F.A.C.;

g. Submit a copy of the physician’s current Advanced Cardiac Life Support (ACLS) certification; and

h. List the dates of attendance and specialty areas of all residency, fellowship, background experience, and additional training.

3. For physicians who are anesthesia providers, submission of a current copy of the ACLS card or Pediatric Advanced Life Support (PALS) card (if appropriate), and

4. For assistants to the surgeon, submission of a current copy of the Basic Life Support (BLS) card.

(d) In order to register at an office for office surgery, the physician must comply with the Department’s Rule 64B-4.003, F.A.C., and provide documentation to support compliance with Rule 64B15-14.007, F.A.C., and this rule.

(e) The registration shall be posted in the office.

(2) Inspection.

(a) Unless the office  has previously provided written notification of current accreditation by a nationally recognized accrediting agency or an accrediting organization approved by the Board, the office  shall submit to an annual inspection by the Department. Nationally recognized accrediting agencies are the American Association for Accreditation of Ambulatory Surgery Facilities (AAAASF), Accreditation Association for Ambulatory Health Care (AAAHC) and Joint Commission on Accreditation of Healthcare Organizations (JCAHO). American Accreditation Commission International (AACI) is an accrediting organization approved by the Board. All nationally recognized and Board-approved accrediting organizations shall be held to the same Board-determined surgery and anesthesia standards for accrediting Florida office surgery sites.

(b) The office surgery inspection fee set forth in the Department’s Rule 64B-4.002, F.A.C., shall be remitted for each practice location.

(c) For those inspections which are required to be announced, such inspections shall be announced at least one week in advance of the arrival of the inspector(s).

(d) If the office is determined to be in noncompliance, the designated physician shall be notified and shall be given a written statement specifying the deficiencies at the time of inspection. If the designated physician is not present at the time of the inspection, the written statement shall be provided to the designated physician’s designee and a copy shall be provided to the designated physician. Unless the deficiencies constitute an immediate and imminent danger to the public, the designated physician shall be given 30 days from the date of inspection to correct any documented deficiencies and notify the Department of corrective action. Upon written notification from the designated physician that all deficiencies have been corrected, the Department is authorized to re-inspect for compliance. If the designated physician fails to submit a corrective action plan within 30 days of the inspection, the Department is authorized to re-inspect the office to ensure that the deficiencies have been corrected.

(e) The deficiency notice and any subsequent documentation shall be reviewed for consideration of disciplinary action under any of the following circumstances:

1. When the initial notice of deficiencies contain deficiencies that constitute immediate and imminent danger to the public;

2. The designated physician fails to provide the Department with documentation of correction of all deficiencies within thirty (30) days from the date of inspection; or

3. Upon a finding of noncompliance after a reinspection has been conducted pursuant to paragraph (2)(d), of this rule.

(f) Documentation of corrective action shall be considered in mitigation of any offense.

(g) Nothing herein shall limit the authority of the Department to investigate a complaint without prior notice.

(3) Accreditation.

(a) The office shall submit written notification of the current accreditation survey from a nationally recognized accrediting agency or an accrediting organization approved by the Board in lieu of undergoing an inspection by the Department.

(b) An office  shall submit, within thirty (30) days of accreditation, a copy of the current accreditation survey of its office and shall immediately notify the Department of any accreditation changes that occur. For purposes of initial registration, an office shall submit a copy of its most recent accreditation survey in lieu of undergoing an inspection by the Department.

(c) If a provisional or conditional accreditation is received, the office shall notify the Department in writing and shall include a plan of correction.

(4) This rule shall be reviewed, and if necessary, repealed, modified, or renewed through the rulemaking process five years from the effective date.

Rulemaking Authority 459.0138(2) FS. Law Implemented 456.069, 459.0138 FS. History–New 2-12-02, Amended 11-20-03, 6-4-09, 7-19-10, 3-20-13, 10-3-13, 12-22-14, 8-24-17, 3-24-20, 11-14-21, 11-9-22.

## 64B15-14.0077 Approval of Osteopathic Physician Office Accrediting Organizations.

(1) Definitions.

(a) “Accredited” means full accreditation granted by a Board approved accrediting agency or organization. “Accredited” shall also mean provisional accreditation provided that the office is in substantial compliance with the accrediting agency or organization’s standards; any deficiencies cited by the accrediting agency or organization do not affect the quality of patient care, and the deficiencies will be corrected within six months of the date on which the office was granted provisional accreditation.

(b) “Approved accrediting agency or organization” means nationally recognized accrediting agencies: American Association for Accreditation of Ambulatory Surgery Facilities (AAAASF), Accreditation Association for Ambulatory Health Care (AAAHC) and Joint Commission on Accreditation of Healthcare Organizations (JCAHO), American Osteopathic Association (AOA), and AOA Healthcare Facilities Accreditation Program (HFAP). Approved organizations also include those approved by the Board after submission of an application for approval pursuant to this rule. American Accreditation Commission International (AACI) is an accrediting organization approved by the Board.

(c) “Department” means the Department of Health.

(2) Application. An application for approval as an accrediting organization shall be filed with the Board office at 4052 Bald Cypress Way, Bin #C06, Tallahassee, Florida 32399-3256, and shall include the following information and documents:

(a) Name and address of applicant;

(b) Date applicant began to operate as an accrediting organization;

(c) Copy of applicant’s current accreditation standards;

(d) Description of accreditation process, including composition and qualification of accreditation surveyors; accreditation activities; criteria for determination of compliance; and deficiency follow-up activities. Accreditation surveyors shall meet the following qualifications:

1. The surveyor must be an American Board of Medical Specialties (ABMS) or AOA board-certified physician with two (2) years’ experience performing office surgery; or

2. A certified professional in Health Care Risk Management with two (2) years’ experience serving as a risk manager in a surgical facility; or

3. An ABMS or AOA board-certified anesthesiologist with two (2) years’ experience administering anesthesia in a surgical facility.

4. In addition to the above-outlined qualification, accreditation surveyors may not have any discipline imposed on his or her license within the preceding seven (7) years, may not be in direct competition with the subject of the review or have any direct or indirect contractual relationship with the inspected facility or any of its physicians.

(e) A list of all osteopathic physician offices located in Florida that are accredited by the applicant, if any. If there are no accredited Florida physician offices, but there are accredited offices outside Florida, a list of the accredited offices outside of Florida is required;

(f) Copies of all adverse incident reports filed with the state by any of the applicants accredited offices pursuant to Section 459.026, F.S.;

(g) Statement of compliance with all requirements as specified in this rule.

(3) Standards. The standards adopted by an accrediting organization for surgical and anesthetic procedures performed in a physician office shall meet or exceed provisions of Chapters 456 and 459, F.S., and rules promulgated thereunder. Standards shall require that all health care practitioners be licensed or certified to the extent required by law.

(4) Requirements. In order to be approved by the Board, an accrediting organization must demonstrate compliance with the following requirements:

(a) The accrediting agency must implement, administer and monitor a mandatory quality assurance program approved by the Board of Osteopathic Medicine that meets the following minimum standards:

1. General Provisions. Each office surgery facility surgical center shall have an ongoing quality assurance program that objectively and systematically monitors and evaluates the quality and appropriateness of patient care, evaluates methods to improve patient care, identifies and corrects deficiencies within the facility, alerts the Medical Director to identify and resolve recurring problems, and provides for opportunities to improve the facility’s performance and to enhance and improve the quality of care provided to the public.

a. Such a system shall be based on the mission and plans of the organization, the needs and expectations of the patients and staff, up-to-date sources of information, and the performance of the processes and their outcomes.

b. Each system for quality assurance, which shall include utilization review, must be defined in writing, approved by the accrediting agencies governing body, enforced, and shall include:

(I) A written delineation of responsibilities for key staff,

(II) A policy for all members of the organized medical staff, whereby staff members do not initially review their own cases for quality assessment and improvement program purposes,

(III) A confidentiality policy that complies with all applicable federal and state confidentiality laws,

(IV) Written, measurable criteria and norms,

(V) A description of the methods used for identifying problems,

(VI) A description of the methods used for assessing problems, determining priorities for investigation, and resolving problems,

(VII) A description of the methods for monitoring activities to assure that the desired results are achieved and sustained; and,

(VIII) Documentation of the activities and results of the program.

c. Each quality assurance program shall include a peer review system that entails the following:

(I) Peer review is performed at least every six months and includes reviews of both random cases and unanticipated adverse office incidents as defined in Section 459.026, F.S., and as set forth in sub-subparagraph (4)(a)1.d., of this rule;

(II) If the peer review sources external to the facility are employed to evaluate delivery of medical care, the patient consent form is so written as to waive confidentiality of the medical records or in the alternative medical records reviewed by such external peer review sources must use confidential patient identifiers rather than patient names; and,

(III) Peer review must be conducted by a recognized peer review organization or a licensed medical doctor or osteopathic physician other than the operating surgeon.

d. Each quality assurance program shall include a system where all adverse incidents as defined in Section 459.026, F.S., are reviewed. In addition to those incidents set forth in Section 459.026, F.S., the following incidents shall also be reviewed:

(I) Unplanned hospital admissions that occurred within seven (7) days from the date the patient left the facility,

(II) Unscheduled return to the operating room for complication of a previous procedure,

(III) Untoward result of procedure such as infection, bleeding, wound dehiscence or inadvertent injury to other body structure,

(IV) Cardiac or respiratory problems during stay at facility or within 48 hours of discharge,

(V) Allergic reaction of medication,

(VI) Incorrect needle or sponge count,

(VII) Patient or family complaint,

(VIII) Equipment malfunction leading to injury or potential injury to patient.

e. Each quality assurance program shall include an adverse incident chart review program which shall include the following information, in addition to the operative procedure performed:

(I) Identification of the problem,

(II) Immediate treatment or disposition of the case,

(III) Outcome,

(IV) Analysis of reason for problem; and,

(V) Assessment of efficacy of treatment.

2. Each office surgery facility shall have in place a systematic process to collect data on process outcomes, priority issues chosen for improvement, and the satisfaction of the patient. Processes measured shall include:

a. Appropriate surgical procedures,

b. Preparation of patient for the procedure,

c. Performance of the procedure and monitoring of the patient,

d. Provision of post-operative care,

e. Use of medications including administration and monitoring of effects,

f. Risk management activities,

g. Quality assurance activities including at least clinical laboratory services and radiology services,

h. Results of autopsies if needed.

3. Each center shall have a process to assess data collected to determine:

a. The level and performance of existing activities and procedures,

b. Priorities for improvement; and,

c. Actions to improve performance.

4. Each center shall have a process to incorporate quality assurance and improvement activities in existing office surgery facility processes and procedures.

(b) The accrediting agency must implement, administer, and monitor anesthesia-related accreditation standards and quality assurance processes that meet the following minimum standards and are reviewed and approved by the Board of Osteopathic Medicine:

1. Each accredited facility must have an anesthesia provider who participates in an ongoing continuous quality improvement and risk management activities related to the administration of anesthesia in that facility.

2. Each facility must have a written quality improvement plan that specifies the individuals who are responsible for performing each element of the plan.

3. The written plan should be in place to continually assess, document and improve the outcome of the anesthesia care provided.

4. The plan must include a review of quality indicators, to include measures of patient satisfaction.

5. The plan must include an annual review and check of anesthesia equipment to ensure compliance with current safety standards and the standards for the release of waste anesthetic gases.

6. The quality assurance plan should include routine review of anesthesia and surgical morbidity and adverse, sentinel or outcome events which include but are not limited to the following:

a. Follow-up on post-op day 1 and day 14,

b. Cancellation rates and reasons,

c. Central nervous system or peripheral nervous system new deficit,

d. Need for reversal agents: narcotic, benzodiazepine,

e. Reintubation,

f. Unplanned transfusion,

g. Aspiration pneumonitis,

h. Pulmonary embolus,

i. Local anesthetic toxicity,

j. Anaphylaxis,

k. Possible Malignant Hyperthermia,

l. Infection,

m. Return to operating room,

n. Unplanned Post-procedural Treatment in physician’s office or emergency department within 30 days after discharge,

o. Unplanned Admission to hospital or acute care facility within 30 days,

p. Cardiopulmonary Arrest or Death within 30 days,

q. Continuous Quality Indicators,

r. Cardiovascular complications in recovery requiring treatment (including arrhythmias; hypotension, hypertension),

s. Respiratory complications in recovery requiring treatment (including asthma),

t. Nausea not controlled within 2 hrs. in recovery,

u. Pain not controlled within 2 hrs. in recovery,

v. Postoperative vomiting rate,

w. Prolonged PACU stay in excess of 2 hrs.,

x. Medication error,

y. Injuries, e.g. eye, teeth,

z. Time to return to light activities of daily living (ADL),

aa. Common postoperative sequelae, eg sore throat, muscle pain, headache,

bb. Post-dural puncture headache or transient radicular irritation,

cc. Discharge without escort or against medical advice (AMA),

dd. Patient satisfaction,

ee. Equipment maintenance.

7. Each facility quality improvement plan must require annual reviews conducted by, at a minimum, the medical director, a representative of the anesthesia provider currently providing patient care and a representative of the operating room or recovery nursing staff.

8. The accrediting organization must have at least one anesthesiologist in that organization that implements, administers, and monitors the quality assurance processes set forth above.

(c) Accreditation periods shall not exceed three years.

(d) The accrediting organization shall obtain authorization from the accredited entity to release accreditation reports and corrective plans to the Board. The accrediting organization shall provide a copy of any accreditation report to the Board office within 30 days of completion of accrediting activities. The accrediting organization shall provide a copy of any corrective action plans to the Board office within 30 days of receipt from the physician office.

(e) If the accrediting agency or organization finds indications at any time during accreditation activities that conditions in the physician office pose a potential threat to patients, the accrediting agency or organization will immediately report the situation to the Department.

(f) An accrediting agency or organization shall send to the Board any change in its accreditation standards within 30 calendar days after making the change.

(g) An accrediting agency or organization shall comply with confidentiality requirements regarding protection of patient records.

(5) Accrediting Organizations shall be approved for a period of time not to exceed three (3) years.

(6) If the Board discovers that an approved accrediting agency has violated or failed to comply with any provision of this rule, the Board shall issue an order to show cause outlining the alleged violation and requiring a representative from the accrediting agency to appear before the Board at its next regularly scheduled meeting to address the Board’s concerns. After such an appearance, if the Board determines that a violation occurred, the accrediting agency’s status as an office surgery accrediting agency shall be revoked. Failure to appear before the Board upon receipt of an order to show cause shall not preclude the Board from taking action against an accrediting agency.

(7) Renewal of Approval of Accrediting Organizations. Every accrediting organization approved by the Board pursuant to this rule is required to submit to the Board a new complete written application at least three months prior to the end of its term of approval. Upon review of the submission by the Board, written notice shall be provided to the accrediting organization indicating the Board’s acceptance of the certification and the next date by which a renewal submission must be filed or of the Board’s decision that any identified changes are not acceptable and on that basis denial of renewal of approval as an accrediting organization.

(8) Upon denial of its application, the accrediting organization must wait a minimum of six (6) months prior to reapplying.

(9) Any person interested in obtaining a complete list of approved accrediting organizations may contact the Board of Osteopathic Medicine or Department of Health.

(10) This rule shall be reviewed, and if necessary, repealed, modified, or renewed through the rulemaking process five years from the effective date.

Rulemaking Authority 459.005, 459.0138(2) FS. Law Implemented 459.0138(1)(e) FS. History–New 2-12-02, Amended 11-21-21, 11-9-22.

## 64B15-14.008 Standards for Telemedicine Prescribing Practice.

Rulemaking Authority 459.005, 459.015(1)(z) FS. Law Implemented 459.015(1)(x), (t) FS. History–New 10-16-01, Repealed 12-9-14.

## 64B15-14.0081 Standards for Telemedicine Practice.

Rulemaking Authority 459.015(1)(z) FS. Law Implemented 459.015(1)(z), 459.022(4)(f) FS. History‒New 3-12-14, Amended 7-22-14, 12-9-14, 5-24-16, Repealed 10-24-19.

## 64B15-14.009 Standards for Office Based Opioid Addiction Treatment.

Rulemaking Authority 459.005, 459.015(1)(z) FS. Law Implemented 459.015(1)(z) FS. History–New 4-19-04, Repealed 5-18-23.

## 64B15-14.010 Physician Practice Standard Regarding Do Not Resuscitate (DNR) Orders.

Resuscitation may be withheld or withdrawn from a patient by a treating physician licensed pursuant to Chapter 459, F.S., if evidence of an order not to resuscitate by the patient’s physician is presented to the treating physician. An order not to resuscitate, to be valid, must be on the form as set forth in Section 401.45, F.S. The form must be signed by the patient’s physician and by the patient, or, if the patient is incapacitated, the patient’s health care surrogate, or proxy as provided in Chapter 765, F.S.; court appointed guardian as provided in Chapter 744, F.S.; or attorney in fact under a durable power of attorney as provided in Chapter 709, F.S. The court appointed guardian or attorney in fact must have been delegated authority to make health care decisions on behalf of the patient.

Rulemaking Authority 459.015(1)(z) FS. Law Implemented 459.015(1)(z) FS. History–New 2-9-05.

## 64B15-14.011 Qualifications of Physicians Who Evaluate and Treat Sex Offenders.

Rulemaking Authority 459.005, 947.005(9), 948.001(6) FS. Law Implemented 947.005(9), 948.001(6) FS. History–New 6-21-07, Repealed 5-28-12.

## 64B15-14.012 Optional Informed Consent for Cataract Surgery.

Pursuant to Section 459.026, F.S., for those physicians who choose to use it, the Board has approved form DOH-MQA 1255 (10/15), entitled “Florida Board of Medicine and Florida Board of Osteopathic Medicine Approved Informed Consent Form for Cataract Operation With or Without Implantation of Intraocular Lens,” which is hereby incorporated by reference and available from http://www.flrules.org/Gateway/reference.asp?No=Ref-06412, and from the Board’s website at http://floridasosteopathicmedicine.gov/resources/. The Board-approved informed consent form is not executed until:

(1) The physician performing the surgery has explained the information in the consent form to the patient. Such physician is prohibited from delegating this responsibility to another person. The physician performing the surgery is also required to sign the informed consent form;

(2) The patient or the person authorized by the patient to give consent is required to sign the informed consent form; and,

(3) A competent witness is also required to sign the informed consent form.

Rulemaking Authority 459.026 FS. Law Implemented 459.026 FS. History–New 2-28-12, Amended 2-8-16.

## 64B15-14.013 Mandatory Standardized Informed Consent for Medical Marijuana; Required Documentation for Comparable Medical Conditions; Required Documentation for Smokable Medical Marijuana.

(1) Pursuant to Section 381.986, F.S., the Board has approved form DOH-MQA-5026 (rev. 03/21), entitled “Medical Marijuana Consent Form,” which is hereby incorporated by reference and available from http://www.flrules.org/Gateway/reference.asp?No=Ref-13220, or the Board’s website at http://www.floridasosteopathicmedicine.gov/forms/medical-marijuana-consent-form.pdf, as the mandatory standardized informed consent form that a qualified physician must use each time the qualified physician issues a certification for medical marijuana to a patient he or she has diagnosed with at least one qualifying medical condition.

(2)  Pursuant to Section 381.986, F.S., qualified physicians who issue physician certifications for patients with medical conditions of the same kind or class as or comparable to: cancer; epilepsy; glaucoma; positive status for human immunodeficiency virus; acquired immune deficiency syndrome; post-traumatic stress disorder; amyotrophic lateral sclerosis; Crohn’s disease; Parkinson’s disease; or multiple sclerosis, are required to submit form DOH-MQA-5027 (rev. 2/18), entitled “Documentation Required Under Section 381.986(4)(b), F.S.,” which is hereby incorporated by reference and available from http://www.flrules.org/Gateway/reference.asp?No=Ref-09317, or the Board’s website at http://www.floridasosteopathicmedicine.gov/forms/statutorily-required-documentation.pdf. Said form must be submitted within 14 days after issuing the physician certification.

(3) Pursuant to Section 381.986(4)(c), F.S., qualified physicians who determine that smoking marijuana is an appropriate route of administration for a qualified patient, other than a patient diagnosed with a terminal condition, are required to submit form DH-MQA-5035 (rev. 11/20), entitled “Documentation Required Under Section 381.986(4)(c), F.S., Supporting the Determination that the Smoking of Medical Marijuana is an Appropriate Route of Administration,” which is hereby incorporated by reference and available from http://www.flrules.org/Gateway/reference.asp?No=Ref-12775, or the Board’s website at https://floridasosteopathicmedicine.gov/forms/statutorily-required-documentation-smm.pdf.

Rulemaking Authority 381.986 FS. Law Implemented 381.986 FS. History–New 4-30-18, Amended 8-12-19, 4-18-21, 7-13-21.

## 64B15-14.0131 Practice Standards for the Certification of Smoking Marijuana as a Route of Administration.

(1) The standards of practice in this rule do not supersede the level of care, skill, and treatment recognized in general law related to healthcare licensure. All physicians who are authorized to issue a certification for the medical use of marijuana in a form for smoking as defined in Section 381.986(1), F.S., shall comply with this rule.

(2) Standards. The nature and extent of the requirements set forth below will vary depending on the practice setting and circumstances presented to the qualified physician. In addition to the requirements set forth in Section 381.986(4), F.S., the Board has adopted the following standards for the issuing of certifications by qualified physicians for the medical use of marijuana in a form for smoking:

(a) Evaluation of the Patient. The qualified physician  must conduct a physical examination while physically present in the same room as the patient and a full assessment of the medical history of the patient, including family and social history with an emphasis on substance use disorder and mental health, and must document this information in the medical record. The medical record also shall document the presence of one or more qualifying medical conditions for the use of smokable marijuana and document previous treatments, if any.

(b) Treatment Plan. The written treatment plan shall indicate if any further diagnostic evaluations or other treatments are planned including other medications and therapies if indicated. After treatment begins, the qualified physician shall adjust dosing, if necessary, to the individual medical needs of each patient.

(c) Informed consent. The qualified physician will discuss and have the patient complete the “Medical Marijuana Consent Form” (DH-MQA-5026) set forth in Rule 64B15-14.012, F.A.C. In addition, the qualified physician shall discuss the risks and benefits of the use of smokable marijuana including the risk of abuse and addiction, the negative health risks associated with smoking marijuana as well as physical dependence with the patient, persons designated by the patient, or with the patient’s surrogate or guardian if the patient is incompetent. The discussion shall also include expected benefits, duration, options, and common side effects. Special attention must be given to those patients who are at risk of misuse or diversion of their medications.

(d) Periodic Reviews. A qualified physician must evaluate an existing qualified patient at least once every 30 weeks before issuing a new physician certification.  Based on the circumstances presented, the qualified physician shall review the course of treatment and any new information about the etiology of the need to utilize smokable marijuana. Continuation or modification of therapy shall depend on the qualified physician’s evaluation of the patient’s progress. If treatment goals are not achieved, despite medication adjustments, the qualified physician shall reevaluate the patient and determine the appropriateness of continued treatment. The qualified physician shall monitor patient compliance of marijuana usage and related treatment plans.

(e) Consultation. The qualified physician shall refer the patient as necessary for additional evaluation and treatment in order to achieve treatment objectives. The management of patients with a history of substance abuse or with a comorbid psychiatric disorder requires extra care, monitoring, and documentation, and may require consultation with or referral to an expert in the management of such patients.

(f) Medical Records. The qualified physician is required to keep accurate, legible, and complete records to include, but not be limited to:

1. The medical history and a physical examination, including history of drug abuse or dependence, if indicated;

2. Qualifying medical condition or conditions;

3. Determination that the medical use of marijuana would likely outweigh the potential health risks for the patient; if the patient is younger than 18, inclusion of concurrence by second physician;

4. Whether the patient is pregnant;

5. Diagnostic, therapeutic, and laboratory results if performed by the qualified physician or received from another practitioner;

6. Evaluations and consultations if performed by the qualified physician or received from another practitioner;

7. Treatment objectives;

8. Discussion of risks and benefits;

9. Treatments;

10. Medications (including date, type, dosage, and quantity prescribed);

11. Document that the Prescription Drug Monitoring Program database was reviewed;

12. Instructions and agreements;

13. Informed written consent;

14. Drug testing results if indicated;

15. Periodic reviews. Records must remain current, maintained in an accessible manner, readily available for review, and must be in full compliance with Rule 64B15-15.004, F.A.C., Sections 381.986, 456.057, and 459.015(1)(o), F.S.

(g) Compliance with Laws and Rules. Qualified physicians shall at all times, remain in compliance with this rule and all state laws and regulations addressing the issuance of certifications for the medical use of marijuana in a form for smoking.

Rulemaking Authority 381.986(4), 459.005(1) FS. Law Implemented 381.986, 459.015(1)(g) FS. History–New 7-13-21.

## 64B15-14.014 Standards of Practice for the Treatment of Gender Dysphoria in Minors.

(1) The following therapies and procedures performed for the treatment of gender dysphoria in minors are prohibited.

(a) Sex reassignment surgeries, or any other surgical procedures, that alter primary or secondary sexual characteristics.

(b) Puberty blocking, hormone, and hormone antagonist therapies.

(2) Minors being treated with puberty blocking, hormone, or hormone antagonist therapies prior to the effective date of this rule may continue with such therapies.

Rulemaking Authority 459.015(1)(z) FS. Law Implemented 459.015(1)(z) FS. History‒New 3-28-23.

## 64B15-14.015 Physician Reporting Requirements for Termination of Pregnancies.

Pursuant to Section 390.0112, F.S., a physician who performs an abortion, including surgical procedures and medical abortions, in a place other than a medical facility shall submit a report each month to the Agency for Health Care Administration (AHCA). Monthly reports must be received by the AHCA within 30 days following the preceding month. The monthly reports must be submitted on the Monthly Report of Induced Terminations of Pregnancy, AHCA Form 3130-1010 OL, July 2022, which is hereby incorporated by reference. This form is only accepted electronically and is available at: https://apps.ahca.myflorida.com/SingleSignOnPortal/Login.aspx?ReturnUrl=%2fSingleSignOnPortal. A copy of the form can also be found at: http://www.flrules.org/Gateway/reference.asp?No=Ref-15337.

Rulemaking Authority 390.0112 FS. Law Implemented 390.0112 FS. History‒New 5-24-23.