- CHAPTER 64B6-6

- MINIMAL PROCEDURES AND EQUIPMENT

- 64B6-6.001	Thirty-Day Trial Period

- 64B6-6.002	Requirements to Inform Prospective Purchasers Regarding Technologies

- 64B6-6.003	Audiometric Testing

- 64B6-6.004	Certified Testing Room

- 64B6-6.005	Qualifications for Independent Testing Agents

- 64B6-6.006	Disclosure Required When a Significant Difference Between Air and Bone Conduction Exists

- 64B6-6.007	Retention of Records

- 64B6-6.008	Regular Place of Business Requirements; Advertising Requirements

- 64B6-6.009	Posting of Prices

- 64B6-6.010	Requirements Regarding Certain Information on the Receipt

- 64B6-6.001 Thirty-Day Trial Period.

(1) A person selling a hearing aid(s) in the State of Florida must provide the purchaser with written notice of the 30-day trial period and money-back guarantee as provided in Section 484.0512, F.S. The terms and conditions of the guarantee as well as the total amount available for refund shall be provided in writing to the purchaser prior to the signing of the contract.

(2) The guarantee shall permit the purchaser to cancel the purchase for a valid reason within 30 days of the receipt of the hearing aid(s). A valid reason shall be defined as failure by the purchaser to achieve satisfaction from use of the hearing aid(s), so long as the hearing aid(s) is returned to the seller within the 30-day trial period in good working condition.

(3) If the hearing aid must be repaired, remade, or adjusted during the 30-day trial period, the running of the 30-day trial period is suspended one day for each 24-hour period that the hearing aid is not in the purchaser’s possession. A repaired, remade, or adjusted hearing aid must be claimed by the purchaser within three working days after notification of availability. The running of the 30-day trial period resumes on the day the purchaser reclaims the repaired, remade, or adjusted hearing aid or on the fourth day after notification of availability.

(4) In the event of cancellation within the 30-day trial period, the seller may retain a charge not to exceed $150 on a monaural fitting, and $200 on a binaural fitting for ear molds and services provided to fit the hearing aid. In addition, the purchaser may be charged a cancellation fee not to exceed 5% of the total purchase price.

Rulemaking Authority 484.044(1), 484.0512 FS. Law Implemented 484.0512 FS. History–New 10-4-94, Formerly 61G9-6.0010, Amended 9-14-97.

- 64B6-6.002 Requirements to Inform Prospective Purchasers Regarding Technologies.

(1) The hearing aid specialist shall inform each prospective purchaser of a hearing aid at the time of the initial examination for fitting and sale of a hearing aid, any available information, including information based on personal knowledge and experience, of the telecoil, “t” coil or “t” switch technology. Said information shall include any advantages and disadvantages known to the hearing aid specialist, such as, increased access to telephones and noninvasive access to assistive listening systems required under the Americans with Disabilities Act of 1990.

(2) Hearing aid specialist shall make available to prospective purchasers or clients information regarding the telecoil, “t” coil or “t” switch. The hearing aid specialist shall inform each prospective purchaser or client that said information is available.

Rulemaking Authority 484.044(2) FS. Law Implemented 484.044(2), 484.0501(5) FS. History–New 10-24-94, Formerly 61G9-6.0011.

- 64B6-6.003 Audiometric Testing.

(1) All audiometric testing equipment used by a licensee shall be tested and calibrated acoustically according to current ANSI standards on an annual basis. “Annual” as it relates to this rule means each of the two years within the license biennial period. The biennial period begins March 1 and ends February 28 of each odd numbered year. Records of certification of such testing and calibration from the manufacturer or independent certified testing agent shall be retained by the licensee.

(2) ANSI standards are as acceptable as ASA standards.

(3) A copy of the employer’s certification of audiometric equipment used by the licensee shall satisfy the requirement of this rule, provided however that the licensee does in fact use only the employer’s equipment.

(4) If the licensee is self-employed, a copy of the certification of the audiometric equipment that the licensee intends to use, and a statement explaining the circumstances of use, shall satisfy the requirement of this rule, provided however that the licensee does in fact use only the equipment identified.

(5) If the licensee does not intend to test, a statement to that effect shall satisfy the requirement of this rule, provided however that the licensee does not in fact test.

Rulemaking Authority 484.044, 484.0501(7), 484.056(1)(t) FS. Law Implemented 484.0501(7), 484.056(1)(t) FS. History–New 2-9-84, Formerly 21JJ-7.01, 21JJ-7.001, Amended 5-14-87, 10-2-90, Formerly 21JJ-6.002, Amended 4-6-94, 11-20-95, Formerly 61G9-6.002.

- 64B6-6.004 Certified Testing Room.

(1) Each audiometric test conducted by a licensee or authorized trainee in the fitting and selling of hearing aids shall be made in a testing room that has been certified during the current biennium by the department, or by an agent approved by the department, not to exceed the sound pressure levels specified in Section 484.0501, F.S., unless the exception to this requirement stated in subsection (6), of that rule, applies. If the exception in Section 484.0501(6), F.S., applies, the waiver shall be on the Certified Testing Room Waiver Form (Form DH-MQA 1157, Revised 10/08, hereby adopted and incorporated by reference), and shall be signed by the licensee and the client before testing. The Certified Testing Room Waiver Form can be obtained from the Board of Hearing Aid Specialists’ website at https://floridashearingaidspecialists.gov/applications/app-certified-testing-waiver.pdf. The executed waiver shall be attached to the client’s copy of the contract and a copy shall be retained by the licensee.

(2) A copy of the employer’s certification of testing room used by the licensee shall satisfy the requirement of this rule, provided however that the licensee does in fact use only the employer’s equipment.

(3) If the licensee is self-employed, a copy of the certification of the testing room that the licensee intends to use, and a statement explaining the circumstances of use, shall satisfy the requirement of this rule, provided however that the licensee does in fact use only the equipment identified.

(4) If the licensee does not intend to test, a statement to that effect shall satisfy the requirement of this rule, provided however that the licensee does not in fact test.

Rulemaking Authority 484.044, 484.0501(6) FS. Law Implemented 484.047, 484.0501 FS. History–New 5-14-87, Amended 2-16-89, Formerly 21JJ-6.003, 61G9-6.003, 5-28-09.

- 64B6-6.005 Qualifications for Independent Testing Agents.

Any independent testing agent shall submit to the Department proof of possession of appropriate equipment to test audiometric testing equipment and to test testing rooms for the purpose of certification as follows:

(1) Testing room and audiometric testing certification equipment shall consist of:

(a) Type I Sound Level Meter, Type II Octave Band Filter. Calibration of the microphone shall be performed with an acoustic calibrator with dual frequency and dual amplitude, or one complex signal;

(b) Artificial mastoid;

(c) Microphone, which shall be condenser type in accordance with the ANSI standards for which the equipment was designed;

(d) Sound Level Meter, Microphone and Acoustic Calibrator, which shall be calibrated annually by the manufacturer of same or a certified calibration laboratory.

(2) Notwithstanding the above, if an independent testing agent calibrates sound rooms only, then the artificial mastoid shall not be required; however, certification shall then be limited to testing rooms only.

(3) Upon receipt of the above, the Department will issue a certificate of Department approval as a Department-approved testing agent.

(4) The agent must renew the certificate annually.

(5) Notwithstanding the above, no person may certify his or her own equipment.

Rulemaking Authority 484.044, 484.0501(7) FS. Law Implemented 484.047(2), 484.0501(6), (7) FS. History–New 8-12-87, Formerly 21JJ-6.004, 61G9-6.004, Amended 2-20-23.

- 64B6-6.006 Disclosure Required When a Significant Difference Between Air and Bone Conduction Exists.

Any person with a 15 dB or greater difference between air conduction and bone conduction hearing, at two or more frequencies, in either ear, must be advised of the possibility of medical correction.

Rulemaking Authority 484.044, 484.0501(4), (7) FS. Law Implemented 484.0501(4), (7) FS. History–New 5-14-87, Formerly 21JJ-6.005, 61G9-6.005.

- 64B6-6.007 Retention of Records.

Each licensee shall retain the records required by Chapter 484, Part II, and Chapter 456, F.S., for a period of at least four (4) years.

Rulemaking Authority 484.044 FS. Law Implemented 456.057, 484.0501 FS. History–New 5-14-87, Formerly 21JJ-6.006, 61G9-6.006, Amended 2-11-98.

- 64B6-6.008 Regular Place of Business Requirements; Advertising Requirements.

(1) Each licensee, upon engaging in the practice of dispensing hearing aids, shall declare and establish a regular place of business, at which the licensee’s license shall be conspicuously displayed, and shall file such declaration with the Executive Director of the Board. Conspicuously displayed means easily visible to clients or prospective clients. The regular place of business shall be open to the public, and shall have posted business hours.

(2) A statement of the employer’s regular place of business shall satisfy the requirement of this rule, provided that the licensee’s license is conspicuously displayed there.

(3) Within thirty (30) days of a change of the regular place of business, the licensee shall notify in writing the Executive Director of the Board of the change.

Rulemaking Authority 456.035(1), 484.044 FS. Law Implemented 484.058, 456.035 FS. History–New 2-28-85, Formerly 21JJ-12.01, 21JJ-12.001, Amended 8-12-87, 3-5-91, Formerly 21JJ-6.007, 61G9-6.007, Amended 3-4-08, 2-20-23.

- 64B6-6.009 Posting of Prices.

(1) The licensee shall display, in a conspicuous place, the availability of itemization of total purchase price of the hearing aid.

(2) Notice of availability of itemization of purchase price shall be displayed in an area easily visible to the prospective client by one of the following:

(a) A minimum 6'' × 9'' sign or plaque stating in minimum 3/8'' size print or larger, in bold type:

“An itemized list of prices and services for the total purchase price of your hearing aid fitting is available upon request.”

(b) For a hearing aid purchased in a place other than the licensee’s regular place of business, the above statement must be given to the client at the time the client agrees to purchase a hearing aid, and in ten (10) point bold face type or larger.

Rulemaking Authority 484.044 FS. Law Implemented 484.051(1), (2), 484.0501(7) FS. History–New 8-12-87, Formerly 21JJ-6.008, 61G9-6.008, Amended 11-16-04.

- 64B6-6.010 Requirements Regarding Certain Information on the Receipt.

(1) The receipt required by Section 484.051(2), F.S., shall contain the address telephone number and website of the Department of Health, Consumer Services Unit, 4052 Bald Cypress Way, Bin #C75, Tallahassee, Florida 32399-3275, (850)245-4339, www.flhealthcomplaint.gov. Failure to provide this address on the receipt shall be a violation of this rule subject to disciplinary action.

(2) The receipt required by Section 484.051(3), F.S., shall contain the disclaimer “A hearing aid will not restore normal hearing, nor will it prevent further hearing loss” in 10 point type or larger.

Rulemaking Authority 484.044 FS. Law Implemented 484.051(2) FS. History–New 8-12-87, Amended 5-22-90, 3-5-91, Formerly 21JJ-6.009, Amended 6-26-95, Formerly 61G9-6.009, Amended 2-2-17.