# CHAPTER 6C7-8

# FLORIDA SOLAR ENERGY CENTER PROGRAM

# 6C7-8.001	Florida Solar Energy Center Operations (Repealed)

# 6C7-8.002	Solar Collector Testing, Standards (Repealed)

# 6C7-8.003	Solar Collector Certification (Repealed)

# 6C7-8.004	Testing Fees, Testing, Inspection, Services (Repealed)

# 6C7-8.005	Solar Domestic Water Heating and Solar Pool Heating System Standards and Certification (Repealed)

# 6C7-8.006	Florida Solar Energy Center Operations

# 6C7-8.007	Solar Thermal and PV Equipment Testing Standards

# 6C7-8.008	Solar Thermal Collector and PV Module Certification (Repealed)

# 6C7-8.009	Fees for Solar Testing, Certification, Inspection, and Other Related Services

# 6C7-8.010	Photovoltaic System Standards and Certification

## 6C7-8.001 Florida Solar Energy Center Operations.

Rulemaking Authority 240.209(4), 120.53(1)(a), 240.227(1), 377.705(4)(a), (b) FS. Law Implemented 377.705(4)(d), 240.209(3)(m), (4), (5)(c), 240.277(1), 240.279, 240.281, 20.05(1)(b) FS. History–Formerly 6C-12.01, Revised and Renumbered 1-3-85, Formerly 6C7-8.01, Repealed 10-14-09.

## 6C7-8.002 Solar Collector Testing, Standards.

Rulemaking Authority 240.209(4), 120.53(1)(a), 240.227(1), 377.705(4)(a), (b) FS. Law Implemented 377.705(4)(a), (b), 240.277(1), 240.279, 240.281, 240.209(3)(m), (4), (5)(c) FS. History–Formerly 6C-12.02, Renumbered and Amended 1-3-85, Formerly 6C7-8.02, Repealed 10-14-09.

## 6C7-8.003 Solar Collector Certification.

Rulemaking Authority 120.53(1)(a), 240.227(1), 377.705(4)(d), 240.209(4) FS. Law Implemented 377.705(4)(d), 240.277(1), 240.279, 240.281, 240.209(3)(m), (4), (5)(c) FS. History–Formerly 6C-12.03, Renumbered 1-3-85, Formerly 6C7-8.03, Repealed 10-14-09.

## 6C7-8.004 Testing Fees, Testing, Inspection, Services.

Rulemaking Authority 240.209(4), 120.53(1)(a), 240.227(1), 377.705(4)(c) FS. Law Implemented 377.705(4)(c), 240.227(23), 240.277(1), 240.279, 240.281, 240.209(3)(m), (4), (5)(c) FS. History–Formerly 6C-12.04, Renumbered and Amended 1-3-85, Formerly 6C7-8.04, Repealed 10-14-09.

## 6C7-8.005 Solar Domestic Water Heating and Solar Pool Heating System Standards and Certification.

Rulemaking Authority 240.209(4), 120.53(1)(a), 240.227(1), 377.705(4)(d) FS. Law Implemented 377.705(4)(d), 240.209(3)(m), (4), (5)(c), 240.277(1), 240.279, 240.281 FS. History–Formerly 6C-12.05, Renumbered 1-3-85, Formerly 6C7-8.05, Repealed 10-14-09.

## 6C7-8.006 Florida Solar Energy Center Operations.

(1) The Florida Solar Energy Center, (herein called the “Center”) shall be administered by the University of Central Florida for and on behalf of the Florida Board of Governors. The Center is located at 1679 Clearlake Road, Cocoa, Florida 32922-5703. The development of standards and testing criteria for solar energy systems, testing and evaluation of the performance of solar energy systems, as described in Section 377.705, F.S., shall be carried out by the Center.

(2) The Center shall operate in accordance with applicable law and regulation. The purpose of the Center shall be to advance research and development in solar energy, to disseminate information on the results of such research, and to engage in projects designed to exemplify the capability of solar energy as a resource for meeting state energy needs.

(3) Copies of all standards and fee schedules published by the Center may be obtained from the Center at its above mailing address or by making an electronic request.

Rulemaking Authority 377.705, 1001.706(2)(b) FS. Law Implemented 377.705, 1001.706(2)(b) FS. History–New 5-5-10.

## 6C7-8.007 Solar Thermal and PV Equipment Testing Standards.

(1) The Solar Equipment and Standards Program shall apply to solar thermal and PV equipment submitted for testing and evaluation by manufacturers, distributors, or retailers (herein called the “Seller”). Equipment that converts sunlight directly into useful thermal or heat energy shall be designated as thermal collectors. Equipment that converts sunlight directly into useful electrical energy shall be designated as photovoltaic (herein called “PV”) modules. The procedures and requirements for participating in the program shall be those described in FSEC Standard 101-15, “Operation of the Solar Thermal Collector Certification Program” (December 2015), and FSEC Standard 201-10, “Operation of the Photovoltaic Module Performance Certification Program” (January 2010), whichever is applicable. A copy of each of these standards is incorporated in this regulation by reference.

(2) Solar thermal collector and solar thermal system certifications issued by the Solar Rating & Certification Corporation (SRCC) or the International Association of Plumbing and Mechanical Officials (IAPMO) shall be deemed to comply with the solar thermal collector and solar thermal system standards of the Florida Solar Energy Center.

(3) The criteria for testing the performance of PV modules shall be those described in FSEC Standard 202-10.

(4) Results of tests conducted by organizations other than the Center may be accepted by the Center when the testing organization meets the requirements and criteria of FSEC Standard 101-15, “Operation of the Solar Thermal Systems Certification Program” (December 2015), or FSEC Standard 201-10, “Operation of the Photovoltaic Equipment Certification Program,” incorporated herein by reference, whichever is applicable. The Center may refuse to accept test results from other testing organizations which do not meet these criteria.

Rulemaking Authority 377.705, 1001.706(2)(b) FS. Law Implemented 377.705, 1001.706(2)(b) FS. History–New 5-5-10, Amended 6-9-16.

## 6C7-8.008 Solar Thermal Collector and PV Module Certification.

Rulemaking Authority 377.705, 1001.74 FS. Law Implemented 377.705, 1001.74 FS. History–New 5-5-10, Repealed 2-4-16.

## 6C7-8.009 Fees for Solar Testing, Certification, Inspection, and Other Related Services.

Fees sufficient to cover the costs of tests, certifications, inspections, and other services relating to solar equipment performed by the Center shall be collected by the Center prior to the performance of such tests, certifications, inspections, or other services. The Center shall maintain one or more fee schedules containing testing and certification fees; “FSEC Photovoltaic Testing, Certification and Registration Services Fee Schedule” (October 2017), herein incorporated by reference, may be updated as necessary to cover the costs of procedures.

Rulemaking Authority 377.705, 1001.706(2)(b) FS. Law Implemented 377.705, 1001.706(2)(b) FS. History–New 5-17-10, Amended 1-8-18.

## 6C7-8.010 Photovoltaic System Standards and Certification.

The PV System Certification Program applies to systems required by this regulation to be submitted to the Center by the Seller for evaluation and approval. Requirements for approval shall be those described in FSEC Standard 203-17, “Procedures for Photovoltaic System Design Review and Approval” (July 2017). A copy of this standard is incorporated in this regulation by reference.

(1) The System Approval Certificate will include but is not limited to:

(a) Identification of the primary and alternate major components of the system.

(b) A diagram of the system.

(2) The contents and format of the System Approval Certificate may be revised as deemed necessary by the Center.

Rulemaking Authority 377.705, 1001.706(2)(b) FS. Law Implemented 377.705, 1001.706(2)(b) FS. History–New 5-5-10, Amended 2-4-16, 1-8-18.