## 11D-8.003 Approval of Breath Test Methods and Instruments.

(1) The Department has approved the following method(s) for evidentiary breath testing: Infrared Light Test, also known as Infrared Light Absorption Test.

(2) The Department approves breath test methods and new instrumentation to ensure the accuracy and reliability of breath test results. The Department has approved the following breath test instrumentation for evidentiary use: CMI, Inc. Intoxilyzer 5000 Series – including any or all instruments using one of the following programs: 5000 Basic Software Program; Florida Software Program; R-Software Program; and CMI, Inc. Intoxilyzer 8000 using software evaluated by the Department in accordance with Instrument Evaluation Procedures FDLE/ATP Form 34 – Rev. March 2004.

(3) The Department has approved the following options for use with Intoxilyzer 5000 Series instruments: keyboard; simulator recirculation; sample capture; pressure switch setting at no less than two inches and no more than six inches of water.

(4) A Department inspection performed in accordance with Rule 11D-8.004, F.A.C., validates the approval, accuracy and reliability of an evidentiary breath test instrument.

(5) The Department shall conduct evaluations for approval of new instrumentation under subsection (2) in accordance with Instrument Evaluation Procedures FDLE/ATP Form 34 – Rev. March 2004.

(6) The availability or approval of new instruments, software, options or modifications does not negate the approval status of previously approved instruments, software, options or modifications.

Rulemaking Authority 316.1932(1)(a)2., (f)1., 322.63(3)(a), (b), 327.352(1)(b)3. FS. Law Implemented 316.1932(1)(b)2., 316.1934(3), 322.63(3)(b), 327.352(1)(e), 327.354(3) FS. History–New 10-31-93, Amended 1-1-97, 7-29-01, 11-5-02, 12-9-04.