## 40B-3.502 Construction Methods.

Wells must be so constructed, cased, grouted, plugged, capped, or sealed as to prevent uncontrolled surface flow, uncontrolled movement of water from one aquifer or zone to another, contamination of groundwater or surfacewater resources, or other adverse impacts. The foregoing shall apply to all construction, repair, or abandonment of wells in the District, except for public water supply wells which shall be constructed, repaired, or abandoned in accordance with Chapter 62-550, F.A.C.

Rulemaking Authority 373.044, 373.171, 373.309 FS. Law Implemented 373.113, 373.306, 373.308, 373.309 FS. History–New 7-1-85, Amended 6-22-99.