## 69A-70.005 Codes Adopted.

The Department of Financial Services hereby adopts and incorporates by reference the following national standards as to the installation of carbon monoxide detectors:

(1) The National Fire Protection Association (NFPA) 720-2015 edition, Standard for the Installation of Carbon Monoxide (CO) Detection and Warning Equipment. Copies of NFPA publications can be obtained from the National Fire Protection Association, Inc., 1 Batterymarch Park, Quincy, Massachusetts 02169-7471.

(2) Underwriters Laboratories, Inc., Standard 2017, Standard for General-Purpose Signaling Devices and Systems (December 2008). Copies of Underwriters Laboratories (UL) standards can be obtained from Underwriters Laboratories, Inc., 333 Pfingston Road, Northbrook, IL 60062.

(3) Underwriters Laboratories, Inc., Standard 2075, Standard for Gas and Vapor Detectors and Sensors (March 2013). Copies of UL standards can be obtained from Underwriters Laboratories, Inc., 333 Pfingston Road, Northbrook, IL 60062.

(4) All standards adopted and incorporated by reference in these rules are also available for public inspection during regular business hours at the Division of State Fire Marshal, currently located on the Third Floor (Room 326) of the Atrium Building, 325 John Knox Road, Tallahassee, Florida 32303.

Rulemaking Authority 509.211(4) FS. Law Implemented 509.211(4) FS. History–New 1-18-18.