61G15-32.001 General Responsibility.

Fire protection engineering documents shall be prepared in accordance with applicable technology and the requirements of the authority having jurisdiction. The documents shall identify the Engineer of Record for the project. Both the engineer of record for the fire protection system and the delegated engineer, if utilized, shall comply with the requirements of the general responsibility rules, Chapter 61G15-30, F.A.C., and with the requirements of the more specific rules contained herein.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-32.001.