## 62-604.300 General Technical Guidance, Related Rules, and Forms.

(1) The technical standards and criteria contained in the following standard manuals and technical publications listed in subsection (5), below, and those referenced throughout this rule are hereby incorporated by reference and shall be applied, if applicable, in determining whether permits allowing construction or modification of collection/transmission systems shall be issued or denied.

(2) Deviations from the standards and criteria contained in the publications listed in subsection (5), below, shall be approved by the Department provided that:

(a) The engineer’s report provides reasonable assurance that the proposed design will provide collection/transmission meeting the requirements of this rule; and either:

(b) Conforming with these standards cannot be done except at unreasonably higher costs, or

(c) It is not technically feasible to conform to these standards because of site conditions or incompatibility with a proposed facility design employing new and innovative techniques which assure compliance with the remainder of this rule.

(3) In cases where the standards and criteria contained in the publications listed in subsection (5), below, conflict with this rule or other rules of the Department, Department standards and rules shall control.

(4) 	In cases where the standards and criteria contained in the publications listed in subsection (5), below, conflict, the standards and criteria contained in the publication listed in paragraph (5)(g), shall be used.

(5) Standard Manuals and Publications.

(a) Odor and Corrosion Control in Sanitary Sewerage Systems and Treatment Plants (1985). EPA/625/1-85/018. NTIS#PB88184031. National Technical Information Service, 5285 Port Royal Road, Springfield, VA 22161, www.ntis.gov.

(b) Alternative Wastewater Collection Systems (1991). EPA/625/1-91/024. NTIS# PB93-1162591N2. National Technical Information Service, 5285 Port Royal Road, Springfield, VA 22161, www.ntis.gov.

(c) Manual of Practice No. FD-12. Alternative Sewer Systems (1986). Water Environment Federation, 601 Wythe Street, Alexandria, VA 22314, www.wef.org.

(d) 	Manual of Practice No. FD-4. Design of Wastewater and Stormwater Pumping Stations (1993). Water Environment Federation, 601 Wythe Street, Alexandria, VA 22314, www.wef.org.

(e) Manual of Practice No. FD-5. Gravity Sanitary Sewer Design and Construction (1982). Water Environment Federation, 601 Wythe Street, Alexandria, VA 22314, www.wef.org.

(f) Manual of Practice No. 7. Wastewater Collection Systems Management (1999). Water Environment Federation, 601 Wythe Street, Alexandria, VA 22314, www.wef.org.

(g) Recommended Standards for Wastewater Facilities (1997). Health Education Service, Inc., P.O. Box 7126, Albany, New York 12224, www.hes.org.

(h) Design Criteria for Mechanical, Electric, and Fluid System and Component Reliability – MCD-05 (1974). EPA-430-99-74-001, Department of Environmental Protection, 2600 Blair Stone Road, MS 3540, Tallahassee, FL 32399, www.dep.state.fl.us/water.

(i) Operation and Maintenance of Wastewater Collection Systems Volume I (1999) and Volume II (1998). California State University, Department of Civil Engineering, 6000 J Street, Sacramento, California 95819, www.owp.xux.edu.

(j) Design and Specification Guidelines for Low Pressure Sewer Systems (1981). Department of Environmental Protection, 2600 Blair Stone Road, MS 3540, Tallahassee, FL 32399, www.dep.state.fl.us/water.

(6) Members of the public may request and obtain copies of the publications listed in subsection (5), above, by contacting the appropriate publisher at the address indicated. Copies of the above publications are on file with the Florida Secretary of State. Copies are also on file and available for review in the Department’s Tallahassee offices (including the Information Center) and in the Department’s district offices where they may be reviewed during normal business hours.

(7) Related rules. Permitting requirements and fees related to permitting are listed in Chapter 62-4, F.A.C.

(8) Forms. The forms and instructions used by the Department are listed in this rule. The rule numbers are the form numbers. The forms are hereby incorporated by reference in this rule. Copies of these forms and instructions may be obtained by writing to the Bureau of Water Facilities Regulation, Mail Station 3535, Department of Environmental Protection, Twin Towers Office Building, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400. In addition, these forms are available at the Department’s district offices and on the Department’s website.

(a) Notification/Application for Constructing a Domestic Wastewater Collection/Transmission System, effective November 6, 2003.

(b) Request for Approval to Place a Domestic Wastewater Collection/Transmission System into Operation effective November 6, 2003.

Rulemaking Authority 403.061(7) FS. Law Implemented 403.061, 403.085, 403.086, 403.087, 403.088 FS. History–New 11-27-89, Amended 6-4-92, 5-31-93, Formerly 17-604.300, Amended 12-26-96, 11-6-03.