62-761.210 Reference Standards.

(1) Referenced standards are available for inspection at the County Offices, and the Department of Environmental Protection’s District and Tallahassee Offices, and may be obtained from the following sources:

(a) ACI International (American Concrete Institute), Post Office Box 9094, Farmington Hills, Michigan 48333-9094, (248) 848-3700;

(b) American Petroleum Institute (API), 1220 L Street, N.W. Washington, D.C. 20005, (202) 682-8000;

(c) ASME International (The American Society of Mechanical Engineers), 22 Law Drive, Box 2300, Fairfield, New Jersey 07007-2300, (800) 843-2763;

(d) American Society for Testing and Materials (ASTM), 100 Barr Harbor Drive, Conshohocken, Pennsylvania 19103, (610) 832-9500;

(e) Florida Department of Environmental Protection (DEP), Storage Tank Regulation Section, 2600 Blair Stone Road, MS 4525, Tallahassee, Florida 32399-2400, (850) 245-8858;

(f) NACE International (National Association of Corrosion Engineers), Post Office Box 218340, Houston, Texas 77218-8340, (281) 492-0535;

(g) National Fire Protection Association (NFPA), 1 Battery March Park, Post Office Box 9101, Quincy, Massachusetts 02269-9101, (800) 344-3555;

(h) National Leak Prevention Association (NLPA), Route 2 Box 106A, Falmouth, Kentucky 41040, (702) 832-2260;

(i) Petroleum Equipment Institute (PEI), Post Office Box 2380, Tulsa, Oklahoma 74101-2380, (918) 494-9696;

(j) Society for Protective Coatings (SSPC) 40 24th Street, 6th Floor, Pittsburgh, Pennsylvania 15222-4643, (412) 281-2331;

(k) Steel Tank Institute (STI), 570 Oakwood Road, Lake Zurich, Illinois 60047, (847) 438-8265;

(l) Underwriters Laboratories (UL), 333 Pfingsten Road, Northbrook, Illinois 60062-2096, (847) 272-8800; and

(m) Government Printing Office, Superintendent of Documents, Attention: New Orders, Post Office Box 371954, Pittsburgh, Pennsylvania 15250-7954, (202) 512-1800.

(2) Titles of documents. References to documents listed in paragraphs 62-761.210(2)(a) through (m), F.A.C., below are made throughout this Chapter. Each document or part thereof is adopted and incorporated as a standard only to the extent that it is specifically referenced in this Chapter.

(a) ACI International:

1. ACI 224R-89, “Control of Cracking in Concrete Structures,” May, 1990; and

2. ACI 350R-89, “Environmental Engineering Concrete Structures,” June, 1990.

(b) American Petroleum Institute Standards:

1. API Standard 570, “Piping Inspection Code: Inspection, Repair, Alteration, and Rerating of In-Service Piping Systems,” June, 1993;

2. API Recommended Practice 1110, “Recommended Practice for the Pressure Testing of Liquid Petroleum Pipelines,” December, 1991;

3. API Recommended Practice 1604, “Closure of Underground Petroleum Storage Tanks”, March, 1996;

4. API Recommended Practice 1615, “Installation of Underground Petroleum Storage Systems,” March, 1996;

5. API Recommended Practice 1621, “Bulk Liquid Stock Control at Retail Outlets,” May, 1993;

6. API Recommended Practice 1631, “Interior Lining of Underground Storage Tanks,” April, 1992;

7. API Recommended Practice 1632, “Cathodic Protection of Underground Petroleum Storage Tanks and Piping Systems,” May, 1996; and

8. API Recommended Practice 1637, “Using the API Color-Symbol System to Mark Equipment and Vehicles for Product Identification at Service Stations and Distribution Terminals,” September, 1995.

(c) ASME International: B31.4-1992, “Liquid Transportation Systems for Hydrocarbons, Liquid Petroleum Gas, Anhydrous Ammonia, and Alcohols” January, 1993 with 1994 Addenda.

(d) American Society for Testing and Materials:

1. Specification D4021-92, “Standard Specification for Glass Fiber Reinforced Polyester Underground Petroleum Storage Tanks,” October, 1992; and

2. Designation: ES 40-94, “Emergency Standard Practice for Alternative Procedures for the Assessment of Buried Steel Tanks Prior to the Addition of Cathodic Protection,” January, 1995.

(e) Florida Department of Environmental Protection:

1. “Storage Tank System Closure Assessment Requirements” April, 1998;

2. “Guidelines for Vapor Monitoring,” April, 1998; and

3. “Guidelines for Site-Suitability Determinations for External Monitoring,” February, 1998.

(f) NACE International:

1. NACE Standard RP-0169-96, “Control of External Corrosion on Underground or Submerged Metallic Piping Systems,” September, 1996; and

2. NACE Standard RP-0285-95, “Corrosion Control of Underground Storage Tank Systems by Cathodic Protection,” February, 1995.

(g) National Fire Protection Association:

1. NFPA 30, “Flammable and Combustible Liquids Code,” August, 1996;

2. NFPA 30A, “Automotive and Marine Service Station Code,” August, 1996; and

3. NFPA 329, “Handling Underground Releases of Flammable and Combustible Liquids,” Chapters 3, 4, and 5, August, 1992.

(h) National Leak Prevention Association: NLPA Standard 631, “Entry, Cleaning, Interior Inspection, Repair and Lining of Underground Storage Tanks,” Chapter B, 1991.

(i) Petroleum Equipment Institute: PEI/RP100-97 “Recommended Practices for Installation of Underground Liquid Storage Systems,” 1997.

(j) Society for Protective Coatings: SSPC-TU 2/NACE 6G197, SSPC Publication No. 97-04, “Design, Installation, and Maintenance of Coating Systems for Concrete Used in Secondary Containment,” February, 1997.

(k) Steel Tank Institute:

1. STI-P3® “Specification and Manual for External Corrosion Protection of Underground Steel Storage Tanks #STI-P3®,” April, 1996;

2. STI R892-89, “Recommended Practice for Corrosion Protection of Underground Piping Networks Associated with Liquid Storage and Dispensing Systems,” 1989; and

3. STI ACT-100® #F894, “Specification for External Corrosion Protection of FRP Composite Steel Underground Storage Tanks,” April, 1996.

(l) Underwriters Laboratories Standards:

1. UL 58, “Steel Underground Tanks for Flammable and Combustible Liquids,” December, 1996;

2. UL 567, “Pipe Connectors for Petroleum Products and LP Gas,” June, 1996;

3. UL 971, “Non-metallic Underground Piping for Flammable Liquids,” October, 1995;

4. UL 1316, “Glass-Fiber-Reinforced Plastic Underground Storage Tanks for Petroleum Products, Alcohols, and Alcohol-Gasoline Mixtures,” January, 1994; and

5. UL 1746, “External Corrosion Protection Systems for Steel Underground Storage Tanks,” July, 1993, with Revisions, November, 1997.

(m) Government Printing Office, Code of Federal Regulations:

1. Title 33, Part 154, July 1997;

2. Title 33, Part 156.170, July 1997;

3. Title 40, Part 112, July 1997;

4. Title 40, Part 280, Subpart H, July 1997; and

5. Title 40, Part 302, July 1997.

(3) Applicability of Reference Standards: Unless otherwise specified in this rule, Category-A and Category-B facilities are subject to the Reference Standards listed in the Department’s storage tank rules that were in effect at the time of facility construction or operation. Category-C facilities shall comply with subsection 62-761.210(2), F.A.C., on or after July 13, 1998.

Specific Authority 376.303 FS. Law Implemented 376.303 FS. History–New 12-10-90, Formerly 17-761.210, Amended 7-13-98, 6-21-04.