## 64E-1.102 Certification Requirements.

(1) An application for certification shall be made in writing to the Department of Health on Form DH 1762, accompanied by the application fee, and the laboratory’s Quality Manual. If proficiency testing is available for the requested Fields of Testing, the laboratory must arrange for these results from the latest three testing round attempts to be submitted directly to the Department of Health by the recognized proficiency test provider. DH 1762, “Application for Certification of Environmental Testing Laboratories,” July 2004 is herein adopted by reference and is available by calling the department’s Bureau of Laboratories at (904)791-1599.

(2) Separate application and certification shall be required for all laboratories maintained on separate premises even though operated under the same management; however, separate certification is not required for separate buildings on the same or adjoining grounds.

(3) An application is not completed until the laboratory has fulfilled all of the following requirements:

(a) The application reviewed by the Department of Health was found to contain all the information required in Section 4.1.7 of the NELAC Standards, referenced in Rule 64E-1.0015, F.A.C.

(b) The submitted Quality Manual contains all the information required in Section 5.4.2.3 and 5.4.2.4 of the NELAC Standards, referenced in Rule 64E-1.0015, F.A.C.

(c) Proficiency samples are successfully analyzed in two of the most recent three testing rounds attempted, if available from a recognized proficiency testing provider, as required in Rule 64E-1.106, F.A.C.

(d) An on-site laboratory inspection has been conducted for the Fields of Accreditation for which the laboratory is seeking certification, as required in Rule 64E-1.104, F.A.C.

(e) All applicable fees are paid as required in Rule 64E-1.007, F.A.C.

(4) An out-of-state laboratory shall be eligible for reciprocal certification provided:

(a) The laboratory is certified by a National Environmental Laboratory Accreditation Program (NELAP) recognized accrediting authority for those Fields of Accreditation in which the laboratory is requesting certification pursuant to this rule;

(b) The laboratory submits to the Department of Health the application and fee required in subsection 64E-1.102(1), F.A.C.;

(c) The laboratory submits to the Department of Health a current copy of the laboratory’s unexpired certification from the NELAP accrediting authority and the certifying agency’s analyte sheet showing those Fields of Accreditation for which the laboratory is certified.

(5) If upon review of the documents listed in subsection 64E-1.102(5), F.A.C., the Department of Health determines that the application process is complete and that the laboratory is already certified by its NELAP-recognized primary accrediting authority for the same Fields of Accreditation requested on its application, the Department of Health will not require an onsite inspection by its inspectors and certification will be granted after the laboratory pays the certification fees required in Rule 64E-1.007, F.A.C.

(6) If upon review of the documents listed in subsection 64E-1.102(5), F.A.C., the Department of Health is unable to determine that the out-of-state certification program is equivalent to the requirements of this rule, an on-site inspection will be performed by the Department of Health. The laboratory will be responsible for the travel expenses incurred for the on-site inspection.

Rulemaking Authority 381.00591, 403.0625(3), 403.863(1), (2) FS. Law Implemented 381.00591, 403.0625(1), (2), (4), 403.851, 403.863(3), (4), (7), 403.8635(1), (2) FS. History–New 8-27-86, Amended 10-10-89, 6-29-94, 2-13-96, 4-25-96, Formerly 10D-41.103, Amended 4-16-00, 6-30-03, 1-24-05.