64E-2.002 Basic Life Support Service License - Ground.

(1) To obtain a license or renewal each applicant shall submit an application to the department on DH Form 631, May 98, Ground Ambulance Service Provider License Application. This form is incorporated by reference and is available from the department.

(2) The department shall issue a license to any applicant who:

(a) Furnished evidence of insurance coverage for claims arising out of injury or death of persons and damage to the property of others resulting from any cause for which the owner of said business or service would be liable. Each motor vehicle shall be insured for the sum of at least $100,000 for injuries to or death of any one person arising out of any one accident; the sum of at least $300,000 for injuries to or death of more than one person in any one accident; and, for the sum of at least $50,000 for damage to property arising from any one accident. Government operated service vehicles shall be insured for the sum of at least $100,000 for any claim or judgment and the sum of $200,000 total for all claims or judgments arising out of the same occurrence. Every insurance policy or contract for such insurance shall provide for the payment and satisfaction of any financial judgment entered against the operator and present insured, or any person driving the insured vehicle. All such insurance policies shall provide for 30-day cancellation notice to the department.

(b) Obtained a Certificate of Public Convenience and Necessity (COPCN) consistent with the requirements of Rule 64E-2.032, F.A.C.

(3) Each BLS provider shall ensure and document in its employee records that each of its EMTs and paramedics hold a current certification from the department.

(4) Every provider, except those exempted in paragraph 64E-2.006(1)(a), F.A.C., shall ensure that each EMS vehicle permitted by the department shall be equipped and maintained as listed in Table III.

TABLE III

GROUND VEHICLE AND SERVICE STANDARDS

MEDICAL EQUIPMENT AND SUPPLIES

ITEM QTY.

1. Bandaging, dressing, and taping supplies:

a. Adhesive, silk, or plastic tape.	Six rolls total.

b. Sterile 4 × 4 inch gauze pads.	Six packs of 10 pads each, any size.

c. Triangular bandages.	Six total.

d. Roller gauze.	Six total.

e. ABD (minimum 5 × 9 inch) pads.	Six total.

2. Bandage shears.	One.

3. Patient restraints, wrist and ankle.	One set each.

4. Blood pressure cuffs: infant, pediatric,	One each.

and adult.

5. Stethoscopes: pediatric and adult.	One each.

6. Blankets.	Two.

7. Sheets (not required for non-transport	Two.

vehicle.)

8. Pillows with waterproof covers and	Two.

pillow cases or disposable single use

pillows (not required for non-transport

vehicle).

9. Disposable blanket or patient rain cover.	One.

10. Long spine board and three straps or	One.

equivalent.

11. Short spine board and two straps or	One.

equivalent.

12. Adult and Pediatric cervical	One each.

immobilization devices (CID), approved by

the medical director of the service. This

approval must be in writing and made

available by the provider for the

department to review.

13. Padding for lateral lower spine	Two.

immobilization of pediatric patients or

equivalent.

14. Portable oxygen tanks, “D” or “E”	Two.

cylinders, with one regulator and gauge.

Each tank must have a minimum pressure

of 1000 psi.

15. Transparent oxygen masks; adult,

child and infant sizes, with tubing. 	Two each.

16. Sets of pediatric and adult nasal	Two.

cannulae with tubing.

17. Hand operated bag-valve mask

resuscitators, adult and pediatric

accumulator, including adult, child and

infant transparent masks capable of use

with supplemental oxygen.	 One each.

18. Portable suction, electric or gas	One.

powered, with wide bore tubing and tips

which meet the minimum standards as

published by the GSA in KKK-A 1822C

specifications.

19. Extremity immobilization devices.	Six Assorted Sizes.

20. Lower extremity traction splint.	One.

21. Sterile obstetrical kit to include, at	One.

minimum, bulb syringe, sterile scissors or

scalpel, and cord clamps or cord-ties.

22. Burn sheets.	Two.

23. Flashlight with batteries.	One.

24. Occlusive dressings.	Four.

25. Oropharyngeal airways.	Six assorted sizes.

26. Installed oxygen with regulator gauge	One.

and wrench, minimum “M” size cylinder

(minimum 500 PSI) with oxygen

flowmeter (not required for non-transport

vehicles.) (Other installed oxygen delivery

systems, such as liquid oxygen, as allowed

by medical director. This approval must be

in writing and available to the department

for review).

27. Gloves – suitable to provide barrier	Sufficient quantity, sizes and material for

protection for biohazards.	all crew members.

28. Face Masks – both surgical and	Sufficient quantity of each for all crew

respiratory protective.	members.

29. Rigid cervical collars as approved in	Six, assorted pediatric and adult sizes.

writing by the medical director and

available for review by the department.

30. Nasopharyngeal airways, French or	One each of each size range: infant (12, 14,

mm equivalents.	16, 18), pediatric (20, 22, 24) and adult

(26, 28, 30).

31. Approved biohazardous waste plastic	One each.

bag or impervious container per Chapter

64E-16, F.A.C.

32. Safety goggles or equivalent meeting	One per crew member.

A.N.S.I. Z87.1 standard.

33. Bulb syringe separate from obstetrical	One.

kit.

34. Thermal absorbent reflective blanket.	One.

35. Multitrauma dressings.	Two.

Specific Authority 381.0011, 395.405, 401.121, 401.25, 401.35 FS. Law Implemented 381.0011, 395.401, 395.4015, 395.402, 395.4025, 395.403, 395.404, 395.4045, 401.23, 401.24, 401.25, 401.252, 401.26, 401.27, 401.281, 401.30, 401.31, 401.321, 401.34, 401.35, 401.41, 401.411, 401.414, 401.421 FS. History–New 11-29-82, Amended 4-26-84, 3-11-85, Formerly 10D-66.49, Amended 4-12-88, 8-3-88, 12-10-92, 10-2-94, 1-26-97, Formerly 10D-66.049, Amended 8-4-98, 1-3-99, 11-19-01.