## 64E-5.1312 Training and User Requirements for the Possession and Use of Sealed Sources in Portable Devices.

(1) Users of sealed sources in portable devices must have completed a minimum of 8 hours of training from individuals approved by the department. This training must include the areas described in Rule 64E-5.1307, F.A.C.

(2) Documentation of training for each user must be maintained for the duration of employment or 5 years, whichever is greater.

(3) Sealed sources in portable devices may be used by individuals who are under the direct supervision and in the physical presence of an authorized user.

Rulemaking Authority 404.051, 404.061, 404.071, 404.081 FS. Law Implemented 404.022, 404.051(1), (4), (6), (9), (10), 404.061(2), (3), 404.071(1), 404.081(1) FS. History–New 5-12-93, Formerly 10D-91.1415.