## 64E-14.008 Water Supply.

(1) An approved or permitted supply of potable water under pressure that conforms with the requirements of Chapters 62-550, 62-555, and 62-560, or 64E-8, F.A.C., shall be available at all times during occupancy in each migrant labor camp and residential migrant housing for drinking, culinary, bathing, dishwashing, and laundry purposes.

(2) The water supply shall be capable of providing at least 50 gallons per person per day.

(3) Adequate facilities for providing hot water at a minimum 110 degrees Fahrenheit for bathing and dishwashing purposes shall be available at all times during periods of occupancy.

Rulemaking Authority 381.006(5), 381.0086 FS. Law Implemented 381.0086 FS. History–New 1-1-77, Amended 10-7-84, Formerly 10D-25.59, Amended 8-6-92, 11-17-94, Formerly 10D-25.059.