## 69A-54.006 Mattresses.

(1) Polyurethane mattresses are prohibited in correctional facilities.

(2) Existing cotton core mattresses, with fire retardant treated cotton, may be used in areas of high risk of intentional ignition or where rescue or evacuation will be impeded. Wherever possible, cover existing cotton mattresses with a fire retardant outer cover.

(3) New purchases of mattresses for new or existing correctional facilities shall be for fire retardant cotton core with durable fire retardant outer coverage, or fiber-filled material conforming to the flammability requirements set forth in the following standards:

(a) 16 Code of Federal Regulations, Part 1632, revised as of January 1, 2001, which is incorporated herein by reference; or

(b) U.L. Standard 1895, Standard for Fire Test of Mattresses, Third Edition, Dated February 11, 2000, which is incorporated herein by reference; or

(c) ASTM E 906-99, which is incorporated herein by reference.

(4) General Services Standard, 850-500-170 may be obtained by writing to the State Fire Marshal at 200 East Gaines Street, Tallahassee, Florida 32399-0340, or by visiting the office of the State Fire Marshal at the Atrium, Third Floor, 325 John Knox Road, Tallahassee, Florida 32303.

(5) ASTM E 906 may be obtained by contacting the American National Standards Institute, Inc., 11 West 42nd Street, 13th Floor, New York, New York 10036 or by visiting the office of the State Fire Marshal at the Atrium, Third Floor, 325 John Knox Road, Tallahassee, Florida 32303.

Rulemaking Authority 633.104(1) FS. Law Implemented 633.104(1), 633.206(1)(b) FS. History–New 6-6-90, Amended 4-4-95, 11-21-01, Formerly 4A-54.006.