5F-11.026 Unsafe Container or System.

(1)(a) Any system or container that fails to comply with Chapter 527, F.S., this rule chapter, and any standards incorporated by reference shall be designated unsafe by division staff by means of a “red tag” indicating the inspector’s name and the date of inspection where the violation creates an immediate threat to safety.

(b) Systems identified by the bureau in this manner, i.e. red-tagged, shall not continue in service until all deficiencies have been corrected.

(2) The owner of any container or system red-tagged by the division will be notified immediately by the bureau and furnished a copy of the inspection report indicating the deficiencies found.

(3)(a) A red tag placed on a system or container shall not be removed until all inspection deficiencies have been corrected and the bureau or its representative removes or authorizes removal of the red tag from the system or container.

(b) The red tag must be returned to the bureau immediately upon removal.

Specific Authority 527.06 FS. Law Implemented 527.06 FS. History–New 3-15-94, Formerly 4B-1.037, Amended 7-20-95.