## 25-6.039 Safety.

Each utility shall establish safe work practices. These safe work practices will effect the safety of the employees, the utility, and the general public. These safe work practices shall be designed to cover general information relative to the safety for all employees and the fundamental safe requirements for the various classifications of work encountered in the operations of the utility. They shall also include instruction in accepted methods of artificial respiration for all employees subject to the hazards of electrical shock or drowning.

Rulemaking Authority 350.127(2), 366.04(6), 366.05(1) FS. Law Implemented 366.03, 366.04(1), (6), 366.05(1) FS. History–New 7-29-69, Formerly 25-6.39.